Design Review documentation – Results

Title:	D to C Site DC Transmission System		WP#: 	1118	 (ENG-032)

Type of Review:	 Peer	 CDR	 PDR	  FDR

Cog Individual:	S. Ramakrishnan		Date of Review: 	2/17/04

Review Board Members:	Invited attendees :	Other Attendees:

Chairperson  A.vonHalle		QA  F. Malinowski		A. Ilic

J. Lacenere		A. Wise		L. Dietrich

H. Carnevale		F. Jones		J. Makiel

S. Ramakrishnan		D. McBride		H. Neilson

L. Dudek		R. Van Kirk		W. Reiersen

R. Parsells		R. Borusovic		G. Pitonak

C. Neumeyer		G. Oliaro

C. Potensky

R. Koon

G. Baker

J.W. Anderson

Regulatory Compliance  J. Levine

Items Reviewed:	Sat.	Unsat.	Comments

Appropriate requirements identified

Development plans and schedules

Regulatory compliance including USQD and NEPA			ISM plan to be specified in the SOW

Disposition of CHITS from previous reviews			N/A

Cost objectives

Other review objectives addressed

(attachment 4 of ENG-033)

SUMMARY OF RESULTS:

The intent of this PDR was to provide a comprehensive review of the preliminary drawings of the D to C Site Transmission System for the NCSX project as designed by The Burns Group, Philadelphia, PA.  These drawings are considered to be complete to the 70% level.   The review board members and invited attendees were asked to provide comments on the proposed design on drawing details, system height and routing (the transmission line crosses two roads), location of bases and structural members, installation of trays and cables, and safety concerns.  A large and diverse participation in this review was requested and achieved, as this system has the potential for considerable impact to the operability and maintainability of existing systems.

There were 42 chits written during this review (Listed at the end of this summary). The chits will be used as a guide in a series of correspondence and meetings with the Burns Group in working towards a final design.  All chits will be resolved before moving on to the Final Design Review.

Disposition: [check one]

Acceptable

X	 Acceptable pending resolution of concerns- CHITS identified above must be resolved prior to installation.

_______ Incomplete - Additional design work is required prior to another design review.

Chairperson Signature: __________________________________________Date: ________________

Distribution:   Review Board Members, Operations Center, Cognizant Design Engineer, System Engineer(s), Attendees, QA, ES&H