## Nominal Vector
ID | X | Y | Z | I | J | K
Point 1 | 39.8168 | 50.29 | -14.2228 | 0.84994 | -0.4265 | -0.30935
Point 2 | 86.097 | 25.96 | -31.0662 | 0.049963 | -0.99859 | -0.018185
Point 3 | 91.2282 | -22.63 | -32.9323 | -0.5191 | -0.83357 | 0.18894
Point 4 | 86.1352 | -29.9801 | -31.0784 | -0.35511 | -0.92585 | 0.12925
Point 5 | 74.5018 | -40.07 | -26.844 | -0.065908 | -0.99754 | 0.023989
Point 6 | 62.5113 | -45.23 | -22.4799 | 0.19007 | -0.97933 | -0.069179
Point 7 | 34.8749 | -46.87 | -12.4213 | -0.44886 | -0.87854 | 0.16337
Point 8 | 27.5733 | -34.65 | -9.7642 | -0.82081 | -0.48685 | 0.29875

## Actual Tolerance
ID | X | Y | Z | Pos Tol | Nag Tol | DEVIATION | OOT
Point 1 | 39.8244 | 50.2862 | -14.2256 | 0.03 | -0.03 | 0.018
Point 2 | 86.0982 | 25.9373 | -31.0666 | 0.03 | -0.03 | 0.0456
Point 3 | 91.2166 | -22.6487 | -32.9281 | 0.03 | -0.03 | 0.0448
Point 4 | 86.1297 | -29.9943 | -31.0764 | 0.03 | -0.03 | 0.0308
Point 5 | 74.5004 | -40.0907 | -26.8435 | 0.03 | -0.03 | 0.0414
Point 6 | 62.5139 | -45.2433 | -22.4808 | 0.03 | -0.03 | 0.0272
Point 7 | 34.8723 | -46.875 | -12.4203 | 0.03 | -0.03 | 0.0116
Point 8 | 27.5667 | -34.6539 | -9.7618 | 0.03 | -0.03 | 0.0162

## Actual
JOB NUMBER | 65709-5 |  |  | DATE: | 2007-02-27 06:42
PART NUMBER | MCMF-A |  |  |  |  | Verisurf Summary Report
PART NAME | E SIDE 1/4 X 20 HOLE POSITIONS |  |  | STAMP:
INSPECTOR | ROB DURHAM
|  |  | Total Points: |  | 8
Probe Radius: | 0 |  | Number of OOT: |  | 0
Upper Tol: | 0.03 |  | Average Deviation: |  | 0.014725
Lower Tol: | -0.03 |  | Maximum Deviation: |  | 0.0228
|  |  | Minimum Deviation: |  | 0.0057544
Report Output: | Actual Points |  | Deviation Range: |  | 0.017046
[7 empty] | Neg | Nom | Pos | Total | Pct
E SIDE 1/4-20 HOLE POSITIONS - CMM | [5 empty] | In Tolerance: | 0 | 0 | 8 | 8 | 100
[6 empty] | Out of Tolerance: | 0 |  | 0 | 0 | 0
Failed Points:
[6 empty] | Total Points: | 0 | 0 | 8 | 8 | 100
[7 empty] | DX | DY | DZ | 3D
[6 empty] | Maximum Deviation: | 0.0076402 | 0 | 0.0042376 | 0.0228
[6 empty] | Minimum Deviation: | -0.011643 | -0.022747 | -0.0027808 | 0.0057544
[6 empty] | Deviation Range: | 0.019283 | 0.022747 | 0.0070184 | 0.017046
[6 empty] | Average Deviation: | -0.0020435 | -0.012808 | 0.00074379 | 0.014725
[6 empty] | RMS Deviation: | 0.0059629 | 0.014701 | 0.0021703 | 0.016012
[6 empty] | Standard Deviation: | 0.0059886 | 0.007715 | 0.0021797 | 0.0067385
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 39.8244 | 50.2862 | -14.2256 | 0.018
Point 2 | 86.0982 | 25.9373 | -31.0666 | 0.0456
Point 3 | 91.2166 | -22.6487 | -32.9281 | 0.0448
Point 4 | 86.1297 | -29.9943 | -31.0764 | 0.0308
Point 5 | 74.5004 | -40.0907 | -26.8435 | 0.0414
Point 6 | 62.5139 | -45.2433 | -22.4808 | 0.0272
Point 7 | 34.8723 | -46.875 | -12.4203 | 0.0116
Point 8 | 27.5667 | -34.6539 | -9.7618 | 0.0162

## Deltas
JOB NUMBER | 65709-5 |  |  | DATE: | 2007-02-27 06:42
PART NUMBER | MCMF-A
PART NAME | E SIDE 1/4 X 20 HOLE POSITIONS |  |  | STAMP:
INSPECTOR | ROB DURHAM
|  |  |  | Sample Points: | 8
Probe Radius: | 0 |  | Average Deviation: |  | 0.014725
Upper Tol: | 0.03 |  |  | Maximum Deviation: | 0.0228
Lower Tol: | -0.03 |  |  | Minimum Deviation: | 0.0057544
Report Output: | Deviations |  |  | Deviation Range: | 0.017046
E SIDE 1/4-20 HOLE POSITIONS - CMM
|  |  | Std Dev: | 0.0067385
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 0.0076402 | -0.0038338 | -0.0027808 | 0.018
Point 2 | 0.0011381 | -0.022747 | -0.00041425 | 0.0456
Point 3 | -0.011643 | -0.018696 | 0.0042376 | 0.0448
Point 4 | -0.0054665 | -0.014252 | 0.0019896 | 0.0308
Point 5 | -0.001365 | -0.02066 | 0.00049683 | 0.0414
Point 6 | 0.0025768 | -0.013277 | -0.00093786 | 0.0272
Point 7 | -0.002583 | -0.0050555 | 0.00094012 | 0.0116
Point 8 | -0.0066463 | -0.0039422 | 0.0024191 | 0.0162

## Nominal
JOB NUMBER | 65709-5 |  |  | DATE: | 2007-02-27 06:42
PART NUMBER | MCMF-A
PART NAME | E SIDE 1/4 X 20 HOLE POSITIONS |  |  | STAMP:
INSPECTOR | ROB DURHAM
|  |  |  | Sample Points: | 8
Probe Radius: | 0 |  | Average Deviation: |  | 0.014725
Upper Tol: | 0.03 |  |  | Maximum Deviation: | 0.0228
Lower Tol: | -0.03 |  |  | Minimum Deviation: | 0.0057544
Report Output: | Nominal Points |  | Deviation Range: | Deviation Range: | 0.017046
E SIDE 1/4-20 HOLE POSITIONS - CMM
|  |  | Std Dev: | 0.0067385
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 39.8168 | 50.29 | -14.2228 | 0.018
Point 2 | 86.097 | 25.96 | -31.0662 | 0.0456
Point 3 | 91.2282 | -22.63 | -32.9323 | 0.0448
Point 4 | 86.1352 | -29.9801 | -31.0784 | 0.0308
Point 5 | 74.5018 | -40.07 | -26.844 | 0.0414
Point 6 | 62.5113 | -45.23 | -22.4799 | 0.0272
Point 7 | 34.8749 | -46.87 | -12.4213 | 0.0116
Point 8 | 27.5733 | -34.65 | -9.7642 | 0.0162

## Summary
Verisurf Software, Inc
1571 N. Harmony Circle
Anaheim CA 92807
714-970-1683
www.verisurf.com
Inspection Report
JOB NUMBER | 65709-5 |  | DATE: | 2007-02-27 06:42
PART NUMBER | MCMF-A
PART NAME | E SIDE 1/4 X 20 HOLE POSITIONS
INSPECTOR | ROB DURHAM
E SIDE 1/4-20 HOLE POSITIONS - CMM
8
| Neg | Nom | Pos | Total | Pct
In Tolerance: | 0 | 0 | 8 | 8 | 100
Out of Tolerance: | 0 |  | 0 | 0 | 0
Failed Points:
Total Points: | 0 | 0 | 8 | 8 | 100
| DX | DY | DZ | 3D
Maximum Deviation: | 0.0076402 | 0 | 0.0042376 | 0.0228
Minimum Deviation: | -0.011643 | -0.022747 | -0.0027808 | 0.0057544
Deviation Range: | 0.019283 | 0.022747 | 0.0070184 | 0.017046
Average Deviation: | -0.0020435 | -0.012808 | 0.00074379 | 0.014725
RMS Deviation: | 0.0059629 | 0.014701 | 0.0021703 | 0.016012
Standard Deviation: | 0.0059886 | 0.007715 | 0.0021797 | 0.0067385

## Gauss (hidden)
| 0.03 | 2 |  | total points | 8
| -0.03 | 2
-3s | -0.0054906 | 0.007091 | 0 | mean | 15 | 0.0013477 | 0.03 | -0.03 | 0.014725
| -0.0041429 | 0.012665 | 0 | stdev | 5 | 0.0013477 | 0.03 | -0.03 | 0.014725
| -0.0027952 | 0.021733 | 0 |  |  | 0.0013477 | 0.03 | -0.03 | 0.014725
| -0.0014475 | 0.035831 | 0 |  |  | 0.0013477 | 0.03 | -0.03 | 0.014725
| -9.9778e-05 | 0.056759 | 0 |  |  | 0.0013477 | 0.03 | -0.03 | 0.014725
-2s | 0.0012479 | 0.086386 | 0 |  |  | 0.0013477 | 0.03 | -0.03 | 0.014725
| 0.0025956 | 0.12632 | 0 |  |  | 0.0013477 | 0.03 | -0.03 | 0.014725
| 0.0039433 | 0.17747 | 0 |  |  | 0.0013477 | 0.03 | -0.03 | 0.014725
| 0.0052911 | 0.23956 | 0 |  |  | 0.0013477
| 0.0066388 | 0.3107 | 0 |  |  | 0.0013477
| 0.0079865 | 0.38715 | 0 |  |  | 0.0013477
| 0.0093342 | 0.46351 | 0 |  |  | 0.0013477
| 0.010682 | 0.53316 | 1 |  |  | 0.0013477
| 0.01203 | 0.58923 | 0 |  |  | 0.0013477
| 0.013377 | 0.62567 | 0 |  |  | 0.0013477
0 | 0.014725 | 0.63831 | 0 |  |  | 0.0013477
| 0.016073 | 0.62567 | 1 |  |  | 0.0013477
| 0.01742 | 0.58923 | 1 |  |  | 0.0013477
| 0.018768 | 0.53316 | 0 |  |  | 0.0013477
| 0.020116 | 0.46351 | 0 |  |  | 0.0013477
| 0.021464 | 0.38715 | 0 |  |  | 0.0013477
| 0.022811 | 0.3107 | 0 |  |  | 0.0013477
| 0.024159 | 0.23956 | 0 |  |  | 0.0013477
| 0.025507 | 0.17747 | 0 |  |  | 0.0013477
| 0.026854 | 0.12632 | 1 |  |  | 0.0013477
2s | 0.028202 | 0.086386 | 0 |  |  | 0.0013477
| 0.02955 | 0.056759 | 1 |  |  | 0.0013477
| 0.030897 | 0.035831 | 0 |  |  | 0.0013477
| 0.032245 | 0.021733 | 0 |  |  | 0.0013477
| 0.033593 | 0.012665 | 0 |  |  | 0.0013477
3s | 0.034941 | 0.007091 | 3 |  |  | 0.0013477