## Nominal Vector
ID | X | Y | Z | I | J | K
Point 1 | 42.6063 | 50.436 | -5.6779 | 0.13315 | -0.98869 | 0.068992
Point 2 | 36.3315 | 48.9356 | -2.7828 | 0.35452 | -0.93342 | -0.055207
Point 3 | 30.8745 | 46.0951 | -3.0481 | 0.56938 | -0.81258 | -0.12456
Point 4 | 37.3593 | 49.1232 | -7.8964 | 0.29393 | -0.95196 | 0.085882
Point 5 | 43.7631 | 50.0116 | -10.9094 | 0.078594 | -0.98818 | 0.13165
Point 6 | 49.5059 | 50.4375 | -8.0243 | -0.056069 | -0.98988 | 0.13039
Point 7 | 50.4175 | 49.7156 | -12.2143 | -0.095092 | -0.97967 | 0.17665
Point 8 | 55.0552 | 49.5943 | -9.3338 | -0.16551 | -0.97257 | 0.16346
Point 9 | 60.7559 | 48.2153 | -10.1397 | -0.2494 | -0.95112 | 0.18211
Point 10 | 55.8272 | 48.4633 | -14.2962 | -0.19159 | -0.95532 | 0.22509
Point 11 | 62.1755 | 46.7375 | -14.8795 | -0.27603 | -0.92765 | 0.25153
Point 12 | 68.1605 | 45.7502 | -10.412 | -0.36099 | -0.91293 | 0.19039
Point 13 | 70.76 | 43.6017 | -14.5307 | -0.4083 | -0.87489 | 0.26048
Point 14 | 77.9851 | 41.8265 | -4.1728 | -0.52751 | -0.8437 | 0.099489
Point 15 | 79.1079 | 39.4113 | -12.4926 | -0.55384 | -0.79831 | 0.23655
Point 16 | 89.3424 | 31.8067 | -8.2185 | -0.71271 | -0.67665 | 0.18489
Point 17 | 86.1568 | 26.7627 | -25.2702 | -0.67734 | -0.5931 | 0.43525
Point 18 | 83.0662 | 30.2463 | -24.9243 | -0.62499 | -0.64841 | 0.43468
Point 19 | 79.5412 | 33.5392 | -24.6396 | -0.56425 | -0.70038 | 0.43714
Point 20 | 74.8142 | 37.2735 | -24.0559 | -0.4806 | -0.75968 | 0.43807
Point 21 | 70.5576 | 40.0569 | -23.3931 | -0.40766 | -0.80452 | 0.43193
Point 22 | 99.8549 | 4.1115 | -18.9884 | -0.94093 | -0.16116 | 0.29779
Point 23 | 100.4498 | 8.1057 | -13.9185 | -0.94493 | -0.22788 | 0.23489
Point 24 | 98.4879 | 12.5009 | -16.4257 | -0.90932 | -0.30379 | 0.28433
Point 25 | 98.6464 | 16.9683 | -9.9565 | -0.909 | -0.35768 | 0.21397
Point 26 | 96.2156 | 20.3665 | -13.1739 | -0.85327 | -0.44707 | 0.26842
Point 27 | 65.3728 | -44.6647 | -19.074 | -0.26411 | 0.90108 | 0.34395
Point 28 | 71.7209 | -42.2602 | -19.4524 | -0.36971 | 0.87298 | 0.31815
Point 29 | 76.4819 | -38.7545 | -22.7168 | -0.44668 | 0.83248 | 0.3278
Point 30 | 78.2883 | -40.4698 | -14.7253 | -0.49497 | 0.83665 | 0.23456
Point 31 | 86.1023 | -35.2387 | -13.7541 | -0.62339 | 0.75789 | 0.19232
Point 32 | 84.6703 | -34.3217 | -20.2358 | -0.59429 | 0.75161 | 0.28619
Point 33 | 87.1561 | -29.1444 | -26.6023 | -0.65745 | 0.65151 | 0.37854
Point 34 | 90.8425 | -30.4138 | -15.4097 | -0.70434 | 0.67721 | 0.21282
Point 35 | 92.2837 | -26.0948 | -21.7105 | -0.74856 | 0.57978 | 0.32175
Point 36 | 92.3941 | -22.1335 | -27.1653 | -0.77798 | 0.47418 | 0.41219
Point 37 | 95.7419 | -22.595 | -18.8941 | -0.82802 | 0.48248 | 0.28566
Point 38 | 96.7568 | -16.9379 | -23.1751 | -0.87709 | 0.317 | 0.36087
Point 39 | 98.5257 | -16.9731 | -18.2133 | -0.90931 | 0.30933 | 0.27832
Point 40 | 98.6692 | -10.4221 | -22.5943 | -0.92506 | 0.1562 | 0.34622
Point 41 | 101.3 | -4.5067 | -15.8278 | -0.97145 | 0.030383 | 0.23528
Point 42 | 101.572 | -11.3051 | -10.6688 | -0.97606 | 0.17085 | 0.13462
Point 43 | 99.8558 | -19.0094 | -4.913 | -0.92834 | 0.37157 | -0.010768
Point 44 | 95.6392 | -26.4314 | -3.2762 | -0.80864 | 0.58556 | -0.056832
Point 45 | 86.137 | -36.4681 | -3.0858 | -0.6467 | 0.76189 | -0.036208
Point 46 | 80.7774 | -40.5856 | -3.5095 | -0.56659 | 0.82394 | -0.0097135
Point 47 | 74.4495 | -44.1747 | -7.046 | -0.45522 | 0.88403 | 0.10615
Point 48 | 59.0725 | -49.1238 | -8.9743 | -0.1725 | 0.96889 | 0.17745
Point 49 | 48.1225 | -49.9165 | -7.7521 | 0.078832 | 0.98505 | 0.15315
Point 50 | 35.5831 | -46.9476 | -4.5564 | 0.46689 | 0.84878 | 0.24816

## Actual Tolerance
ID | X | Y | Z | Pos Tol | Nag Tol | DEVIATION | OOT
Point 1 | 42.5555 | 50.8126 | -5.7042 | 0.25 | -0.25 | -0.3808 | -0.1308
Point 2 | 36.1958 | 49.2927 | -2.7617 | 0.25 | -0.25 | -0.3826 | -0.1326
Point 3 | 30.71 | 46.33 | -3.0121 | 0.25 | -0.25 | -0.289 | -0.039
Point 4 | 37.2658 | 49.426 | -7.9237 | 0.25 | -0.25 | -0.3182 | -0.0682
Point 5 | 43.7372 | 50.3375 | -10.9528 | 0.25 | -0.25 | -0.3298 | -0.0798
Point 6 | 49.524 | 50.7562 | -8.0663 | 0.25 | -0.25 | -0.322 | -0.072
Point 7 | 50.4467 | 50.0163 | -12.2685 | 0.25 | -0.25 | -0.307 | -0.057
Point 8 | 55.1083 | 49.9062 | -9.3862 | 0.25 | -0.25 | -0.3207 | -0.0707
Point 9 | 60.834 | 48.5133 | -10.1968 | 0.25 | -0.25 | -0.3133 | -0.0633
Point 10 | 55.8841 | 48.7467 | -14.363 | 0.25 | -0.25 | -0.2967 | -0.0467
Point 11 | 62.2667 | 47.0442 | -14.9627 | 0.25 | -0.25 | -0.3306 | -0.0806
Point 12 | 68.2631 | 46.0096 | -10.4661 | 0.25 | -0.25 | -0.2842 | -0.0342
Point 13 | 70.8652 | 43.827 | -14.5978 | 0.25 | -0.25 | -0.2575 | -0.0075
Point 14 | 78.1469 | 42.0854 | -4.2034 | 0.25 | -0.25 | -0.3068 | -0.0568
Point 15 | 79.236 | 39.5961 | -12.5473 | 0.25 | -0.25 | -0.2314
Point 16 | 89.5036 | 31.9597 | -8.2603 | 0.25 | -0.25 | -0.2261
Point 17 | 86.2604 | 26.8534 | -25.3368 | 0.25 | -0.25 | -0.153
Point 18 | 83.247 | 30.4338 | -25.05 | 0.25 | -0.25 | -0.2892 | -0.0392
Point 19 | 79.6592 | 33.6857 | -24.731 | 0.25 | -0.25 | -0.2091
Point 20 | 74.9201 | 37.441 | -24.1524 | 0.25 | -0.25 | -0.2204
Point 21 | 70.5302 | 40.0028 | -23.364 | 0.25 | -0.25 | 0.0672
Point 22 | 99.8879 | 4.1172 | -18.9989 | 0.25 | -0.25 | -0.0351
Point 23 | 100.6014 | 8.1423 | -13.9562 | 0.25 | -0.25 | -0.1605
Point 24 | 98.6331 | 12.5494 | -16.4711 | 0.25 | -0.25 | -0.1596
Point 25 | 98.7596 | 17.0128 | -9.9831 | 0.25 | -0.25 | -0.1245
Point 26 | 96.2939 | 20.4075 | -13.1985 | 0.25 | -0.25 | -0.0918
Point 27 | 65.3631 | -44.6317 | -19.0614 | 0.25 | -0.25 | 0.0367
Point 28 | 71.7073 | -42.228 | -19.4406 | 0.25 | -0.25 | 0.0369
Point 29 | 76.4913 | -38.7719 | -22.7237 | 0.25 | -0.25 | -0.0208
Point 30 | 78.2922 | -40.4764 | -14.7272 | 0.25 | -0.25 | -0.0078
Point 31 | 86.09 | -35.2237 | -13.7503 | 0.25 | -0.25 | 0.0197
Point 32 | 84.7014 | -34.3611 | -20.2508 | 0.25 | -0.25 | -0.0524
Point 33 | 87.253 | -29.2404 | -26.6581 | 0.25 | -0.25 | -0.1474
Point 34 | 90.8334 | -30.405 | -15.4069 | 0.25 | -0.25 | 0.013
Point 35 | 92.4593 | -26.2308 | -21.786 | 0.25 | -0.25 | -0.2346
Point 36 | 92.6023 | -22.2604 | -27.2756 | 0.25 | -0.25 | -0.2676 | -0.0176
Point 37 | 95.9085 | -22.6921 | -18.9515 | 0.25 | -0.25 | -0.2011
Point 38 | 96.8549 | -16.9734 | -23.2155 | 0.25 | -0.25 | -0.1119
Point 39 | 98.5424 | -16.9789 | -18.2183 | 0.25 | -0.25 | -0.0184
Point 40 | 98.7694 | -10.439 | -22.6318 | 0.25 | -0.25 | -0.1083
Point 41 | 101.3824 | -4.5093 | -15.8478 | 0.25 | -0.25 | -0.0848
Point 42 | 101.5658 | -11.304 | -10.668 | 0.25 | -0.25 | 0.0064
Point 43 | 99.8807 | -19.0194 | -4.9127 | 0.25 | -0.25 | -0.0269
Point 44 | 95.7922 | -26.5422 | -3.2655 | 0.25 | -0.25 | -0.1892
Point 45 | 86.2439 | -36.5941 | -3.0798 | 0.25 | -0.25 | -0.1653
Point 46 | 80.8334 | -40.667 | -3.5085 | 0.25 | -0.25 | -0.0988
Point 47 | 74.4337 | -44.144 | -7.0423 | 0.25 | -0.25 | 0.0348
Point 48 | 59.0689 | -49.1039 | -8.9706 | 0.25 | -0.25 | 0.0205
Point 49 | 48.1224 | -49.9178 | -7.7524 | 0.25 | -0.25 | -0.0014
Point 50 | 35.5777 | -46.9576 | -4.5593 | 0.25 | -0.25 | -0.0117

## Actual
JOB NUMBER | 65709-5 |  |  | DATE: | 2007-02-27 06:32
PART NUMBER | MCMF-A |  |  |  |  | Verisurf Summary Report
PART NAME | INSIDE CAST D-SIDE |  |  | STAMP:
INSPECTOR | ROB DURHAM
|  |  | Total Points: |  | 50
Probe Radius: | 0 |  | Number of OOT: |  | 16
Upper Tol: | 0.25 |  | Average Deviation: |  | -0.15706
Lower Tol: | -0.25 |  | Maximum Deviation: |  | 0.067201
|  |  | Minimum Deviation: |  | -0.38265
Report Output: | Actual Points |  | Deviation Range: |  | 0.44985
[7 empty] | Neg | Nom | Pos | Total | Pct
D SIDE INNER CAST - CMM | [5 empty] | In Tolerance: | 26 | 0 | 8 | 34 | 68
[6 empty] | Out of Tolerance: | 16 |  | 0 | 16 | 32
Failed Points:
[6 empty] | Total Points: | 42 | 0 | 8 | 50 | 100
[7 empty] | DX | DY | DZ | 3D
[6 empty] | Maximum Deviation: | 0.20817 | 0.37652 | 0.035997 | 0.067201
[6 empty] | Minimum Deviation: | -0.16455 | -0.136 | -0.12569 | -0.38265
[6 empty] | Deviation Range: | 0.37273 | 0.51252 | 0.16169 | 0.44985
[6 empty] | Average Deviation: | 0.055426 | 0.088675 | -0.030229 | -0.15706
[6 empty] | RMS Deviation: | 0.098108 | 0.17414 | 0.047419 | 0.20542
[6 empty] | Standard Deviation: | 0.081774 | 0.15139 | 0.036906 | 0.13374
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 42.5555 | 50.8126 | -5.7042 | -0.3808 | -0.1308
Point 2 | 36.1958 | 49.2927 | -2.7617 | -0.3826 | -0.1326
Point 3 | 30.71 | 46.33 | -3.0121 | -0.289 | -0.039
Point 4 | 37.2658 | 49.426 | -7.9237 | -0.3182 | -0.0682
Point 5 | 43.7372 | 50.3375 | -10.9528 | -0.3298 | -0.0798
Point 6 | 49.524 | 50.7562 | -8.0663 | -0.322 | -0.072
Point 7 | 50.4467 | 50.0163 | -12.2685 | -0.307 | -0.057
Point 8 | 55.1083 | 49.9062 | -9.3862 | -0.3207 | -0.0707
Point 9 | 60.834 | 48.5133 | -10.1968 | -0.3133 | -0.0633
Point 10 | 55.8841 | 48.7467 | -14.363 | -0.2967 | -0.0467
Point 11 | 62.2667 | 47.0442 | -14.9627 | -0.3306 | -0.0806
Point 12 | 68.2631 | 46.0096 | -10.4661 | -0.2842 | -0.0342
Point 13 | 70.8652 | 43.827 | -14.5978 | -0.2575 | -0.0075
Point 14 | 78.1469 | 42.0854 | -4.2034 | -0.3068 | -0.0568
Point 15 | 79.236 | 39.5961 | -12.5473 | -0.2314
Point 16 | 89.5036 | 31.9597 | -8.2603 | -0.2261
Point 17 | 86.2604 | 26.8534 | -25.3368 | -0.153
Point 18 | 83.247 | 30.4338 | -25.05 | -0.2892 | -0.0392
Point 19 | 79.6592 | 33.6857 | -24.731 | -0.2091
Point 20 | 74.9201 | 37.441 | -24.1524 | -0.2204
Point 21 | 70.5302 | 40.0028 | -23.364 | 0.0672
Point 22 | 99.8879 | 4.1172 | -18.9989 | -0.0351
Point 23 | 100.6014 | 8.1423 | -13.9562 | -0.1605
Point 24 | 98.6331 | 12.5494 | -16.4711 | -0.1596
Point 25 | 98.7596 | 17.0128 | -9.9831 | -0.1245
Point 26 | 96.2939 | 20.4075 | -13.1985 | -0.0918
Point 27 | 65.3631 | -44.6317 | -19.0614 | 0.0367
Point 28 | 71.7073 | -42.228 | -19.4406 | 0.0369
Point 29 | 76.4913 | -38.7719 | -22.7237 | -0.0208
Point 30 | 78.2922 | -40.4764 | -14.7272 | -0.0078
Point 31 | 86.09 | -35.2237 | -13.7503 | 0.0197
Point 32 | 84.7014 | -34.3611 | -20.2508 | -0.0524
Point 33 | 87.253 | -29.2404 | -26.6581 | -0.1474
Point 34 | 90.8334 | -30.405 | -15.4069 | 0.013
Point 35 | 92.4593 | -26.2308 | -21.786 | -0.2346
Point 36 | 92.6023 | -22.2604 | -27.2756 | -0.2676 | -0.0176
Point 37 | 95.9085 | -22.6921 | -18.9515 | -0.2011
Point 38 | 96.8549 | -16.9734 | -23.2155 | -0.1119
Point 39 | 98.5424 | -16.9789 | -18.2183 | -0.0184
Point 40 | 98.7694 | -10.439 | -22.6318 | -0.1083
Point 41 | 101.3824 | -4.5093 | -15.8478 | -0.0848
Point 42 | 101.5658 | -11.304 | -10.668 | 0.0064
Point 43 | 99.8807 | -19.0194 | -4.9127 | -0.0269
Point 44 | 95.7922 | -26.5422 | -3.2655 | -0.1892
Point 45 | 86.2439 | -36.5941 | -3.0798 | -0.1653
Point 46 | 80.8334 | -40.667 | -3.5085 | -0.0988
Point 47 | 74.4337 | -44.144 | -7.0423 | 0.0348
Point 48 | 59.0689 | -49.1039 | -8.9706 | 0.0205
Point 49 | 48.1224 | -49.9178 | -7.7524 | -0.0014
Point 50 | 35.5777 | -46.9576 | -4.5593 | -0.0117

## Deltas
JOB NUMBER | 65709-5 |  |  | DATE: | 2007-02-27 06:32
PART NUMBER | MCMF-A
PART NAME | INSIDE CAST D-SIDE |  |  | STAMP:
INSPECTOR | ROB DURHAM
|  |  |  | Sample Points: | 50
Probe Radius: | 0 |  | Average Deviation: |  | -0.15706
Upper Tol: | 0.25 |  |  | Maximum Deviation: | 0.067201
Lower Tol: | -0.25 |  |  | Minimum Deviation: | -0.38265
Report Output: | Deviations |  |  | Deviation Range: | 0.44985
D SIDE INNER CAST - CMM
|  |  | Std Dev: | 0.13374
ID | X | Y | Z | DEVIATION | OOT
Point 1 | -0.050707 | 0.37652 | -0.026274 | -0.3808 | -0.1308
Point 2 | -0.13566 | 0.35717 | 0.021125 | -0.3826 | -0.1326
Point 3 | -0.16455 | 0.23484 | 0.035997 | -0.289 | -0.039
Point 4 | -0.093522 | 0.30289 | -0.027326 | -0.3182 | -0.0682
Point 5 | -0.025912 | 0.3259 | -0.043419 | -0.3298 | -0.0798
Point 6 | 0.018056 | 0.31878 | -0.041989 | -0.322 | -0.072
Point 7 | 0.029194 | 0.30077 | -0.054234 | -0.307 | -0.057
Point 8 | 0.053074 | 0.31187 | -0.052415 | -0.3207 | -0.0707
Point 9 | 0.078133 | 0.29797 | -0.057051 | -0.3133 | -0.0633
Point 10 | 0.056862 | 0.28345 | -0.066781 | -0.2967 | -0.0467
Point 11 | 0.091269 | 0.30672 | -0.083166 | -0.3306 | -0.0806
Point 12 | 0.10259 | 0.25944 | -0.054106 | -0.2842 | -0.0342
Point 13 | 0.10515 | 0.22532 | -0.067085 | -0.2575 | -0.0075
Point 14 | 0.16187 | 0.25889 | -0.030529 | -0.3068 | -0.0568
Point 15 | 0.12815 | 0.18472 | -0.054736 | -0.2314
Point 16 | 0.16113 | 0.15298 | -0.041799 | -0.2261
Point 17 | 0.10361 | 0.090726 | -0.066581 | -0.153
Point 18 | 0.18072 | 0.18749 | -0.12569 | -0.2892 | -0.0392
Point 19 | 0.11797 | 0.14643 | -0.091396 | -0.2091
Point 20 | 0.10595 | 0.16747 | -0.096569 | -0.2204
Point 21 | -0.027386 | -0.05406 | 0.029044 | 0.0672
Point 22 | 0.033004 | 0.005653 | -0.010445 | -0.0351
Point 23 | 0.15167 | 0.036578 | -0.037699 | -0.1605
Point 24 | 0.14516 | 0.048496 | -0.045386 | -0.1596
Point 25 | 0.11318 | 0.044534 | -0.026642 | -0.1245
Point 26 | 0.078289 | 0.04102 | -0.02463 | -0.0918
Point 27 | -0.0096866 | 0.033049 | 0.012615 | 0.0367
Point 28 | -0.013637 | 0.0322 | 0.011735 | 0.0369
Point 29 | 0.0093142 | -0.017349 | -0.0068379 | -0.0208
Point 30 | 0.0038779 | -0.0065528 | -0.0018284 | -0.0078
Point 31 | -0.012281 | 0.014948 | 0.0037934 | 0.0197
Point 32 | 0.031159 | -0.039423 | -0.015028 | -0.0524
Point 33 | 0.096915 | -0.096028 | -0.055798 | -0.1474
Point 34 | -0.0091457 | 0.0087934 | 0.0027634 | 0.013
Point 35 | 0.17559 | -0.136 | -0.075475 | -0.2346
Point 36 | 0.20817 | -0.12688 | -0.11029 | -0.2676 | -0.0176
Point 37 | 0.16654 | -0.097039 | -0.057447 | -0.2011
Point 38 | 0.098158 | -0.035477 | -0.040386 | -0.1119
Point 39 | 0.016687 | -0.0057747 | -0.0050749 | -0.0184
Point 40 | 0.10021 | -0.016921 | -0.037505 | -0.1083
Point 41 | 0.08242 | -0.0025789 | -0.019961 | -0.0848
Point 42 | -0.0062499 | 0.001094 | 0.00086202 | 0.0064
Point 43 | 0.02496 | -0.0099933 | 0.00029103 | -0.0269
Point 44 | 0.15303 | -0.11081 | 0.010755 | -0.1892
Point 45 | 0.10693 | -0.12598 | 0.0059869 | -0.1653
Point 46 | 0.055966 | -0.081386 | 0.00095946 | -0.0988
Point 47 | -0.015824 | 0.030732 | 0.0036913 | 0.0348
Point 48 | -0.003542 | 0.019889 | 0.0036339 | 0.0205
Point 49 | -0.00010824 | -0.0013546 | -0.00021074 | -0.0014
Point 50 | -0.005455 | -0.0099761 | -0.0029264 | -0.0117

## Nominal
JOB NUMBER | 65709-5 |  |  | DATE: | 2007-02-27 06:32
PART NUMBER | MCMF-A
PART NAME | INSIDE CAST D-SIDE |  |  | STAMP:
INSPECTOR | ROB DURHAM
|  |  |  | Sample Points: | 50
Probe Radius: | 0 |  | Average Deviation: |  | -0.15706
Upper Tol: | 0.25 |  |  | Maximum Deviation: | 0.067201
Lower Tol: | -0.25 |  |  | Minimum Deviation: | -0.38265
Report Output: | Nominal Points |  | Deviation Range: | Deviation Range: | 0.44985
D SIDE INNER CAST - CMM
|  |  | Std Dev: | 0.13374
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 42.6063 | 50.436 | -5.6779 | -0.3808 | -0.1308
Point 2 | 36.3315 | 48.9356 | -2.7828 | -0.3826 | -0.1326
Point 3 | 30.8745 | 46.0951 | -3.0481 | -0.289 | -0.039
Point 4 | 37.3593 | 49.1232 | -7.8964 | -0.3182 | -0.0682
Point 5 | 43.7631 | 50.0116 | -10.9094 | -0.3298 | -0.0798
Point 6 | 49.5059 | 50.4375 | -8.0243 | -0.322 | -0.072
Point 7 | 50.4175 | 49.7156 | -12.2143 | -0.307 | -0.057
Point 8 | 55.0552 | 49.5943 | -9.3338 | -0.3207 | -0.0707
Point 9 | 60.7559 | 48.2153 | -10.1397 | -0.3133 | -0.0633
Point 10 | 55.8272 | 48.4633 | -14.2962 | -0.2967 | -0.0467
Point 11 | 62.1755 | 46.7375 | -14.8795 | -0.3306 | -0.0806
Point 12 | 68.1605 | 45.7502 | -10.412 | -0.2842 | -0.0342
Point 13 | 70.76 | 43.6017 | -14.5307 | -0.2575 | -0.0075
Point 14 | 77.9851 | 41.8265 | -4.1728 | -0.3068 | -0.0568
Point 15 | 79.1079 | 39.4113 | -12.4926 | -0.2314
Point 16 | 89.3424 | 31.8067 | -8.2185 | -0.2261
Point 17 | 86.1568 | 26.7627 | -25.2702 | -0.153
Point 18 | 83.0662 | 30.2463 | -24.9243 | -0.2892 | -0.0392
Point 19 | 79.5412 | 33.5392 | -24.6396 | -0.2091
Point 20 | 74.8142 | 37.2735 | -24.0559 | -0.2204
Point 21 | 70.5576 | 40.0569 | -23.3931 | 0.0672
Point 22 | 99.8549 | 4.1115 | -18.9884 | -0.0351
Point 23 | 100.4498 | 8.1057 | -13.9185 | -0.1605
Point 24 | 98.4879 | 12.5009 | -16.4257 | -0.1596
Point 25 | 98.6464 | 16.9683 | -9.9565 | -0.1245
Point 26 | 96.2156 | 20.3665 | -13.1739 | -0.0918
Point 27 | 65.3728 | -44.6647 | -19.074 | 0.0367
Point 28 | 71.7209 | -42.2602 | -19.4524 | 0.0369
Point 29 | 76.4819 | -38.7545 | -22.7168 | -0.0208
Point 30 | 78.2883 | -40.4698 | -14.7253 | -0.0078
Point 31 | 86.1023 | -35.2387 | -13.7541 | 0.0197
Point 32 | 84.6703 | -34.3217 | -20.2358 | -0.0524
Point 33 | 87.1561 | -29.1444 | -26.6023 | -0.1474
Point 34 | 90.8425 | -30.4138 | -15.4097 | 0.013
Point 35 | 92.2837 | -26.0948 | -21.7105 | -0.2346
Point 36 | 92.3941 | -22.1335 | -27.1653 | -0.2676 | -0.0176
Point 37 | 95.7419 | -22.595 | -18.8941 | -0.2011
Point 38 | 96.7568 | -16.9379 | -23.1751 | -0.1119
Point 39 | 98.5257 | -16.9731 | -18.2133 | -0.0184
Point 40 | 98.6692 | -10.4221 | -22.5943 | -0.1083
Point 41 | 101.3 | -4.5067 | -15.8278 | -0.0848
Point 42 | 101.572 | -11.3051 | -10.6688 | 0.0064
Point 43 | 99.8558 | -19.0094 | -4.913 | -0.0269
Point 44 | 95.6392 | -26.4314 | -3.2762 | -0.1892
Point 45 | 86.137 | -36.4681 | -3.0858 | -0.1653
Point 46 | 80.7774 | -40.5856 | -3.5095 | -0.0988
Point 47 | 74.4495 | -44.1747 | -7.046 | 0.0348
Point 48 | 59.0725 | -49.1238 | -8.9743 | 0.0205
Point 49 | 48.1225 | -49.9165 | -7.7521 | -0.0014
Point 50 | 35.5831 | -46.9476 | -4.5564 | -0.0117

## Summary
Verisurf Software, Inc
1571 N. Harmony Circle
Anaheim CA 92807
714-970-1683
www.verisurf.com
Inspection Report
JOB NUMBER | 65709-5 |  | DATE: | 2007-02-27 06:32
PART NUMBER | MCMF-A
PART NAME | INSIDE CAST D-SIDE
INSPECTOR | ROB DURHAM
D SIDE INNER CAST - CMM
50
| Neg | Nom | Pos | Total | Pct
In Tolerance: | 26 | 0 | 8 | 34 | 68
Out of Tolerance: | 16 |  | 0 | 16 | 32
Failed Points:
Total Points: | 42 | 0 | 8 | 50 | 100
| DX | DY | DZ | 3D
Maximum Deviation: | 0.20817 | 0.37652 | 0.035997 | 0.067201
Minimum Deviation: | -0.16455 | -0.136 | -0.12569 | -0.38265
Deviation Range: | 0.37273 | 0.51252 | 0.16169 | 0.44985
Average Deviation: | 0.055426 | 0.088675 | -0.030229 | -0.15706
RMS Deviation: | 0.098108 | 0.17414 | 0.047419 | 0.20542
Standard Deviation: | 0.081774 | 0.15139 | 0.036906 | 0.13374

## Gauss (hidden)
| 0.25 | 4 |  | total points | 50
| -0.25 | 4
-3s | -0.55828 | 0.044318 | 0 | mean | 15 | 0.026748 | 0.25 | -0.25 | -0.15706
| -0.53153 | 0.079155 | 0 | stdev | 5 | 0.026748 | 0.25 | -0.25 | -0.15706
| -0.50478 | 0.13583 | 0 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
| -0.47803 | 0.22395 | 0 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
| -0.45129 | 0.35475 | 0 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
-2s | -0.42454 | 0.53991 | 0 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
| -0.39779 | 0.7895 | 2 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
| -0.37104 | 1.1092 | 0 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
| -0.3443 | 1.4973 | 5 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
| -0.31755 | 1.9419 | 4 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
| -0.2908 | 2.4197 | 4 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
| -0.26405 | 2.8969 | 1 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
| -0.23731 | 3.3322 | 4 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
| -0.21056 | 3.6827 | 3 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
| -0.18381 | 3.9104 | 3 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
0 | -0.15706 | 3.9894 | 2 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
| -0.13031 | 3.9104 | 3 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
| -0.10357 | 3.6827 | 3 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
| -0.076819 | 3.3322 | 1 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
| -0.050071 | 2.8969 | 2 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
| -0.023324 | 2.4197 | 5 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
| 0.0034241 | 1.9419 | 4 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
| 0.030172 | 1.4973 | 3 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
| 0.056919 | 1.1092 | 1 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
| 0.083667 | 0.7895 | 0 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
2s | 0.11041 | 0.53991 | 0 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
| 0.13716 | 0.35475 | 0 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
| 0.16391 | 0.22395 | 0 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
| 0.19066 | 0.13583 | 0 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
| 0.21741 | 0.079155 | 0 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
3s | 0.24415 | 0.044318 | 0 |  |  | 0.026748 | 0.25 | -0.25 | -0.15706
[7 empty] | 0.25 | -0.25 | -0.15706
[7 empty] | 0.25 | -0.25 | -0.15706
[7 empty] | 0.25 | -0.25 | -0.15706
[7 empty] | 0.25 | -0.25 | -0.15706
[7 empty] | 0.25 | -0.25 | -0.15706
[7 empty] | 0.25 | -0.25 | -0.15706
[7 empty] | 0.25 | -0.25 | -0.15706
[7 empty] | 0.25 | -0.25 | -0.15706
[7 empty] | 0.25 | -0.25 | -0.15706
[7 empty] | 0.25 | -0.25 | -0.15706
[7 empty] | 0.25 | -0.25 | -0.15706
[7 empty] | 0.25 | -0.25 | -0.15706
[7 empty] | 0.25 | -0.25 | -0.15706
[7 empty] | 0.25 | -0.25 | -0.15706
[7 empty] | 0.25 | -0.25 | -0.15706
[7 empty] | 0.25 | -0.25 | -0.15706
[7 empty] | 0.25 | -0.25 | -0.15706
[7 empty] | 0.25 | -0.25 | -0.15706
[7 empty] | 0.25 | -0.25 | -0.15706