## Actual
JOB NUMBER | 65709-6 |  |  | DATE: | 2007-03-23 06:05
PART NUMBER | SE141-114 |  |  |  |  | Verisurf Summary Report
PART NAME | Datum E Flange |  |  | STAMP:
INSPECTOR | EDWIN ROOT
|  |  | Total Points: |  | 51
Probe Radius: | 0 |  | Number of OOT: |  | 0
Upper Tol: | 0.01 |  | Average Deviation: |  | 0.00084706
Lower Tol: | -0.01 |  | Maximum Deviation: |  | 0.0088
|  |  | Minimum Deviation: |  | -0.0050384
Report Output: | Actual Points |  | Deviation Range: |  | 0.013838
[7 empty] | Neg | Nom | Pos | Total | Pct
PROFILE OF DATUM E | [5 empty] | In Tolerance: | 22 | 1 | 28 | 51 | 100
[6 empty] | Out of Tolerance: | 0 |  | 0 | 0 | 0
Failed Points:
[6 empty] | Total Points: | 22 | 1 | 28 | 51 | 100
[7 empty] | DX | DY | DZ | 3D
[6 empty] | Maximum Deviation: | 0.0017232 | 2.1316e-14 | 0.0047345 | 0.0088
[6 empty] | Minimum Deviation: | -0.0030021 | -1.4211e-14 | -0.0082481 | -0.0050384
[6 empty] | Deviation Range: | 0.0047253 | 3.5527e-14 | 0.012983 | 0.013838
[6 empty] | Average Deviation: | -0.00028967 | 9.7525e-16 | -0.00079587 | 0.00084706
[6 empty] | RMS Deviation: | 0.0013261 | 7.3114e-15 | 0.0036434 | 0.0038772
[6 empty] | Standard Deviation: | 0.0013069 | 7.3182e-15 | 0.0035908 | 0.003812
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 27.9468 | -41.2893 | -9.9007 | -0.0047
Point 2 | 30.4126 | -41.5891 | -10.799 | -0.004
Point 3 | 30.2417 | -44.3502 | -10.7357 | -0.005
Point 4 | 32.4792 | -43.9904 | -11.551 | -0.0042
Point 5 | 36.1347 | -48.2051 | -12.8807 | -0.0049
Point 6 | 41.039 | -48.6795 | -14.6657 | -0.0049
Point 7 | 42.5621 | -50.9414 | -15.2206 | -0.0044
Point 8 | 44.3992 | -49.2278 | -15.8893 | -0.0043
Point 9 | 46.2459 | -51.2332 | -16.5616 | -0.0042
Point 10 | 48.1033 | -49.2388 | -17.2376 | -0.0042
Point 11 | 61.7824 | -45.8699 | -22.2199 | -0.001
Point 12 | 64.2476 | -47.0569 | -23.1185 | 0.0003
Point 13 | 65.1826 | -44.5502 | -23.4585 | 0
Point 14 | 68.5187 | -43.083 | -24.6737 | 0.0009
Point 15 | 67.7011 | -45.6257 | -24.3761 | 0.0009
Point 16 | 70.5227 | -44.318 | -25.4017 | -0.0004
Point 17 | 71.0721 | -41.8147 | -25.6017 | -0.0004
Point 18 | 74.6813 | -41.9873 | -26.9177 | 0.0019
Point 19 | 76.2403 | -38.7268 | -27.4852 | 0.002
Point 20 | 86.6314 | -29.0398 | -31.2726 | 0.0069
Point 21 | 90.9291 | -25.752 | -32.8388 | 0.0088
Point 22 | 91.7964 | -20.4103 | -33.152 | 0.0064
Point 23 | 86.5662 | 27.2204 | -31.2459 | 0.0042
Point 24 | 83.6145 | 28.1324 | -30.1706 | 0.0032
Point 25 | 83.9466 | 30.8855 | -30.2915 | 0.0033
Point 26 | 81.1829 | 31.1083 | -29.2847 | 0.0024
Point 27 | 81.4305 | 33.7789 | -29.3744 | 0.002
Point 28 | 78.749 | 33.7394 | -28.398 | 0.0016
Point 29 | 78.753 | 36.5024 | -28.3988 | 0.001
Point 30 | 75.993 | 36.3765 | -27.3937 | 0.0005
Point 31 | 75.9254 | 39.0489 | -27.3684 | -0.0001
Point 32 | 72.3375 | 41.8388 | -26.0607 | -0.0018
Point 33 | 73.2958 | 38.6625 | -26.4113 | -0.0002
Point 34 | 69.019 | 41.7855 | -24.8532 | -0.0015
Point 35 | 63.8711 | 46.6576 | -22.9791 | -0.002
Point 36 | 55.7798 | 50.52 | -20.0351 | -0.0009
Point 37 | 56.6272 | 48.1368 | -20.3439 | -0.0007
Point 38 | 52.2176 | 51.5991 | -18.7395 | -0.0001
Point 39 | 53.366 | 49.234 | -19.1571 | -0.0005
Point 40 | 48.5877 | 52.376 | -17.4195 | 0.001
Point 41 | 49.9084 | 50.1396 | -17.8995 | 0.0004
Point 42 | 44.9068 | 52.7656 | -16.0802 | 0.0014
Point 43 | 46.6623 | 50.6815 | -16.7184 | 0.0007
Point 44 | 42.9614 | 50.8555 | -15.373 | 0.0022
Point 45 | 38.4137 | 51.9259 | -13.7194 | 0.0038
Point 46 | 32.0962 | 50.2474 | -11.4227 | 0.0063
Point 47 | 34.1625 | 49.0375 | -12.1738 | 0.0054
Point 48 | 31.7218 | 47.8874 | -11.2864 | 0.0062
Point 49 | 29.2861 | 48.7501 | -10.4011 | 0.0074
Point 50 | 26.1795 | 46.6169 | -9.2716 | 0.0085
Point 51 | 28.6908 | 46.0697 | -10.1851 | 0.008

## Nominal
JOB NUMBER | 65709-6 |  |  | DATE: | 2007-03-23 06:05
PART NUMBER | SE141-114
PART NAME | Datum E Flange |  |  | STAMP:
INSPECTOR | EDWIN ROOT
|  |  |  | Sample Points: | 51
Probe Radius: | 0 |  | Average Deviation: |  | 0.00084706
Upper Tol: | 0.01 |  |  | Maximum Deviation: | 0.0088
Lower Tol: | -0.01 |  |  | Minimum Deviation: | -0.0050384
Report Output: | Nominal Points |  | Deviation Range: | Deviation Range: | 0.013838
PROFILE OF DATUM E
|  |  | Std Dev: | 0.003812
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 27.9451 | -41.2893 | -9.9052 | -0.0047
Point 2 | 30.4112 | -41.5891 | -10.8027 | -0.004
Point 3 | 30.24 | -44.3502 | -10.7404 | -0.005
Point 4 | 32.4778 | -43.9904 | -11.5549 | -0.0042
Point 5 | 36.133 | -48.2051 | -12.8853 | -0.0049
Point 6 | 41.0373 | -48.6795 | -14.6703 | -0.0049
Point 7 | 42.5606 | -50.9414 | -15.2247 | -0.0044
Point 8 | 44.3978 | -49.2278 | -15.8934 | -0.0043
Point 9 | 46.2445 | -51.2332 | -16.5656 | -0.0042
Point 10 | 48.1018 | -49.2388 | -17.2416 | -0.0042
Point 11 | 61.782 | -45.8699 | -22.2208 | -0.001
Point 12 | 64.2477 | -47.0569 | -23.1182 | 0.0003
Point 13 | 65.1826 | -44.5502 | -23.4585 | 0
Point 14 | 68.519 | -43.083 | -24.6729 | 0.0009
Point 15 | 67.7014 | -45.6257 | -24.3752 | 0.0009
Point 16 | 70.5225 | -44.318 | -25.4021 | -0.0004
Point 17 | 71.072 | -41.8147 | -25.6021 | -0.0004
Point 18 | 74.682 | -41.9873 | -26.916 | 0.0019
Point 19 | 76.2409 | -38.7268 | -27.4834 | 0.002
Point 20 | 86.6338 | -29.0398 | -31.2661 | 0.0069
Point 21 | 90.9321 | -25.752 | -32.8305 | 0.0088
Point 22 | 91.7986 | -20.4103 | -33.1459 | 0.0064
Point 23 | 86.5677 | 27.2204 | -31.242 | 0.0042
Point 24 | 83.6157 | 28.1324 | -30.1676 | 0.0032
Point 25 | 83.9477 | 30.8855 | -30.2884 | 0.0033
Point 26 | 81.1837 | 31.1083 | -29.2824 | 0.0024
Point 27 | 81.4312 | 33.7789 | -29.3725 | 0.002
Point 28 | 78.7496 | 33.7394 | -28.3965 | 0.0016
Point 29 | 78.7534 | 36.5024 | -28.3978 | 0.001
Point 30 | 75.9932 | 36.3765 | -27.3932 | 0.0005
Point 31 | 75.9253 | 39.0489 | -27.3685 | -0.0001
Point 32 | 72.3369 | 41.8388 | -26.0624 | -0.0018
Point 33 | 73.2957 | 38.6625 | -26.4114 | -0.0002
Point 34 | 69.0185 | 41.7855 | -24.8546 | -0.0015
Point 35 | 63.8704 | 46.6576 | -22.9809 | -0.002
Point 36 | 55.7795 | 50.52 | -20.036 | -0.0009
Point 37 | 56.627 | 48.1368 | -20.3445 | -0.0007
Point 38 | 52.2175 | 51.5991 | -18.7396 | -0.0001
Point 39 | 53.3659 | 49.234 | -19.1575 | -0.0005
Point 40 | 48.5881 | 52.376 | -17.4186 | 0.001
Point 41 | 49.9086 | 50.1396 | -17.8992 | 0.0004
Point 42 | 44.9073 | 52.7656 | -16.0789 | 0.0014
Point 43 | 46.6626 | 50.6815 | -16.7177 | 0.0007
Point 44 | 42.9622 | 50.8555 | -15.3709 | 0.0022
Point 45 | 38.415 | 51.9259 | -13.7159 | 0.0038
Point 46 | 32.0983 | 50.2474 | -11.4168 | 0.0063
Point 47 | 34.1643 | 49.0375 | -12.1688 | 0.0054
Point 48 | 31.724 | 47.8874 | -11.2805 | 0.0062
Point 49 | 29.2886 | 48.7501 | -10.3941 | 0.0074
Point 50 | 26.1824 | 46.6169 | -9.2636 | 0.0085
Point 51 | 28.6935 | 46.0697 | -10.1776 | 0.008

## Deltas
JOB NUMBER | 65709-6 |  |  | DATE: | 2007-03-23 06:05
PART NUMBER | SE141-114
PART NAME | Datum E Flange |  |  | STAMP:
INSPECTOR | EDWIN ROOT
|  |  |  | Sample Points: | 51
Probe Radius: | 0 |  | Average Deviation: |  | 0.00084706
Upper Tol: | 0.01 |  |  | Maximum Deviation: | 0.0088
Lower Tol: | -0.01 |  |  | Minimum Deviation: | -0.0050384
Report Output: | Deviations |  |  | Deviation Range: | 0.013838
PROFILE OF DATUM E
|  |  | Std Dev: | 0.003812
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 0.0016198 | 7.1054e-15 | 0.0044505 | -0.0047
Point 2 | 0.0013726 | 0 | 0.0037711 | -0.004
Point 3 | 0.0017232 | 0 | 0.0047345 | -0.005
Point 4 | 0.0014254 | 0 | 0.0039162 | -0.0042
Point 5 | 0.0016747 | 0 | 0.0046013 | -0.0049
Point 6 | 0.0016903 | -1.4211e-14 | 0.004644 | -0.0049
Point 7 | 0.0015121 | -7.1054e-15 | 0.0041544 | -0.0044
Point 8 | 0.0014832 | 7.1054e-15 | 0.0040751 | -0.0043
Point 9 | 0.0014508 | 7.1054e-15 | 0.0039859 | -0.0042
Point 10 | 0.0014412 | 7.1054e-15 | 0.0039597 | -0.0042
Point 11 | 0.00032883 | 7.1054e-15 | 0.00090347 | -0.001
Point 12 | -0.00010576 | -7.1054e-15 | -0.00029057 | 0.0003
Point 13 | 5.5343e-06 | 0 | 1.5205e-05 | 0
Point 14 | -0.00031586 | 0 | -0.00086781 | 0.0009
Point 15 | -0.00031408 | 0 | -0.00086292 | 0.0009
Point 16 | 0.00012447 | 7.1054e-15 | 0.00034197 | -0.0004
Point 17 | 0.00013084 | -7.1054e-15 | 0.00035947 | -0.0004
Point 18 | -0.00063493 | 1.4211e-14 | -0.0017444 | 0.0019
Point 19 | -0.00067129 | 7.1054e-15 | -0.0018444 | 0.002
Point 20 | -0.0023712 | 7.1054e-15 | -0.0065147 | 0.0069
Point 21 | -0.0030021 | 0 | -0.0082481 | 0.0088
Point 22 | -0.0022049 | 3.5527e-15 | -0.006058 | 0.0064
Point 23 | -0.0014253 | 3.5527e-15 | -0.003916 | 0.0042
Point 24 | -0.0011095 | -3.5527e-15 | -0.0030484 | 0.0032
Point 25 | -0.0011131 | -3.5527e-15 | -0.0030581 | 0.0033
Point 26 | -0.00083657 | 0 | -0.0022985 | 0.0024
Point 27 | -0.00067983 | -7.1054e-15 | -0.0018678 | 0.002
Point 28 | -0.00055069 | 0 | -0.001513 | 0.0016
Point 29 | -0.00033376 | -7.1054e-15 | -0.00091701 | 0.001
Point 30 | -0.00017927 | 7.1054e-15 | -0.00049255 | 0.0005
Point 31 | 4.657e-05 | 0 | 0.00012795 | -0.0001
Point 32 | 0.0006207 | 0 | 0.0017054 | -0.0018
Point 33 | 5.2604e-05 | 0 | 0.00014453 | -0.0002
Point 34 | 0.00051772 | 2.1316e-14 | 0.0014224 | -0.0015
Point 35 | 0.00067024 | 0 | 0.0018415 | -0.002
Point 36 | 0.00032203 | 0 | 0.00088477 | -0.0009
Point 37 | 0.00023383 | 0 | 0.00064244 | -0.0007
Point 38 | 4.3074e-05 | 0 | 0.00011834 | -0.0001
Point 39 | 0.00017674 | 7.1054e-15 | 0.00048558 | -0.0005
Point 40 | -0.00034686 | 7.1054e-15 | -0.00095299 | 0.001
Point 41 | -0.00012284 | 0 | -0.0003375 | 0.0004
Point 42 | -0.00048096 | 7.1054e-15 | -0.0013214 | 0.0014
Point 43 | -0.00025454 | -7.1054e-15 | -0.00069935 | 0.0007
Point 44 | -0.00076754 | 0 | -0.0021088 | 0.0022
Point 45 | -0.0012945 | 7.1054e-15 | -0.0035566 | 0.0038
Point 46 | -0.002163 | 7.1054e-15 | -0.0059428 | 0.0063
Point 47 | -0.0018455 | 0 | -0.0050705 | 0.0054
Point 48 | -0.002122 | -1.4211e-14 | -0.0058301 | 0.0062
Point 49 | -0.0025435 | -1.4211e-14 | -0.0069881 | 0.0074
Point 50 | -0.0029191 | 1.4211e-14 | -0.0080201 | 0.0085
Point 51 | -0.0027313 | -1.4211e-14 | -0.0075043 | 0.008

## Summary
Verisurf Software, Inc
1571 N. Harmony Circle
Anaheim CA 92807
714-970-1683
www.verisurf.com
Inspection Report
JOB NUMBER | 65709-5 |  | DATE: | 2007-03-23 06:05
PART NUMBER | SE141-114
PART NAME | DATUM E POCKET
INSPECTOR | EDWIN ROOT
PROFILE OF DATUM E
51
| Neg | Nom | Pos | Total | Pct
In Tolerance: | 22 | 1 | 28 | 51 | 100
Out of Tolerance: | 0 |  | 0 | 0 | 0
Failed Points:
Total Points: | 22 | 1 | 28 | 51 | 100
| DX | DY | DZ | 3D
Maximum Deviation: | 0.0017232 | 2.1316e-14 | 0.0047345 | 0.0088
Minimum Deviation: | -0.0030021 | -1.4211e-14 | -0.0082481 | -0.0050384
Deviation Range: | 0.0047253 | 3.5527e-14 | 0.012983 | 0.013838
Average Deviation: | -0.00028967 | 9.7525e-16 | -0.00079587 | 0.00084706
RMS Deviation: | 0.0013261 | 7.3114e-15 | 0.0036434 | 0.0038772
Standard Deviation: | 0.0013069 | 7.3182e-15 | 0.0035908 | 0.003812

## Gauss (hidden)
| 0.01 | 6 |  | total points | 51
| -0.01 | 6
-3s | -0.010589 | 0.045205 | 0 | mean | 15 | 0.0007624 | 0.01 | -0.01 | 0.00084706
| -0.0098265 | 0.080738 | 0 | stdev | 5 | 0.0007624 | 0.01 | -0.01 | 0.00084706
| -0.0090641 | 0.13855 | 0 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
| -0.0083017 | 0.22842 | 0 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
| -0.0075393 | 0.36184 | 0 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
-2s | -0.0067769 | 0.55071 | 0 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
| -0.0060145 | 0.80529 | 0 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
| -0.0052521 | 1.1314 | 4 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
| -0.0044897 | 1.5272 | 6 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
| -0.0037273 | 1.9807 | 0 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
| -0.0029649 | 2.4681 | 0 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
| -0.0022025 | 2.9549 | 3 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
| -0.0014401 | 3.3989 | 3 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
| -0.00067774 | 3.7564 | 7 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
| 8.4659e-05 | 3.9886 | 4 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
0 | 0.00084706 | 4.0692 | 6 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
| 0.0016095 | 3.9886 | 4 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
| 0.0023719 | 3.7564 | 1 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
| 0.0031343 | 3.3989 | 3 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
| 0.0038967 | 2.9549 | 1 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
| 0.0046591 | 2.4681 | 1 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
| 0.0054215 | 1.9807 | 0 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
| 0.0061839 | 1.5272 | 4 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
| 0.0069463 | 1.1314 | 1 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
| 0.0077087 | 0.80529 | 1 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
2s | 0.0084711 | 0.55071 | 2 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
| 0.0092335 | 0.36184 | 0 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
| 0.0099959 | 0.22842 | 0 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
| 0.010758 | 0.13855 | 0 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
| 0.011521 | 0.080738 | 0 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
3s | 0.012283 | 0.045205 | 0 |  |  | 0.0007624 | 0.01 | -0.01 | 0.00084706
[7 empty] | 0.01 | -0.01 | 0.00084706
[7 empty] | 0.01 | -0.01 | 0.00084706
[7 empty] | 0.01 | -0.01 | 0.00084706
[7 empty] | 0.01 | -0.01 | 0.00084706
[7 empty] | 0.01 | -0.01 | 0.00084706
[7 empty] | 0.01 | -0.01 | 0.00084706
[7 empty] | 0.01 | -0.01 | 0.00084706
[7 empty] | 0.01 | -0.01 | 0.00084706
[7 empty] | 0.01 | -0.01 | 0.00084706
[7 empty] | 0.01 | -0.01 | 0.00084706
[7 empty] | 0.01 | -0.01 | 0.00084706
[7 empty] | 0.01 | -0.01 | 0.00084706
[7 empty] | 0.01 | -0.01 | 0.00084706
[7 empty] | 0.01 | -0.01 | 0.00084706
[7 empty] | 0.01 | -0.01 | 0.00084706
[7 empty] | 0.01 | -0.01 | 0.00084706
[7 empty] | 0.01 | -0.01 | 0.00084706
[7 empty] | 0.01 | -0.01 | 0.00084706
[7 empty] | 0.01 | -0.01 | 0.00084706
[7 empty] | 0.01 | -0.01 | 0.00084706