## Nominal Vector
ID | X | Y | Z | I | J | K
Point 1 | 30.6423 | -25.7378 | -23.9274 | -0.13569 | 0.59678 | -0.79085
Point 2 | 28.2294 | -23.6052 | -21.9189 | -0.1565 | 0.57338 | -0.8042
Point 3 | 26.0116 | -16.0216 | -16.0827 | -0.13946 | 0.60884 | -0.78094
Point 4 | 19.1456 | -12.7073 | -13.5014 | 0.14009 | 0.50181 | -0.85356
Point 5 | 19.1096 | -14.5574 | -14.6279 | 0.072983 | 0.52429 | -0.8484
Point 6 | 21.3051 | -15.3486 | -15.0767 | -0.015267 | 0.57299 | -0.81942
Point 7 | 23.609 | -15.8912 | -15.6265 | -0.089615 | 0.59948 | -0.79535
Point 8 | 22.2888 | -18.167 | -17.0958 | -0.097045 | 0.55917 | -0.82335
Point 9 | 24.8475 | -18.4672 | -17.6809 | -0.13945 | 0.57058 | -0.80931
Point 10 | 27.3796 | -18.5867 | -18.2407 | -0.1597 | 0.57159 | -0.80485
Point 11 | 25.7838 | -21.4191 | -19.906 | -0.15807 | 0.56201 | -0.81189
Point 12 | 28.5595 | -21.4482 | -20.4694 | -0.15702 | 0.56295 | -0.81144
Point 13 | 30.0222 | -18.452 | -18.6773 | -0.16194 | 0.56602 | -0.80833
Point 14 | 31.0721 | -23.5254 | -22.3859 | -0.13864 | 0.57293 | -0.8078
Point 15 | 24.5037 | -12.6335 | -14.0578 | -0.19568 | 0.2275 | -0.95391
Point 16 | 17.9677 | -4.8475 | -13.3687 | 0.062233 | -0.054362 | -0.99658
Point 17 | 19.1144 | -8.7999 | -13.1757 | -0.018048 | -0.023223 | -0.99957
Point 18 | 20.1195 | -2.6954 | -13.3371 | 0.059587 | -0.036401 | -0.99756
Point 19 | 21.2596 | -6.3688 | -13.2241 | 0.00309 | -0.00060729 | -1
Point 20 | 22.0496 | -9.9813 | -13.3487 | -0.077357 | 0.061588 | -0.9951
Point 21 | 26.9095 | -11.5383 | -14.1983 | -0.14053 | 0.2791 | -0.94992
Point 22 | 24.7988 | -7.2972 | -13.2675 | -0.0070552 | 0.083575 | -0.99648
Point 23 | 24.0537 | -3.7762 | -13.1241 | 0.053889 | 0.018195 | -0.99838
Point 24 | 28.527 | -8.2861 | -13.4854 | -0.016691 | 0.22109 | -0.97511
Point 25 | 28.1171 | -4.5474 | -12.8857 | 0.081261 | 0.10561 | -0.99108
Point 26 | 32.0662 | -5.6443 | -12.7588 | 0.061006 | 0.24054 | -0.96872
Point 27 | 30.0531 | -13.2636 | -15.3925 | -0.15272 | 0.4413 | -0.88427
Point 28 | 32.2819 | -12.7397 | -15.5122 | -0.16384 | 0.48499 | -0.85903
Point 29 | 33.0758 | -9.3265 | -13.9545 | -0.057775 | 0.38049 | -0.92298
Point 30 | 35.671 | -9.0895 | -14.099 | -0.1209 | 0.4538 | -0.88286
Point 31 | 33.1992 | -14.4444 | -16.8028 | -0.24214 | 0.55707 | -0.79438
Point 32 | 35.2889 | -12.5803 | -16.1326 | -0.25434 | 0.56685 | -0.78358
Point 33 | 32.9751 | -16.7061 | -18.3998 | -0.33385 | 0.56264 | -0.75629
Point 34 | 34.7752 | -15.3008 | -18.1507 | -0.38688 | 0.6162 | -0.68602
Point 35 | 36.6145 | -13.8566 | -17.892 | -0.42578 | 0.65376 | -0.62555
Point 36 | 34.3649 | -17.6647 | -19.9113 | -0.48433 | 0.54503 | -0.68437
Point 37 | 35.8665 | -16.5374 | -20.0786 | -0.51924 | 0.59992 | -0.60868
Point 38 | 34.1405 | -19.8693 | -21.4029 | -0.62288 | 0.46504 | -0.6291
Point 39 | 35.4511 | -18.9407 | -22.0171 | -0.64055 | 0.54194 | -0.54406
Point 40 | 36.7913 | -17.9812 | -22.6414 | -0.64824 | 0.59555 | -0.47445
Point 41 | 34.8713 | -21.3005 | -23.6482 | -0.76169 | 0.4864 | -0.42807
Point 42 | 36.0334 | -20.3899 | -24.684 | -0.75206 | 0.55609 | -0.35379
Point 43 | 37.2102 | -19.4637 | -25.7324 | -0.73681 | 0.6134 | -0.28433
Point 44 | 34.0889 | -23.1676 | -24.2884 | -0.81597 | 0.45689 | -0.35417
Point 45 | 35.1284 | -22.1517 | -25.3746 | -0.80854 | 0.50661 | -0.29935
Point 46 | 36.1921 | -21.1116 | -26.4904 | -0.7942 | 0.56111 | -0.23323
Point 47 | 34.0239 | -24.4767 | -26.312 | -0.83457 | 0.50147 | -0.22807
Point 48 | 35.0912 | -23.1782 | -27.3627 | -0.8324 | 0.51138 | -0.21354
Point 49 | 36.1729 | -21.8623 | -28.4284 | -0.82939 | 0.52328 | -0.19566

## Actual Tolerance
ID | X | Y | Z | Pos Tol | Nag Tol | DEVIATION | OOT
Point 1 | 30.6475 | -25.7607 | -23.8971 | 0 | -0.12 | -0.0383
Point 2 | 28.2361 | -23.6295 | -21.8848 | 0 | -0.12 | -0.0424
Point 3 | 26.0175 | -16.0471 | -16.05 | 0 | -0.12 | -0.0418
Point 4 | 19.144 | -12.7131 | -13.4915 | 0 | -0.12 | -0.0116
Point 5 | 19.1073 | -14.5735 | -14.6018 | 0 | -0.12 | -0.0308
Point 6 | 21.3056 | -15.3646 | -15.0537 | 0 | -0.12 | -0.028
Point 7 | 23.6118 | -15.9101 | -15.6014 | 0 | -0.12 | -0.0315
Point 8 | 22.2925 | -18.188 | -17.0649 | 0 | -0.12 | -0.0375
Point 9 | 24.8521 | -18.4861 | -17.654 | 0 | -0.12 | -0.0332
Point 10 | 27.386 | -18.6099 | -18.208 | 0 | -0.12 | -0.0405
Point 11 | 25.7898 | -21.4407 | -19.8748 | 0 | -0.12 | -0.0385
Point 12 | 28.5669 | -21.4747 | -20.4312 | 0 | -0.12 | -0.0472
Point 13 | 30.0294 | -18.4771 | -18.6414 | 0 | -0.12 | -0.0445
Point 14 | 31.0791 | -23.5542 | -22.3452 | 0 | -0.12 | -0.0504
Point 15 | 24.5091 | -12.6399 | -14.0312 | 0 | -0.12 | -0.0279
Point 16 | 17.9655 | -4.8456 | -13.334 | 0 | -0.12 | -0.0347
Point 17 | 19.1149 | -8.7991 | -13.1448 | 0 | -0.12 | -0.0309
Point 18 | 20.1183 | -2.6947 | -13.3178 | 0 | -0.12 | -0.0194
Point 19 | 21.2595 | -6.3688 | -13.1833 | 0 | -0.12 | -0.0409
Point 20 | 22.0516 | -9.983 | -13.3225 | 0 | -0.12 | -0.0263
Point 21 | 26.9145 | -11.5481 | -14.1649 | 0 | -0.12 | -0.0352
Point 22 | 24.799 | -7.3001 | -13.2329 | 0 | -0.12 | -0.0347
Point 23 | 24.0521 | -3.7767 | -13.0947 | 0 | -0.12 | -0.0294
Point 24 | 28.5276 | -8.2943 | -13.4488 | 0 | -0.12 | -0.0375
Point 25 | 28.1148 | -4.5504 | -12.8574 | 0 | -0.12 | -0.0285
Point 26 | 32.0647 | -5.6504 | -12.7343 | 0 | -0.12 | -0.0253
Point 27 | 30.0585 | -13.2792 | -15.3612 | 0 | -0.12 | -0.0353
Point 28 | 32.2879 | -12.7574 | -15.4808 | 0 | -0.12 | -0.0366
Point 29 | 33.0778 | -9.3395 | -13.923 | 0 | -0.12 | -0.0341
Point 30 | 35.6748 | -9.1036 | -14.0715 | 0 | -0.12 | -0.0311
Point 31 | 33.2074 | -14.4633 | -16.7758 | 0 | -0.12 | -0.0339
Point 32 | 35.2968 | -12.598 | -16.1081 | 0 | -0.12 | -0.0312
Point 33 | 32.9865 | -16.7254 | -18.3739 | 0 | -0.12 | -0.0343
Point 34 | 34.7866 | -15.319 | -18.1304 | 0 | -0.12 | -0.0295
Point 35 | 36.6293 | -13.8794 | -17.8702 | 0 | -0.12 | -0.0348
Point 36 | 34.3816 | -17.6835 | -19.8878 | 0 | -0.12 | -0.0344
Point 37 | 35.8832 | -16.5568 | -20.059 | 0 | -0.12 | -0.0322
Point 38 | 34.1577 | -19.8821 | -21.3855 | 0 | -0.12 | -0.0276
Point 39 | 35.4719 | -18.9582 | -21.9994 | 0 | -0.12 | -0.0325
Point 40 | 36.8157 | -18.0036 | -22.6236 | 0 | -0.12 | -0.0377
Point 41 | 34.9021 | -21.3202 | -23.6309 | 0 | -0.12 | -0.0404
Point 42 | 36.0652 | -20.4134 | -24.669 | 0 | -0.12 | -0.0423
Point 43 | 37.2379 | -19.4868 | -25.7217 | 0 | -0.12 | -0.0376
Point 44 | 34.0923 | -23.1695 | -24.2869 | 0 | -0.12 | -0.0042
Point 45 | 35.1659 | -22.1752 | -25.3608 | 0 | -0.12 | -0.0463
Point 46 | 36.2354 | -21.1423 | -26.4776 | 0 | -0.12 | -0.0546
Point 47 | 34.0602 | -24.4986 | -26.3021 | 0 | -0.12 | -0.0435
Point 48 | 35.1326 | -23.2036 | -27.3521 | 0 | -0.12 | -0.0498
Point 49 | 36.2121 | -21.887 | -28.4191 | 0 | -0.12 | -0.0473

## Actual
JOB NUMBER | 65708-3 |  |  | DATE: | 2006-12-22 12:21
PART NUMBER | E SIDE POCKET |  |  |  |  | Verisurf Summary Report
PART NAME |  |  |  | STAMP:
INSPECTOR | ROB DURHAM
|  |  | Total Points: |  | 49
Probe Radius: | 0 |  | Number of OOT: |  | 0
Upper Tol: | 0 |  | Average Deviation: |  | -0.035063
Lower Tol: | -0.12 |  | Maximum Deviation: |  | -0.0041869
|  |  | Minimum Deviation: |  | -0.0546
Report Output: | Actual Points |  | Deviation Range: |  | 0.050413
[7 empty] | Neg | Nom | Pos | Total | Pct
PROFILE OF POCKET ON E SIDE | [5 empty] | In Tolerance: | 49 | 0 | 0 | 49 | 100
[6 empty] | Out of Tolerance: | 0 |  | 0 | 0 | 0
Failed Points:
[6 empty] | Total Points: | 49 | 0 | 0 | 49 | 100
[7 empty] | DX | DY | DZ | 3D
[6 empty] | Maximum Deviation: | 0.043343 | 0.0018879 | 0.040855 | -0.0041869
[6 empty] | Minimum Deviation: | -0.0023182 | -0.030622 | 0 | -0.0546
[6 empty] | Deviation Range: | 0.045661 | 0.03251 | 0.040855 | 0.050413
[6 empty] | Average Deviation: | 0.010668 | -0.015769 | 0.024916 | -0.035063
[6 empty] | RMS Deviation: | 0.016683 | 0.018147 | 0.026526 | 0.036211
[6 empty] | Standard Deviation: | 0.012959 | 0.0090739 | 0.0091937 | 0.0091236
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 30.6475 | -25.7607 | -23.8971 | -0.0383
Point 2 | 28.2361 | -23.6295 | -21.8848 | -0.0424
Point 3 | 26.0175 | -16.0471 | -16.05 | -0.0418
Point 4 | 19.144 | -12.7131 | -13.4915 | -0.0116
Point 5 | 19.1073 | -14.5735 | -14.6018 | -0.0308
Point 6 | 21.3056 | -15.3646 | -15.0537 | -0.028
Point 7 | 23.6118 | -15.9101 | -15.6014 | -0.0315
Point 8 | 22.2925 | -18.188 | -17.0649 | -0.0375
Point 9 | 24.8521 | -18.4861 | -17.654 | -0.0332
Point 10 | 27.386 | -18.6099 | -18.208 | -0.0405
Point 11 | 25.7898 | -21.4407 | -19.8748 | -0.0385
Point 12 | 28.5669 | -21.4747 | -20.4312 | -0.0472
Point 13 | 30.0294 | -18.4771 | -18.6414 | -0.0445
Point 14 | 31.0791 | -23.5542 | -22.3452 | -0.0504
Point 15 | 24.5091 | -12.6399 | -14.0312 | -0.0279
Point 16 | 17.9655 | -4.8456 | -13.334 | -0.0347
Point 17 | 19.1149 | -8.7991 | -13.1448 | -0.0309
Point 18 | 20.1183 | -2.6947 | -13.3178 | -0.0194
Point 19 | 21.2595 | -6.3688 | -13.1833 | -0.0409
Point 20 | 22.0516 | -9.983 | -13.3225 | -0.0263
Point 21 | 26.9145 | -11.5481 | -14.1649 | -0.0352
Point 22 | 24.799 | -7.3001 | -13.2329 | -0.0347
Point 23 | 24.0521 | -3.7767 | -13.0947 | -0.0294
Point 24 | 28.5276 | -8.2943 | -13.4488 | -0.0375
Point 25 | 28.1148 | -4.5504 | -12.8574 | -0.0285
Point 26 | 32.0647 | -5.6504 | -12.7343 | -0.0253
Point 27 | 30.0585 | -13.2792 | -15.3612 | -0.0353
Point 28 | 32.2879 | -12.7574 | -15.4808 | -0.0366
Point 29 | 33.0778 | -9.3395 | -13.923 | -0.0341
Point 30 | 35.6748 | -9.1036 | -14.0715 | -0.0311
Point 31 | 33.2074 | -14.4633 | -16.7758 | -0.0339
Point 32 | 35.2968 | -12.598 | -16.1081 | -0.0312
Point 33 | 32.9865 | -16.7254 | -18.3739 | -0.0343
Point 34 | 34.7866 | -15.319 | -18.1304 | -0.0295
Point 35 | 36.6293 | -13.8794 | -17.8702 | -0.0348
Point 36 | 34.3816 | -17.6835 | -19.8878 | -0.0344
Point 37 | 35.8832 | -16.5568 | -20.059 | -0.0322
Point 38 | 34.1577 | -19.8821 | -21.3855 | -0.0276
Point 39 | 35.4719 | -18.9582 | -21.9994 | -0.0325
Point 40 | 36.8157 | -18.0036 | -22.6236 | -0.0377
Point 41 | 34.9021 | -21.3202 | -23.6309 | -0.0404
Point 42 | 36.0652 | -20.4134 | -24.669 | -0.0423
Point 43 | 37.2379 | -19.4868 | -25.7217 | -0.0376
Point 44 | 34.0923 | -23.1695 | -24.2869 | -0.0042
Point 45 | 35.1659 | -22.1752 | -25.3608 | -0.0463
Point 46 | 36.2354 | -21.1423 | -26.4776 | -0.0546
Point 47 | 34.0602 | -24.4986 | -26.3021 | -0.0435
Point 48 | 35.1326 | -23.2036 | -27.3521 | -0.0498
Point 49 | 36.2121 | -21.887 | -28.4191 | -0.0473

## Deltas
JOB NUMBER | 65708-3 |  |  | DATE: | 2006-12-22 12:21
PART NUMBER | E SIDE POCKET
PART NAME |  |  |  | STAMP:
INSPECTOR | ROB DURHAM
|  |  |  | Sample Points: | 49
Probe Radius: | 0 |  | Average Deviation: |  | -0.035063
Upper Tol: | 0 |  |  | Maximum Deviation: | -0.0041869
Lower Tol: | -0.12 |  |  | Minimum Deviation: | -0.0546
Report Output: | Deviations |  |  | Deviation Range: | 0.050413
PROFILE OF POCKET ON E SIDE
|  |  | Std Dev: | 0.0091236
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 0.0052009 | -0.022873 | 0.030312 | -0.0383
Point 2 | 0.0066425 | -0.024337 | 0.034134 | -0.0424
Point 3 | 0.0058338 | -0.025469 | 0.032668 | -0.0418
Point 4 | -0.0016253 | -0.0058221 | 0.0099031 | -0.0116
Point 5 | -0.0022464 | -0.016138 | 0.026114 | -0.0308
Point 6 | 0.00042806 | -0.016066 | 0.022976 | -0.028
Point 7 | 0.0028265 | -0.018908 | 0.025085 | -0.0315
Point 8 | 0.0036422 | -0.020987 | 0.030902 | -0.0375
Point 9 | 0.0046331 | -0.018957 | 0.026888 | -0.0332
Point 10 | 0.0064749 | -0.023174 | 0.032631 | -0.0405
Point 11 | 0.0060848 | -0.021635 | 0.031254 | -0.0385
Point 12 | 0.0074047 | -0.026548 | 0.038267 | -0.0472
Point 13 | 0.0071986 | -0.025161 | 0.035933 | -0.0445
Point 14 | 0.0069838 | -0.028859 | 0.04069 | -0.0504
Point 15 | 0.0054688 | -0.0063581 | 0.02666 | -0.0279
Point 16 | -0.0021613 | 0.0018879 | 0.034609 | -0.0347
Point 17 | 0.00055827 | 0.00071836 | 0.03092 | -0.0309
Point 18 | -0.0011537 | 0.0007048 | 0.019315 | -0.0194
Point 19 | -0.00012624 | 2.4811e-05 | 0.040855 | -0.0409
Point 20 | 0.0020374 | -0.001622 | 0.026208 | -0.0263
Point 21 | 0.0049448 | -0.0098205 | 0.033424 | -0.0352
Point 22 | 0.00024479 | -0.0028998 | 0.034574 | -0.0347
Point 23 | -0.001585 | -0.00053517 | 0.029365 | -0.0294
Point 24 | 0.00062572 | -0.0082883 | 0.036556 | -0.0375
Point 25 | -0.0023182 | -0.0030127 | 0.028274 | -0.0285
Point 26 | -0.0015434 | -0.0060852 | 0.024507 | -0.0253
Point 27 | 0.0053962 | -0.015593 | 0.031244 | -0.0353
Point 28 | 0.0059975 | -0.017754 | 0.031446 | -0.0366
Point 29 | 0.0019699 | -0.012973 | 0.031471 | -0.0341
Point 30 | 0.0037657 | -0.014135 | 0.0275 | -0.0311
Point 31 | 0.0082064 | -0.01888 | 0.026923 | -0.0339
Point 32 | 0.0079305 | -0.017675 | 0.024433 | -0.0312
Point 33 | 0.011441 | -0.019282 | 0.025918 | -0.0343
Point 34 | 0.011423 | -0.018194 | 0.020255 | -0.0295
Point 35 | 0.01481 | -0.02274 | 0.021758 | -0.0348
Point 36 | 0.01668 | -0.018771 | 0.023569 | -0.0344
Point 37 | 0.016719 | -0.019317 | 0.019599 | -0.0322
Point 38 | 0.017181 | -0.012827 | 0.017352 | -0.0276
Point 39 | 0.020795 | -0.017594 | 0.017663 | -0.0325
Point 40 | 0.024422 | -0.022437 | 0.017875 | -0.0377
Point 41 | 0.030799 | -0.019668 | 0.017309 | -0.0404
Point 42 | 0.03182 | -0.023528 | 0.014969 | -0.0423
Point 43 | 0.027692 | -0.023054 | 0.010686 | -0.0376
Point 44 | 0.0034164 | -0.001913 | 0.0014829 | -0.0042
Point 45 | 0.037442 | -0.02346 | 0.013862 | -0.0463
Point 46 | 0.043343 | -0.030622 | 0.012728 | -0.0546
Point 47 | 0.036326 | -0.021828 | 0.0099272 | -0.0435
Point 48 | 0.041449 | -0.025464 | 0.010633 | -0.0498
Point 49 | 0.039214 | -0.024741 | 0.009251 | -0.0473

## Nominal
JOB NUMBER | 65708-3 |  |  | DATE: | 2006-12-22 12:21
PART NUMBER | E SIDE POCKET
PART NAME |  |  |  | STAMP:
INSPECTOR | ROB DURHAM
|  |  |  | Sample Points: | 49
Probe Radius: | 0 |  | Average Deviation: |  | -0.035063
Upper Tol: | 0 |  |  | Maximum Deviation: | -0.0041869
Lower Tol: | -0.12 |  |  | Minimum Deviation: | -0.0546
Report Output: | Nominal Points |  | Deviation Range: | Deviation Range: | 0.050413
PROFILE OF POCKET ON E SIDE
|  |  | Std Dev: | 0.0091236
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 30.6423 | -25.7378 | -23.9274 | -0.0383
Point 2 | 28.2294 | -23.6052 | -21.9189 | -0.0424
Point 3 | 26.0116 | -16.0216 | -16.0827 | -0.0418
Point 4 | 19.1456 | -12.7073 | -13.5014 | -0.0116
Point 5 | 19.1096 | -14.5574 | -14.6279 | -0.0308
Point 6 | 21.3051 | -15.3486 | -15.0767 | -0.028
Point 7 | 23.609 | -15.8912 | -15.6265 | -0.0315
Point 8 | 22.2888 | -18.167 | -17.0958 | -0.0375
Point 9 | 24.8475 | -18.4672 | -17.6809 | -0.0332
Point 10 | 27.3796 | -18.5867 | -18.2407 | -0.0405
Point 11 | 25.7838 | -21.4191 | -19.906 | -0.0385
Point 12 | 28.5595 | -21.4482 | -20.4694 | -0.0472
Point 13 | 30.0222 | -18.452 | -18.6773 | -0.0445
Point 14 | 31.0721 | -23.5254 | -22.3859 | -0.0504
Point 15 | 24.5037 | -12.6335 | -14.0578 | -0.0279
Point 16 | 17.9677 | -4.8475 | -13.3687 | -0.0347
Point 17 | 19.1144 | -8.7999 | -13.1757 | -0.0309
Point 18 | 20.1195 | -2.6954 | -13.3371 | -0.0194
Point 19 | 21.2596 | -6.3688 | -13.2241 | -0.0409
Point 20 | 22.0496 | -9.9813 | -13.3487 | -0.0263
Point 21 | 26.9095 | -11.5383 | -14.1983 | -0.0352
Point 22 | 24.7988 | -7.2972 | -13.2675 | -0.0347
Point 23 | 24.0537 | -3.7762 | -13.1241 | -0.0294
Point 24 | 28.527 | -8.2861 | -13.4854 | -0.0375
Point 25 | 28.1171 | -4.5474 | -12.8857 | -0.0285
Point 26 | 32.0662 | -5.6443 | -12.7588 | -0.0253
Point 27 | 30.0531 | -13.2636 | -15.3925 | -0.0353
Point 28 | 32.2819 | -12.7397 | -15.5122 | -0.0366
Point 29 | 33.0758 | -9.3265 | -13.9545 | -0.0341
Point 30 | 35.671 | -9.0895 | -14.099 | -0.0311
Point 31 | 33.1992 | -14.4444 | -16.8028 | -0.0339
Point 32 | 35.2889 | -12.5803 | -16.1326 | -0.0312
Point 33 | 32.9751 | -16.7061 | -18.3998 | -0.0343
Point 34 | 34.7752 | -15.3008 | -18.1507 | -0.0295
Point 35 | 36.6145 | -13.8566 | -17.892 | -0.0348
Point 36 | 34.3649 | -17.6647 | -19.9113 | -0.0344
Point 37 | 35.8665 | -16.5374 | -20.0786 | -0.0322
Point 38 | 34.1405 | -19.8693 | -21.4029 | -0.0276
Point 39 | 35.4511 | -18.9407 | -22.0171 | -0.0325
Point 40 | 36.7913 | -17.9812 | -22.6414 | -0.0377
Point 41 | 34.8713 | -21.3005 | -23.6482 | -0.0404
Point 42 | 36.0334 | -20.3899 | -24.684 | -0.0423
Point 43 | 37.2102 | -19.4637 | -25.7324 | -0.0376
Point 44 | 34.0889 | -23.1676 | -24.2884 | -0.0042
Point 45 | 35.1284 | -22.1517 | -25.3746 | -0.0463
Point 46 | 36.1921 | -21.1116 | -26.4904 | -0.0546
Point 47 | 34.0239 | -24.4767 | -26.312 | -0.0435
Point 48 | 35.0912 | -23.1782 | -27.3627 | -0.0498
Point 49 | 36.1729 | -21.8623 | -28.4284 | -0.0473

## Summary
Verisurf Software, Inc
1571 N. Harmony Circle
Anaheim CA 92807
714-970-1683
www.verisurf.com
Inspection Report
JOB NUMBER | 65708-3 |  | DATE: | 2006-12-22 12:21
PART NUMBER | E SIDE POCKET
PART NAME
INSPECTOR | ROB DURHAM
PROFILE OF POCKET ON E SIDE
49
| Neg | Nom | Pos | Total | Pct
In Tolerance: | 49 | 0 | 0 | 49 | 100
Out of Tolerance: | 0 |  | 0 | 0 | 0
Failed Points:
Total Points: | 49 | 0 | 0 | 49 | 100
| DX | DY | DZ | 3D
Maximum Deviation: | 0.043343 | 0.0018879 | 0.040855 | -0.0041869
Minimum Deviation: | -0.0023182 | -0.030622 | 0 | -0.0546
Deviation Range: | 0.045661 | 0.03251 | 0.040855 | 0.050413
Average Deviation: | 0.010668 | -0.015769 | 0.024916 | -0.035063
RMS Deviation: | 0.016683 | 0.018147 | 0.026526 | 0.036211
Standard Deviation: | 0.012959 | 0.0090739 | 0.0091937 | 0.0091236

## Gauss (hidden)
| 0 | 6 |  | total points | 49
| -0.12 | 6
-3s | -0.062434 | 0.043432 | 0 | mean | 15 | 0.0018247 | 0 | -0.12 | -0.035063
| -0.060609 | 0.077571 | 0 | stdev | 5 | 0.0018247 | 0 | -0.12 | -0.035063
| -0.058785 | 0.13311 | 0 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
| -0.05696 | 0.21947 | 0 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
| -0.055135 | 0.34765 | 1 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
-2s | -0.05331 | 0.52911 | 0 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
| -0.051486 | 0.77371 | 2 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
| -0.049661 | 1.087 | 0 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
| -0.047836 | 1.4673 | 3 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
| -0.046012 | 1.903 | 1 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
| -0.044187 | 2.3713 | 2 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
| -0.042362 | 2.839 | 3 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
| -0.040537 | 3.2656 | 2 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
| -0.038713 | 3.609 | 6 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
| -0.036888 | 3.8322 | 3 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
0 | -0.035063 | 3.9096 | 7 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
| -0.033239 | 3.8322 | 4 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
| -0.031414 | 3.609 | 4 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
| -0.029589 | 3.2656 | 5 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
| -0.027764 | 2.839 | 2 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
| -0.02594 | 2.3713 | 1 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
| -0.024115 | 1.903 | 0 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
| -0.02229 | 1.4673 | 0 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
| -0.020466 | 1.087 | 1 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
| -0.018641 | 0.77371 | 0 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
2s | -0.016816 | 0.52911 | 0 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
| -0.014991 | 0.34765 | 0 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
| -0.013167 | 0.21947 | 1 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
| -0.011342 | 0.13311 | 0 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
| -0.0095172 | 0.077571 | 0 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
3s | -0.0076925 | 0.043432 | 1 |  |  | 0.0018247 | 0 | -0.12 | -0.035063
[7 empty] | 0 | -0.12 | -0.035063
[7 empty] | 0 | -0.12 | -0.035063
[7 empty] | 0 | -0.12 | -0.035063
[7 empty] | 0 | -0.12 | -0.035063
[7 empty] | 0 | -0.12 | -0.035063
[7 empty] | 0 | -0.12 | -0.035063
[7 empty] | 0 | -0.12 | -0.035063
[7 empty] | 0 | -0.12 | -0.035063
[7 empty] | 0 | -0.12 | -0.035063
[7 empty] | 0 | -0.12 | -0.035063
[7 empty] | 0 | -0.12 | -0.035063
[7 empty] | 0 | -0.12 | -0.035063
[7 empty] | 0 | -0.12 | -0.035063
[7 empty] | 0 | -0.12 | -0.035063
[7 empty] | 0 | -0.12 | -0.035063
[7 empty] | 0 | -0.12 | -0.035063
[7 empty] | 0 | -0.12 | -0.035063
[7 empty] | 0 | -0.12 | -0.035063