## Actual
JOB NUMBER | 65708-6 |  |  | DATE: | 2007-05-22 15:50
PART NUMBER | SE141-115 |  |  |  |  | Verisurf Summary Report
PART NAME | WINDING FORM TYPE B |  |  | STAMP:
INSPECTOR | EDWIN ROOT
|  |  | Total Points: |  | 23
Probe Radius: | 0 |  | Number of OOT: |  | 0
Upper Tol: | 0.25 |  | Average Deviation: |  | -0.054252
Lower Tol: | -0.25 |  | Maximum Deviation: |  | 0.2014
|  |  | Minimum Deviation: |  | -0.1523
Report Output: | Actual Points |  | Deviation Range: |  | 0.3537
[7 empty] | Neg | Nom | Pos | Total | Pct
PROFILE OF E SIDE INNER CAST | [5 empty] | In Tolerance: | 17 | 0 | 6 | 23 | 100
[6 empty] | Out of Tolerance: | 0 |  | 0 | 0 | 0
Failed Points:
[6 empty] | Total Points: | 17 | 0 | 6 | 23 | 100
[7 empty] | DX | DY | DZ | 3D
[6 empty] | Maximum Deviation: | 0.083164 | 0.10432 | 0.056043 | 0.2014
[6 empty] | Minimum Deviation: | -0.069407 | -0.18029 | -0.08687 | -0.1523
[6 empty] | Deviation Range: | 0.15257 | 0.28461 | 0.14291 | 0.3537
[6 empty] | Average Deviation: | 0.022615 | -0.017903 | -0.032401 | -0.054252
[6 empty] | RMS Deviation: | 0.049317 | 0.073773 | 0.051783 | 0.10274
[6 empty] | Standard Deviation: | 0.044811 | 0.073177 | 0.041302 | 0.089229
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 35.792 | -34.7514 | -25.2521 | -0.0968
Point 2 | 35.0474 | -39.2854 | -18.7047 | -0.0493
Point 3 | 40.618 | -40.946 | -23.385 | 0.0419
Point 4 | 44.132 | -39.5133 | -30.3304 | -0.122
Point 5 | 45.6348 | -45.4231 | -20.6621 | -0.0967
Point 6 | 53.92 | -41.434 | -31.53 | -0.028
Point 7 | 77.5756 | -31.515 | -35.0498 | -0.1441
Point 8 | 81.2354 | -28.5085 | -35.3888 | -0.1348
Point 9 | 82.1044 | -25.1747 | -38.1601 | -0.1435
Point 10 | 83.1119 | -17.4648 | -43.0629 | -0.0559
Point 11 | 84.3724 | -11.6306 | -44.2876 | -0.1043
Point 12 | 85.7322 | -5.8332 | -43.572 | 0.0058
Point 13 | 35.7678 | 46.3638 | -17.4698 | 0.2014
Point 14 | 40.3517 | 46.7949 | -20.4742 | 0.0621
Point 15 | 45.1418 | 46.008 | -23.6793 | 0.0178
Point 16 | 47.1637 | 42.6506 | -30.5581 | 0.094
Point 17 | 50.5556 | 45.7378 | -23.8387 | -0.048
Point 18 | 53.1315 | 40.6189 | -32.786 | -0.0658
Point 19 | 57.4375 | 37.5903 | -35.7058 | -0.0982
Point 20 | 82.2439 | 22.2723 | -35.1164 | -0.1376
Point 21 | 78.2794 | 27.2318 | -33.9705 | -0.0939
Point 22 | 68.1632 | 35.4447 | -32.2107 | -0.0996
Point 23 | 73.5129 | 31.8326 | -32.9278 | -0.1523

## Nominal
JOB NUMBER | 65708-6 |  |  | DATE: | 2007-05-22 15:50
PART NUMBER | SE141-115
PART NAME | WINDING FORM TYPE B |  |  | STAMP:
INSPECTOR | EDWIN ROOT
|  |  |  | Sample Points: | 23
Probe Radius: | 0 |  | Average Deviation: |  | -0.054252
Upper Tol: | 0.25 |  |  | Maximum Deviation: | 0.2014
Lower Tol: | -0.25 |  |  | Minimum Deviation: | -0.1523
Report Output: | Nominal Points |  | Deviation Range: | Deviation Range: | 0.3537
PROFILE OF E SIDE INNER CAST
|  |  | Std Dev: | 0.089229
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 35.8614 | -34.7003 | -25.2081 | -0.0968
Point 2 | 35.0809 | -39.2578 | -18.6814 | -0.0493
Point 3 | 40.5957 | -40.9754 | -23.4049 | 0.0419
Point 4 | 44.1942 | -39.4198 | -30.2826 | -0.122
Point 5 | 45.6602 | -45.3419 | -20.6161 | -0.0967
Point 6 | 53.9187 | -41.4081 | -31.5194 | -0.028
Point 7 | 77.5082 | -31.4128 | -34.9738 | -0.1441
Point 8 | 81.1624 | -28.4219 | -35.3156 | -0.1348
Point 9 | 82.0212 | -25.0923 | -38.0771 | -0.1435
Point 10 | 83.0751 | -17.4439 | -43.0264 | -0.0559
Point 11 | 84.2988 | -11.6112 | -44.2164 | -0.1043
Point 12 | 85.7365 | -5.8333 | -43.5759 | 0.0058
Point 13 | 35.6978 | 46.5441 | -17.5259 | 0.2014
Point 14 | 40.3407 | 46.8519 | -20.4961 | 0.0621
Point 15 | 45.1415 | 46.0243 | -23.6865 | 0.0178
Point 16 | 47.1721 | 42.7347 | -30.5991 | 0.094
Point 17 | 50.5509 | 45.6949 | -23.8177 | -0.048
Point 18 | 53.1179 | 40.563 | -32.7542 | -0.0658
Point 19 | 57.4097 | 37.5115 | -35.6542 | -0.0982
Point 20 | 82.162 | 22.1987 | -35.0339 | -0.1376
Point 21 | 78.23 | 27.174 | -33.9154 | -0.0939
Point 22 | 68.1252 | 35.3708 | -32.1559 | -0.0996
Point 23 | 73.4439 | 31.7283 | -32.8409 | -0.1523

## Deltas
JOB NUMBER | 65708-6 |  |  | DATE: | 2007-05-22 15:50
PART NUMBER | SE141-115
PART NAME | WINDING FORM TYPE B |  |  | STAMP:
INSPECTOR | EDWIN ROOT
|  |  |  | Sample Points: | 23
Probe Radius: | 0 |  | Average Deviation: |  | -0.054252
Upper Tol: | 0.25 |  |  | Maximum Deviation: | 0.2014
Lower Tol: | -0.25 |  |  | Minimum Deviation: | -0.1523
Report Output: | Deviations |  |  | Deviation Range: | 0.3537
PROFILE OF E SIDE INNER CAST
|  |  | Std Dev: | 0.089229
ID | X | Y | Z | DEVIATION | OOT
Point 1 | -0.069407 | -0.051106 | -0.04399 | -0.0968
Point 2 | -0.033523 | -0.027631 | -0.023307 | -0.0493
Point 3 | 0.022247 | 0.029344 | 0.019885 | 0.0419
Point 4 | -0.062173 | -0.093431 | -0.047795 | -0.122
Point 5 | -0.025428 | -0.081166 | -0.045968 | -0.0967
Point 6 | 0.0013665 | -0.025854 | -0.01061 | -0.028
Point 7 | 0.06735 | -0.10221 | -0.075983 | -0.1441
Point 8 | 0.07296 | -0.086614 | -0.073199 | -0.1348
Point 9 | 0.083164 | -0.082482 | -0.082984 | -0.1435
Point 10 | 0.036813 | -0.020886 | -0.036439 | -0.0559
Point 11 | 0.073658 | -0.019439 | -0.071218 | -0.1043
Point 12 | -0.004217 | 0.00013922 | 0.003963 | 0.0058
Point 13 | 0.070016 | -0.18029 | 0.056043 | 0.2014
Point 14 | 0.011043 | -0.057018 | 0.021894 | 0.0621
Point 15 | 0.0002922 | -0.016311 | 0.0072361 | 0.0178
Point 16 | -0.0083931 | -0.084135 | 0.040961 | 0.094
Point 17 | 0.0047424 | 0.04287 | -0.021036 | -0.048
Point 18 | 0.013623 | 0.055969 | -0.031803 | -0.0658
Point 19 | 0.027833 | 0.078788 | -0.051585 | -0.0982
Point 20 | 0.081838 | 0.073652 | -0.08248 | -0.1376
Point 21 | 0.049425 | 0.057781 | -0.055069 | -0.0939
Point 22 | 0.037939 | 0.073939 | -0.05486 | -0.0996
Point 23 | 0.068981 | 0.10432 | -0.08687 | -0.1523

## Summary
Verisurf Software, Inc
1571 N. Harmony Circle
Anaheim CA 92807
714-970-1683
www.verisurf.com
Inspection Report
JOB NUMBER | 65708-6 |  | DATE: | 2007-05-22 15:50
PART NUMBER | SE141-115
PART NAME | WINDING FORM TYPE B
INSPECTOR | EDWIN ROOT
PROFILE OF E SIDE INNER CAST
23
| Neg | Nom | Pos | Total | Pct
In Tolerance: | 17 | 0 | 6 | 23 | 100
Out of Tolerance: | 0 |  | 0 | 0 | 0
Failed Points:
Total Points: | 17 | 0 | 6 | 23 | 100
| DX | DY | DZ | 3D
Maximum Deviation: | 0.083164 | 0.10432 | 0.056043 | 0.2014
Minimum Deviation: | -0.069407 | -0.18029 | -0.08687 | -0.1523
Deviation Range: | 0.15257 | 0.28461 | 0.14291 | 0.3537
Average Deviation: | 0.022615 | -0.017903 | -0.032401 | -0.054252
RMS Deviation: | 0.049317 | 0.073773 | 0.051783 | 0.10274
Standard Deviation: | 0.044811 | 0.073177 | 0.041302 | 0.089229

## Gauss (hidden)
| 0.25 | 5 |  | total points | 23
| -0.25 | 5
-3s | -0.32194 | 0.020387 | 0 | mean | 15 | 0.017846 | 0.25 | -0.25 | -0.054252
| -0.30409 | 0.036411 | 0 | stdev | 5 | 0.017846 | 0.25 | -0.25 | -0.054252
| -0.28625 | 0.062482 | 0 |  |  | 0.017846 | 0.25 | -0.25 | -0.054252
| -0.2684 | 0.10301 | 0 |  |  | 0.017846 | 0.25 | -0.25 | -0.054252
| -0.25056 | 0.16318 | 0 |  |  | 0.017846 | 0.25 | -0.25 | -0.054252
-2s | -0.23271 | 0.24836 | 0 |  |  | 0.017846 | 0.25 | -0.25 | -0.054252
| -0.21486 | 0.36317 | 0 |  |  | 0.017846 | 0.25 | -0.25 | -0.054252
| -0.19702 | 0.51024 | 0 |  |  | 0.017846 | 0.25 | -0.25 | -0.054252
| -0.17917 | 0.68875 | 0 |  |  | 0.017846 | 0.25 | -0.25 | -0.054252
| -0.16133 | 0.89326 | 3 |  |  | 0.017846 | 0.25 | -0.25 | -0.054252
| -0.14348 | 1.1131 | 2 |  |  | 0.017846 | 0.25 | -0.25 | -0.054252
| -0.12564 | 1.3326 | 1 |  |  | 0.017846 | 0.25 | -0.25 | -0.054252
| -0.10779 | 1.5328 | 6 |  |  | 0.017846 | 0.25 | -0.25 | -0.054252
| -0.089944 | 1.694 | 0 |  |  | 0.017846 | 0.25 | -0.25 | -0.054252
| -0.072098 | 1.7988 | 2 |  |  | 0.017846 | 0.25 | -0.25 | -0.054252
0 | -0.054252 | 1.8351 | 2 |  |  | 0.017846 | 0.25 | -0.25 | -0.054252
| -0.036406 | 1.7988 | 1 |  |  | 0.017846 | 0.25 | -0.25 | -0.054252
| -0.018561 | 1.694 | 0 |  |  | 0.017846 | 0.25 | -0.25 | -0.054252
| -0.00071493 | 1.5328 | 1 |  |  | 0.017846 | 0.25 | -0.25 | -0.054252
| 0.017131 | 1.3326 | 1 |  |  | 0.017846 | 0.25 | -0.25 | -0.054252
| 0.034977 | 1.1131 | 1 |  |  | 0.017846 | 0.25 | -0.25 | -0.054252
| 0.052822 | 0.89326 | 1 |  |  | 0.017846 | 0.25 | -0.25 | -0.054252
| 0.070668 | 0.68875 | 0 |  |  | 0.017846 | 0.25 | -0.25 | -0.054252
| 0.088514 | 0.51024 | 1 |  |  | 0.017846
| 0.10636 | 0.36317 | 0 |  |  | 0.017846
2s | 0.12421 | 0.24836 | 0 |  |  | 0.017846
| 0.14205 | 0.16318 | 0 |  |  | 0.017846
| 0.1599 | 0.10301 | 0 |  |  | 0.017846
| 0.17774 | 0.062482 | 0 |  |  | 0.017846
| 0.19559 | 0.036411 | 1 |  |  | 0.017846
3s | 0.21343 | 0.020387 | 0 |  |  | 0.017846