## Master part
2006-10-20 11:37
P.O. Box 451
Princeton, NJ 08543
(609)243-3626
WWW.PPPL.GOV
INSPECTION REPORT
0
ACCEPTED
REJECTED
EMAIL TO: | [5 empty] | FAX TO:
INSPECTED BY: NCSX Coil Winding Team
REMARKS AND DISPOSITION
Conical Seat 1
|  |  | -Tol. | +Tol. | Nominal |  | Measured |  | Dev/Mean |  | Error
|  | X | 0 | 0 | 79.8102 |  | 79.8142 |  | 0.0040236
Target point |  | Y | 0 | 0 | -40.7074 |  | -40.7118 |  | -0.0044431
|  | Z | 0 | 0 | -1.6543 |  | -1.6517 |  | 0.002561
Distance To Target Point |  |  | -0.1 | 0.1 | 0 |  | 0.0065184 |  | 0.0065184
Distance to Target Plane |  |  | -0.1 | 0.1 | 0
Distance On Plane |  |  | -0.1 | 0.1 | 0
Conical Seat 2
|  |  | -Tol. | +Tol. | Nominal |  | Measured |  | Dev/Mean |  | Error
|  | X | 0 | 0 | 76.289 |  | 76.2866 |  | -0.002364
Target point |  | Y | 0 | 0 | -36.9866 |  | -37.0031 |  | -0.016484
|  | Z | 0 | 0 | -25.6848 |  | -25.6855 |  | -0.00073977
Distance To Target Point |  |  | -0.1 | 0.1 | 0 |  | 0.016669 |  | 0.016669
Distance to Target Plane |  |  | -0.1 | 0.1 | 0
Distance On Plane |  |  | -0.1 | 0.1 | 0
Conical Seat 3
|  |  | -Tol. | +Tol. | Nominal |  | Measured |  | Dev/Mean |  | Error
|  | X | 0 | 0 | 95.9711 |  | 95.9641 |  | -0.006956
Target point |  | Y | 0 | 0 | -16.172 |  | -16.1765 |  | -0.0045013
|  | Z | 0 | 0 | -24.6037 |  | -24.6088 |  | -0.0051081
Distance To Target Point |  |  | -0.1 | 0.1 | 0 |  | 0.0097335 |  | 0.0097335
Distance to Target Plane |  |  | -0.1 | 0.1 | 0
Distance On Plane |  |  | -0.1 | 0.1 | 0
Conical Seat 4
|  |  | -Tol. | +Tol. | Nominal |  | Measured |  | Dev/Mean |  | Error
|  | X | 0 | 0 | 98.1481 |  | 98.152 |  | 0.0038711
Target point |  | Y | 0 | 0 | 18.0077 |  | 18.0159 |  | 0.0082173
|  | Z | 0 | 0 | -8.1089 |  | -8.1012 |  | 0.0077441
Distance To Target Point |  |  | -0.1 | 0.1 | 0 |  | 0.011937 |  | 0.011937
Distance to Target Plane |  |  | -0.1 | 0.1 | 0
Distance On Plane |  |  | -0.1 | 0.1 | 0
Conical Seat 5
|  |  | -Tol. | +Tol. | Nominal |  | Measured |  | Dev/Mean |  | Error
|  | X | 0 | 0 | 80.4429 |  | 80.4388 |  | -0.0041473
Target point |  | Y | 0 | 0 | 30.3655 |  | 30.3608 |  | -0.0047257
|  | Z | 0 | 0 | -27.5777 |  | -27.5855 |  | -0.0078364
Distance To Target Point |  |  | -0.1 | 0.1 | 0 |  | 0.010047 |  | 0.010047
Distance to Target Plane |  |  | -0.1 | 0.1 | 0
Distance On Plane |  |  | -0.1 | 0.1 | 0
Conical Seat 6
|  |  | -Tol. | +Tol. | Nominal |  | Measured |  | Dev/Mean |  | Error
|  | X | 0 | 0 | 87.4116 |  | 87.4144 |  | 0.0027658
Target point |  | Y | 0 | 0 | 34.2315 |  | 34.2447 |  | 0.013163
|  | Z | 0 | 0 | -2.923 |  | -2.9163 |  | 0.006708
Distance To Target Point |  |  | -0.1 | 0.1 | 0 |  | 0.01503 |  | 0.01503
Distance to Target Plane |  |  | -0.1 | 0.1 | 0
Distance On Plane |  |  | -0.1 | 0.1 | 0
Conical Seat 7
|  |  | -Tol. | +Tol. | Nominal |  | Measured |  | Dev/Mean |  | Error
|  | X | 0 | 0 | 60.5365 |  | 60.5352 |  | -0.0012789
Target point |  | Y | 0 | 0 | 48.1795 |  | 48.1828 |  | 0.0032562
|  | Z | 0 | 0 | -8.8317 |  | -8.8293 |  | 0.0023927
Distance To Target Point |  |  | -0.1 | 0.1 | 0 |  | 0.0042383 |  | 0.0042383
Distance to Target Plane |  |  | -0.1 | 0.1 | 0
Distance On Plane |  |  | -0.1 | 0.1 | 0
Conical Seat 9
|  |  | -Tol. | +Tol. | Nominal |  | Measured |  | Dev/Mean |  | Error
|  | X | 0 | 0 | 20.8042 |  | 20.8034 |  | -0.00081466
Target point |  | Y | 0 | 0 | 26.8062 |  | 26.8035 |  | -0.0027481
|  | Z | 0 | 0 | -5.2941 |  | -5.2889 |  | 0.0051917
Distance To Target Point |  |  | -0.1 | 0.1 | 0 |  | 0.0059304 |  | 0.0059304
Distance to Target Plane |  |  | -0.1 | 0.1 | 0
Distance On Plane |  |  | -0.1 | 0.1 | 0
Conical Seat 10
|  |  | -Tol. | +Tol. | Nominal |  | Measured |  | Dev/Mean |  | Error
|  | X | 0 | 0 | 34.6654 |  | 34.6667 |  | 0.001272
Target point |  | Y | 0 | 0 | -2.7176 |  | -2.7146 |  | 0.0030029
|  | Z | 0 | 0 | -9.6627 |  | -9.6692 |  | -0.0064931
Distance To Target Point |  |  | -0.1 | 0.1 | 0 |  | 0.0072661 |  | 0.0072661
Distance to Target Plane |  |  | -0.1 | 0.1 | 0
Distance On Plane |  |  | -0.1 | 0.1 | 0
Conical Seat 11
|  |  | -Tol. | +Tol. | Nominal |  | Measured |  | Dev/Mean |  | Error
|  | X | 0 | 0 | 24.178 |  | 24.1816 |  | 0.0036285
Target point |  | Y | 0 | 0 | -23.0432 |  | -23.0379 |  | 0.0052634
|  | Z | 0 | 0 | -2.4115 |  | -2.4159 |  | -0.0044201
Distance To Target Point |  |  | -0.1 | 0.1 | 0 |  | 0.0077722 |  | 0.0077722
Distance to Target Plane |  |  | -0.1 | 0.1 | 0
Distance On Plane |  |  | -0.1 | 0.1 | 0
N3LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-6 | 0 | -0.01 | 0.01 | 89.9892 | -20.8348 | -6.3454 | 0.1049 | -0.0762 | -0.0211 | -0.1313
| SP-7 | 0 | -0.01 | 0.01 | 89.8901 | -20.8747 | -6.6953 | 0.0942 | -0.0685 | -0.0189 | -0.118
| SP-8 | 0 | -0.01 | 0.01 | 89.7924 | -20.9054 | -7.0702 | 0.0807 | -0.0587 | -0.0162 | -0.1011
| SP-9 | 0 | -0.01 | 0.01 | 90.055 | -20.8747 | -5.8729 | 0.0808 | -0.0589 | -0.0162 | -0.1013
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.11292
| Std. deviation |  | 0.014587
| Max. Value |  | -0.1011
| Min. Value |  | -0.1313
N4LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-5 | 0 | -0.01 | 0.01 | 91.6798 | -18.1847 | -6.8311 | 0.1138 | -0.071 | -0.0243 | -0.1363
| SP-6 | 0 | -0.01 | 0.01 | 91.6001 | -18.2272 | -7.0798 | 0.11 | -0.0686 | -0.0235 | -0.1317
| SP-7 | 0 | -0.01 | 0.01 | 91.459 | -18.3401 | -7.4104 | 0.1065 | -0.0667 | -0.0227 | -0.1277
| SP-8 | 0 | -0.01 | 0.01 | 91.3095 | -18.4446 | -7.8047 | 0.0977 | -0.0613 | -0.0208 | -0.1172
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.12823
| Std. deviation |  | 0.0081467
| Max. Value |  | -0.1172
| Min. Value |  | -0.1363
N5LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-5 | 0 | -0.01 | 0.01 | 92.932 | -15.6057 | -7.8067 | 0.0853 | -0.0443 | -0.0204 | -0.0983
| SP-6 | 0 | -0.01 | 0.01 | 92.8171 | -15.6892 | -8.1062 | 0.0811 | -0.042 | -0.0194 | -0.0933
| SP-7 | 0 | -0.01 | 0.01 | 92.6947 | -15.7632 | -8.4567 | 0.0776 | -0.0401 | -0.0186 | -0.0893
| SP-8 | 0 | -0.01 | 0.01 | 92.5537 | -15.8656 | -8.8243 | 0.0689 | -0.0355 | -0.0165 | -0.0792
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.090025
| Std. deviation |  | 0.0081016
| Max. Value |  | -0.0792
| Min. Value |  | -0.0983
N6LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-6 | 0 | -0.01 | 0.01 | 93.6534 | -13.1594 | -9.4165 | 0.1095 | -0.0452 | -0.031 | -0.1224
| SP-7 | 0 | -0.01 | 0.01 | 93.4973 | -13.3355 | -9.7117 | 0.1088 | -0.045 | -0.0307 | -0.1216
| SP-8 | 0 | -0.01 | 0.01 | 93.2878 | -13.6206 | -10.0357 | 0.1007 | -0.0421 | -0.0282 | -0.1127
| SP-9 | 0 | -0.01 | 0.01 | 93.7386 | -13.1554 | -9.1196 | 0.0846 | -0.0353 | -0.0237 | -0.0947
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.11285
| Std. deviation |  | 0.012874
| Max. Value |  | -0.0947
| Min. Value |  | -0.1224
N7LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-6 | 0 | -0.01 | 0.01 | 94.0488 | -10.7478 | -10.9778 | 0.1198 | -0.0382 | -0.0404 | -0.1321
| SP-7 | 0 | -0.01 | 0.01 | 93.8889 | -10.9364 | -11.2738 | 0.1154 | -0.0367 | -0.0389 | -0.1272
| SP-8 | 0 | -0.01 | 0.01 | 93.6961 | -11.1739 | -11.6209 | 0.0988 | -0.0315 | -0.0333 | -0.1089
| SP-9 | 0 | -0.01 | 0.01 | 94.1454 | -10.734 | -10.7031 | 0.0895 | -0.0289 | -0.0299 | -0.0987
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.11672
| Std. deviation |  | 0.015623
| Max. Value |  | -0.0987
| Min. Value |  | -0.1321
N8LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-5 | 0 | -0.01 | 0.01 | 94.1614 | -8.1652 | -12.5974 | 0.1102 | -0.0257 | -0.0441 | -0.1214
| SP-6 | 0 | -0.01 | 0.01 | 94.0893 | -8.2567 | -12.724 | 0.117 | -0.0273 | -0.0469 | -0.1289
| SP-7 | 0 | -0.01 | 0.01 | 93.8963 | -8.6233 | -12.9916 | 0.1117 | -0.0264 | -0.0445 | -0.1231
| SP-8 | 0 | -0.01 | 0.01 | 93.7286 | -8.8856 | -13.2567 | 0.1064 | -0.0253 | -0.0423 | -0.1172
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.12265
| Std. deviation |  | 0.0048487
| Max. Value |  | -0.1172
| Min. Value |  | -0.1289
N9LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-6 | 0 | -0.01 | 0.01 | 93.7575 | -6.15 | -14.4751 | 0.1454 | -0.024 | -0.0664 | -0.1616
| SP-7 | 0 | -0.01 | 0.01 | 93.6247 | -6.3389 | -14.6976 | 0.1459 | -0.0241 | -0.0666 | -0.1622
| SP-8 | 0 | -0.01 | 0.01 | 93.4434 | -6.6508 | -14.9821 | 0.1349 | -0.0225 | -0.0614 | -0.1499
| SP-9 | 0 | -0.01 | 0.01 | 93.9236 | -6.0305 | -14.1539 | 0.1153 | -0.0193 | -0.0524 | -0.1281
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.15045
| Std. deviation |  | 0.01594
| Max. Value |  | -0.1281
| Min. Value |  | -0.1622
N10LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-5 | 0 | -0.01 | 0.01 | 93.4795 | -3.603 | -15.7334 | 0.1501 | -0.014 | -0.0767 | -0.1691
| SP-6 | 0 | -0.01 | 0.01 | 93.3547 | -3.8526 | -15.9319 | 0.142 | -0.0136 | -0.0723 | -0.1599
| SP-7 | 0 | -0.01 | 0.01 | 93.2089 | -4.0345 | -16.184 | 0.1356 | -0.013 | -0.0691 | -0.1528
| SP-8 | 0 | -0.01 | 0.01 | 93.0171 | -4.269 | -16.5167 | 0.121 | -0.0116 | -0.0616 | -0.1363
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.15452
| Std. deviation |  | 0.013862
| Max. Value |  | -0.1363
| Min. Value |  | -0.1691
N11LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-6 | 0 | -0.01 | 0.01 | 92.8473 | -1.3955 | -17.1435 | 0.1364 | -0.0022 | -0.0762 | -0.1562
| SP-7 | 0 | -0.01 | 0.01 | 92.7056 | -1.5956 | -17.3911 | 0.1331 | -0.0024 | -0.0742 | -0.1524
| SP-8 | 0 | -0.01 | 0.01 | 92.5255 | -1.8881 | -17.7041 | 0.1197 | -0.0025 | -0.0666 | -0.137
| SP-9 | 0 | -0.01 | 0.01 | 93.0012 | -1.3132 | -16.8704 | 0.1115 | -0.002 | -0.0622 | -0.1276
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.1433
| Std. deviation |  | 0.013359
| Max. Value |  | -0.1276
| Min. Value |  | -0.1562
N12LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 92.329 | 0.9191 | -17.9394 | 0.1287 | 0.0089 | -0.0767 | -0.1501
| SP-3 | 0 | -0.01 | 0.01 | 92.1607 | 0.8945 | -18.2243 | 0.1193 | 0.0085 | -0.0712 | -0.1392
| SP-4 | 0 | -0.01 | 0.01 | 92.0001 | 0.5948 | -18.528 | 0.1089 | 0.007 | -0.0647 | -0.1268
| SP-5 | 0 | -0.01 | 0.01 | 92.5224 | 1.0739 | -17.5969 | 0.1303 | 0.0092 | -0.0778 | -0.152
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.14203
| Std. deviation |  | 0.011612
| Max. Value |  | -0.1268
| Min. Value |  | -0.152
N13LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 92.0473 | 3.5024 | -17.9056 | 0.1266 | 0.0211 | -0.0778 | -0.1501
| SP-2 | 0 | -0.01 | 0.01 | 91.8973 | 3.4231 | -18.171 | 0.1121 | 0.0184 | -0.0689 | -0.1329
| SP-3 | 0 | -0.01 | 0.01 | 91.709 | 3.365 | -18.493 | 0.0894 | 0.0145 | -0.0549 | -0.1059
| SP-4 | 0 | -0.01 | 0.01 | 91.4978 | 3.2802 | -18.8591 | 0.0694 | 0.0111 | -0.0426 | -0.0822
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.11778
| Std. deviation |  | 0.02989
| Max. Value |  | -0.0822
| Min. Value |  | -0.1501
N14LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 91.5151 | 6.0166 | -17.9109 | 0.1196 | 0.0301 | -0.073 | -0.1433
| SP-3 | 0 | -0.01 | 0.01 | 91.359 | 5.9897 | -18.1778 | 0.1075 | 0.0268 | -0.0656 | -0.1288
| SP-4 | 0 | -0.01 | 0.01 | 91.1395 | 5.9358 | -18.5594 | 0.0872 | 0.0214 | -0.0532 | -0.1043
| SP-5 | 0 | -0.01 | 0.01 | 91.7355 | 6.0014 | -17.5556 | 0.1249 | 0.0315 | -0.0762 | -0.1497
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.13153
| Std. deviation |  | 0.020146
| Max. Value |  | -0.1043
| Min. Value |  | -0.1497
N15LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 91.3637 | 8.5928 | -16.9148 | 0.1387 | 0.0459 | -0.0823 | -0.1677
| SP-2 | 0 | -0.01 | 0.01 | 91.174 | 8.5798 | -17.2416 | 0.1295 | 0.0425 | -0.077 | -0.1565
| SP-3 | 0 | -0.01 | 0.01 | 91.0084 | 8.6124 | -17.5022 | 0.1222 | 0.04 | -0.0726 | -0.1477
| SP-4 | 0 | -0.01 | 0.01 | 90.8115 | 8.6157 | -17.8315 | 0.1127 | 0.0367 | -0.067 | -0.1361
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.152
| Std. deviation |  | 0.013392
| Max. Value |  | -0.1361
| Min. Value |  | -0.1677
N16LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 90.846 | 11.3116 | -16.0738 | 0.1308 | 0.0539 | -0.0751 | -0.1601
| SP-2 | 0 | -0.01 | 0.01 | 90.6912 | 11.2552 | -16.3833 | 0.1269 | 0.0518 | -0.073 | -0.1553
| SP-3 | 0 | -0.01 | 0.01 | 90.5261 | 11.2821 | -16.6513 | 0.1213 | 0.0494 | -0.0698 | -0.1484
| SP-4 | 0 | -0.01 | 0.01 | 90.3059 | 11.2712 | -17.0415 | 0.1092 | 0.0442 | -0.0629 | -0.1335
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.14932
| Std. deviation |  | 0.011591
| Max. Value |  | -0.1335
| Min. Value |  | -0.1601
N17LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 89.9708 | 14.0089 | -15.4542 | 0.1061 | 0.0528 | -0.0593 | -0.1325
| SP-3 | 0 | -0.01 | 0.01 | 89.7699 | 14.0523 | -15.7752 | 0.0989 | 0.0493 | -0.0553 | -0.1235
| SP-4 | 0 | -0.01 | 0.01 | 89.5648 | 14.012 | -16.1777 | 0.0839 | 0.0415 | -0.0469 | -0.1047
| SP-5 | 0 | -0.01 | 0.01 | 90.151 | 13.8979 | -15.2305 | 0.1106 | 0.0548 | -0.0619 | -0.1381
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.1247
| Std. deviation |  | 0.014627
| Max. Value |  | -0.1047
| Min. Value |  | -0.1381
N18+19LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 88.4211 | 17.766 | -14.4297 | 0.1027 | 0.0647 | -0.0563 | -0.1339
| SP-3 | 0 | -0.01 | 0.01 | 88.2392 | 17.7523 | -14.7773 | 0.0956 | 0.0602 | -0.0524 | -0.1245
| SP-4 | 0 | -0.01 | 0.01 | 88.0337 | 17.7706 | -15.131 | 0.0859 | 0.0541 | -0.0471 | -0.1119
| SP-5 | 0 | -0.01 | 0.01 | 88.5552 | 17.7192 | -14.2387 | 0.0912 | 0.0573 | -0.05 | -0.1187
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.12225
| Std. deviation |  | 0.0093186
| Max. Value |  | -0.1119
| Min. Value |  | -0.1339
N19a+20LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 85.3714 | 22.7513 | -13.4281 | 0.0879 | 0.0718 | -0.0495 | -0.1238
| SP-2 | 0 | -0.01 | 0.01 | 85.2871 | 22.6324 | -13.7502 | 0.0836 | 0.068 | -0.047 | -0.1175
| SP-3 | 0 | -0.01 | 0.01 | 85.1473 | 22.5948 | -14.0533 | 0.0786 | 0.064 | -0.0442 | -0.1105
| SP-4 | 0 | -0.01 | 0.01 | 85.0329 | 22.47 | -14.4373 | 0.069 | 0.056 | -0.0388 | -0.097
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.1122
| Std. deviation |  | 0.011498
| Max. Value |  | -0.097
| Min. Value |  | -0.1238
N21LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 83.89 | 24.5134 | -13.3971 | 0.0844 | 0.0748 | -0.0488 | -0.1229
| SP-2 | 0 | -0.01 | 0.01 | 83.8056 | 24.4304 | -13.6703 | 0.0809 | 0.0716 | -0.0468 | -0.1178
| SP-3 | 0 | -0.01 | 0.01 | 83.7045 | 24.3708 | -13.9366 | 0.0796 | 0.0705 | -0.046 | -0.1159
| SP-4 | 0 | -0.01 | 0.01 | 83.5557 | 24.2618 | -14.3611 | 0.0718 | 0.0636 | -0.0415 | -0.1045
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.11528
| Std. deviation |  | 0.0077676
| Max. Value |  | -0.1045
| Min. Value |  | -0.1229
N22LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 82.0917 | 26.3367 | -13.5851 | 0.0604 | 0.0584 | -0.0363 | -0.0916
| SP-2 | 0 | -0.01 | 0.01 | 81.9692 | 26.295 | -13.856 | 0.0548 | 0.053 | -0.033 | -0.0831
| SP-3 | 0 | -0.01 | 0.01 | 81.8683 | 26.1973 | -14.1811 | 0.0492 | 0.0476 | -0.0296 | -0.0746
| SP-4 | 0 | -0.01 | 0.01 | 81.7558 | 26.0469 | -14.6103 | 0.0356 | 0.0345 | -0.0214 | -0.054
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.075825
| Std. deviation |  | 0.01612
| Max. Value |  | -0.054
| Min. Value |  | -0.0916
N23LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 79.8342 | 28.3343 | -13.9552 | 0.0606 | 0.0648 | -0.0386 | -0.0968
| SP-2 | 0 | -0.01 | 0.01 | 79.7601 | 28.2618 | -14.1937 | 0.0551 | 0.0589 | -0.0351 | -0.088
| SP-3 | 0 | -0.01 | 0.01 | 79.6034 | 28.1935 | -14.5545 | 0.0467 | 0.0501 | -0.0297 | -0.0746
| SP-4 | 0 | -0.01 | 0.01 | 79.51 | 28.0544 | -14.9354 | 0.0414 | 0.0444 | -0.0264 | -0.0662
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.0814
| Std. deviation |  | 0.013638
| Max. Value |  | -0.0662
| Min. Value |  | -0.0968
N24LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 77.5064 | 30.2499 | -14.2136 | 0.0467 | 0.0555 | -0.0317 | -0.0792
| SP-2 | 0 | -0.01 | 0.01 | 77.3844 | 30.1511 | -14.5661 | 0.0448 | 0.0534 | -0.0305 | -0.0761
| SP-3 | 0 | -0.01 | 0.01 | 77.3682 | 29.9415 | -14.9568 | 0.0464 | 0.0551 | -0.0315 | -0.0786
| SP-4 | 0 | -0.01 | 0.01 | 77.2811 | 29.8418 | -15.2595 | 0.0428 | 0.0508 | -0.029 | -0.0725
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.0766
| Std. deviation |  | 0.0030452
| Max. Value |  | -0.0725
| Min. Value |  | -0.0792
N25LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 75.2475 | 31.9231 | -14.4458 | 0.0467 | 0.0618 | -0.034 | -0.0846
| SP-2 | 0 | -0.01 | 0.01 | 75.1913 | 31.7735 | -14.795 | 0.045 | 0.0594 | -0.0327 | -0.0814
| SP-3 | 0 | -0.01 | 0.01 | 75.1707 | 31.6024 | -15.1342 | 0.0429 | 0.0564 | -0.0311 | -0.0774
| SP-4 | 0 | -0.01 | 0.01 | 75.1203 | 31.463 | -15.4567 | 0.0381 | 0.0501 | -0.0276 | -0.0687
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.078025
| Std. deviation |  | 0.0068791
| Max. Value |  | -0.0687
| Min. Value |  | -0.0846
N26LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 72.7988 | 33.542 | -14.6856 | 0.0417 | 0.0619 | -0.0327 | -0.0815
| SP-2 | 0 | -0.01 | 0.01 | 72.756 | 33.4152 | -14.9802 | 0.0407 | 0.0604 | -0.0319 | -0.0795
| SP-3 | 0 | -0.01 | 0.01 | 72.7232 | 33.2743 | -15.2886 | 0.0386 | 0.0572 | -0.0302 | -0.0753
| SP-4 | 0 | -0.01 | 0.01 | 72.6776 | 33.1016 | -15.6735 | 0.034 | 0.0502 | -0.0266 | -0.0662
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.075625
| Std. deviation |  | 0.0067938
| Max. Value |  | -0.0662
| Min. Value |  | -0.0815
N27LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 70.4164 | 34.9596 | -14.8691 | 0.0422 | 0.0706 | -0.036 | -0.0898
| SP-2 | 0 | -0.01 | 0.01 | 70.357 | 34.8308 | -15.1919 | 0.041 | 0.0685 | -0.0349 | -0.0871
| SP-3 | 0 | -0.01 | 0.01 | 70.2135 | 34.7543 | -15.5108 | 0.0376 | 0.063 | -0.032 | -0.08
| SP-4 | 0 | -0.01 | 0.01 | 70.1705 | 34.6603 | -15.746 | 0.033 | 0.0553 | -0.0281 | -0.0702
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.081775
| Std. deviation |  | 0.0087538
| Max. Value |  | -0.0702
| Min. Value |  | -0.0898
N28LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 67.9203 | 36.3686 | -14.8514 | 0.0352 | 0.067 | -0.033 | -0.0826
| SP-2 | 0 | -0.01 | 0.01 | 67.8459 | 36.2566 | -15.1583 | 0.0324 | 0.0619 | -0.0304 | -0.0762
| SP-3 | 0 | -0.01 | 0.01 | 67.7496 | 36.1161 | -15.5464 | 0.0302 | 0.0576 | -0.0283 | -0.0709
| SP-4 | 0 | -0.01 | 0.01 | 67.6974 | 35.96 | -15.9192 | 0.0229 | 0.0436 | -0.0215 | -0.0537
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.07085
| Std. deviation |  | 0.012394
| Max. Value |  | -0.0537
| Min. Value |  | -0.0826
N29LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 65.1637 | 37.6359 | -15.0062 | 0.0351 | 0.078 | -0.0373 | -0.0933
| SP-2 | 0 | -0.01 | 0.01 | 65.1154 | 37.4903 | -15.3564 | 0.0285 | 0.0632 | -0.0302 | -0.0756
| SP-3 | 0 | -0.01 | 0.01 | 65.0677 | 37.3394 | -15.7173 | 0.022 | 0.0488 | -0.0233 | -0.0584
| SP-4 | 0 | -0.01 | 0.01 | 65.0677 | 37.1705 | -16.0706 | 0.0127 | 0.0281 | -0.0134 | -0.0336
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.065225
| Std. deviation |  | 0.025446
| Max. Value |  | -0.0336
| Min. Value |  | -0.0933
N30LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 62.4602 | 38.6414 | -15.2542 | 0.0241 | 0.0632 | -0.0296 | -0.0738
| SP-2 | 0 | -0.01 | 0.01 | 62.444 | 38.5194 | -15.5281 | 0.0227 | 0.0596 | -0.0279 | -0.0696
| SP-3 | 0 | -0.01 | 0.01 | 62.4329 | 38.3966 | -15.7995 | 0.02 | 0.0524 | -0.0245 | -0.0612
| SP-4 | 0 | -0.01 | 0.01 | 62.4208 | 38.2487 | -16.1254 | 0.0169 | 0.0443 | -0.0207 | -0.0517
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.064075
| Std. deviation |  | 0.0097725
| Max. Value |  | -0.0517
| Min. Value |  | -0.0738
N31LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 59.709 | 39.5518 | -15.3435 | 0.0237 | 0.0761 | -0.0351 | -0.0871
| SP-2 | 0 | -0.01 | 0.01 | 59.6738 | 39.4509 | -15.586 | 0.0236 | 0.0759 | -0.035 | -0.0869
| SP-3 | 0 | -0.01 | 0.01 | 59.6296 | 39.3103 | -15.9205 | 0.0216 | 0.0696 | -0.0321 | -0.0796
| SP-4 | 0 | -0.01 | 0.01 | 59.5781 | 39.1445 | -16.3143 | 0.0168 | 0.0542 | -0.025 | -0.062
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.0789
| Std. deviation |  | 0.011795
| Max. Value |  | -0.062
| Min. Value |  | -0.0871
N32LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 56.8626 | 40.1268 | -15.8003 | 0.0271 | 0.1128 | -0.0514 | -0.1269
| SP-3 | 0 | -0.01 | 0.01 | 56.7978 | 39.9258 | -16.2751 | 0.0166 | 0.0694 | -0.0316 | -0.078
| SP-4 | 0 | -0.01 | 0.01 | 56.8167 | 39.8324 | -16.4702 | 0.0175 | 0.073 | -0.0333 | -0.0822
| SP-5 | 0 | -0.01 | 0.01 | 56.879 | 40.2772 | -15.4618 | 0.0288 | 0.1203 | -0.0548 | -0.1353
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.1056
| Std. deviation |  | 0.029693
| Max. Value |  | -0.078
| Min. Value |  | -0.1353
N33LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 54.1924 | 40.6928 | -15.769 | 0.0184 | 0.1063 | -0.048 | -0.1181
| SP-3 | 0 | -0.01 | 0.01 | 54.1093 | 40.5412 | -16.1361 | 0.0168 | 0.098 | -0.0443 | -0.1088
| SP-4 | 0 | -0.01 | 0.01 | 54.1035 | 40.3588 | -16.5421 | 0.0143 | 0.0835 | -0.0377 | -0.0927
| SP-5 | 0 | -0.01 | 0.01 | 54.1569 | 40.8359 | -15.4657 | 0.0163 | 0.0945 | -0.0427 | -0.105
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.10615
| Std. deviation |  | 0.010521
| Max. Value |  | -0.0927
| Min. Value |  | -0.1181
N34LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 51.5914 | 41.3264 | -15.1655 | 0.0108 | 0.1048 | -0.0471 | -0.1154
| SP-2 | 0 | -0.01 | 0.01 | 51.453 | 41.1726 | -15.539 | 0.0104 | 0.1043 | -0.0469 | -0.1148
| SP-3 | 0 | -0.01 | 0.01 | 51.4258 | 40.9871 | -15.9583 | 0.0099 | 0.0995 | -0.0447 | -0.1095
| SP-4 | 0 | -0.01 | 0.01 | 51.3997 | 40.835 | -16.3029 | 0.0095 | 0.096 | -0.0431 | -0.1057
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.11135
| Std. deviation |  | 0.0046062
| Max. Value |  | -0.1057
| Min. Value |  | -0.1154
N35LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 48.9317 | 41.5658 | -15.0055 | 0.0024 | 0.1207 | -0.0536 | -0.1321
| SP-3 | 0 | -0.01 | 0.01 | 48.8434 | 41.4315 | -15.3119 | 0.0021 | 0.1109 | -0.0492 | -0.1214
| SP-4 | 0 | -0.01 | 0.01 | 48.7482 | 41.285 | -15.6463 | 0.0016 | 0.0954 | -0.0423 | -0.1044
| SP-5 | 0 | -0.01 | 0.01 | 49.0008 | 41.6949 | -14.7117 | 0.0025 | 0.1153 | -0.0513 | -0.1263
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.12105
| Std. deviation |  | 0.01193
| Max. Value |  | -0.1044
| Min. Value |  | -0.1321
N36LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 46.4081 | 41.9172 | -14.0538 | -0.0077 | 0.1049 | -0.0451 | -0.1144
| SP-3 | 0 | -0.01 | 0.01 | 46.2762 | 41.7946 | -14.3165 | -0.0069 | 0.0905 | -0.0388 | -0.0987
| SP-4 | 0 | -0.01 | 0.01 | 46.1157 | 41.6421 | -14.6436 | -0.0058 | 0.0724 | -0.0309 | -0.0789
| SP-5 | 0 | -0.01 | 0.01 | 46.5674 | 42.0413 | -13.7921 | -0.0073 | 0.1045 | -0.0451 | -0.1141
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.10153
| Std. deviation |  | 0.016771
| Max. Value |  | -0.0789
| Min. Value |  | -0.1144
N37LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 44.1459 | 42.2825 | -12.5308 | -0.022 | 0.1298 | -0.0532 | -0.142
| SP-2 | 0 | -0.01 | 0.01 | 44.0222 | 42.123 | -12.8688 | -0.0192 | 0.1122 | -0.0459 | -0.1228
| SP-3 | 0 | -0.01 | 0.01 | 43.9157 | 42.0241 | -13.0664 | -0.018 | 0.1039 | -0.0424 | -0.1136
| SP-4 | 0 | -0.01 | 0.01 | 43.7434 | 41.8633 | -13.3875 | -0.014 | 0.0797 | -0.0324 | -0.0871
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.11637
| Std. deviation |  | 0.022823
| Max. Value |  | -0.0871
| Min. Value |  | -0.142
N38LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 41.6142 | 42.2096 | -11.2955 | -0.0379 | 0.1363 | -0.0526 | -0.1509
| SP-3 | 0 | -0.01 | 0.01 | 41.4072 | 42.0373 | -11.592 | -0.0333 | 0.1174 | -0.0451 | -0.1301
| SP-4 | 0 | -0.01 | 0.01 | 41.3536 | 41.8793 | -11.9643 | -0.0278 | 0.0983 | -0.0377 | -0.1089
| SP-5 | 0 | -0.01 | 0.01 | 41.7724 | 42.3349 | -11.0846 | -0.0385 | 0.1407 | -0.0546 | -0.1557
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.1364
| Std. deviation |  | 0.021437
| Max. Value |  | -0.1089
| Min. Value |  | -0.1557
N39LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 39.2118 | 41.8909 | -9.9754 | -0.0445 | 0.1095 | -0.0397 | -0.1247
| SP-3 | 0 | -0.01 | 0.01 | 39.1107 | 41.7751 | -10.1817 | -0.0397 | 0.0969 | -0.035 | -0.1104
| SP-4 | 0 | -0.01 | 0.01 | 38.8982 | 41.5743 | -10.4958 | -0.0286 | 0.0684 | -0.0245 | -0.0781
| SP-5 | 0 | -0.01 | 0.01 | 39.4502 | 42.1164 | -9.6185 | -0.0468 | 0.1178 | -0.043 | -0.1338
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.11175
| Std. deviation |  | 0.024413
| Max. Value |  | -0.0781
| Min. Value |  | -0.1338
N40LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 36.8967 | 41.2614 | -8.4847 | -0.0657 | 0.1086 | -0.035 | -0.1317
| SP-3 | 0 | -0.01 | 0.01 | 36.819 | 41.1538 | -8.6727 | -0.0616 | 0.1013 | -0.0325 | -0.1229
| SP-4 | 0 | -0.01 | 0.01 | 36.6336 | 40.9233 | -9.0388 | -0.0554 | 0.0895 | -0.0284 | -0.109
| SP-5 | 0 | -0.01 | 0.01 | 37.1278 | 41.5193 | -8.1158 | -0.0641 | 0.1088 | -0.0356 | -0.1312
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.1237
| Std. deviation |  | 0.010598
| Max. Value |  | -0.109
| Min. Value |  | -0.1317
N41LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 35.43 | 40.6547 | -6.681 | -0.0823 | 0.086 | -0.0181 | -0.1204
| SP-2 | 0 | -0.01 | 0.01 | 35.3203 | 40.4981 | -6.9261 | -0.0786 | 0.0819 | -0.0171 | -0.1148
| SP-3 | 0 | -0.01 | 0.01 | 35.1994 | 40.3529 | -7.0639 | -0.0816 | 0.0837 | -0.0169 | -0.1181
| SP-4 | 0 | -0.01 | 0.01 | 34.9923 | 40.0486 | -7.5722 | -0.0536 | 0.055 | -0.011 | -0.0776
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.10773
| Std. deviation |  | 0.020214
| Max. Value |  | -0.0776
| Min. Value |  | -0.1204
N42LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 34.4934 | 39.728 | -5.0522 | -0.091 | 0.0641 | -0.0002 | -0.1113
| SP-2 | 0 | -0.01 | 0.01 | 34.2875 | 39.4341 | -5.296 | -0.0866 | 0.0601 | 0.0005 | -0.1054
| SP-3 | 0 | -0.01 | 0.01 | 34.1524 | 39.2414 | -5.5175 | -0.0823 | 0.0568 | 0.0008 | -0.1
| SP-4 | 0 | -0.01 | 0.01 | 33.9736 | 38.9863 | -5.8106 | -0.0661 | 0.0453 | 0.0009 | -0.0801
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.0992
| Std. deviation |  | 0.013544
| Max. Value |  | -0.0801
| Min. Value |  | -0.1113
N43LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 33.6283 | 38.2785 | -2.9573 | -0.068 | 0.0405 | 0.0027 | -0.0792
| SP-2 | 0 | -0.01 | 0.01 | 33.4725 | 38.0335 | -3.2053 | -0.0587 | 0.0347 | 0.0026 | -0.0683
| SP-3 | 0 | -0.01 | 0.01 | 33.3433 | 37.8306 | -3.4114 | -0.0519 | 0.0306 | 0.0024 | -0.0603
| SP-4 | 0 | -0.01 | 0.01 | 33.1705 | 37.5612 | -3.7062 | -0.036 | 0.0211 | 0.0018 | -0.0418
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.0624
| Std. deviation |  | 0.015767
| Max. Value |  | -0.0418
| Min. Value |  | -0.0792
N44LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 32.7879 | 36.5836 | -0.6488 | -0.0601 | 0.0312 | 0.0036 | -0.0678
| SP-2 | 0 | -0.01 | 0.01 | 32.667 | 36.3769 | -0.8719 | -0.0518 | 0.0267 | 0.0033 | -0.0583
| SP-3 | 0 | -0.01 | 0.01 | 32.5393 | 36.1586 | -1.1109 | -0.0399 | 0.0204 | 0.0026 | -0.0449
| SP-4 | 0 | -0.01 | 0.01 | 32.3989 | 35.9197 | -1.3842 | -0.0214 | 0.0109 | 0.0015 | -0.0241
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.048775
| Std. deviation |  | 0.018943
| Max. Value |  | -0.0241
| Min. Value |  | -0.0678
N45LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 32.0622 | 34.4665 | 1.376 | -0.0604 | 0.0204 | 0.009 | -0.0644
| SP-2 | 0 | -0.01 | 0.01 | 31.9284 | 34.2257 | 1.0215 | -0.0485 | 0.016 | 0.0074 | -0.0516
| SP-3 | 0 | -0.01 | 0.01 | 31.8146 | 34.0235 | 0.7129 | -0.0419 | 0.0136 | 0.0065 | -0.0445
| SP-4 | 0 | -0.01 | 0.01 | 31.7431 | 33.9006 | 0.5101 | -0.0321 | 0.0103 | 0.005 | -0.0341
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.04865
| Std. deviation |  | 0.012724
| Max. Value |  | -0.0341
| Min. Value |  | -0.0644
N46LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 31.851 | 32.1671 | 2.5817 | -0.0874 | 0.0044 | 0.0227 | -0.0904
| SP-2 | 0 | -0.01 | 0.01 | 31.7793 | 32.0255 | 2.333 | -0.0782 | 0.0034 | 0.0205 | -0.0809
| SP-3 | 0 | -0.01 | 0.01 | 31.6945 | 31.8572 | 2.0372 | -0.0704 | 0.0025 | 0.0187 | -0.0729
| SP-4 | 0 | -0.01 | 0.01 | 31.6152 | 31.6979 | 1.7592 | -0.0635 | 0.0018 | 0.0171 | -0.0658
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.0775
| Std. deviation |  | 0.010583
| Max. Value |  | -0.0658
| Min. Value |  | -0.0904
N47LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 32.2717 | 29.8923 | 3.2336 | -0.1173 | -0.027 | 0.0416 | -0.1274
| SP-3 | 0 | -0.01 | 0.01 | 32.1793 | 29.7344 | 2.8706 | -0.1075 | -0.0251 | 0.0383 | -0.1169
| SP-4 | 0 | -0.01 | 0.01 | 32.1335 | 29.6577 | 2.6915 | -0.107 | -0.0252 | 0.0382 | -0.1164
| SP-5 | 0 | -0.01 | 0.01 | 32.3165 | 30.0227 | 3.4443 | -0.1182 | -0.0265 | 0.0417 | -0.1281
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.1222
| Std. deviation |  | 0.0064182
| Max. Value |  | -0.1164
| Min. Value |  | -0.1281
N48LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 33.3021 | 27.6443 | 3.9759 | -0.1229 | -0.0517 | 0.0504 | -0.1426
| SP-3 | 0 | -0.01 | 0.01 | 33.2302 | 27.5067 | 3.6594 | -0.117 | -0.0497 | 0.0481 | -0.1359
| SP-4 | 0 | -0.01 | 0.01 | 33.1574 | 27.3838 | 3.3556 | -0.1079 | -0.0461 | 0.0445 | -0.1255
| SP-5 | 0 | -0.01 | 0.01 | 33.3518 | 27.8023 | 4.259 | -0.117 | -0.0486 | 0.0478 | -0.1354
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.13485
| Std. deviation |  | 0.0070449
| Max. Value |  | -0.1255
| Min. Value |  | -0.1426
N49LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 34.7704 | 25.2617 | 4.647 | -0.1156 | -0.0652 | 0.0513 | -0.1423
| SP-3 | 0 | -0.01 | 0.01 | 34.6867 | 25.1149 | 4.2714 | -0.106 | -0.0601 | 0.0471 | -0.1306
| SP-4 | 0 | -0.01 | 0.01 | 34.5931 | 24.9967 | 3.91 | -0.0952 | -0.0542 | 0.0424 | -0.1175
| SP-5 | 0 | -0.01 | 0.01 | 34.8119 | 25.3988 | 4.9146 | -0.1131 | -0.0633 | 0.05 | -0.139
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.13235
| Std. deviation |  | 0.011058
| Max. Value |  | -0.1175
| Min. Value |  | -0.1423
N50LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 36.4547 | 22.9967 | 5.2571 | -0.1146 | -0.0775 | 0.0534 | -0.1483
| SP-2 | 0 | -0.01 | 0.01 | 36.3867 | 22.9043 | 4.977 | -0.1051 | -0.0713 | 0.049 | -0.1361
| SP-3 | 0 | -0.01 | 0.01 | 36.3061 | 22.7914 | 4.6399 | -0.0955 | -0.065 | 0.0446 | -0.1238
| SP-4 | 0 | -0.01 | 0.01 | 36.1916 | 22.6788 | 4.2308 | -0.0782 | -0.0534 | 0.0366 | -0.1015
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.12743
| Std. deviation |  | 0.019969
| Max. Value |  | -0.1015
| Min. Value |  | -0.1483
N51LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 38.1496 | 20.5049 | 4.9784 | -0.0859 | -0.0681 | 0.0418 | -0.1174
| SP-3 | 0 | -0.01 | 0.01 | 38.0413 | 20.4895 | 4.7308 | -0.0767 | -0.0607 | 0.0373 | -0.1047
| SP-4 | 0 | -0.01 | 0.01 | 37.9126 | 20.4076 | 4.3331 | -0.0647 | -0.0512 | 0.0315 | -0.0883
| SP-5 | 0 | -0.01 | 0.01 | 38.1876 | 20.6701 | 5.3253 | -0.0846 | -0.0667 | 0.0411 | -0.1153
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.10643
| Std. deviation |  | 0.0133
| Max. Value |  | -0.0883
| Min. Value |  | -0.1174
N52LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 40.0286 | 18.1183 | 4.6576 | -0.0896 | -0.0824 | 0.0467 | -0.1304
| SP-3 | 0 | -0.01 | 0.01 | 39.9093 | 18.0711 | 4.3459 | -0.0823 | -0.0753 | 0.0429 | -0.1195
| SP-4 | 0 | -0.01 | 0.01 | 39.7356 | 18.0226 | 3.9275 | -0.0622 | -0.0566 | 0.0324 | -0.0902
| SP-5 | 0 | -0.01 | 0.01 | 40.1227 | 18.2035 | 4.9885 | -0.0895 | -0.0824 | 0.0466 | -0.1303
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.1176
| Std. deviation |  | 0.018969
| Max. Value |  | -0.0902
| Min. Value |  | -0.1304
N53LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 41.8777 | 15.6984 | 3.708 | -0.0935 | -0.0968 | 0.0537 | -0.1449
| SP-3 | 0 | -0.01 | 0.01 | 41.6996 | 15.7185 | 3.4341 | -0.0791 | -0.0813 | 0.0454 | -0.1222
| SP-4 | 0 | -0.01 | 0.01 | 41.4293 | 15.7765 | 3.0664 | -0.0603 | -0.0613 | 0.0346 | -0.0927
| SP-5 | 0 | -0.01 | 0.01 | 42.0161 | 15.7099 | 3.9699 | -0.0854 | -0.0889 | 0.049 | -0.1327
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.12312
| Std. deviation |  | 0.022304
| Max. Value |  | -0.0927
| Min. Value |  | -0.1449
N54LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 43.6135 | 13.3605 | 2.3974 | -0.0982 | -0.1097 | 0.0617 | -0.1597
| SP-2 | 0 | -0.01 | 0.01 | 43.4463 | 13.3957 | 2.1941 | -0.0891 | -0.0992 | 0.0562 | -0.1447
| SP-3 | 0 | -0.01 | 0.01 | 43.2222 | 13.3999 | 1.8464 | -0.0753 | -0.0832 | 0.0476 | -0.1219
| SP-4 | 0 | -0.01 | 0.01 | 42.9534 | 13.4743 | 1.5514 | -0.0592 | -0.065 | 0.0375 | -0.0956
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.13048
| Std. deviation |  | 0.027966
| Max. Value |  | -0.0956
| Min. Value |  | -0.1597
N55LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 44.9211 | 11.0814 | 0.4465 | -0.0972 | -0.1112 | 0.066 | -0.1618
| SP-3 | 0 | -0.01 | 0.01 | 44.6945 | 11.0838 | 0.1172 | -0.073 | -0.0833 | 0.0497 | -0.1214
| SP-4 | 0 | -0.01 | 0.01 | 44.4128 | 11.1823 | -0.1322 | -0.0582 | -0.0662 | 0.0396 | -0.0966
| SP-5 | 0 | -0.01 | 0.01 | 45.0243 | 11.1444 | 0.7049 | -0.0932 | -0.1069 | 0.0632 | -0.1552
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.13375
| Std. deviation |  | 0.030439
| Max. Value |  | -0.0966
| Min. Value |  | -0.1618
N56LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 46.136 | 9.241 | -0.7626 | -0.0968 | -0.1005 | 0.0624 | -0.1529
| SP-3 | 0 | -0.01 | 0.01 | 45.9615 | 9.2601 | -1.0023 | -0.0774 | -0.0815 | 0.0498 | -0.1229
| SP-4 | 0 | -0.01 | 0.01 | 45.6963 | 9.2961 | -1.356 | -0.0459 | -0.0495 | 0.0294 | -0.0736
| SP-5 | 0 | -0.01 | 0.01 | 46.3623 | 9.2337 | -0.4247 | -0.1085 | -0.1106 | 0.0704 | -0.1702
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.1299
| Std. deviation |  | 0.042315
| Max. Value |  | -0.0736
| Min. Value |  | -0.1702
N57LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 47.9051 | 6.9351 | -1.4521 | -0.0987 | -0.083 | 0.043 | -0.1359
| SP-3 | 0 | -0.01 | 0.01 | 47.7301 | 6.973 | -1.7824 | -0.0742 | -0.065 | 0.0317 | -0.1036
| SP-4 | 0 | -0.01 | 0.01 | 47.5501 | 7.0078 | -2.1346 | -0.0511 | -0.0467 | 0.0213 | -0.0725
| SP-5 | 0 | -0.01 | 0.01 | 48.007 | 6.9244 | -1.2403 | -0.1054 | -0.0864 | 0.0467 | -0.1441
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.11403
| Std. deviation |  | 0.032742
| Max. Value |  | -0.0725
| Min. Value |  | -0.1441
N58LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 49.8012 | 4.31 | -1.5401 | -0.1439 | -0.0906 | 0.0292 | -0.1725
| SP-2 | 0 | -0.01 | 0.01 | 49.6935 | 4.3795 | -1.8581 | -0.1164 | -0.0766 | 0.0225 | -0.1412
| SP-3 | 0 | -0.01 | 0.01 | 49.6044 | 4.423 | -2.1788 | -0.094 | -0.0643 | 0.017 | -0.1152
| SP-4 | 0 | -0.01 | 0.01 | 49.4503 | 4.535 | -2.6097 | -0.0619 | -0.045 | 0.0104 | -0.0772
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.12652
| Std. deviation |  | 0.040374
| Max. Value |  | -0.0772
| Min. Value |  | -0.1725
N59LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 51.2471 | 1.3263 | -2.0856 | -0.1209 | -0.044 | 0.0071 | -0.1288
| SP-2 | 0 | -0.01 | 0.01 | 51.1984 | 1.401 | -2.4706 | -0.0998 | -0.0376 | 0.0051 | -0.1068
| SP-3 | 0 | -0.01 | 0.01 | 51.1434 | 1.5015 | -2.8115 | -0.0726 | -0.0284 | 0.0032 | -0.078
| SP-4 | 0 | -0.01 | 0.01 | 51.0764 | 1.6266 | -3.2248 | -0.0479 | -0.0196 | 0.0018 | -0.0517
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.091325
| Std. deviation |  | 0.033623
| Max. Value |  | -0.0517
| Min. Value |  | -0.1288
N60LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 51.7324 | -2.3554 | -3.348 | -0.172 | 0.015 | 0.0146 | -0.1733
| SP-3 | 0 | -0.01 | 0.01 | 51.7156 | -2.2865 | -3.6164 | -0.1529 | 0.0129 | 0.0129 | -0.154
| SP-4 | 0 | -0.01 | 0.01 | 51.6876 | -2.1397 | -4.0932 | -0.1149 | 0.0089 | 0.0095 | -0.1156
| SP-5 | 0 | -0.01 | 0.01 | 51.7542 | -2.4103 | -3.037 | -0.204 | 0.0177 | 0.0174 | -0.2055
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.1621
| Std. deviation |  | 0.03758
| Max. Value |  | -0.1156
| Min. Value |  | -0.2055
N61LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 50.5828 | -6.0565 | -3.8664 | -0.16 | 0.0746 | 0.024 | -0.1782
| SP-2 | 0 | -0.01 | 0.01 | 50.5862 | -5.9284 | -4.243 | -0.12 | 0.055 | 0.0176 | -0.1332
| SP-3 | 0 | -0.01 | 0.01 | 50.5907 | -5.8193 | -4.5552 | -0.0845 | 0.0382 | 0.0121 | -0.0935
| SP-4 | 0 | -0.01 | 0.01 | 50.5946 | -5.729 | -4.8128 | -0.0497 | 0.0222 | 0.007 | -0.0549
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.11495
| Std. deviation |  | 0.052914
| Max. Value |  | -0.0549
| Min. Value |  | -0.1782
N62LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 48.9549 | -8.7223 | -5.4219 | -0.1118 | 0.0646 | 0.0108 | -0.1296
| SP-3 | 0 | -0.01 | 0.01 | 49.0167 | -8.5591 | -5.7634 | -0.0778 | 0.0441 | 0.0068 | -0.0897
| SP-4 | 0 | -0.01 | 0.01 | 49.0443 | -8.4655 | -6.0643 | -0.0458 | 0.0255 | 0.0036 | -0.0526
| SP-5 | 0 | -0.01 | 0.01 | 48.8555 | -8.943 | -5.1278 | -0.1516 | 0.0895 | 0.0157 | -0.1767
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.11215
| Std. deviation |  | 0.053296
| Max. Value |  | -0.0526
| Min. Value |  | -0.1767
N63LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 47.254 | -11.2864 | -6.6487 | -0.1547 | 0.109 | 0.0013 | -0.1893
| SP-2 | 0 | -0.01 | 0.01 | 47.4051 | -11.068 | -6.9825 | -0.127 | 0.0869 | -0.0006 | -0.1539
| SP-3 | 0 | -0.01 | 0.01 | 47.5062 | -10.9226 | -7.2469 | -0.0966 | 0.0647 | -0.0015 | -0.1163
| SP-4 | 0 | -0.01 | 0.01 | 47.6251 | -10.7527 | -7.5463 | -0.0672 | 0.044 | -0.0018 | -0.0804
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.13498
| Std. deviation |  | 0.047034
| Max. Value |  | -0.0804
| Min. Value |  | -0.1893
N64LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 45.784 | -13.3209 | -7.8393 | -0.0986 | 0.077 | -0.0118 | -0.1257
| SP-2 | 0 | -0.01 | 0.01 | 45.9432 | -13.1809 | -8.25 | -0.0973 | 0.0739 | -0.0126 | -0.1228
| SP-3 | 0 | -0.01 | 0.01 | 46.0165 | -13.1168 | -8.4391 | -0.0884 | 0.0664 | -0.0118 | -0.1112
| SP-4 | 0 | -0.01 | 0.01 | 46.1076 | -13.0823 | -8.9054 | -0.0659 | 0.0483 | -0.0097 | -0.0823
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.1105
| Std. deviation |  | 0.019816
| Max. Value |  | -0.0823
| Min. Value |  | -0.1257
N65LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 44.3096 | -15.4635 | -8.7934 | -0.081 | 0.0591 | -0.0172 | -0.1018
| SP-2 | 0 | -0.01 | 0.01 | 44.3867 | -15.4576 | -9.1351 | -0.0809 | 0.0586 | -0.0173 | -0.1014
| SP-3 | 0 | -0.01 | 0.01 | 44.4797 | -15.4095 | -9.407 | -0.0755 | 0.0545 | -0.0162 | -0.0946
| SP-4 | 0 | -0.01 | 0.01 | 44.5945 | -15.3541 | -9.7562 | -0.0708 | 0.051 | -0.0152 | -0.0886
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.0966
| Std. deviation |  | 0.0062738
| Max. Value |  | -0.0886
| Min. Value |  | -0.1018
N66LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 43.0259 | -17.807 | -9.8379 | -0.0982 | 0.0542 | -0.0213 | -0.1141
| SP-2 | 0 | -0.01 | 0.01 | 43.1331 | -17.7316 | -10.1417 | -0.0883 | 0.0494 | -0.0189 | -0.103
| SP-3 | 0 | -0.01 | 0.01 | 43.2412 | -17.7171 | -10.6144 | -0.0702 | 0.0395 | -0.0147 | -0.0819
| SP-4 | 0 | -0.01 | 0.01 | 43.4398 | -17.4669 | -10.878 | -0.0464 | 0.0272 | -0.0096 | -0.0546
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.0884
| Std. deviation |  | 0.026194
| Max. Value |  | -0.0546
| Min. Value |  | -0.1141
N67LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 42.3691 | -20.337 | -11.9799 | -0.0725 | 0.0238 | -0.018 | -0.0784
| SP-2 | 0 | -0.01 | 0.01 | 42.4793 | -20.1592 | -12.1892 | -0.0606 | 0.0202 | -0.0147 | -0.0655
| SP-3 | 0 | -0.01 | 0.01 | 42.6084 | -19.9495 | -12.4343 | -0.0516 | 0.0176 | -0.0121 | -0.0558
| SP-4 | 0 | -0.01 | 0.01 | 42.7696 | -19.6484 | -12.6795 | -0.0295 | 0.0105 | -0.0066 | -0.032
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.057925
| Std. deviation |  | 0.019606
| Max. Value |  | -0.032
| Min. Value |  | -0.0784
N68LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 42.7529 | -22.0208 | -14.9269 | -0.0411 | 0.0063 | -0.0114 | -0.0431
| SP-2 | 0 | -0.01 | 0.01 | 42.8624 | -21.6197 | -15.0988 | -0.0327 | 0.0053 | -0.0085 | -0.0342
| SP-3 | 0 | -0.01 | 0.01 | 42.9329 | -21.3532 | -15.2031 | -0.0228 | 0.0038 | -0.0057 | -0.0239
| SP-4 | 0 | -0.01 | 0.01 | 43.0218 | -20.9986 | -15.3185 | -0.0045 | 0.0008 | -0.0011 | -0.0047
Number of points |  |  | 4
Out of Tolerance |  |  | 3
Performance |  |  | 25%
| Mean |  | -0.026475
| Std. deviation |  | 0.016501
| Max. Value |  | -0.0047
| Min. Value |  | -0.0431
N69LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 43.4354 | -22.7242 | -17.9874 | -0.0849 | 0.0042 | -0.0174 | -0.0868
| SP-2 | 0 | -0.01 | 0.01 | 43.4757 | -22.3853 | -18.1028 | -0.0836 | 0.0046 | -0.0158 | -0.0852
| SP-3 | 0 | -0.01 | 0.01 | 43.5141 | -22.0694 | -18.2143 | -0.0933 | 0.0055 | -0.0163 | -0.0949
| SP-4 | 0 | -0.01 | 0.01 | 43.5528 | -21.8473 | -18.3646 | -0.0901 | 0.0055 | -0.0146 | -0.0914
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.089575
| Std. deviation |  | 0.0044169
| Max. Value |  | -0.0852
| Min. Value |  | -0.0949
N70LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 43.733 | -23.6963 | -20.8352 | -0.0798 | 0.0016 | 0.0017 | -0.0798
| SP-2 | 0 | -0.01 | 0.01 | 43.7334 | -23.448 | -21.0479 | -0.0809 | 0.002 | 0.0022 | -0.081
| SP-3 | 0 | -0.01 | 0.01 | 43.7342 | -23.221 | -21.2294 | -0.087 | 0.0024 | 0.0027 | -0.0871
| SP-4 | 0 | -0.01 | 0.01 | 43.7352 | -22.9115 | -21.4792 | -0.0879 | 0.0028 | 0.0032 | -0.088
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.083975
| Std. deviation |  | 0.0041732
| Max. Value |  | -0.0798
| Min. Value |  | -0.088
N71LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 43.5367 | -25.4477 | -21.9749 | 0.0622 | -0.0068 | -0.006 | 0.0629
| SP-2 | 0 | -0.01 | 0.01 | 43.5217 | -25.3359 | -22.2559 | 0.0222 | -0.0023 | -0.0021 | 0.0224
| SP-3 | 0 | -0.01 | 0.01 | 43.4941 | -25.1287 | -22.768 | 0.0434 | -0.0043 | -0.0041 | 0.0438
| SP-4 | 0 | -0.01 | 0.01 | 43.4684 | -24.9888 | -23.1861 | 0.0492 | -0.0047 | -0.0046 | 0.0497
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | 0.0447
| Std. deviation |  | 0.016875
| Max. Value |  | 0.0629
| Min. Value |  | 0.0224
N72LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 43.3227 | -27.2375 | -21.8265 | -0.0086 | 0.0014 | 0.0006 | -0.0088
| SP-2 | 0 | -0.01 | 0.01 | 43.2844 | -27.3017 | -22.2323 | -0.0002 | 0 | 0 | -0.0002
| SP-3 | 0 | -0.01 | 0.01 | 43.2531 | -27.3439 | -22.5773 | 0.0089 | -0.0013 | -0.0007 | 0.009
| SP-4 | 0 | -0.01 | 0.01 | 43.2103 | -27.4066 | -23.0278 | 0.0189 | -0.0026 | -0.0014 | 0.0191
Number of points |  |  | 4
Out of Tolerance |  |  | 1
Performance |  |  | 75%
| Mean |  | 0.004775
| Std. deviation |  | 0.012001
| Max. Value |  | 0.0191
| Min. Value |  | -0.0088
N73LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 42.9516 | -29.1252 | -20.4913 | -0.0767 | 0.0194 | -0.0026 | -0.0791
| SP-2 | 0 | -0.01 | 0.01 | 42.9017 | -29.3579 | -20.7658 | -0.0701 | 0.0175 | -0.0021 | -0.0723
| SP-3 | 0 | -0.01 | 0.01 | 42.8556 | -29.5735 | -21.023 | -0.0514 | 0.0127 | -0.0014 | -0.053
| SP-4 | 0 | -0.01 | 0.01 | 42.8016 | -29.8276 | -21.3395 | -0.0273 | 0.0066 | -0.0007 | -0.0281
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.058125
| Std. deviation |  | 0.022867
| Max. Value |  | -0.0281
| Min. Value |  | -0.0791
N74LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 42.1642 | -30.8042 | -18.2707 | -0.0582 | 0.0206 | -0.0121 | -0.0629
| SP-2 | 0 | -0.01 | 0.01 | 42.0979 | -31.1093 | -18.4715 | -0.0576 | 0.0202 | -0.0118 | -0.0622
| SP-3 | 0 | -0.01 | 0.01 | 42.0532 | -31.3774 | -18.7149 | -0.0475 | 0.0165 | -0.0094 | -0.0512
| SP-4 | 0 | -0.01 | 0.01 | 42.0094 | -31.6367 | -18.9489 | -0.0453 | 0.0155 | -0.0086 | -0.0486
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.056225
| Std. deviation |  | 0.0073857
| Max. Value |  | -0.0486
| Min. Value |  | -0.0629
N75LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 40.9521 | -32.094 | -15.7073 | -0.095 | 0.0362 | -0.0325 | -0.1067
| SP-2 | 0 | -0.01 | 0.01 | 40.901 | -32.4182 | -15.919 | -0.0799 | 0.0301 | -0.0268 | -0.0894
| SP-3 | 0 | -0.01 | 0.01 | 40.8372 | -32.726 | -16.0734 | -0.0704 | 0.0262 | -0.0232 | -0.0786
| SP-4 | 0 | -0.01 | 0.01 | 40.8376 | -32.9176 | -16.292 | -0.0637 | 0.0235 | -0.0206 | -0.071
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.086425
| Std. deviation |  | 0.015482
| Max. Value |  | -0.071
| Min. Value |  | -0.1067
N76LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 39.5949 | -33.5983 | -13.2472 | -0.0656 | 0.0193 | -0.0204 | -0.0714
| SP-2 | 0 | -0.01 | 0.01 | 39.5202 | -33.9444 | -13.3295 | -0.0397 | 0.0112 | -0.012 | -0.043
| SP-3 | 0 | -0.01 | 0.01 | 39.5442 | -34.2217 | -13.6702 | -0.0276 | 0.0078 | -0.0082 | -0.0298
| SP-4 | 0 | -0.01 | 0.01 | 39.5173 | -34.4999 | -13.8414 | -0.0083 | 0.0023 | -0.0024 | -0.0089
Number of points |  |  | 4
Out of Tolerance |  |  | 3
Performance |  |  | 25%
| Mean |  | -0.038275
| Std. deviation |  | 0.026168
| Max. Value |  | -0.0089
| Min. Value |  | -0.0714
N77LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 38.7426 | -35.957 | -10.9671 | 0.0031 | 0.0003 | 0.0003 | 0.0031
| SP-2 | 0 | -0.01 | 0.01 | 38.7897 | -36.2092 | -11.2589 | 0.0096 | 0.001 | 0.0007 | 0.0097
| SP-3 | 0 | -0.01 | 0.01 | 38.833 | -36.4288 | -11.5126 | 0.0203 | 0.0026 | 0.0013 | 0.0205
| SP-4 | 0 | -0.01 | 0.01 | 38.8996 | -36.7355 | -11.9016 | 0.0408 | 0.0066 | 0.002 | 0.0414
Number of points |  |  | 4
Out of Tolerance |  |  | 2
Performance |  |  | 50%
| Mean |  | 0.018675
| Std. deviation |  | 0.016762
| Max. Value |  | 0.0414
| Min. Value |  | 0.0031
N78LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 39.2198 | -37.6188 | -10.2173 | -0.014 | -0.0079 | 0.0008 | -0.0161
| SP-2 | 0 | -0.01 | 0.01 | 39.287 | -37.7655 | -10.504 | -0.0077 | -0.0047 | 0.0005 | -0.0091
| SP-3 | 0 | -0.01 | 0.01 | 39.3643 | -37.9251 | -10.8198 | 0.0011 | 0.0007 | -0.0001 | 0.0013
| SP-4 | 0 | -0.01 | 0.01 | 39.4289 | -38.069 | -11.2207 | 0.0105 | 0.0073 | -0.0009 | 0.0129
Number of points |  |  | 4
Out of Tolerance |  |  | 2
Performance |  |  | 50%
| Mean |  | -0.00275
| Std. deviation |  | 0.012647
| Max. Value |  | 0.0129
| Min. Value |  | -0.0161
N79LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 40.9823 | -39.3417 | -9.7276 | -0.0225 | -0.0336 | 0.0022 | -0.0405
| SP-2 | 0 | -0.01 | 0.01 | 40.8856 | -39.3079 | -10.1975 | -0.0291 | -0.0436 | 0.0029 | -0.0525
| SP-3 | 0 | -0.01 | 0.01 | 40.879 | -39.3281 | -10.5692 | -0.0371 | -0.057 | 0.0037 | -0.0681
| SP-4 | 0 | -0.01 | 0.01 | 40.8711 | -39.3461 | -10.9241 | -0.0362 | -0.057 | 0.0037 | -0.0676
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.057175
| Std. deviation |  | 0.013266
| Max. Value |  | -0.0405
| Min. Value |  | -0.0681
N80LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 43.1597 | -40.4161 | -9.6166 | -0.0371 | -0.1017 | -0.0019 | -0.1083
| SP-2 | 0 | -0.01 | 0.01 | 43.1747 | -40.4126 | -10.0795 | -0.0332 | -0.0947 | -0.0019 | -0.1004
| SP-3 | 0 | -0.01 | 0.01 | 43.0877 | -40.3725 | -10.5694 | -0.0282 | -0.0816 | -0.0016 | -0.0864
| SP-4 | 0 | -0.01 | 0.01 | 43.0148 | -40.3407 | -10.918 | -0.0233 | -0.0684 | -0.0013 | -0.0723
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.09185
| Std. deviation |  | 0.01587
| Max. Value |  | -0.0723
| Min. Value |  | -0.1083
N81LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 45.7714 | -41.099 | -10.1945 | -0.0228 | -0.1127 | -0.0088 | -0.1153
| SP-3 | 0 | -0.01 | 0.01 | 45.7124 | -41.0579 | -10.5736 | -0.0174 | -0.0889 | -0.0069 | -0.0909
| SP-4 | 0 | -0.01 | 0.01 | 45.6107 | -41.01 | -10.9368 | -0.0114 | -0.0593 | -0.0045 | -0.0605
| SP-5 | 0 | -0.01 | 0.01 | 45.7392 | -41.134 | -9.6482 | -0.0397 | -0.1847 | -0.0139 | -0.1894
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.11403
| Std. deviation |  | 0.055023
| Max. Value |  | -0.0605
| Min. Value |  | -0.1894
N82LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 48.5781 | -41.5723 | -9.8139 | -0.0191 | -0.1745 | -0.0236 | -0.1771
| SP-2 | 0 | -0.01 | 0.01 | 48.5584 | -41.5218 | -10.1711 | -0.0164 | -0.1588 | -0.0216 | -0.1611
| SP-3 | 0 | -0.01 | 0.01 | 48.5182 | -41.4682 | -10.5358 | -0.014 | -0.1434 | -0.0195 | -0.1454
| SP-4 | 0 | -0.01 | 0.01 | 48.5195 | -41.419 | -10.8975 | -0.0114 | -0.1248 | -0.0171 | -0.1265
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.15253
| Std. deviation |  | 0.021645
| Max. Value |  | -0.1265
| Min. Value |  | -0.1771
N83LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 51.3862 | -41.7572 | -9.8327 | -0.0056 | -0.2059 | -0.0371 | -0.2093
| SP-2 | 0 | -0.01 | 0.01 | 51.395 | -41.7058 | -10.1185 | -0.0044 | -0.1909 | -0.0345 | -0.194
| SP-3 | 0 | -0.01 | 0.01 | 51.3181 | -41.6391 | -10.479 | -0.0035 | -0.1743 | -0.0314 | -0.1771
| SP-4 | 0 | -0.01 | 0.01 | 51.3164 | -41.5705 | -10.859 | -0.0022 | -0.1488 | -0.0269 | -0.1512
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.1829
| Std. deviation |  | 0.024891
| Max. Value |  | -0.1512
| Min. Value |  | -0.2093
N84LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 54.1728 | -41.6711 | -10.111 | 0.0089 | -0.1797 | -0.0386 | -0.184
| SP-3 | 0 | -0.01 | 0.01 | 54.1897 | -41.6038 | -10.4204 | 0.0089 | -0.1688 | -0.0363 | -0.1729
| SP-4 | 0 | -0.01 | 0.01 | 54.1204 | -41.5195 | -10.8306 | 0.0083 | -0.1492 | -0.032 | -0.1529
| SP-5 | 0 | -0.01 | 0.01 | 54.15 | -41.7554 | -9.7234 | 0.0091 | -0.2033 | -0.0436 | -0.2082
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.1795
| Std. deviation |  | 0.023058
| Max. Value |  | -0.1529
| Min. Value |  | -0.2082
N85LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 57.0093 | -41.4449 | -10.0244 | 0.018 | -0.1445 | -0.0342 | -0.1496
| SP-3 | 0 | -0.01 | 0.01 | 57.0475 | -41.3738 | -10.3043 | 0.0174 | -0.1374 | -0.0326 | -0.1422
| SP-4 | 0 | -0.01 | 0.01 | 57.0719 | -41.2638 | -10.7547 | 0.0165 | -0.1266 | -0.03 | -0.1311
| SP-5 | 0 | -0.01 | 0.01 | 56.9505 | -41.516 | -9.7548 | 0.0198 | -0.1633 | -0.0386 | -0.169
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.14797
| Std. deviation |  | 0.015946
| Max. Value |  | -0.1311
| Min. Value |  | -0.169
N86LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 59.8143 | -41.041 | -9.8073 | 0.0237 | -0.1176 | -0.0289 | -0.1233
| SP-3 | 0 | -0.01 | 0.01 | 59.9657 | -40.8996 | -10.2573 | 0.0215 | -0.1045 | -0.0257 | -0.1097
| SP-4 | 0 | -0.01 | 0.01 | 59.8952 | -40.8403 | -10.5576 | 0.0201 | -0.0981 | -0.0241 | -0.103
| SP-5 | 0 | -0.01 | 0.01 | 59.7561 | -41.1075 | -9.5839 | 0.0315 | -0.1577 | -0.0387 | -0.1654
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.12535
| Std. deviation |  | 0.028004
| Max. Value |  | -0.103
| Min. Value |  | -0.1654
N87LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 62.6316 | -40.4004 | -9.6524 | 0.0403 | -0.1439 | -0.0351 | -0.1536
| SP-3 | 0 | -0.01 | 0.01 | 62.6862 | -40.301 | -9.9971 | 0.0379 | -0.1349 | -0.0329 | -0.1439
| SP-4 | 0 | -0.01 | 0.01 | 62.701 | -40.1943 | -10.417 | 0.0344 | -0.1222 | -0.0298 | -0.1304
| SP-5 | 0 | -0.01 | 0.01 | 62.5258 | -40.5086 | -9.3299 | 0.0511 | -0.1842 | -0.045 | -0.1963
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.15605
| Std. deviation |  | 0.02847
| Max. Value |  | -0.1304
| Min. Value |  | -0.1963
N88LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 65.1575 | -39.6802 | -9.3243 | 0.0425 | -0.1201 | -0.0288 | -0.1306
| SP-3 | 0 | -0.01 | 0.01 | 65.1367 | -39.6127 | -9.6365 | 0.0421 | -0.1195 | -0.0286 | -0.1299
| SP-4 | 0 | -0.01 | 0.01 | 65.1583 | -39.5068 | -10.0467 | 0.0373 | -0.106 | -0.0254 | -0.1152
| SP-5 | 0 | -0.01 | 0.01 | 65.0903 | -39.7724 | -9.0386 | 0.0557 | -0.158 | -0.0379 | -0.1718
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.13687
| Std. deviation |  | 0.024342
| Max. Value |  | -0.1152
| Min. Value |  | -0.1718
N89LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 67.7424 | -38.8667 | -8.4514 | 0.0487 | -0.1119 | -0.0258 | -0.1248
| SP-2 | 0 | -0.01 | 0.01 | 67.7585 | -38.8007 | -8.7073 | 0.0488 | -0.1124 | -0.0259 | -0.1252
| SP-3 | 0 | -0.01 | 0.01 | 67.7934 | -38.6651 | -9.2293 | 0.0486 | -0.1122 | -0.0259 | -0.1249
| SP-4 | 0 | -0.01 | 0.01 | 67.7853 | -38.5889 | -9.5744 | 0.0438 | -0.1015 | -0.0235 | -0.113
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.12198
| Std. deviation |  | 0.0059857
| Max. Value |  | -0.113
| Min. Value |  | -0.1252
N90LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 70.3338 | -37.7802 | -7.8011 | 0.0711 | -0.1376 | -0.0302 | -0.1578
| SP-2 | 0 | -0.01 | 0.01 | 70.3395 | -37.7099 | -8.1084 | 0.0678 | -0.1317 | -0.0289 | -0.1509
| SP-3 | 0 | -0.01 | 0.01 | 70.3429 | -37.639 | -8.4235 | 0.0647 | -0.1258 | -0.0276 | -0.1441
| SP-4 | 0 | -0.01 | 0.01 | 70.3039 | -37.582 | -8.7743 | 0.0568 | -0.111 | -0.0244 | -0.1271
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.14497
| Std. deviation |  | 0.013164
| Max. Value |  | -0.1271
| Min. Value |  | -0.1578
N91LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 72.7791 | -36.5822 | -7.051 | 0.0937 | -0.1575 | -0.0329 | -0.1861
| SP-2 | 0 | -0.01 | 0.01 | 72.748 | -36.52 | -7.4372 | 0.0854 | -0.1441 | -0.0301 | -0.1702
| SP-3 | 0 | -0.01 | 0.01 | 72.7787 | -36.4374 | -7.7453 | 0.0742 | -0.1252 | -0.0262 | -0.1479
| SP-4 | 0 | -0.01 | 0.01 | 72.7928 | -36.381 | -7.9755 | 0.0683 | -0.1155 | -0.0241 | -0.1363
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.16012
| Std. deviation |  | 0.022311
| Max. Value |  | -0.1363
| Min. Value |  | -0.1861
N92LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 75.3068 | -35.1029 | -6.4126 | 0.0626 | -0.0921 | -0.0185 | -0.1129
| SP-2 | 0 | -0.01 | 0.01 | 75.3055 | -35.0226 | -6.8174 | 0.059 | -0.0869 | -0.0174 | -0.1065
| SP-3 | 0 | -0.01 | 0.01 | 75.3077 | -34.9639 | -7.1021 | 0.0564 | -0.0832 | -0.0167 | -0.1019
| SP-4 | 0 | -0.01 | 0.01 | 75.3133 | -34.8809 | -7.4966 | 0.0467 | -0.0689 | -0.0138 | -0.0844
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.10142
| Std. deviation |  | 0.012213
| Max. Value |  | -0.0844
| Min. Value |  | -0.1129
N93LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-1 | 0 | -0.01 | 0.01 | 77.7805 | -33.4232 | -5.8733 | 0.0684 | -0.0893 | -0.0176 | -0.1138
| SP-2 | 0 | -0.01 | 0.01 | 77.7097 | -33.4002 | -6.2646 | 0.0666 | -0.0873 | -0.0172 | -0.1112
| SP-3 | 0 | -0.01 | 0.01 | 77.7498 | -33.3033 | -6.6008 | 0.0609 | -0.0797 | -0.0157 | -0.1016
| SP-4 | 0 | -0.01 | 0.01 | 77.7179 | -33.2419 | -7.0358 | 0.0514 | -0.0673 | -0.0133 | -0.0857
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.10307
| Std. deviation |  | 0.012716
| Max. Value |  | -0.0857
| Min. Value |  | -0.1138
N94LO
Surface Points
| Name | Offset | -Tol. | +Tol. | X | Y | Z | dX | dY | dZ | DL
| SP-2 | 0 | -0.01 | 0.01 | 79.9713 | -31.6751 | -5.7808 | 0.1049 | -0.1239 | -0.0245 | -0.1642
| SP-3 | 0 | -0.01 | 0.01 | 80.0608 | -31.5206 | -6.1779 | 0.0871 | -0.1024 | -0.0203 | -0.136
| SP-4 | 0 | -0.01 | 0.01 | 80.0418 | -31.4514 | -6.6087 | 0.0711 | -0.0835 | -0.0165 | -0.1109
| SP-5 | 0 | -0.01 | 0.01 | 79.9049 | -31.7698 | -5.5861 | 0.1016 | -0.1203 | -0.0238 | -0.1592
Number of points |  |  | 4
Out of Tolerance |  |  | 4
Performance |  |  | 0%
| Mean |  | -0.14258
| Std. deviation |  | 0.024431
| Max. Value |  | -0.1109
| Min. Value |  | -0.1642