## Polar
Verisurf Inspection Report
Serial Number
Part Name | Date: | 1900-02-01
Work Center | Time: | 1231
Shift
Dwg #
Part ID
Measurements
| X | Y | Z
Description | Measured | Measured | Measured
Bay G bolometer chanel_1 | 50.8961 | -459.9444 | -76.6248
Bay G bolometer chanel_2 | 97.062 | -531.3 | -76.7967
Bay G bolometer chanel_3 | 153.0712 | -611.8739 | -76.9568
Bay G bolometer chanel_5 | 194.7752 | -673.1452 | -77.0686
Bay G bolometer chanel_11 | 223.1357 | -715.4318 | -77.0538
Bay G bolometer chanel_6 | 259.8453 | -767.2909 | -76.2679
Bay G bolometer chanel_7 | 326.919 | -859.8932 | -76.3822
Bay G bolometer chanel_4 | 362.41 | -912.1567 | -76.2978
Bay G bolometer chanel_9 | 405.1734 | -975.2892 | -76.2545
Bay G bolometer chanel_10 | 452.2793 | -1044.2011 | -76.4511
Bay G bolometer chanel_15 | 498.8222 | -1115.6408 | -76.4611
Bay G bolometer chanel_8 | 542.8404 | -1175.3991 | -76.7229
Bay G bolometer chanel_13 | 585.8923 | -1240.1064 | -76.9525
Bay G bolometer chanel_14 | 615.7719 | -1277.9478 | -77.3385
Bay G bolometer chanel_12 | 643.3075 | -1319.3513 | -77.3419
Bay G bolometer chanel_16 | 703.1746 | -1407.121 | -77.7269
bolo pinhole constructed from measured Geo | -649.5349 | -1764.9731 | 0.87044

## Data
Title | Verisurf Inspection Report |  | SubTitle | Bay G Tangential Bolometer | [8 empty] | PartName | 2011-04-27_G-BOLOMETER_PAUL
Head0 | Serial Number | Line0 | 0 |  |  |  |  | Date | 2011-05-19 13:32 |  |  |  | Device | Romer WinRDS Arm Interface
Head1 | Part Name | Line1 | A | [9 empty] | DeviceSerial
Head2 | Work Center | Line2 | 0 | [9 empty] | ProbeRadius | 0
Head3 | Shift | Line3 | 1 | [9 empty] | Temperature | 69.67
Head4 | Dwg # | Line4 | 0
Head5 | Part ID | Line5 | 0
Head6 | Requestor | Line6 | Paul
Head7 | Inspector | Line7 | Raftopoulos
Description | NominalX | NominalY | NominalZ | Nominal3D | ActualX | ActualY | ActualZ | Actual3D | DevX | DevY | DevZ | Dev3D | NominalDiam | ActualDiam | NominalI | NominalJ | NominalK | ActualI | ActualJ | ActualK | threeD | Nominal3D | Form | ActualMinLength | ActualMaxLength | ActualAveLength | NominalLength | ActualMinWidth | ActualMaxWidth | ActualAveWidth | NominalWidth | IdOd | RectType | ReportStyle | ActualAngle | NominalAngle | ShapeType | PosTolX | PosTolY | PosTolZ | NegTolX | NegTolY | NegTolZ | PosTolI | PosTolJ | PosTolK | NegTolI | NegTolJ | NegTolK | NegTolDiam | PosTolDiam | NegTolWidth | PosTolWidth | TolForm | NegTol3D | PosTol3D | RefX | RefY | RefZ | ID | NumberOfHits
Point 1 | 50.8961 | -459.9444 | -76.6248 |  | 50.8961 | -459.9444 | -76.6248 |  | 0 | 0 | 0 | [48 empty] | Bay G bolometer chanel_1
Point 2 | 97.062 | -531.3 | -76.7967 |  | 97.062 | -531.3 | -76.7967 |  | 0 | 0 | 0 | [48 empty] | Bay G bolometer chanel_2
Point 3 | 153.0712 | -611.8739 | -76.9568 |  | 153.0712 | -611.8739 | -76.9568 |  | 0 | 0 | 0 | [48 empty] | Bay G bolometer chanel_3
Point 4 | 194.7752 | -673.1452 | -77.0686 |  | 194.7752 | -673.1452 | -77.0686 |  | 0 | 0 | 0 | [48 empty] | Bay G bolometer chanel_5
Point 5 | 223.1357 | -715.4318 | -77.0538 |  | 223.1357 | -715.4318 | -77.0538 |  | 0 | 0 | 0 | [48 empty] | Bay G bolometer chanel_11
Point 6 | 259.8453 | -767.2909 | -76.2679 |  | 259.8453 | -767.2909 | -76.2679 |  | 0 | 0 | 0 | [48 empty] | Bay G bolometer chanel_6
Point 7 | 326.919 | -859.8932 | -76.3822 |  | 326.919 | -859.8932 | -76.3822 |  | 0 | 0 | 0 | [48 empty] | Bay G bolometer chanel_7
Point 8 | 362.41 | -912.1567 | -76.2978 |  | 362.41 | -912.1567 | -76.2978 |  | 0 | 0 | 0 | [48 empty] | Bay G bolometer chanel_4
Point 9 | 405.1734 | -975.2892 | -76.2545 |  | 405.1734 | -975.2892 | -76.2545 |  | 0 | 0 | 0 | [48 empty] | Bay G bolometer chanel_9
Point 10 | 452.2793 | -1044.2011 | -76.4511 |  | 452.2793 | -1044.2011 | -76.4511 |  | 0 | 0 | 0 | [48 empty] | Bay G bolometer chanel_10
Point 11 | 498.8222 | -1115.6408 | -76.4611 |  | 498.8222 | -1115.6408 | -76.4611 |  | 0 | 0 | 0 | [48 empty] | Bay G bolometer chanel_15
Point 12 | 542.8404 | -1175.3991 | -76.7229 |  | 542.8404 | -1175.3991 | -76.7229 |  | 0 | 0 | 0 | [48 empty] | Bay G bolometer chanel_8
Point 13 | 585.8923 | -1240.1064 | -76.9525 |  | 585.8923 | -1240.1064 | -76.9525 |  | 0 | 0 | 0 | [48 empty] | Bay G bolometer chanel_13
Point 14 | 615.7719 | -1277.9478 | -77.3385 |  | 615.7719 | -1277.9478 | -77.3385 |  | 0 | 0 | 0 | [48 empty] | Bay G bolometer chanel_14
Point 15 | 643.3075 | -1319.3513 | -77.3419 |  | 643.3075 | -1319.3513 | -77.3419 |  | 0 | 0 | 0 | [48 empty] | Bay G bolometer chanel_12
Point 16 | 703.1746 | -1407.121 | -77.7269 |  | 703.1746 | -1407.121 | -77.7269 |  | 0 | 0 | 0 | [48 empty] | Bay G bolometer chanel_16
Point 17 | -649.5349 | -1764.9731 | 0.87044 |  | -649.5349 | -1764.9731 | 0.87044 |  | 0 | 0 | 0 | [48 empty] | bolo pinhole constructed from measured Geo