## Polar
Verisurf Inspection Report
Serial Number
Part Name | Date: | 1900-02-01
Work Center | Time: | 1231
Shift
Dwg #
Part ID
Measurements
| X | Y | Z
Description | Measured | Measured | Measured
ENDD window plane_CompPt1 | -328.9341 | -1736.2523 | -168.2554
ENDD window plane_CompPt2 | -319.5326 | -1733.4019 | -194.5261
ENDD window plane_CompPt3 | -344.9212 | -1734.5833 | -204.776
ENDD window plane_CompPt4 | -357.4596 | -1737.3776 | -181.7988
ENDD window plane_CompPt5 | -342.0157 | -1736.5001 | -177.8395
ENDD window plane_CompPt6 | -329.3843 | -1734.9035 | -185.3761
ENDD window plane_CompPt7 | -341.6246 | -1735.4449 | -190.6316
Endd shutter plane | -303.3267 | -1722.5692 | -162.4126
Endd shutter plane | -305.6004 | -1719.549 | -207.7941
Endd shutter plane | -315.542 | -1695.7514 | -213.7872
Endd shutter plane | -313.2943 | -1698.3794 | -157.9132
Endd shutter plane | -324.0187 | -1672.8741 | -156.0178
Endd shutter plane | -327.5596 | -1666.6767 | -209.5458
ENDD window barrel_CompPt1 | -327.6693 | -1736.5253 | -163.4819
ENDD window barrel_CompPt2 | -350.9714 | -1738.2295 | -164.9203
ENDD window barrel_CompPt3 | -362.2842 | -1737.9945 | -178.9107
ENDD window barrel_CompPt4 | -358.4245 | -1735.7933 | -202.685
ENDD window barrel_CompPt5 | -345.0562 | -1734.03 | -211.6913
ENDD window barrel_CompPt6 | -318.8832 | -1732.5677 | -204.4229

## Data
Title | Verisurf Inspection Report |  | SubTitle | Misc windows | [8 empty] | PartName | 2011-05-05_ENDD_AND BAY G MISC
Head0 | Serial Number | Line0 | 0 |  |  |  |  | Date | 2011-05-17 16:17 |  |  |  | Device
Head1 | Part Name | Line1 | A | [9 empty] | DeviceSerial
Head2 | Work Center | Line2 | 1150-****-X890 | [9 empty] | ProbeRadius | 0
Head3 | Shift | Line3 | 1 | [9 empty] | Temperature
Head4 | Dwg # | Line4 | 0
Head5 | Part ID | Line5 | 0
Head6 | Performed for | Line6 | Roquemore
Head7 | Inspector | Line7 | Raftopoulos
Description | NominalX | NominalY | NominalZ | Nominal3D | ActualX | ActualY | ActualZ | Actual3D | DevX | DevY | DevZ | Dev3D | NominalDiam | ActualDiam | NominalI | NominalJ | NominalK | ActualI | ActualJ | ActualK | threeD | Nominal3D | Form | ActualMinLength | ActualMaxLength | ActualAveLength | NominalLength | ActualMinWidth | ActualMaxWidth | ActualAveWidth | NominalWidth | IdOd | RectType | ReportStyle | ActualAngle | NominalAngle | ShapeType | PosTolX | PosTolY | PosTolZ | NegTolX | NegTolY | NegTolZ | PosTolI | PosTolJ | PosTolK | NegTolI | NegTolJ | NegTolK | NegTolDiam | PosTolDiam | NegTolWidth | PosTolWidth | TolForm | NegTol3D | PosTol3D | RefX | RefY | RefZ | ID | NumberOfHits
Point 1 | -328.9341 | -1736.2523 | -168.2554 |  | -328.9341 | -1736.2523 | -168.2554 |  | 0 | 0 | 0 | [48 empty] | ENDD window plane_CompPt1
Point 2 | -319.5326 | -1733.4019 | -194.5261 |  | -319.5326 | -1733.4019 | -194.5261 |  | 0 | 0 | 0 | [48 empty] | ENDD window plane_CompPt2
Point 3 | -344.9212 | -1734.5833 | -204.776 |  | -344.9212 | -1734.5833 | -204.776 |  | 0 | 0 | 0 | [48 empty] | ENDD window plane_CompPt3
Point 4 | -357.4596 | -1737.3776 | -181.7988 |  | -357.4596 | -1737.3776 | -181.7988 |  | 0 | 0 | 0 | [48 empty] | ENDD window plane_CompPt4
Point 5 | -342.0157 | -1736.5001 | -177.8395 |  | -342.0157 | -1736.5001 | -177.8395 |  | 0 | 0 | 0 | [48 empty] | ENDD window plane_CompPt5
Point 6 | -329.3843 | -1734.9035 | -185.3761 |  | -329.3843 | -1734.9035 | -185.3761 |  | 0 | 0 | 0 | [48 empty] | ENDD window plane_CompPt6
Point 7 | -341.6246 | -1735.4449 | -190.6316 |  | -341.6246 | -1735.4449 | -190.6316 |  | 0 | 0 | 0 | [48 empty] | ENDD window plane_CompPt7
Point 8 | -303.3267 | -1722.5692 | -162.4126 |  | -303.3267 | -1722.5692 | -162.4126 |  | 0 | 0 | 0 | [48 empty] | Endd shutter plane
Point 9 | -305.6004 | -1719.549 | -207.7941 |  | -305.6004 | -1719.549 | -207.7941 |  | 0 | 0 | 0 | [48 empty] | Endd shutter plane
Point 10 | -315.542 | -1695.7514 | -213.7872 |  | -315.542 | -1695.7514 | -213.7872 |  | 0 | 0 | 0 | [48 empty] | Endd shutter plane
Point 11 | -313.2943 | -1698.3794 | -157.9132 |  | -313.2943 | -1698.3794 | -157.9132 |  | 0 | 0 | 0 | [48 empty] | Endd shutter plane
Point 12 | -324.0187 | -1672.8741 | -156.0178 |  | -324.0187 | -1672.8741 | -156.0178 |  | 0 | 0 | 0 | [48 empty] | Endd shutter plane
Point 13 | -327.5596 | -1666.6767 | -209.5458 |  | -327.5596 | -1666.6767 | -209.5458 |  | 0 | 0 | 0 | [48 empty] | Endd shutter plane
Point 14 | -327.6693 | -1736.5253 | -163.4819 |  | -327.6693 | -1736.5253 | -163.4819 |  | 0 | 0 | 0 | [48 empty] | ENDD window barrel_CompPt1
Point 15 | -350.9714 | -1738.2295 | -164.9203 |  | -350.9714 | -1738.2295 | -164.9203 |  | 0 | 0 | 0 | [48 empty] | ENDD window barrel_CompPt2
Point 16 | -362.2842 | -1737.9945 | -178.9107 |  | -362.2842 | -1737.9945 | -178.9107 |  | 0 | 0 | 0 | [48 empty] | ENDD window barrel_CompPt3
Point 17 | -358.4245 | -1735.7933 | -202.685 |  | -358.4245 | -1735.7933 | -202.685 |  | 0 | 0 | 0 | [48 empty] | ENDD window barrel_CompPt4
Point 18 | -345.0562 | -1734.03 | -211.6913 |  | -345.0562 | -1734.03 | -211.6913 |  | 0 | 0 | 0 | [48 empty] | ENDD window barrel_CompPt5
Point 19 | -318.8832 | -1732.5677 | -204.4229 |  | -318.8832 | -1732.5677 | -204.4229 |  | 0 | 0 | 0 | [48 empty] | ENDD window barrel_CompPt6