## Polar
Verisurf Inspection Report
Serial Number
Part Name | Date: | 1900-02-01
Work Center | Time: | 1231
Shift
Dwg #
Part ID
Measurements
| X | Y | Z
Description | Measured | Measured | Measured
CM_UP_CompPt1 | -1039.2584 | 1363.5105 | -221.8576
CM_UP_CompPt2 | -1047.7092 | 1351.5845 | -220.6852
CM_UP_CompPt3 | -1216.9673 | 1526.9908 | -224.7168
CM_UP_CompPt4 | -1386.1344 | 1673.2226 | -227.163
CM_UP_CompPt5 | -1549.1656 | 1799.6373 | -228.1371
CM_UP_CompPt6 | -1535.4911 | 1807.1427 | -229.2075
CM_Bottom_CompPt1 | -1061.3636 | 1369.1016 | -371.6165
CM_Bottom_CompPt2 | -1069.9995 | 1357.5751 | -370.5123
CM_Bottom_CompPt3 | -1210.6135 | 1506.6096 | -374.075
CM_Bottom_CompPt4 | -1338.5386 | 1620.9743 | -375.8167
CM_Bottom_CompPt5 | -1531.231 | 1770.4911 | -377.1961
CM_Bottom_CompPt6 | -1517.0558 | 1777.0977 | -378.2093
CM_Bottom_CompPt7 | -1279.5664 | 1574.4248 | -388.2827
CM_axis_CompPt1 | -1304.4403 | 1578.3151 | -388.6654
CM_axis_CompPt2 | -1298.9231 | 1558.3624 | -388.5688
CM_axis_CompPt3 | -1279.3608 | 1549.251 | -388.2641
CM_axis_CompPt4 | -1255.8289 | 1565.9722 | -387.9146
CM_axis_CompPt5 | -1254.3934 | 1574.9018 | -387.8982
CM_axis_CompPt6 | -1300.0093 | 1559.6334 | -388.5861
CenterPoint_CM_axis | -1279.5664 | 1574.4248 | -388.2827

## Data
Title | Verisurf Inspection Report |  | SubTitle | High K Mirror geometry | [8 empty] | PartName | 2011-04-14_HIGH-K ALIGNMENT-P
Head0 | Serial Number | Line0 | 0 |  |  |  |  | Date | 2011-05-17 16:42 |  |  |  | Device
Head1 | Part Name | Line1 | A | [9 empty] | DeviceSerial
Head2 | Work Center | Line2 | 1150-****-X890 | [9 empty] | ProbeRadius | 0
Head3 | Shift | Line3 | 1 | [9 empty] | Temperature
Head4 | Dwg # | Line4 | 0
Head5 | Part ID | Line5 | 0
Head6 | Performed for | Line6 | Yang Ren
Head7 | Inspector | Line7 | Raftopoulos
Description | NominalX | NominalY | NominalZ | Nominal3D | ActualX | ActualY | ActualZ | Actual3D | DevX | DevY | DevZ | Dev3D | NominalDiam | ActualDiam | NominalI | NominalJ | NominalK | ActualI | ActualJ | ActualK | threeD | Nominal3D | Form | ActualMinLength | ActualMaxLength | ActualAveLength | NominalLength | ActualMinWidth | ActualMaxWidth | ActualAveWidth | NominalWidth | IdOd | RectType | ReportStyle | ActualAngle | NominalAngle | ShapeType | PosTolX | PosTolY | PosTolZ | NegTolX | NegTolY | NegTolZ | PosTolI | PosTolJ | PosTolK | NegTolI | NegTolJ | NegTolK | NegTolDiam | PosTolDiam | NegTolWidth | PosTolWidth | TolForm | NegTol3D | PosTol3D | RefX | RefY | RefZ | ID | NumberOfHits
Point 1 | -1039.2584 | 1363.5105 | -221.8576 |  | -1039.2584 | 1363.5105 | -221.8576 |  | 0 | 0 | 0 | [48 empty] | CM_UP_CompPt1
Point 2 | -1047.7092 | 1351.5845 | -220.6852 |  | -1047.7092 | 1351.5845 | -220.6852 |  | 0 | 0 | 0 | [48 empty] | CM_UP_CompPt2
Point 3 | -1216.9673 | 1526.9908 | -224.7168 |  | -1216.9673 | 1526.9908 | -224.7168 |  | 0 | 0 | 0 | [48 empty] | CM_UP_CompPt3
Point 4 | -1386.1344 | 1673.2226 | -227.163 |  | -1386.1344 | 1673.2226 | -227.163 |  | 0 | 0 | 0 | [48 empty] | CM_UP_CompPt4
Point 5 | -1549.1656 | 1799.6373 | -228.1371 |  | -1549.1656 | 1799.6373 | -228.1371 |  | 0 | 0 | 0 | [48 empty] | CM_UP_CompPt5
Point 6 | -1535.4911 | 1807.1427 | -229.2075 |  | -1535.4911 | 1807.1427 | -229.2075 |  | 0 | 0 | 0 | [48 empty] | CM_UP_CompPt6
Point 7 | -1061.3636 | 1369.1016 | -371.6165 |  | -1061.3636 | 1369.1016 | -371.6165 |  | 0 | 0 | 0 | [48 empty] | CM_Bottom_CompPt1
Point 8 | -1069.9995 | 1357.5751 | -370.5123 |  | -1069.9995 | 1357.5751 | -370.5123 |  | 0 | 0 | 0 | [48 empty] | CM_Bottom_CompPt2
Point 9 | -1210.6135 | 1506.6096 | -374.075 |  | -1210.6135 | 1506.6096 | -374.075 |  | 0 | 0 | 0 | [48 empty] | CM_Bottom_CompPt3
Point 10 | -1338.5386 | 1620.9743 | -375.8167 |  | -1338.5386 | 1620.9743 | -375.8167 |  | 0 | 0 | 0 | [48 empty] | CM_Bottom_CompPt4
Point 11 | -1531.231 | 1770.4911 | -377.1961 |  | -1531.231 | 1770.4911 | -377.1961 |  | 0 | 0 | 0 | [48 empty] | CM_Bottom_CompPt5
Point 12 | -1517.0558 | 1777.0977 | -378.2093 |  | -1517.0558 | 1777.0977 | -378.2093 |  | 0 | 0 | 0 | [48 empty] | CM_Bottom_CompPt6
Point 13 | -1279.5664 | 1574.4248 | -388.2827 |  | -1279.5664 | 1574.4248 | -388.2827 |  | 0 | 0 | 0 | [48 empty] | CM_Bottom_CompPt7
Point 14 | -1304.4403 | 1578.3151 | -388.6654 |  | -1304.4403 | 1578.3151 | -388.6654 |  | 0 | 0 | 0 | [48 empty] | CM_axis_CompPt1
Point 15 | -1298.9231 | 1558.3624 | -388.5688 |  | -1298.9231 | 1558.3624 | -388.5688 |  | 0 | 0 | 0 | [48 empty] | CM_axis_CompPt2
Point 16 | -1279.3608 | 1549.251 | -388.2641 |  | -1279.3608 | 1549.251 | -388.2641 |  | 0 | 0 | 0 | [48 empty] | CM_axis_CompPt3
Point 17 | -1255.8289 | 1565.9722 | -387.9146 |  | -1255.8289 | 1565.9722 | -387.9146 |  | 0 | 0 | 0 | [48 empty] | CM_axis_CompPt4
Point 18 | -1254.3934 | 1574.9018 | -387.8982 |  | -1254.3934 | 1574.9018 | -387.8982 |  | 0 | 0 | 0 | [48 empty] | CM_axis_CompPt5
Point 19 | -1300.0093 | 1559.6334 | -388.5861 |  | -1300.0093 | 1559.6334 | -388.5861 |  | 0 | 0 | 0 | [48 empty] | CM_axis_CompPt6
Point 20 | -1279.5664 | 1574.4248 | -388.2827 |  | -1279.5664 | 1574.4248 | -388.2827 |  | 0 | 0 | 0 | [48 empty] | CenterPoint_CM_axis