## Polar
Verisurf Inspection Report
Serial Number
Part Name | Date: | 1900-02-01
Work Center | Time: | 1231
Shift
Dwg #
Part ID
Measurements
| X | Y | Z
Description | Measured | Measured | Measured
MPTS_disk_center | 520.4062 | -1873.0119 | 5.4962
MPTS_aperture_disk_Plane_CompPt1 | 472.3199 | -1913.3436 | 4.8855
MPTS_aperture_disk_Plane_CompPt2 | 502.992 | -1888.1302 | 63.3772
MPTS_aperture_disk_Plane_CompPt3 | 556.5214 | -1845.0486 | 2.4687
MPTS_aperture_disk_Plane_CompPt4 | 547.0523 | -1853.0858 | -48.3584
MPTS_aperture_disk_Plane_CompPt5 | 514.9162 | -1879.2625 | -69.823
MPTS_aperture_disk_Plane_CompPt6 | 557.0319 | -1845.1182 | -67.4108
MPTS_aperture_disk_Plane_CompPt7 | 580.7898 | -1825.3687 | -1.4988
MPTS_aperture_disk_Plane_CompPt8 | 553.3186 | -1847.2834 | 71.1698
MPTS_aperture_disk_Plane_CompPt9 | 474.2739 | -1911.3812 | 67.3701
MPTS_aperture_disk_Plane_CompPt10 | 457.666 | -1925.5274 | -54.2042
MPTS_aperture_disk_Plane_CompPt11 | 498.6212 | -1892.1763 | -25.3688
MPTS_aperture_disk_Plane_CompPt12 | 492.0657 | -1897.1794 | 32.6165
MPTS_aperture_disk_Plane_CompPt13 | 533.0655 | -1863.8956 | 31.2855
MPTS_aperture_disk_Plane_CompPt14 | 538.0097 | -1860.2258 | -22.9839
Laser aperture 15mm ball | 66.0313 | -1714.4469 | 0.67737
MPTS_Iris_ID_CompPt1 | 535.4732 | -1797.2955 | 58.5325
MPTS_Iris_ID_CompPt2 | 501.2321 | -1824.8109 | 81.5207
MPTS_Iris_ID_CompPt3 | 455.3649 | -1862.1126 | 69.285
MPTS_Iris_ID_CompPt4 | 430.5613 | -1883.204 | -26.4785
MPTS_Iris_ID_CompPt5 | 463.0955 | -1857.3144 | -72.953
MPTS_Iris_ID_CompPt6 | 510.4405 | -1818.9838 | -77.0852
MPTS_Iris_ID_CompPt7 | 534.9203 | -1798.9474 | -58.1463
MPTS_Iris_ID_CompPt8 | 553.8512 | -1782.9408 | 6.1304
CenterPoint MPTS_Iris_ID | 490.4575 | -1834.3763 | 0.82319
MPTS_Iris_Black_ring_ID_CompPt1 | 486.1742 | -1837.0283 | 80.2617
MPTS_Iris_Black_ring_ID_CompPt2 | 443.2495 | -1872.1033 | 52.6954
MPTS_Iris_Black_ring_ID_CompPt3 | 430.8753 | -1882.8811 | -19.8496
MPTS_Iris_Black_ring_ID_CompPt4 | 456.0812 | -1862.92 | -65.251
MPTS_Iris_Black_ring_ID_CompPt5 | 528.2827 | -1804.3775 | -63.0237
MPTS_Iris_Black_ring_ID_CompPt6 | 548.7089 | -1787.4586 | -27.7985
MPTS_Iris_Black_ring_ID_CompPt7 | 551.167 | -1784.9947 | 17.9209
MPTS_Iris_Black_ring_ID_CompPt8 | 531.6962 | -1800.3374 | 60.4136
CenterPoint MPTS_Iris_Black_ring_ID | 490.675 | -1834.2008 | 0.74575
| 0 | 0 | 0

## Data
Title | Verisurf Inspection Report |  | SubTitle | MPTS Optics Measurement | [8 empty] | PartName | 2011-4-27_MPTS_ALIGNMENT PLATE_LABIK-P
Head0 | Serial Number | Line0 | 0 |  |  |  |  | Date | 2011-05-18 12:07 |  |  |  | Device | Romer WinRDS Arm Interface
Head1 | Part Name | Line1 | A | [9 empty] | DeviceSerial
Head2 | Work Center | Line2 | 0 | [9 empty] | ProbeRadius | 3
Head3 | Shift | Line3 | 1 | [9 empty] | Temperature | 69.67
Head4 | Dwg # | Line4 | 0
Head5 | Part ID | Line5 | 0
Head6 | Requestor | Line6 | Labik
Head7 | Inspector | Line7 | Raftopoulos
Description | NominalX | NominalY | NominalZ | Nominal3D | ActualX | ActualY | ActualZ | Actual3D | DevX | DevY | DevZ | Dev3D | NominalDiam | ActualDiam | NominalI | NominalJ | NominalK | ActualI | ActualJ | ActualK | threeD | Nominal3D | Form | ActualMinLength | ActualMaxLength | ActualAveLength | NominalLength | ActualMinWidth | ActualMaxWidth | ActualAveWidth | NominalWidth | IdOd | RectType | ReportStyle | ActualAngle | NominalAngle | ShapeType | PosTolX | PosTolY | PosTolZ | NegTolX | NegTolY | NegTolZ | PosTolI | PosTolJ | PosTolK | NegTolI | NegTolJ | NegTolK | NegTolDiam | PosTolDiam | NegTolWidth | PosTolWidth | TolForm | NegTol3D | PosTol3D | RefX | RefY | RefZ | ID | NumberOfHits
Point 1 | 520.4062 | -1873.0119 | 5.4962 |  | 520.4062 | -1873.0119 | 5.4962 |  | 0 | 0 | 0 | [48 empty] | MPTS_disk_center
Point 2 | 472.3199 | -1913.3436 | 4.8855 |  | 472.3199 | -1913.3436 | 4.8855 |  | 0 | 0 | 0 | [48 empty] | MPTS_aperture_disk_Plane_CompPt1
Point 3 | 502.992 | -1888.1302 | 63.3772 |  | 502.992 | -1888.1302 | 63.3772 |  | 0 | 0 | 0 | [48 empty] | MPTS_aperture_disk_Plane_CompPt2
Point 4 | 556.5214 | -1845.0486 | 2.4687 |  | 556.5214 | -1845.0486 | 2.4687 |  | 0 | 0 | 0 | [48 empty] | MPTS_aperture_disk_Plane_CompPt3
Point 5 | 547.0523 | -1853.0858 | -48.3584 |  | 547.0523 | -1853.0858 | -48.3584 |  | 0 | 0 | 0 | [48 empty] | MPTS_aperture_disk_Plane_CompPt4
Point 6 | 514.9162 | -1879.2625 | -69.823 |  | 514.9162 | -1879.2625 | -69.823 |  | 0 | 0 | 0 | [48 empty] | MPTS_aperture_disk_Plane_CompPt5
Point 7 | 557.0319 | -1845.1182 | -67.4108 |  | 557.0319 | -1845.1182 | -67.4108 |  | 0 | 0 | 0 | [48 empty] | MPTS_aperture_disk_Plane_CompPt6
Point 8 | 580.7898 | -1825.3687 | -1.4988 |  | 580.7898 | -1825.3687 | -1.4988 |  | 0 | 0 | 0 | [48 empty] | MPTS_aperture_disk_Plane_CompPt7
Point 9 | 553.3186 | -1847.2834 | 71.1698 |  | 553.3186 | -1847.2834 | 71.1698 |  | 0 | 0 | 0 | [48 empty] | MPTS_aperture_disk_Plane_CompPt8
Point 10 | 474.2739 | -1911.3812 | 67.3701 |  | 474.2739 | -1911.3812 | 67.3701 |  | 0 | 0 | 0 | [48 empty] | MPTS_aperture_disk_Plane_CompPt9
Point 11 | 457.666 | -1925.5274 | -54.2042 |  | 457.666 | -1925.5274 | -54.2042 |  | 0 | 0 | 0 | [48 empty] | MPTS_aperture_disk_Plane_CompPt10
Point 12 | 498.6212 | -1892.1763 | -25.3688 |  | 498.6212 | -1892.1763 | -25.3688 |  | 0 | 0 | 0 | [48 empty] | MPTS_aperture_disk_Plane_CompPt11
Point 13 | 492.0657 | -1897.1794 | 32.6165 |  | 492.0657 | -1897.1794 | 32.6165 |  | 0 | 0 | 0 | [48 empty] | MPTS_aperture_disk_Plane_CompPt12
Point 14 | 533.0655 | -1863.8956 | 31.2855 |  | 533.0655 | -1863.8956 | 31.2855 |  | 0 | 0 | 0 | [48 empty] | MPTS_aperture_disk_Plane_CompPt13
Point 15 | 538.0097 | -1860.2258 | -22.9839 |  | 538.0097 | -1860.2258 | -22.9839 |  | 0 | 0 | 0 | [48 empty] | MPTS_aperture_disk_Plane_CompPt14
Point 16 | 66.0313 | -1714.4469 | 0.67737 |  | 66.0313 | -1714.4469 | 0.67737 |  | 0 | 0 | 0 | [48 empty] | Laser aperture 15mm ball
Point 17 | 535.4732 | -1797.2955 | 58.5325 |  | 535.4732 | -1797.2955 | 58.5325 |  | 0 | 0 | 0 | [48 empty] | MPTS_Iris_ID_CompPt1
Point 18 | 501.2321 | -1824.8109 | 81.5207 |  | 501.2321 | -1824.8109 | 81.5207 |  | 0 | 0 | 0 | [48 empty] | MPTS_Iris_ID_CompPt2
Point 19 | 455.3649 | -1862.1126 | 69.285 |  | 455.3649 | -1862.1126 | 69.285 |  | 0 | 0 | 0 | [48 empty] | MPTS_Iris_ID_CompPt3
Point 20 | 430.5613 | -1883.204 | -26.4785 |  | 430.5613 | -1883.204 | -26.4785 |  | 0 | 0 | 0 | [48 empty] | MPTS_Iris_ID_CompPt4
Point 21 | 463.0955 | -1857.3144 | -72.953 |  | 463.0955 | -1857.3144 | -72.953 |  | 0 | 0 | 0 | [48 empty] | MPTS_Iris_ID_CompPt5
Point 22 | 510.4405 | -1818.9838 | -77.0852 |  | 510.4405 | -1818.9838 | -77.0852 |  | 0 | 0 | 0 | [48 empty] | MPTS_Iris_ID_CompPt6
Point 23 | 534.9203 | -1798.9474 | -58.1463 |  | 534.9203 | -1798.9474 | -58.1463 |  | 0 | 0 | 0 | [48 empty] | MPTS_Iris_ID_CompPt7
Point 24 | 553.8512 | -1782.9408 | 6.1304 |  | 553.8512 | -1782.9408 | 6.1304 |  | 0 | 0 | 0 | [48 empty] | MPTS_Iris_ID_CompPt8
Point 25 | 490.4575 | -1834.3763 | 0.82319 |  | 490.4575 | -1834.3763 | 0.82319 |  | 0 | 0 | 0 | [48 empty] | CenterPoint MPTS_Iris_ID
Point 26 | 486.1742 | -1837.0283 | 80.2617 |  | 486.1742 | -1837.0283 | 80.2617 |  | 0 | 0 | 0 | [48 empty] | MPTS_Iris_Black_ring_ID_CompPt1
Point 27 | 443.2495 | -1872.1033 | 52.6954 |  | 443.2495 | -1872.1033 | 52.6954 |  | 0 | 0 | 0 | [48 empty] | MPTS_Iris_Black_ring_ID_CompPt2
Point 28 | 430.8753 | -1882.8811 | -19.8496 |  | 430.8753 | -1882.8811 | -19.8496 |  | 0 | 0 | 0 | [48 empty] | MPTS_Iris_Black_ring_ID_CompPt3
Point 29 | 456.0812 | -1862.92 | -65.251 |  | 456.0812 | -1862.92 | -65.251 |  | 0 | 0 | 0 | [48 empty] | MPTS_Iris_Black_ring_ID_CompPt4
Point 30 | 528.2827 | -1804.3775 | -63.0237 |  | 528.2827 | -1804.3775 | -63.0237 |  | 0 | 0 | 0 | [48 empty] | MPTS_Iris_Black_ring_ID_CompPt5
Point 31 | 548.7089 | -1787.4586 | -27.7985 |  | 548.7089 | -1787.4586 | -27.7985 |  | 0 | 0 | 0 | [48 empty] | MPTS_Iris_Black_ring_ID_CompPt6
Point 32 | 551.167 | -1784.9947 | 17.9209 |  | 551.167 | -1784.9947 | 17.9209 |  | 0 | 0 | 0 | [48 empty] | MPTS_Iris_Black_ring_ID_CompPt7
Point 33 | 531.6962 | -1800.3374 | 60.4136 |  | 531.6962 | -1800.3374 | 60.4136 |  | 0 | 0 | 0 | [48 empty] | MPTS_Iris_Black_ring_ID_CompPt8
Point 34 | 490.675 | -1834.2008 | 0.74575 |  | 490.675 | -1834.2008 | 0.74575 |  | 0 | 0 | 0 | [48 empty] | CenterPoint MPTS_Iris_Black_ring_ID