## Polar
Verisurf Inspection Report
Serial Number | 0
Part Name | A | 2011-04-15 15:14 | Date: | 1900-02-01
Work Center | 1150-****-X890 | 2011-04-15 15:14 | Time: | 1231
Shift | 1
Dwg # | 0
Part ID | 0
Measurements
| ANGLE | RADIUS | X | Y | Z
Description | Measured | Measured | Measured | Measured | Measured
Mirnov Moly tile top plane | 230.9839 | 513.1439 | -323.0439 | -398.6971 | -1671.2893
Mirnov moly tile front radius | 227.0274 | 570.3695 | -388.7916 | -417.3278 | -1615.9658
Mirnov moly tile front radius | 227.9972 | 570.3258 | -381.6432 | -423.8159 | -1617.2506
Mirnov moly tile front radius | 229.0385 | 570.3345 | -373.8841 | -430.688 | -1618.5641
Mirnov moly tile front radius | 230.5784 | 570.3636 | -362.193 | -440.6029 | -1621.3199
Mirnov moly tile front radius | 231.716 | 570.3982 | -353.3958 | -447.7337 | -1621.6232
Mirnov moly tile front radius | 232.7288 | 570.4294 | -345.4458 | -453.9349 | -1622.6006
Mirnov moly tile front radius | 233.4123 | 570.4498 | -340.018 | -458.0401 | -1622.4345
EndPoint0 Mirnov Moly tile top plane | 226.3092 | 438.4322 | -302.8544 | -317.0205 | -1672.3875
EndPoint1 Mirnov Moly tile top plane | 236.3955 | 442.0284 | -244.644 | -368.1555 | -1672.0378
EndPoint2 Mirnov Moly tile top plane | 234.4537 | 590.3965 | -343.2333 | -480.3737 | -1670.1911
EndPoint3 Mirnov Moly tile top plane | 226.9164 | 587.7099 | -401.4437 | -429.2387 | -1670.5408

## Data
Title | Verisurf Inspection Report |  | SubTitle | GPI Camera target plate pts | [8 empty] | PartName | 2011-4-13_MOLY TILE_MIRNOV SENSOR
Head0 | Serial Number | Line0 | 0 |  |  |  |  | Date | 2011-04-15 15:14 |  |  |  | Device
Head1 | Part Name | Line1 | A | [9 empty] | DeviceSerial
Head2 | Work Center | Line2 | 1150-****-X890 | [9 empty] | ProbeRadius | 0
Head3 | Shift | Line3 | 1 | [9 empty] | Temperature
Head4 | Dwg # | Line4 | 0
Head5 | Part ID | Line5 | 0
Head6 | Performed for | Line6 | Zweben
Head7 | Inspector | Line7 | Raftopoulos
Description | NominalX | NominalY | NominalZ | Nominal3D | ActualX | ActualY | ActualZ | Actual3D | DevX | DevY | DevZ | Dev3D | NominalDiam | ActualDiam | NominalI | NominalJ | NominalK | ActualI | ActualJ | ActualK | threeD | Nominal3D | Form | ActualMinLength | ActualMaxLength | ActualAveLength | NominalLength | ActualMinWidth | ActualMaxWidth | ActualAveWidth | NominalWidth | IdOd | RectType | ReportStyle | ActualAngle | NominalAngle | ShapeType | PosTolX | PosTolY | PosTolZ | NegTolX | NegTolY | NegTolZ | PosTolI | PosTolJ | PosTolK | NegTolI | NegTolJ | NegTolK | NegTolDiam | PosTolDiam | NegTolWidth | PosTolWidth | TolForm | NegTol3D | PosTol3D | RefX | RefY | RefZ | ID | NumberOfHits
Plane 1 | -323.0439 | -398.6971 | -1671.2893 |  | -323.0439 | -398.6971 | -1671.2893 |  | 0 | 0 | 0 | 0 | [13 empty] | 77.4814 | 77.4814 | [7 empty] | 230.9839 | 230.9839 | [18 empty] | -0.254 | 0.254 |  |  |  | Mirnov Moly tile top plane
Point 1 | -388.7916 | -417.3278 | -1615.9658 |  | -388.7916 | -417.3278 | -1615.9658 |  | 0 | 0 | 0 | [23 empty] | 227.0274 | 227.0274 | [23 empty] | Mirnov moly tile front radius
Point 2 | -381.6432 | -423.8159 | -1617.2506 |  | -381.6432 | -423.8159 | -1617.2506 |  | 0 | 0 | 0 | [23 empty] | 227.9972 | 227.9972 | [23 empty] | Mirnov moly tile front radius
Point 3 | -373.8841 | -430.688 | -1618.5641 |  | -373.8841 | -430.688 | -1618.5641 |  | 0 | 0 | 0 | [23 empty] | 229.0385 | 229.0385 | [23 empty] | Mirnov moly tile front radius
Point 4 | -362.193 | -440.6029 | -1621.3199 |  | -362.193 | -440.6029 | -1621.3199 |  | 0 | 0 | 0 | [23 empty] | 230.5784 | 230.5784 | [23 empty] | Mirnov moly tile front radius
Point 5 | -353.3958 | -447.7337 | -1621.6232 |  | -353.3958 | -447.7337 | -1621.6232 |  | 0 | 0 | 0 | [23 empty] | 231.716 | 231.716 | [23 empty] | Mirnov moly tile front radius
Point 6 | -345.4458 | -453.9349 | -1622.6006 |  | -345.4458 | -453.9349 | -1622.6006 |  | 0 | 0 | 0 | [23 empty] | 232.7288 | 232.7288 | [23 empty] | Mirnov moly tile front radius
Point 7 | -340.018 | -458.0401 | -1622.4345 |  | -340.018 | -458.0401 | -1622.4345 |  | 0 | 0 | 0 | [23 empty] | 233.4123 | 233.4123 | [23 empty] | Mirnov moly tile front radius
Point 8 | -302.8544 | -317.0205 | -1672.3875 |  | -302.8544 | -317.0205 | -1672.3875 |  | 0 | 0 | 0 | [23 empty] | 226.3092 | 226.3092 | [23 empty] | EndPoint0 Mirnov Moly tile top plane
Point 9 | -244.644 | -368.1555 | -1672.0378 |  | -244.644 | -368.1555 | -1672.0378 |  | 0 | 0 | 0 | [23 empty] | 236.3955 | 236.3955 | [23 empty] | EndPoint1 Mirnov Moly tile top plane
Point 10 | -343.2333 | -480.3737 | -1670.1911 |  | -343.2333 | -480.3737 | -1670.1911 |  | 0 | 0 | 0 | [23 empty] | 234.4537 | 234.4537 | [23 empty] | EndPoint2 Mirnov Moly tile top plane
Point 11 | -401.4437 | -429.2387 | -1670.5408 |  | -401.4437 | -429.2387 | -1670.5408 |  | 0 | 0 | 0 | [23 empty] | 226.9164 | 226.9164 | [23 empty] | EndPoint3 Mirnov Moly tile top plane