## Polar
Verisurf Inspection Report
Serial Number | 0
Part Name | A | 2011-05-03 16:08 | Date: | 1900-02-01
Work Center | 1150-****-X890 | 2011-05-03 16:08 | Time: | 1231
Shift | 1
Dwg # | 0
Part ID | 0
Measurements
| ANGLE | RADIUS | X | Y | Z
Description | Measured | Measured | Measured | Measured | Measured
Position 170 cyl | 190.0528 | 1736.1119 | -1709.4579 | -303.048 | 194.2433
Position 170 nozzle | 190.0294 | 1737.2463 | -1710.6988 | -302.546 | 194.6363
Position 170 point | 190.033 | 1735.0347 | -1708.502 | -302.2686 | 193.8099
Position 166 cyl | 190.0311 | 1695.7207 | -1669.7986 | -295.3661 | 193.0977
Position 166 nozzle | 189.9554 | 1697.105 | -1671.5512 | -293.3976 | 194.761
Position 166 point | 189.9377 | 1695.0618 | -1669.629 | -292.5299 | 193.7457
Position 160 cyl | 189.9264 | 1635.7754 | -1611.288 | -281.9789 | 195.8003
Position 160 nozzle | 189.8162 | 1637.1386 | -1613.1706 | -279.1119 | 194.2168
Position 160 point | 189.7841 | 1635.0927 | -1611.3103 | -277.8615 | 193.5743
Position 158 cyl | 189.8485 | 1615.9837 | -1592.1697 | -276.4035 | 194.6195
Position 158 nozzle | 189.7678 | 1617.288 | -1593.8426 | -274.3833 | 193.8272
Position 158 point | 189.7316 | 1615.1796 | -1591.9377 | -273.0195 | 193.4546
Position 156 point | 189.6836 | 1595.3613 | -1572.63 | -268.3517 | 193.505
Position 156 cyl | 189.7737 | 1595.9897 | -1572.8254 | -270.9304 | 197.1111
Position 156 nozzle | 189.7078 | 1597.2401 | -1574.3685 | -269.3323 | 194.1348
Position 154 point | 189.6253 | 1575.2453 | -1553.0694 | -263.3881 | 193.3576
Position 154 cyl | 189.5727 | 1576.2672 | -1554.3185 | -262.1303 | 196.4187
Position 154 nozzle | 189.6382 | 1577.2053 | -1554.9427 | -264.064 | 193.4783
Position 152 point | 189.5719 | 1555.409 | -1533.7542 | -258.6414 | 193.398
Position 152 cyl | 189.6665 | 1555.9384 | -1533.847 | -261.2618 | 195.1644
Position 152 nozzle | 189.5839 | 1557.2345 | -1535.5 | -259.2665 | 193.5754
Position 158-2 point | 189.7419 | 1616.5118 | -1593.2019 | -273.5291 | 193.6063
Position 158-2 cyl | 189.6861 | 1617.7376 | -1594.6755 | -272.1856 | 197.3684
Position 158-2 nozzle | 189.7633 | 1618.6635 | -1595.2197 | -274.4914 | 194.1769
Position 158-3 point | 189.737 | 1616.3903 | -1593.1054 | -273.3734 | 193.4657
Position 158-3 cyl | 189.7227 | 1617.4106 | -1594.1791 | -273.1485 | 195.6203
Position 158-3 nozzle | 189.7477 | 1618.5733 | -1595.2056 | -274.0412 | 194.0491

## Data
Title | Verisurf Inspection Report |  | SubTitle | 2011-4-028_SGI | [8 empty] | PartName | 2011-4-28_SGI_VLAD
Head0 | Serial Number | Line0 | 0 |  |  |  |  | Date | 2011-05-03 16:08 |  |  |  | Device
Head1 | Part Name | Line1 | A | [9 empty] | DeviceSerial
Head2 | Work Center | Line2 | 1150-****-X890 | [9 empty] | ProbeRadius | 0
Head3 | Shift | Line3 | 1 | [9 empty] | Temperature
Head4 | Dwg # | Line4 | 0
Head5 | Part ID | Line5 | 0
Head6 | Performed for | Line6 | Vlad
Head7 | Inspector | Line7 | Raftopoulos
Description | NominalX | NominalY | NominalZ | Nominal3D | ActualX | ActualY | ActualZ | Actual3D | DevX | DevY | DevZ | Dev3D | NominalDiam | ActualDiam | NominalI | NominalJ | NominalK | ActualI | ActualJ | ActualK | threeD | Nominal3D | Form | ActualMinLength | ActualMaxLength | ActualAveLength | NominalLength | ActualMinWidth | ActualMaxWidth | ActualAveWidth | NominalWidth | IdOd | RectType | ReportStyle | ActualAngle | NominalAngle | ShapeType | PosTolX | PosTolY | PosTolZ | NegTolX | NegTolY | NegTolZ | PosTolI | PosTolJ | PosTolK | NegTolI | NegTolJ | NegTolK | NegTolDiam | PosTolDiam | NegTolWidth | PosTolWidth | TolForm | NegTol3D | PosTol3D | RefX | RefY | RefZ | ID | NumberOfHits
Plane 1 | -1709.4579 | -303.048 | 194.2433 |  | -1709.4579 | -303.048 | 194.2433 |  | 0 | 0 | 0 | 0 | [13 empty] | 47.6586 | 47.6586 | [7 empty] | 190.0528 | 190.0528 | [18 empty] | -0.254 | 0.254 |  |  |  | Position 170 cyl
Plane 2 | -1710.6988 | -302.546 | 194.6363 |  | -1710.6988 | -302.546 | 194.6363 |  | 0 | 0 | 0 | 0 | [13 empty] | 6.7062 | 6.7062 | [7 empty] | 190.0294 | 190.0294 | [18 empty] | -0.254 | 0.254 |  |  |  | Position 170 nozzle
Point 1 | -1708.502 | -302.2686 | 193.8099 |  | -1708.502 | -302.2686 | 193.8099 |  | 0 | 0 | 0 | [23 empty] | 190.033 | 190.033 | [23 empty] | Position 170 point
Plane 3 | -1669.7986 | -295.3661 | 193.0977 |  | -1669.7986 | -295.3661 | 193.0977 |  | 0 | 0 | 0 | 0 | [13 empty] | 45.1626 | 45.1626 | [7 empty] | 190.0311 | 190.0311 | [18 empty] | -0.254 | 0.254 |  |  |  | Position 166 cyl
Plane 4 | -1671.5512 | -293.3976 | 194.761 |  | -1671.5512 | -293.3976 | 194.761 |  | 0 | 0 | 0 | 0 | [13 empty] | 8.1813 | 8.1813 | [7 empty] | 189.9554 | 189.9554 | [18 empty] | -0.254 | 0.254 |  |  |  | Position 166 nozzle
Point 2 | -1669.629 | -292.5299 | 193.7457 |  | -1669.629 | -292.5299 | 193.7457 |  | 0 | 0 | 0 | [23 empty] | 189.9377 | 189.9377 | [23 empty] | Position 166 point
Plane 5 | -1611.288 | -281.9789 | 195.8003 |  | -1611.288 | -281.9789 | 195.8003 |  | 0 | 0 | 0 | 0 | [13 empty] | 47.9141 | 47.9141 | [7 empty] | 189.9264 | 189.9264 | [18 empty] | -0.254 | 0.254 |  |  |  | Position 160 cyl
Plane 6 | -1613.1706 | -279.1119 | 194.2168 |  | -1613.1706 | -279.1119 | 194.2168 |  | 0 | 0 | 0 | 0 | [13 empty] | 7.2758 | 7.2758 | [7 empty] | 189.8162 | 189.8162 | [18 empty] | -0.254 | 0.254 |  |  |  | Position 160 nozzle
Point 3 | -1611.3103 | -277.8615 | 193.5743 |  | -1611.3103 | -277.8615 | 193.5743 |  | 0 | 0 | 0 | [23 empty] | 189.7841 | 189.7841 | [23 empty] | Position 160 point
Plane 7 | -1592.1697 | -276.4035 | 194.6195 |  | -1592.1697 | -276.4035 | 194.6195 |  | 0 | 0 | 0 | 0 | [13 empty] | 41.1656 | 41.1656 | [7 empty] | 189.8485 | 189.8485 | [18 empty] | -0.254 | 0.254 |  |  |  | Position 158 cyl
Plane 8 | -1593.8426 | -274.3833 | 193.8272 |  | -1593.8426 | -274.3833 | 193.8272 |  | 0 | 0 | 0 | 0 | [13 empty] | 7.203 | 7.203 | [7 empty] | 189.7678 | 189.7678 | [18 empty] | -0.254 | 0.254 |  |  |  | Position 158 nozzle
Point 4 | -1591.9377 | -273.0195 | 193.4546 |  | -1591.9377 | -273.0195 | 193.4546 |  | 0 | 0 | 0 | [23 empty] | 189.7316 | 189.7316 | [23 empty] | Position 158 point
Point 5 | -1572.63 | -268.3517 | 193.505 |  | -1572.63 | -268.3517 | 193.505 |  | 0 | 0 | 0 | [23 empty] | 189.6836 | 189.6836 | [23 empty] | Position 156 point
Plane 9 | -1572.8254 | -270.9304 | 197.1111 |  | -1572.8254 | -270.9304 | 197.1111 |  | 0 | 0 | 0 | 0 | [13 empty] | 40.9237 | 40.9237 | [7 empty] | 189.7737 | 189.7737 | [18 empty] | -0.254 | 0.254 |  |  |  | Position 156 cyl
Plane 10 | -1574.3685 | -269.3323 | 194.1348 |  | -1574.3685 | -269.3323 | 194.1348 |  | 0 | 0 | 0 | 0 | [13 empty] | 6.5862 | 6.5862 | [7 empty] | 189.7078 | 189.7078 | [18 empty] | -0.254 | 0.254 |  |  |  | Position 156 nozzle
Point 6 | -1553.0694 | -263.3881 | 193.3576 |  | -1553.0694 | -263.3881 | 193.3576 |  | 0 | 0 | 0 | [23 empty] | 189.6253 | 189.6253 | [23 empty] | Position 154 point
Plane 11 | -1554.3185 | -262.1303 | 196.4187 |  | -1554.3185 | -262.1303 | 196.4187 |  | 0 | 0 | 0 | 0 | [13 empty] | 42.0112 | 42.0112 | [7 empty] | 189.5727 | 189.5727 | [18 empty] | -0.254 | 0.254 |  |  |  | Position 154 cyl
Plane 12 | -1554.9427 | -264.064 | 193.4783 |  | -1554.9427 | -264.064 | 193.4783 |  | 0 | 0 | 0 | 0 | [13 empty] | 6.8863 | 6.8863 | [7 empty] | 189.6382 | 189.6382 | [18 empty] | -0.254 | 0.254 |  |  |  | Position 154 nozzle
Point 7 | -1533.7542 | -258.6414 | 193.398 |  | -1533.7542 | -258.6414 | 193.398 |  | 0 | 0 | 0 | [23 empty] | 189.5719 | 189.5719 | [23 empty] | Position 152 point
Plane 13 | -1533.847 | -261.2618 | 195.1644 |  | -1533.847 | -261.2618 | 195.1644 |  | 0 | 0 | 0 | 0 | [13 empty] | 43.2982 | 43.2982 | [7 empty] | 189.6665 | 189.6665 | [18 empty] | -0.254 | 0.254 |  |  |  | Position 152 cyl
Plane 14 | -1535.5 | -259.2665 | 193.5754 |  | -1535.5 | -259.2665 | 193.5754 |  | 0 | 0 | 0 | 0 | [13 empty] | 7.7149 | 7.7149 | [7 empty] | 189.5839 | 189.5839 | [18 empty] | -0.254 | 0.254 |  |  |  | Position 152 nozzle
Point 8 | -1593.2019 | -273.5291 | 193.6063 |  | -1593.2019 | -273.5291 | 193.6063 |  | 0 | 0 | 0 | [23 empty] | 189.7419 | 189.7419 | [23 empty] | Position 158-2 point
Plane 15 | -1594.6755 | -272.1856 | 197.3684 |  | -1594.6755 | -272.1856 | 197.3684 |  | 0 | 0 | 0 | 0 | [13 empty] | 38.6276 | 38.6276 | [7 empty] | 189.6861 | 189.6861 | [18 empty] | -0.254 | 0.254 |  |  |  | Position 158-2 cyl
Plane 16 | -1595.2197 | -274.4914 | 194.1769 |  | -1595.2197 | -274.4914 | 194.1769 |  | 0 | 0 | 0 | 0 | [13 empty] | 5.9468 | 5.9468 | [7 empty] | 189.7633 | 189.7633 | [18 empty] | -0.254 | 0.254 |  |  |  | Position 158-2 nozzle
Point 9 | -1593.1054 | -273.3734 | 193.4657 |  | -1593.1054 | -273.3734 | 193.4657 |  | 0 | 0 | 0 | [23 empty] | 189.737 | 189.737 | [23 empty] | Position 158-3 point
Plane 17 | -1594.1791 | -273.1485 | 195.6203 |  | -1594.1791 | -273.1485 | 195.6203 |  | 0 | 0 | 0 | 0 | [13 empty] | 38.6048 | 38.6048 | [7 empty] | 189.7227 | 189.7227 | [18 empty] | -0.254 | 0.254 |  |  |  | Position 158-3 cyl
Plane 18 | -1595.2056 | -274.0412 | 194.0491 |  | -1595.2056 | -274.0412 | 194.0491 |  | 0 | 0 | 0 | 0 | [13 empty] | 7.0503 | 7.0503 | [7 empty] | 189.7477 | 189.7477 | [18 empty] | -0.254 | 0.254 |  |  |  | Position 158-3 nozzle