Registry Permissions for WinRDS

WinRDS uses the HKEY_LOCAL_MACHINE\SOFTWARE\Romer key for saving and restoring program variables. As such the user must have permission to write to this key. In a typical Windows 2000/XP (sometimes NT) scenario, the user must be an Administrator or Power User to have such permission. If this poses a problem, the following procedure can help.

NOTE: The following steps require Administrative rights.

- Install WinRDS

- Launch REGEDT32.exe from the Run menu.

- Select HKEY_LOCAL_MACHINE\SOFTWARE\Romer and click on “Permissions…” from the Edit or Security menu.

- In the upper box select “Users”. If “Users” is not shown in the box, click the “Add...” button and add the “Users” group to the list.

- In the lower box select “Allow” for the option “Full Control”

- Click OK.

This will give all Users of the computer full control over the HKEY_LOCAL_MACHINE\SOFTWARE\Romer key.