Above view is from Drawing SE141-114 Rev. 6 sheet 6.

The 5.00 and 2.50 dimensions appear to contradict the dimensions shown in Section Q-Q.  These probably should have been deleted with the revision 6 changes.  Please clarify.