## Actual
JOB NUMBER | 65678/1 ENDS OF THE VESSEL |  |  | DATE: | 2006-04-21 07:02
PART NUMBER | HALF B INSIDE OF VESSEL |  |  |  |  | Verisurf Summary Report
PART NAME |  |  |  | STAMP:
INSPECTOR | ROB DURHAM
|  |  | Total Points: |  | 217
Probe Radius: | 0.75 |  | Number of OOT: |  | 162
Upper Tol: | 0.1875 |  | Average Deviation: |  | 0.23284
Lower Tol: | -0.1875 |  | Maximum Deviation: |  | 0.5679
|  |  | Minimum Deviation: |  | -0.26404
Report Output: | Actual Points |  | Deviation Range: |  | 0.83194
[7 empty] | Neg | Nom | Pos | Total | Pct
POINTS ON THE INSIDE OF SKIN 8" DOWN HALF B | [5 empty] | In Tolerance: | 41 | 0 | 14 | 55 | 25.3456
[6 empty] | Out of Tolerance: | 10 |  | 152 | 162 | 74.6544
Failed Points:
[6 empty] | Total Points: | 51 | 0 | 166 | 217 | 100
[7 empty] | DX | DY | DZ | 3D
[6 empty] | Maximum Deviation: | 0.44905 | 0.093155 | 0.0079347 | 0.5679
[6 empty] | Minimum Deviation: | -0.18386 | -0.18386 | -0.18386 | -0.26404
[6 empty] | Deviation Range: | 0.63291 | 0.31897 | 0.49582 | 0.83194
[6 empty] | Average Deviation: | 0.012618 | -0.092816 | -0.21858 | 0.23284
[6 empty] | RMS Deviation: | 0.15498 | 0.11513 | 0.26818 | 0.33044
[6 empty] | Standard Deviation: | 0.15482 | 0.06827 | 0.15574 | 0.23501
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 40.7754 | 61.9814 | 1.039 | 0.1479
Point 2 | 41.2838 | 61.1186 | 1.6815 | 0.2261 | 0.0386
Point 3 | 41.8669 | 60.2971 | 2.1019 | 0.2776 | 0.0901
Point 4 | 40.449 | 61.3536 | 2.3853 | 0.2738 | 0.0863
Point 5 | 42.5829 | 59.3043 | 2.5998 | 0.3131 | 0.1256
Point 6 | 21.4036 | 40.0019 | 13.456 | 0.4379 | 0.2504
Point 7 | 22.2278 | 39.6132 | 13.8906 | 0.5012 | 0.3137
Point 8 | 23.0925 | 39.3647 | 14.3586 | 0.5253 | 0.3378
Point 9 | 24.2184 | 39.975 | 14.81 | 0.5104 | 0.3229
Point 10 | 23.2462 | 40.4784 | 14.2498 | 0.5407 | 0.3532
Point 11 | 22.3606 | 40.8996 | 13.8154 | 0.5023 | 0.3148
Point 12 | 24.4158 | 41.1234 | 14.6677 | 0.5229 | 0.3354
Point 13 | 25.3812 | 40.9416 | 15.1189 | 0.4793 | 0.2918
Point 14 | 23.3756 | 42.0208 | 14.1107 | 0.5265 | 0.339
Point 15 | 26.3599 | 41.8123 | 15.2952 | 0.4404 | 0.2529
Point 16 | 25.2174 | 42.2925 | 14.7652 | 0.502 | 0.3145
Point 17 | 23.9431 | 42.9258 | 14.2098 | 0.5196 | 0.3321
Point 18 | 27.359 | 42.3914 | 15.4769 | 0.4007 | 0.2132
Point 19 | 24.8173 | 43.4317 | 14.423 | 0.5158 | 0.3283
Point 20 | 23.9744 | 44.0184 | 14.0866 | 0.5085 | 0.321
Point 21 | 26.5351 | 43.429 | 14.9879 | 0.4398 | 0.2523
Point 22 | 28.0245 | 43.1439 | 15.4774 | 0.3692 | 0.1817
Point 23 | 25.7083 | 44.0975 | 14.5932 | 0.4845 | 0.297
Point 24 | 24.6941 | 44.7286 | 14.1973 | 0.5097 | 0.3222
Point 25 | 27.6259 | 44.1581 | 15.1336 | 0.3838 | 0.1963
Point 26 | 29.1079 | 43.8821 | 15.5316 | 0.3266 | 0.1391
Point 27 | 26.2847 | 45.228 | 14.5539 | 0.4534 | 0.2659
Point 28 | 25.3451 | 45.8002 | 14.2158 | 0.4915 | 0.304
Point 29 | 28.3954 | 44.9409 | 15.1199 | 0.3511 | 0.1636
Point 30 | 30.3803 | 44.5139 | 15.5547 | 0.2984 | 0.1109
Point 31 | 31.8462 | 44.2247 | 15.7697 | 0.2924 | 0.1049
Point 32 | 32.9038 | 44.0105 | 15.8815 | 0.2966 | 0.1091
Point 33 | 29.3178 | 45.3376 | 15.1739 | 0.3293 | 0.1418
Point 34 | 27.7933 | 46.0437 | 14.7316 | 0.3847 | 0.1972
Point 35 | 26.6174 | 46.7046 | 14.345 | 0.4523 | 0.2648
Point 36 | 30.6918 | 45.7803 | 15.185 | 0.3301 | 0.1426
Point 37 | 32.2759 | 45.316 | 15.412 | 0.3233 | 0.1358
Point 38 | 33.633 | 44.9057 | 15.5784 | 0.3066 | 0.1191
Point 39 | 29.693 | 46.8477 | 14.785 | 0.3583 | 0.1708
Point 40 | 28.3624 | 47.5583 | 14.4556 | 0.3897 | 0.2022
Point 41 | 27.2095 | 48.3285 | 14.1266 | 0.446 | 0.2585
Point 42 | 30.5821 | 47.299 | 14.6957 | 0.3772 | 0.1897
Point 43 | 32.7093 | 46.7104 | 14.9485 | 0.3393 | 0.1518
Point 44 | 34.6136 | 46.2949 | 15.0574 | 0.3041 | 0.1166
Point 45 | 35.7033 | 46.179 | 15.0315 | 0.284 | 0.0965
Point 46 | 32.1147 | 47.8867 | 14.5453 | 0.3674 | 0.1799
Point 47 | 30.335 | 48.8547 | 14.2032 | 0.4207 | 0.2332
Point 48 | 28.9844 | 49.7241 | 13.9184 | 0.4525 | 0.265
Point 49 | 28.0498 | 50.4038 | 13.7214 | 0.4822 | 0.2947
Point 50 | 33.813 | 47.9963 | 14.4601 | 0.3381 | 0.1506
Point 51 | 35.5071 | 47.5123 | 14.5142 | 0.3048 | 0.1173
Point 52 | 18.8438 | 29.6472 | 7.4674 | -0.0631
Point 53 | 19.5721 | 28.9432 | 8.4992 | -0.0474
Point 54 | 20.1152 | 28.3673 | 9.2773 | -0.0558
Point 55 | 20.7261 | 27.7131 | 10.2138 | -0.0641
Point 56 | 21.3876 | 26.9836 | 10.9673 | -0.0512
Point 57 | 18.8312 | 30.0085 | 8.5701 | -0.0293
Point 58 | 20.1088 | 28.6666 | 10.2975 | -0.0134
Point 59 | 20.8033 | 27.9713 | 11.3596 | 0.0091
Point 60 | 21.3786 | 27.3802 | 12.1568 | 0.0383
Point 61 | 19.0898 | 30.204 | 9.9 | 0.0106
Point 62 | 18.3984 | 31.0659 | 9.1988 | 0.0044
Point 63 | 20.0337 | 29.2699 | 11.2098 | 0.0578
Point 64 | 21.7116 | 27.4851 | 13.4921 | 0.1073
Point 65 | 22.3241 | 26.6402 | 14.1244 | 0.0822
Point 66 | 20.8617 | 28.6875 | 12.6161 | 0.1437
Point 67 | 19.5652 | 30.3019 | 11.2515 | 0.0902
Point 68 | 18.7728 | 31.3667 | 10.4988 | 0.0574
Point 69 | 22.0773 | 27.5777 | 14.4406 | 0.1859
Point 70 | 21.5566 | 28.4328 | 13.861 | 0.2523 | 0.0648
Point 71 | 20.6337 | 29.7665 | 12.8227 | 0.2876 | 0.1001
Point 72 | 18.4618 | 32.6014 | 10.6245 | 0.0894
Point 73 | 19.3225 | 31.4632 | 11.492 | 0.1947 | 0.0072
Point 74 | 22.2924 | 28.5433 | 15.1772 | 0.3616 | 0.1741
Point 75 | 21.6069 | 29.7032 | 14.2807 | 0.4698 | 0.2823
Point 76 | 20.8596 | 30.6972 | 13.365 | 0.4856 | 0.2981
Point 77 | 19.8886 | 31.9107 | 12.3379 | 0.4039 | 0.2164
Point 78 | 19.229 | 32.8133 | 11.675 | 0.3258 | 0.1383
Point 79 | 18.6888 | 33.5941 | 11.1802 | 0.2167 | 0.0292
Point 80 | 22.4021 | 29.5512 | 15.4454 | 0.4554 | 0.2679
Point 81 | 21.972 | 30.3157 | 14.8766 | 0.5166 | 0.3291
Point 82 | 21.4467 | 31.204 | 14.1973 | 0.5679 | 0.3804
Point 83 | 20.7829 | 32.1748 | 13.4448 | 0.5535 | 0.366
Point 84 | 19.9048 | 33.3128 | 12.5394 | 0.4688 | 0.2813
Point 85 | 19.3636 | 34.0463 | 11.9844 | 0.3933 | 0.2058
Point 86 | 22.56 | 30.6932 | 15.5801 | 0.5026 | 0.3151
Point 87 | 20.6143 | 33.4472 | 13.3338 | 0.5192 | 0.3317
Point 88 | 19.4693 | 35.2436 | 12.1964 | 0.3876 | 0.2001
Point 89 | 20.2884 | 34.7105 | 12.9989 | 0.4724 | 0.2849
Point 90 | 21.3994 | 33.6774 | 14.0774 | 0.5523 | 0.3648
Point 91 | 21.1182 | 35.092 | 13.6835 | 0.5311 | 0.3436
Point 92 | 20.0288 | 36.389 | 12.6959 | 0.4381 | 0.2506
Point 93 | 21.9594 | 35.5769 | 14.2691 | 0.5497 | 0.3622
Point 94 | 20.893 | 36.5083 | 13.355 | 0.5086 | 0.3211
Point 95 | 20.0623 | 37.4233 | 12.6919 | 0.4292 | 0.2417
Point 96 | 22.2302 | 36.5721 | 14.2903 | 0.5484 | 0.3609
Point 97 | 20.9995 | 37.5121 | 13.3417 | 0.501 | 0.3135
Point 98 | 22.4746 | 37.557 | 14.2857 | 0.5411 | 0.3536
Point 99 | 20.9865 | 38.5584 | 13.2738 | 0.4687 | 0.2812
Point 100 | 22.1024 | 38.6031 | 13.9305 | 0.5146 | 0.3271
Point 101 | 22.4261 | 41.9038 | 13.7715 | 0.4787 | 0.2912
Point 102 | 20.7845 | 27.5279 | 9.1127 | -0.0723
Point 103 | 21.4014 | 26.836 | 9.637 | -0.0897
Point 104 | 22.2615 | 25.9014 | 10.0494 | -0.1018
Point 105 | 20.374 | 27.9312 | 7.8444 | -0.0667
Point 106 | 19.6246 | 28.6579 | 6.9811 | -0.0778
Point 107 | 21.5457 | 26.7705 | 7.8526 | -0.089
Point 108 | 22.3504 | 25.9145 | 8.8191 | -0.1172
Point 109 | 22.9717 | 25.2349 | 9.5548 | -0.1267
Point 110 | 23.6752 | 24.4968 | 10.0566 | -0.1198
Point 111 | 20.429 | 27.8232 | 6.425 | -0.1062
Point 112 | 19.7986 | 28.3656 | 5.7531 | -0.1328
Point 113 | 22.6795 | 25.7723 | 7.7995 | -0.1162
Point 114 | 23.5623 | 24.8766 | 8.6042 | -0.1338
Point 115 | 24.2137 | 24.21 | 9.121 | -0.1268
Point 116 | 21.8309 | 26.6532 | 6.1519 | -0.1262
Point 117 | 20.7696 | 27.5334 | 5.0667 | -0.1622
Point 118 | 20.1369 | 28.0515 | 4.3046 | -0.1809
Point 119 | 21.6712 | 26.8602 | 5.0017 | -0.1638
Point 120 | 23.1389 | 25.6812 | 6.1051 | -0.1311
Point 121 | 24.1741 | 24.7484 | 6.9803 | -0.1342
Point 122 | 24.9098 | 24.0615 | 7.4737 | -0.1413
Point 123 | 25.707 | 23.3552 | 7.8637 | -0.1242
Point 124 | 21.2057 | 27.2825 | 4.0174 | -0.1811
Point 125 | 20.3554 | 27.9478 | 3.2294 | -0.1917 | -0.0042
Point 126 | 22.6103 | 26.2402 | 4.6059 | -0.1733
Point 127 | 23.9874 | 25.1627 | 5.558 | -0.1469
Point 128 | 24.9402 | 24.387 | 6.1066 | -0.1434
Point 129 | 25.7323 | 23.7413 | 6.5227 | -0.129
Point 130 | 23.5795 | 25.5805 | 4.6754 | -0.171
Point 131 | 22.5131 | 26.4465 | 3.6193 | -0.1874
Point 132 | 21.7107 | 27.0775 | 2.8874 | -0.192 | -0.0045
Point 133 | 21.0387 | 27.5999 | 2.3149 | -0.1857
Point 134 | 24.5159 | 25.0608 | 4.2698 | -0.1844
Point 135 | 25.2922 | 24.5226 | 4.6623 | -0.1582
Point 136 | 26.0653 | 23.9744 | 5.0519 | -0.1357
Point 137 | 23.5699 | 25.9172 | 2.9578 | -0.2077 | -0.0202
Point 138 | 22.5598 | 26.6479 | 2.3303 | -0.2096 | -0.0221
Point 139 | 25.0283 | 25.1378 | 2.8615 | -0.2219 | -0.0344
Point 140 | 21.6963 | 27.726 | 0.14561 | -0.1724
Point 141 | 22.6552 | 27.1852 | 0.29231 | -0.2038 | -0.0163
Point 142 | 23.6714 | 26.9701 | -0.35076 | -0.2398 | -0.0523
Point 143 | 24.5877 | 26.3273 | 0.21107 | -0.264 | -0.0765
Point 144 | 22.9096 | 27.6678 | -1.1639 | -0.2116 | -0.0241
Point 145 | 24.8686 | 26.796 | -0.79943 | -0.2348 | -0.0473
Point 146 | 38.435 | 61.2023 | 4.7942 | 0.3263 | 0.1388
Point 147 | 39.1825 | 60.2121 | 5.1875 | 0.3006 | 0.1131
Point 148 | 40.0895 | 59.3356 | 5.3029 | 0.2852 | 0.0977
Point 149 | 40.9263 | 58.499 | 5.4479 | 0.2707 | 0.0832
Point 150 | 41.5724 | 57.7462 | 5.6837 | 0.2543 | 0.0668
Point 151 | 38.3878 | 60.2456 | 5.8592 | 0.2951 | 0.1076
Point 152 | 37.5161 | 60.928 | 5.9072 | 0.3209 | 0.1334
Point 153 | 39.4638 | 59.1114 | 6.1037 | 0.2598 | 0.0723
Point 154 | 40.6493 | 57.7697 | 6.4718 | 0.2276 | 0.0401
Point 155 | 41.4897 | 56.9181 | 6.6428 | 0.2092 | 0.0217
Point 156 | 37.8434 | 59.8776 | 6.6453 | 0.2812 | 0.0937
Point 157 | 41.8708 | 55.901 | 7.329 | 0.1887 | 0.0012
Point 158 | 40.1354 | 57.3201 | 7.2836 | 0.2145 | 0.027
Point 159 | 38.7586 | 58.561 | 7.1429 | 0.2509 | 0.0634
Point 160 | 36.6701 | 60.4528 | 6.9577 | 0.3317 | 0.1442
Point 161 | 40.719 | 56.1082 | 7.9414 | 0.199 | 0.0115
Point 162 | 41.6201 | 55.0162 | 8.2817 | 0.1857
Point 163 | 37.6768 | 58.9647 | 7.5163 | 0.2787 | 0.0912
Point 164 | 36.1761 | 59.9085 | 7.6888 | 0.3475 | 0.16
Point 165 | 38.9199 | 57.4483 | 7.9684 | 0.2342 | 0.0467
Point 166 | 39.825 | 56.3158 | 8.3309 | 0.2114 | 0.0239
Point 167 | 37.9009 | 57.8666 | 8.242 | 0.2609 | 0.0734
Point 168 | 36.7709 | 58.6128 | 8.3232 | 0.2964 | 0.1089
Point 169 | 35.9412 | 59.1817 | 8.3662 | 0.3321 | 0.1446
Point 170 | 34.9117 | 59.7218 | 8.5139 | 0.3998 | 0.2123
Point 171 | 38.3115 | 56.6782 | 8.8929 | 0.2515 | 0.064
Point 172 | 39.6204 | 55.4704 | 9.0856 | 0.2239 | 0.0364
Point 173 | 40.398 | 54.6767 | 9.259 | 0.2116 | 0.0241
Point 174 | 36.5487 | 57.5164 | 9.1977 | 0.2961 | 0.1086
Point 175 | 35.2583 | 58.2239 | 9.3306 | 0.3497 | 0.1622
Point 176 | 34.3072 | 58.5867 | 9.5254 | 0.3924 | 0.2049
Point 177 | 35.8522 | 57.0885 | 9.7913 | 0.3091 | 0.1216
Point 178 | 37.4783 | 55.6327 | 9.9762 | 0.2923 | 0.1048
Point 179 | 39.128 | 54.1303 | 10.2118 | 0.2767 | 0.0892
Point 180 | 40.4369 | 53.007 | 10.3704 | 0.2546 | 0.0671
Point 181 | 35.992 | 56.0405 | 10.3581 | 0.3073 | 0.1198
Point 182 | 34.7211 | 57.0044 | 10.3072 | 0.3294 | 0.1419
Point 183 | 33.7296 | 57.7111 | 10.2911 | 0.3653 | 0.1778
Point 184 | 37.2154 | 54.5076 | 10.7652 | 0.3041 | 0.1166
Point 185 | 38.8231 | 53.0808 | 10.9859 | 0.2916 | 0.1041
Point 186 | 35.889 | 54.8961 | 11.0342 | 0.3126 | 0.1251
Point 187 | 34.4391 | 55.7082 | 11.0789 | 0.3434 | 0.1559
Point 188 | 33.2563 | 56.5463 | 11.023 | 0.3843 | 0.1968
Point 189 | 32.468 | 57.2539 | 10.9239 | 0.4222 | 0.2347
Point 190 | 35.3088 | 54.2562 | 11.5601 | 0.3097 | 0.1222
Point 191 | 36.782 | 52.4263 | 12.054 | 0.2931 | 0.1056
Point 192 | 37.9631 | 51.3715 | 12.2443 | 0.2919 | 0.1044
Point 193 | 34.0607 | 54.3686 | 11.8236 | 0.3475 | 0.16
Point 194 | 32.7473 | 55.2579 | 11.7383 | 0.3909 | 0.2034
Point 195 | 31.8258 | 55.8401 | 11.7147 | 0.4208 | 0.2333
Point 196 | 35.2225 | 52.695 | 12.3389 | 0.3026 | 0.1151
Point 197 | 36.6641 | 51.3735 | 12.6092 | 0.2941 | 0.1066
Point 198 | 37.7819 | 50.1548 | 12.9247 | 0.2849 | 0.0974
Point 199 | 33.3319 | 53.7142 | 12.2639 | 0.3689 | 0.1814
Point 200 | 31.79 | 54.869 | 12.1019 | 0.4134 | 0.2259
Point 201 | 33.7377 | 52.6321 | 12.659 | 0.3415 | 0.154
Point 202 | 35.2659 | 51.1208 | 13.0309 | 0.3122 | 0.1247
Point 203 | 36.4295 | 50.0076 | 13.3045 | 0.2979 | 0.1104
Point 204 | 37.1754 | 49.1811 | 13.5382 | 0.285 | 0.0975
Point 205 | 32.4928 | 53.0097 | 12.6878 | 0.3922 | 0.2047
Point 206 | 34.0985 | 51.7274 | 12.9774 | 0.3313 | 0.1438
Point 207 | 36.2143 | 49.0352 | 13.7746 | 0.3049 | 0.1174
Point 208 | 34.8865 | 49.9802 | 13.5667 | 0.334 | 0.1465
Point 209 | 31.4672 | 53.0397 | 12.8167 | 0.4182 | 0.2307
Point 210 | 30.5172 | 53.9285 | 12.6383 | 0.4491 | 0.2616
Point 211 | 32.5777 | 51.5577 | 13.2368 | 0.3772 | 0.1897
Point 212 | 34.8092 | 49.0615 | 13.9536 | 0.3351 | 0.1476
Point 213 | 33.5163 | 50.1959 | 13.6442 | 0.3633 | 0.1758
Point 214 | 30.4551 | 52.6356 | 13.0642 | 0.4365 | 0.249
Point 215 | 31.0929 | 51.5982 | 13.3448 | 0.4197 | 0.2322
Point 216 | 32.2697 | 50.4007 | 13.6705 | 0.3939 | 0.2064
Point 217 | 35.3431 | 48.0066 | 14.3288 | 0.314 | 0.1265

## Nominal
JOB NUMBER | 65678/1 ENDS OF THE VESSEL |  |  | DATE: | 2006-04-21 07:02
PART NUMBER | HALF B INSIDE OF VESSEL
PART NAME |  |  |  | STAMP:
INSPECTOR | ROB DURHAM
|  |  |  | Sample Points: | 217
Probe Radius: | 0.75 |  | Average Deviation: |  | 0.23284
Upper Tol: | 0.1875 |  |  | Maximum Deviation: | 0.5679
Lower Tol: | -0.1875 |  |  | Minimum Deviation: | -0.26404
Report Output: | Nominal Points |  | Deviation Range: | Deviation Range: | 0.83194
POINTS ON THE INSIDE OF SKIN 8" DOWN HALF B
|  |  | Std Dev: | 0.23501
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 40.8646 | 62.0889 | 1.0877 | 0.1479
Point 2 | 41.4192 | 61.277 | 1.7691 | 0.2261 | 0.0386
Point 3 | 42.0318 | 60.4877 | 2.2183 | 0.2776 | 0.0901
Point 4 | 40.611 | 61.541 | 2.502 | 0.2738 | 0.0863
Point 5 | 42.7667 | 59.5152 | 2.7404 | 0.3131 | 0.1256
Point 6 | 21.1826 | 40.0319 | 13.8329 | 0.4379 | 0.2504
Point 7 | 21.9869 | 39.6652 | 14.3271 | 0.5012 | 0.3137
Point 8 | 22.8535 | 39.437 | 14.8207 | 0.5253 | 0.3378
Point 9 | 24.0145 | 40.0619 | 15.2698 | 0.5104 | 0.3229
Point 10 | 23.0195 | 40.5487 | 14.7357 | 0.5407 | 0.3532
Point 11 | 22.1393 | 40.9467 | 14.2638 | 0.5023 | 0.3148
Point 12 | 24.2256 | 41.2093 | 15.1472 | 0.5229 | 0.3354
Point 13 | 25.2202 | 41.0353 | 15.5606 | 0.4793 | 0.2918
Point 14 | 23.1804 | 42.0836 | 14.5957 | 0.5265 | 0.339
Point 15 | 26.2352 | 41.906 | 15.7071 | 0.4404 | 0.2529
Point 16 | 25.0622 | 42.3817 | 15.2342 | 0.502 | 0.3145
Point 17 | 23.7732 | 42.9932 | 14.6962 | 0.5196 | 0.3321
Point 18 | 27.2643 | 42.4835 | 15.8552 | 0.4007 | 0.2132
Point 19 | 24.6687 | 43.5105 | 14.9107 | 0.5158 | 0.3283
Point 20 | 23.824 | 44.0798 | 14.5685 | 0.5085 | 0.321
Point 21 | 26.4279 | 43.5183 | 15.405 | 0.4398 | 0.2523
Point 22 | 27.9506 | 43.2318 | 15.8283 | 0.3692 | 0.1817
Point 23 | 25.5878 | 44.1815 | 15.0549 | 0.4845 | 0.297
Point 24 | 24.564 | 44.7983 | 14.6851 | 0.5097 | 0.3222
Point 25 | 27.5516 | 44.244 | 15.5002 | 0.3838 | 0.1963
Point 26 | 29.058 | 43.9653 | 15.8435 | 0.3266 | 0.1391
Point 27 | 26.1921 | 45.3095 | 14.9902 | 0.4534 | 0.2659
Point 28 | 25.2418 | 45.8723 | 14.6909 | 0.4915 | 0.304
Point 29 | 28.341 | 45.0235 | 15.4568 | 0.3511 | 0.1636
Point 30 | 30.3504 | 44.5958 | 15.8401 | 0.2984 | 0.1109
Point 31 | 31.8292 | 44.3119 | 16.0482 | 0.2924 | 0.1049
Point 32 | 32.8958 | 44.1032 | 16.1631 | 0.2966 | 0.1091
Point 33 | 29.2784 | 45.4206 | 15.4902 | 0.3293 | 0.1418
Point 34 | 27.7371 | 46.1265 | 15.1031 | 0.3847 | 0.1972
Point 35 | 26.5476 | 46.7846 | 14.7847 | 0.4523 | 0.2648
Point 36 | 30.6696 | 45.8716 | 15.5014 | 0.3301 | 0.1426
Point 37 | 32.2671 | 45.4142 | 15.72 | 0.3233 | 0.1358
Point 38 | 33.6358 | 45.0044 | 15.8686 | 0.3066 | 0.1191
Point 39 | 29.6653 | 46.9392 | 15.1303 | 0.3583 | 0.1708
Point 40 | 28.3257 | 47.6449 | 14.8337 | 0.3897 | 0.2022
Point 41 | 27.1683 | 48.4106 | 14.563 | 0.446 | 0.2585
Point 42 | 30.5671 | 47.4021 | 15.0583 | 0.3772 | 0.1897
Point 43 | 32.7129 | 46.8164 | 15.2708 | 0.3393 | 0.1518
Point 44 | 34.6323 | 46.3985 | 15.3427 | 0.3041 | 0.1166
Point 45 | 35.7299 | 46.2798 | 15.2957 | 0.284 | 0.0965
Point 46 | 32.1212 | 47.999 | 14.895 | 0.3674 | 0.1799
Point 47 | 30.3304 | 48.9692 | 14.608 | 0.4207 | 0.2332
Point 48 | 28.9768 | 49.831 | 14.358 | 0.4525 | 0.265
Point 49 | 28.0455 | 50.5039 | 14.193 | 0.4822 | 0.2947
Point 50 | 33.8367 | 48.111 | 14.7772 | 0.3381 | 0.1506
Point 51 | 35.541 | 47.6233 | 14.7961 | 0.3048 | 0.1173
Point 52 | 18.8929 | 29.686 | 7.4594 | -0.0631
Point 53 | 19.6092 | 28.9723 | 8.4941 | -0.0474
Point 54 | 20.1589 | 28.4017 | 9.2719 | -0.0558
Point 55 | 20.7765 | 27.7522 | 10.2081 | -0.0641
Point 56 | 21.4278 | 27.0152 | 10.9637 | -0.0512
Point 57 | 18.8551 | 30.0248 | 8.5649 | -0.0293
Point 58 | 20.1197 | 28.674 | 10.2955 | -0.0134
Point 59 | 20.7958 | 27.9663 | 11.361 | 0.0091
Point 60 | 21.3469 | 27.3594 | 12.1627 | 0.0383
Point 61 | 19.0809 | 30.199 | 9.9025 | 0.0106
Point 62 | 18.3946 | 31.0639 | 9.1999 | 0.0044
Point 63 | 19.9845 | 29.2427 | 11.2233 | 0.0578
Point 64 | 21.6201 | 27.4358 | 13.5185 | 0.1073
Point 65 | 22.2543 | 26.6012 | 14.1434 | 0.0822
Point 66 | 20.7383 | 28.6257 | 12.6559 | 0.1437
Point 67 | 19.4872 | 30.2663 | 11.2797 | 0.0902
Point 68 | 18.7228 | 31.3465 | 10.5184 | 0.0574
Point 69 | 21.9172 | 27.5066 | 14.5028 | 0.1859
Point 70 | 21.3386 | 28.3428 | 13.9503 | 0.2523 | 0.0648
Point 71 | 20.3841 | 29.6733 | 12.9312 | 0.2876 | 0.1001
Point 72 | 18.383 | 32.5809 | 10.6613 | 0.0894
Point 73 | 19.1539 | 31.4067 | 11.5714 | 0.1947 | 0.0072
Point 74 | 21.9877 | 28.4631 | 15.3547 | 0.3616 | 0.1741
Point 75 | 21.2109 | 29.6118 | 14.5163 | 0.4698 | 0.2823
Point 76 | 20.4481 | 30.6052 | 13.6058 | 0.4856 | 0.2981
Point 77 | 19.5473 | 31.8358 | 12.5403 | 0.4039 | 0.2164
Point 78 | 18.9497 | 32.7651 | 11.8356 | 0.3258 | 0.1383
Point 79 | 18.5034 | 33.5634 | 11.2883 | 0.2167 | 0.0292
Point 80 | 22.042 | 29.5153 | 15.722 | 0.4554 | 0.2679
Point 81 | 21.5642 | 30.2827 | 15.1919 | 0.5166 | 0.3291
Point 82 | 20.9976 | 31.1736 | 14.5436 | 0.5679 | 0.3804
Point 83 | 20.3458 | 32.1447 | 13.783 | 0.5535 | 0.366
Point 84 | 19.5284 | 33.2879 | 12.8177 | 0.4688 | 0.2813
Point 85 | 19.0434 | 34.0238 | 12.2117 | 0.3933 | 0.2058
Point 86 | 22.1989 | 30.715 | 15.929 | 0.5026 | 0.3151
Point 87 | 20.227 | 33.4535 | 13.6795 | 0.5192 | 0.3317
Point 88 | 19.1739 | 35.2373 | 12.4473 | 0.3876 | 0.2001
Point 89 | 19.9445 | 34.7275 | 13.3224 | 0.4724 | 0.2849
Point 90 | 21.0211 | 33.7213 | 14.4775 | 0.5523 | 0.3648
Point 91 | 20.7691 | 35.1404 | 14.0808 | 0.5311 | 0.3436
Point 92 | 19.7276 | 36.4036 | 13.0137 | 0.4381 | 0.2506
Point 93 | 21.6328 | 35.6514 | 14.7049 | 0.5497 | 0.3622
Point 94 | 20.5716 | 36.5508 | 13.7469 | 0.5086 | 0.3211
Point 95 | 19.7841 | 37.4371 | 13.0184 | 0.4292 | 0.2417
Point 96 | 21.9258 | 36.6511 | 14.7395 | 0.5484 | 0.3609
Point 97 | 20.7007 | 37.553 | 13.7418 | 0.501 | 0.3135
Point 98 | 22.1929 | 37.6348 | 14.7411 | 0.5411 | 0.3536
Point 99 | 20.7215 | 38.5912 | 13.659 | 0.4687 | 0.2812
Point 100 | 21.8394 | 38.6619 | 14.3688 | 0.5146 | 0.3271
Point 101 | 22.2301 | 41.9457 | 14.2062 | 0.4787 | 0.2912
Point 102 | 20.8383 | 27.5761 | 9.1104 | -0.0723
Point 103 | 21.4674 | 26.8968 | 9.6369 | -0.0897
Point 104 | 22.3341 | 25.9726 | 10.0544 | -0.1018
Point 105 | 20.4221 | 27.9774 | 7.8431 | -0.0667
Point 106 | 19.6811 | 28.7113 | 6.9774 | -0.0778
Point 107 | 21.6051 | 26.8365 | 7.8576 | -0.089
Point 108 | 22.4287 | 26.001 | 8.8293 | -0.1172
Point 109 | 23.0573 | 25.3273 | 9.5688 | -0.1267
Point 110 | 23.7571 | 24.5826 | 10.074 | -0.1198
Point 111 | 20.5001 | 27.9021 | 6.4268 | -0.1062
Point 112 | 19.8882 | 28.4636 | 5.7524 | -0.1328
Point 113 | 22.7525 | 25.8616 | 7.8132 | -0.1162
Point 114 | 23.6473 | 24.9778 | 8.625 | -0.1338
Point 115 | 24.2957 | 24.3038 | 9.1447 | -0.1268
Point 116 | 21.9076 | 26.7527 | 6.1636 | -0.1262
Point 117 | 20.8691 | 27.6611 | 5.0761 | -0.1622
Point 118 | 20.2481 | 28.194 | 4.3119 | -0.1809
Point 119 | 21.7672 | 26.9922 | 5.017 | -0.1638
Point 120 | 23.215 | 25.7864 | 6.1229 | -0.1311
Point 121 | 24.2533 | 24.8542 | 7.004 | -0.1342
Point 122 | 24.9937 | 24.1714 | 7.5031 | -0.1413
Point 123 | 25.7809 | 23.4501 | 7.8945 | -0.1242
Point 124 | 21.31 | 27.4297 | 4.0334 | -0.1811
Point 125 | 20.4662 | 28.1037 | 3.2424 | -0.1917 | -0.0042
Point 126 | 22.7072 | 26.3823 | 4.6276 | -0.1733
Point 127 | 24.0695 | 25.2822 | 5.5817 | -0.1469
Point 128 | 25.0203 | 24.5024 | 6.1353 | -0.1434
Point 129 | 25.8039 | 23.8442 | 6.5533 | -0.129
Point 130 | 23.6724 | 25.7213 | 4.7027 | -0.171
Point 131 | 22.6134 | 26.6025 | 3.6464 | -0.1874
Point 132 | 21.813 | 27.2379 | 2.9131 | -0.192 | -0.0045
Point 133 | 21.1374 | 27.7555 | 2.338 | -0.1857
Point 134 | 24.6091 | 25.2152 | 4.3085 | -0.1844
Point 135 | 25.3706 | 24.6549 | 4.6999 | -0.1582
Point 136 | 26.1317 | 24.0869 | 5.0886 | -0.1357
Point 137 | 23.6714 | 26.093 | 3.0015 | -0.2077 | -0.0202
Point 138 | 22.6628 | 26.8259 | 2.3705 | -0.2096 | -0.0221
Point 139 | 25.1239 | 25.3281 | 2.9239 | -0.2219 | -0.0344
Point 140 | 21.7695 | 27.8756 | 0.19 | -0.1724
Point 141 | 22.7371 | 27.3616 | 0.35333 | -0.2038 | -0.0163
Point 142 | 23.7502 | 27.1757 | -0.2556 | -0.2398 | -0.0523
Point 143 | 24.6736 | 26.5531 | 0.31757 | -0.264 | -0.0765
Point 144 | 22.9743 | 27.8497 | -1.0773 | -0.2116 | -0.0241
Point 145 | 24.9295 | 26.9922 | -0.68568 | -0.2348 | -0.0473
Point 146 | 38.6145 | 61.4031 | 4.9785 | 0.3263 | 0.1388
Point 147 | 39.3435 | 60.3953 | 5.3632 | 0.3006 | 0.1131
Point 148 | 40.2407 | 59.5101 | 5.4702 | 0.2852 | 0.0977
Point 149 | 41.0687 | 58.6651 | 5.6073 | 0.2707 | 0.0832
Point 150 | 41.7049 | 57.9019 | 5.8348 | 0.2543 | 0.0668
Point 151 | 38.541 | 60.4193 | 6.0421 | 0.2951 | 0.1076
Point 152 | 37.684 | 61.1139 | 6.1078 | 0.3209 | 0.1334
Point 153 | 39.5959 | 59.2653 | 6.2661 | 0.2598 | 0.0723
Point 154 | 40.7627 | 57.9049 | 6.6155 | 0.2276 | 0.0401
Point 155 | 41.5934 | 57.0431 | 6.7747 | 0.2092 | 0.0217
Point 156 | 37.9828 | 60.0368 | 6.8305 | 0.2812 | 0.0937
Point 157 | 41.9611 | 56.0124 | 7.4514 | 0.1887 | 0.0012
Point 158 | 40.237 | 57.444 | 7.4261 | 0.2145 | 0.027
Point 159 | 38.878 | 58.7032 | 7.3117 | 0.2509 | 0.0634
Point 160 | 36.8331 | 60.6334 | 7.1831 | 0.3317 | 0.1442
Point 161 | 40.8096 | 56.2224 | 8.077 | 0.199 | 0.0115
Point 162 | 41.7037 | 55.1227 | 8.4087 | 0.1857
Point 163 | 37.8062 | 59.1173 | 7.7103 | 0.2787 | 0.0912
Point 164 | 36.3373 | 60.0899 | 7.9376 | 0.3475 | 0.16
Point 165 | 39.0248 | 57.5786 | 8.1323 | 0.2342 | 0.0467
Point 166 | 39.9177 | 56.4341 | 8.4795 | 0.2114 | 0.0239
Point 167 | 38.0147 | 58.0075 | 8.4298 | 0.2609 | 0.0734
Point 168 | 36.8995 | 58.7676 | 8.5409 | 0.2964 | 0.1089
Point 169 | 36.0857 | 59.3502 | 8.6133 | 0.3321 | 0.1446
Point 170 | 35.085 | 59.9157 | 8.8176 | 0.3998 | 0.2123
Point 171 | 38.4149 | 56.8126 | 9.0785 | 0.2515 | 0.064
Point 172 | 39.7124 | 55.5923 | 9.2493 | 0.2239 | 0.0364
Point 173 | 40.4848 | 54.7926 | 9.4133 | 0.2116 | 0.0241
Point 174 | 36.6657 | 57.666 | 9.4249 | 0.2961 | 0.1086
Point 175 | 35.3946 | 58.392 | 9.6053 | 0.3497 | 0.1622
Point 176 | 34.4577 | 58.7665 | 9.8401 | 0.3924 | 0.2049
Point 177 | 35.9654 | 57.238 | 10.037 | 0.3091 | 0.1216
Point 178 | 37.5841 | 55.78 | 10.2054 | 0.2923 | 0.1048
Point 179 | 39.2286 | 54.2726 | 10.4268 | 0.2767 | 0.0892
Point 180 | 40.5309 | 53.1388 | 10.5669 | 0.2546 | 0.0671
Point 181 | 36.0957 | 56.1865 | 10.6078 | 0.3073 | 0.1198
Point 182 | 34.8325 | 57.1541 | 10.5787 | 0.3294 | 0.1419
Point 183 | 33.8543 | 57.8695 | 10.5957 | 0.3653 | 0.1778
Point 184 | 37.3136 | 54.653 | 11.0137 | 0.3041 | 0.1166
Point 185 | 38.9182 | 53.2227 | 11.2222 | 0.2916 | 0.1041
Point 186 | 35.9825 | 55.0375 | 11.2968 | 0.3126 | 0.1251
Point 187 | 34.5385 | 55.8553 | 11.3729 | 0.3434 | 0.1559
Point 188 | 33.3686 | 56.7026 | 11.3556 | 0.3843 | 0.1968
Point 189 | 32.5961 | 57.419 | 11.2907 | 0.4222 | 0.2347
Point 190 | 35.3911 | 54.3887 | 11.8277 | 0.3097 | 0.1222
Point 191 | 36.8569 | 52.5547 | 12.3067 | 0.2931 | 0.1056
Point 192 | 38.0397 | 51.5023 | 12.4938 | 0.2919 | 0.1044
Point 193 | 34.1437 | 54.5076 | 12.1311 | 0.3475 | 0.16
Point 194 | 32.8402 | 55.4041 | 12.0888 | 0.3909 | 0.2034
Point 195 | 31.9273 | 55.9883 | 12.0952 | 0.4208 | 0.2333
Point 196 | 35.2896 | 52.8191 | 12.6065 | 0.3026 | 0.1151
Point 197 | 36.7311 | 51.4988 | 12.8666 | 0.2941 | 0.1066
Point 198 | 37.848 | 50.2779 | 13.173 | 0.2849 | 0.0974
Point 199 | 33.4068 | 53.8533 | 12.5972 | 0.3689 | 0.1814
Point 200 | 31.8757 | 55.0108 | 12.4807 | 0.4134 | 0.2259
Point 201 | 33.8003 | 52.7613 | 12.9689 | 0.3415 | 0.154
Point 202 | 35.3235 | 51.2449 | 13.3116 | 0.3122 | 0.1247
Point 203 | 36.4863 | 50.1293 | 13.5704 | 0.2979 | 0.1104
Point 204 | 37.231 | 49.2986 | 13.7919 | 0.285 | 0.0975
Point 205 | 32.5566 | 53.1477 | 13.0493 | 0.3922 | 0.2047
Point 206 | 34.1544 | 51.8529 | 13.2788 | 0.3313 | 0.1438
Point 207 | 36.2646 | 49.1558 | 14.0501 | 0.3049 | 0.1174
Point 208 | 34.9359 | 50.1074 | 13.8715 | 0.334 | 0.1465
Point 209 | 31.5264 | 53.1754 | 13.2077 | 0.4182 | 0.2307
Point 210 | 30.5872 | 54.0627 | 13.0611 | 0.4491 | 0.2616
Point 211 | 32.6248 | 51.6877 | 13.5878 | 0.3772 | 0.1897
Point 212 | 34.8507 | 49.1854 | 14.2621 | 0.3351 | 0.1476
Point 213 | 33.5582 | 50.325 | 13.9811 | 0.3633 | 0.1758
Point 214 | 30.5031 | 52.7634 | 13.4788 | 0.4365 | 0.249
Point 215 | 31.1299 | 51.7275 | 13.7423 | 0.4197 | 0.2322
Point 216 | 32.3032 | 50.5302 | 14.041 | 0.3939 | 0.2064
Point 217 | 35.3796 | 48.1218 | 14.6186 | 0.314 | 0.1265

## Deltas
JOB NUMBER | 65678/1 ENDS OF THE VESSEL |  |  | DATE: | 2006-04-21 07:02
PART NUMBER | HALF B INSIDE OF VESSEL
PART NAME |  |  |  | STAMP:
INSPECTOR | ROB DURHAM
|  |  |  | Sample Points: | 217
Probe Radius: | 0.75 |  | Average Deviation: |  | 0.23284
Upper Tol: | 0.1875 |  |  | Maximum Deviation: | 0.5679
Lower Tol: | -0.1875 |  |  | Minimum Deviation: | -0.26404
Report Output: | Deviations |  |  | Deviation Range: | 0.83194
POINTS ON THE INSIDE OF SKIN 8" DOWN HALF B
|  |  | Std Dev: | 0.23501
ID | X | Y | Z | DEVIATION | OOT
Point 1 | -0.089218 | -0.10746 | -0.048673 | 0.1479
Point 2 | -0.13542 | -0.15837 | -0.087634 | 0.2261 | 0.0386
Point 3 | -0.16493 | -0.19059 | -0.11643 | 0.2776 | 0.0901
Point 4 | -0.162 | -0.18736 | -0.1167 | 0.2738 | 0.0863
Point 5 | -0.18386 | -0.21085 | -0.14064 | 0.3131 | 0.1256
Point 6 | 0.22099 | -0.030021 | -0.37688 | 0.4379 | 0.2504
Point 7 | 0.24083 | -0.051958 | -0.43642 | 0.5012 | 0.3137
Point 8 | 0.23901 | -0.072244 | -0.46214 | 0.5253 | 0.3378
Point 9 | 0.2039 | -0.086881 | -0.45974 | 0.5104 | 0.3229
Point 10 | 0.22669 | -0.070222 | -0.48586 | 0.5407 | 0.3532
Point 11 | 0.22132 | -0.04713 | -0.4484 | 0.5023 | 0.3148
Point 12 | 0.19022 | -0.085951 | -0.47949 | 0.5229 | 0.3354
Point 13 | 0.16095 | -0.093757 | -0.44167 | 0.4793 | 0.2918
Point 14 | 0.19521 | -0.062758 | -0.48498 | 0.5265 | 0.339
Point 15 | 0.12466 | -0.093642 | -0.41188 | 0.4404 | 0.2529
Point 16 | 0.15516 | -0.089208 | -0.46904 | 0.502 | 0.3145
Point 17 | 0.16982 | -0.067425 | -0.48639 | 0.5196 | 0.3321
Point 18 | 0.094635 | -0.092116 | -0.37832 | 0.4007 | 0.2132
Point 19 | 0.14854 | -0.078776 | -0.48767 | 0.5158 | 0.3283
Point 20 | 0.1504 | -0.061449 | -0.48185 | 0.5085 | 0.321
Point 21 | 0.10718 | -0.089335 | -0.41713 | 0.4398 | 0.2523
Point 22 | 0.073922 | -0.087978 | -0.35087 | 0.3692 | 0.1817
Point 23 | 0.12051 | -0.083973 | -0.4617 | 0.4845 | 0.297
Point 24 | 0.13016 | -0.069661 | -0.48788 | 0.5097 | 0.3222
Point 25 | 0.07431 | -0.085843 | -0.36657 | 0.3838 | 0.1963
Point 26 | 0.049878 | -0.083205 | -0.31186 | 0.3266 | 0.1391
Point 27 | 0.092601 | -0.081448 | -0.43631 | 0.4534 | 0.2659
Point 28 | 0.1033 | -0.072047 | -0.47514 | 0.4915 | 0.304
Point 29 | 0.054365 | -0.082678 | -0.33689 | 0.3511 | 0.1636
Point 30 | 0.02994 | -0.081906 | -0.28542 | 0.2984 | 0.1109
Point 31 | 0.017049 | -0.087196 | -0.27859 | 0.2924 | 0.1049
Point 32 | 0.0079717 | -0.092677 | -0.28163 | 0.2966 | 0.1091
Point 33 | 0.03937 | -0.082933 | -0.31626 | 0.3293 | 0.1418
Point 34 | 0.056252 | -0.082818 | -0.37148 | 0.3847 | 0.1972
Point 35 | 0.069786 | -0.079982 | -0.43963 | 0.4523 | 0.2648
Point 36 | 0.022255 | -0.091218 | -0.31642 | 0.3301 | 0.1426
Point 37 | 0.008886 | -0.098181 | -0.30795 | 0.3233 | 0.1358
Point 38 | -0.0027957 | -0.098761 | -0.29021 | 0.3066 | 0.1191
Point 39 | 0.027713 | -0.091443 | -0.34535 | 0.3583 | 0.1708
Point 40 | 0.036757 | -0.086648 | -0.37811 | 0.3897 | 0.2022
Point 41 | 0.041213 | -0.082129 | -0.43644 | 0.446 | 0.2585
Point 42 | 0.01502 | -0.10305 | -0.36259 | 0.3772 | 0.1897
Point 43 | -0.0036124 | -0.10599 | -0.32225 | 0.3393 | 0.1518
Point 44 | -0.018701 | -0.10358 | -0.28531 | 0.3041 | 0.1166
Point 45 | -0.026602 | -0.10077 | -0.26422 | 0.284 | 0.0965
Point 46 | -0.0065862 | -0.11235 | -0.34975 | 0.3674 | 0.1799
Point 47 | 0.0046455 | -0.11453 | -0.40484 | 0.4207 | 0.2332
Point 48 | 0.0075867 | -0.10692 | -0.43962 | 0.4525 | 0.265
Point 49 | 0.0043004 | -0.10005 | -0.47167 | 0.4822 | 0.2947
Point 50 | -0.023683 | -0.11472 | -0.31716 | 0.3381 | 0.1506
Point 51 | -0.033883 | -0.11104 | -0.28186 | 0.3048 | 0.1173
Point 52 | -0.049118 | -0.038833 | 0.0079347 | -0.0631
Point 53 | -0.037098 | -0.029079 | 0.0051289 | -0.0474
Point 54 | -0.043665 | -0.034326 | 0.0053935 | -0.0558
Point 55 | -0.050473 | -0.039145 | 0.0056723 | -0.0641
Point 56 | -0.040226 | -0.031532 | 0.0036267 | -0.0512
Point 57 | -0.023844 | -0.016234 | 0.0052556 | -0.0293
Point 58 | -0.010932 | -0.0074154 | 0.0020705 | -0.0134
Point 59 | 0.007458 | 0.0049531 | -0.001405 | 0.0091
Point 60 | 0.031658 | 0.020741 | -0.0059383 | 0.0383
Point 61 | 0.0089072 | 0.0050941 | -0.0025212 | 0.0106
Point 62 | 0.0037916 | 0.0019643 | -0.0011679 | 0.0044
Point 63 | 0.049166 | 0.027234 | -0.013581 | 0.0578
Point 64 | 0.091569 | 0.04933 | -0.026491 | 0.1073
Point 65 | 0.069822 | 0.039035 | -0.018984 | 0.0822
Point 66 | 0.12341 | 0.061841 | -0.039848 | 0.1437
Point 67 | 0.077966 | 0.035618 | -0.028155 | 0.0902
Point 68 | 0.049957 | 0.020269 | -0.019619 | 0.0574
Point 69 | 0.1601 | 0.071073 | -0.062134 | 0.1859
Point 70 | 0.21808 | 0.090081 | -0.089346 | 0.2523 | 0.0648
Point 71 | 0.24955 | 0.093155 | -0.10849 | 0.2876 | 0.1001
Point 72 | 0.07879 | 0.020544 | -0.036861 | 0.0894
Point 73 | 0.16858 | 0.056538 | -0.079434 | 0.1947 | 0.0072
Point 74 | 0.30471 | 0.080157 | -0.17748 | 0.3616 | 0.1741
Point 75 | 0.39599 | 0.091479 | -0.23569 | 0.4698 | 0.2823
Point 76 | 0.41158 | 0.09191 | -0.24085 | 0.4856 | 0.2981
Point 77 | 0.34135 | 0.074949 | -0.20244 | 0.4039 | 0.2164
Point 78 | 0.27938 | 0.048229 | -0.16059 | 0.3258 | 0.1383
Point 79 | 0.18537 | 0.030618 | -0.10806 | 0.2167 | 0.0292
Point 80 | 0.36006 | 0.035946 | -0.27656 | 0.4554 | 0.2679
Point 81 | 0.4078 | 0.033078 | -0.31538 | 0.5166 | 0.3291
Point 82 | 0.44905 | 0.030371 | -0.34627 | 0.5679 | 0.3804
Point 83 | 0.43709 | 0.030106 | -0.33827 | 0.5535 | 0.366
Point 84 | 0.37645 | 0.024905 | -0.2783 | 0.4688 | 0.2813
Point 85 | 0.32017 | 0.022476 | -0.22726 | 0.3933 | 0.2058
Point 86 | 0.36109 | -0.021802 | -0.34888 | 0.5026 | 0.3151
Point 87 | 0.38732 | -0.0062465 | -0.34571 | 0.5192 | 0.3317
Point 88 | 0.29536 | 0.0062916 | -0.25092 | 0.3876 | 0.2001
Point 89 | 0.34391 | -0.016969 | -0.32342 | 0.4724 | 0.2849
Point 90 | 0.37825 | -0.043904 | -0.40007 | 0.5523 | 0.3648
Point 91 | 0.34911 | -0.048422 | -0.39727 | 0.5311 | 0.3436
Point 92 | 0.30123 | -0.014625 | -0.31783 | 0.4381 | 0.2506
Point 93 | 0.32664 | -0.074521 | -0.43579 | 0.5497 | 0.3622
Point 94 | 0.32139 | -0.042566 | -0.39193 | 0.5086 | 0.3211
Point 95 | 0.27821 | -0.013841 | -0.32647 | 0.4292 | 0.2417
Point 96 | 0.30448 | -0.079058 | -0.44917 | 0.5484 | 0.3609
Point 97 | 0.29879 | -0.04096 | -0.40006 | 0.501 | 0.3135
Point 98 | 0.28173 | -0.077826 | -0.45537 | 0.5411 | 0.3536
Point 99 | 0.26501 | -0.032823 | -0.38518 | 0.4687 | 0.2812
Point 100 | 0.26306 | -0.058831 | -0.43833 | 0.5146 | 0.3271
Point 101 | 0.19602 | -0.041902 | -0.43466 | 0.4787 | 0.2912
Point 102 | -0.053838 | -0.048157 | 0.0023111 | -0.0723
Point 103 | -0.065918 | -0.060781 | 0.00013979 | -0.0897
Point 104 | -0.072571 | -0.071194 | -0.0050187 | -0.1018
Point 105 | -0.048032 | -0.046276 | 0.0012938 | -0.0667
Point 106 | -0.056413 | -0.053383 | 0.0037235 | -0.0778
Point 107 | -0.05947 | -0.066062 | -0.004966 | -0.089
Point 108 | -0.078318 | -0.086542 | -0.010173 | -0.1172
Point 109 | -0.085588 | -0.092403 | -0.013985 | -0.1267
Point 110 | -0.081864 | -0.085796 | -0.017338 | -0.1198
Point 111 | -0.071137 | -0.078879 | -0.0018625 | -0.1062
Point 112 | -0.089618 | -0.097948 | 0.00068509 | -0.1328
Point 113 | -0.072991 | -0.089342 | -0.013658 | -0.1162
Point 114 | -0.085056 | -0.10123 | -0.020804 | -0.1338
Point 115 | -0.081983 | -0.093828 | -0.023744 | -0.1268
Point 116 | -0.076766 | -0.099445 | -0.011725 | -0.1262
Point 117 | -0.099591 | -0.12767 | -0.0094276 | -0.1622
Point 118 | -0.11127 | -0.14244 | -0.0073426 | -0.1809
Point 119 | -0.095922 | -0.13196 | -0.01524 | -0.1638
Point 120 | -0.076106 | -0.10526 | -0.017774 | -0.1311
Point 121 | -0.079186 | -0.10576 | -0.023721 | -0.1342
Point 122 | -0.083891 | -0.10985 | -0.029364 | -0.1413
Point 123 | -0.073881 | -0.094906 | -0.03081 | -0.1242
Point 124 | -0.10428 | -0.14723 | -0.015976 | -0.1811
Point 125 | -0.11083 | -0.1559 | -0.013018 | -0.1917 | -0.0042
Point 126 | -0.096972 | -0.14204 | -0.021663 | -0.1733
Point 127 | -0.082093 | -0.11949 | -0.023732 | -0.1469
Point 128 | -0.080095 | -0.1154 | -0.028745 | -0.1434
Point 129 | -0.071631 | -0.10288 | -0.030568 | -0.129
Point 130 | -0.092958 | -0.14087 | -0.027313 | -0.171
Point 131 | -0.10029 | -0.15597 | -0.027091 | -0.1874
Point 132 | -0.10226 | -0.16047 | -0.02564 | -0.192 | -0.0045
Point 133 | -0.09864 | -0.15558 | -0.023079 | -0.1857
Point 134 | -0.093279 | -0.15431 | -0.038686 | -0.1844
Point 135 | -0.078412 | -0.13222 | -0.037585 | -0.1582
Point 136 | -0.066459 | -0.11249 | -0.036724 | -0.1357
Point 137 | -0.10151 | -0.17583 | -0.043718 | -0.2077 | -0.0202
Point 138 | -0.10307 | -0.17797 | -0.040192 | -0.2096 | -0.0221
Point 139 | -0.095538 | -0.19029 | -0.062346 | -0.2219 | -0.0344
Point 140 | -0.073204 | -0.14963 | -0.04439 | -0.1724
Point 141 | -0.081927 | -0.17637 | -0.061013 | -0.2038 | -0.0163
Point 142 | -0.078864 | -0.20552 | -0.095151 | -0.2398 | -0.0523
Point 143 | -0.085921 | -0.22581 | -0.1065 | -0.264 | -0.0765
Point 144 | -0.06468 | -0.18189 | -0.086594 | -0.2116 | -0.0241
Point 145 | -0.060911 | -0.19619 | -0.11374 | -0.2348 | -0.0473
Point 146 | -0.17954 | -0.20076 | -0.18425 | 0.3263 | 0.1388
Point 147 | -0.16101 | -0.18321 | -0.17572 | 0.3006 | 0.1131
Point 148 | -0.15124 | -0.17457 | -0.16731 | 0.2852 | 0.0977
Point 149 | -0.14243 | -0.16605 | -0.15936 | 0.2707 | 0.0832
Point 150 | -0.1325 | -0.15573 | -0.15114 | 0.2543 | 0.0668
Point 151 | -0.15321 | -0.17364 | -0.18292 | 0.2951 | 0.1076
Point 152 | -0.16789 | -0.18588 | -0.20055 | 0.3209 | 0.1334
Point 153 | -0.1321 | -0.15383 | -0.16243 | 0.2598 | 0.0723
Point 154 | -0.11341 | -0.13516 | -0.1437 | 0.2276 | 0.0401
Point 155 | -0.10376 | -0.12497 | -0.13187 | 0.2092 | 0.0217
Point 156 | -0.13947 | -0.15918 | -0.18519 | 0.2812 | 0.0937
Point 157 | -0.090387 | -0.11145 | -0.12247 | 0.1887 | 0.0012
Point 158 | -0.10152 | -0.12397 | -0.14254 | 0.2145 | 0.027
Point 159 | -0.11939 | -0.14219 | -0.16881 | 0.2509 | 0.0634
Point 160 | -0.16298 | -0.18067 | -0.22545 | 0.3317 | 0.1442
Point 161 | -0.090646 | -0.11418 | -0.13552 | 0.199 | 0.0115
Point 162 | -0.083608 | -0.10656 | -0.12697 | 0.1857
Point 163 | -0.12938 | -0.15258 | -0.19401 | 0.2787 | 0.0912
Point 164 | -0.16114 | -0.18142 | -0.24877 | 0.3475 | 0.16
Point 165 | -0.1049 | -0.13035 | -0.16391 | 0.2342 | 0.0467
Point 166 | -0.092698 | -0.11834 | -0.14861 | 0.2114 | 0.0239
Point 167 | -0.11378 | -0.14094 | -0.18778 | 0.2609 | 0.0734
Point 168 | -0.12863 | -0.15481 | -0.21765 | 0.2964 | 0.1089
Point 169 | -0.14451 | -0.16849 | -0.24709 | 0.3321 | 0.1446
Point 170 | -0.17325 | -0.1939 | -0.30374 | 0.3998 | 0.2123
Point 171 | -0.10346 | -0.1344 | -0.18564 | 0.2515 | 0.064
Point 172 | -0.092009 | -0.1219 | -0.16371 | 0.2239 | 0.0364
Point 173 | -0.086818 | -0.11592 | -0.1543 | 0.2116 | 0.0241
Point 174 | -0.11704 | -0.14966 | -0.22715 | 0.2961 | 0.1086
Point 175 | -0.13629 | -0.16811 | -0.27469 | 0.3497 | 0.1622
Point 176 | -0.15052 | -0.17974 | -0.31464 | 0.3924 | 0.2049
Point 177 | -0.11314 | -0.14952 | -0.24567 | 0.3091 | 0.1216
Point 178 | -0.10584 | -0.14732 | -0.22925 | 0.2923 | 0.1048
Point 179 | -0.10056 | -0.14227 | -0.215 | 0.2767 | 0.0892
Point 180 | -0.094 | -0.13185 | -0.1965 | 0.2546 | 0.0671
Point 181 | -0.10373 | -0.14602 | -0.24973 | 0.3073 | 0.1198
Point 182 | -0.11141 | -0.14968 | -0.2715 | 0.3294 | 0.1419
Point 183 | -0.12467 | -0.15839 | -0.3046 | 0.3653 | 0.1778
Point 184 | -0.098205 | -0.14533 | -0.24844 | 0.3041 | 0.1166
Point 185 | -0.095112 | -0.14181 | -0.23636 | 0.2916 | 0.1041
Point 186 | -0.093578 | -0.1414 | -0.26265 | 0.3126 | 0.1251
Point 187 | -0.099379 | -0.14714 | -0.29399 | 0.3434 | 0.1559
Point 188 | -0.11227 | -0.15636 | -0.33264 | 0.3843 | 0.1968
Point 189 | -0.1281 | -0.16512 | -0.36681 | 0.4222 | 0.2347
Point 190 | -0.082348 | -0.1325 | -0.26759 | 0.3097 | 0.1222
Point 191 | -0.07488 | -0.12842 | -0.25265 | 0.2931 | 0.1056
Point 192 | -0.076642 | -0.1308 | -0.24946 | 0.2919 | 0.1044
Point 193 | -0.083044 | -0.13892 | -0.30754 | 0.3475 | 0.16
Point 194 | -0.092847 | -0.14623 | -0.35043 | 0.3909 | 0.2034
Point 195 | -0.10151 | -0.14818 | -0.38054 | 0.4208 | 0.2333
Point 196 | -0.067106 | -0.12408 | -0.26766 | 0.3026 | 0.1151
Point 197 | -0.067063 | -0.12525 | -0.25748 | 0.2941 | 0.1066
Point 198 | -0.06608 | -0.12308 | -0.24833 | 0.2849 | 0.0974
Point 199 | -0.074918 | -0.1391 | -0.33334 | 0.3689 | 0.1814
Point 200 | -0.085759 | -0.14178 | -0.37875 | 0.4134 | 0.2259
Point 201 | -0.062618 | -0.12919 | -0.3099 | 0.3415 | 0.154
Point 202 | -0.057639 | -0.12408 | -0.28065 | 0.3122 | 0.1247
Point 203 | -0.056847 | -0.12162 | -0.26591 | 0.2979 | 0.1104
Point 204 | -0.055624 | -0.1175 | -0.25364 | 0.285 | 0.0975
Point 205 | -0.063773 | -0.13801 | -0.3615 | 0.3922 | 0.2047
Point 206 | -0.055923 | -0.1255 | -0.30142 | 0.3313 | 0.1438
Point 207 | -0.050323 | -0.12062 | -0.27552 | 0.3049 | 0.1174
Point 208 | -0.049405 | -0.12726 | -0.30483 | 0.334 | 0.1465
Point 209 | -0.059235 | -0.13571 | -0.39109 | 0.4182 | 0.2307
Point 210 | -0.070047 | -0.13421 | -0.42286 | 0.4491 | 0.2616
Point 211 | -0.047103 | -0.13003 | -0.35096 | 0.3772 | 0.1897
Point 212 | -0.041498 | -0.12395 | -0.30851 | 0.3351 | 0.1476
Point 213 | -0.041929 | -0.12904 | -0.33699 | 0.3633 | 0.1758
Point 214 | -0.048041 | -0.12779 | -0.41456 | 0.4365 | 0.249
Point 215 | -0.037012 | -0.12929 | -0.39759 | 0.4197 | 0.2322
Point 216 | -0.033542 | -0.12943 | -0.3705 | 0.3939 | 0.2064
Point 217 | -0.036493 | -0.11527 | -0.28983 | 0.314 | 0.1265

## Summary
Verisurf Software, Inc
1571 N. Harmony Circle
Anaheim CA 92807
714-970-1683
www.verisurf.com
Inspection Report
JOB NUMBER | 65678/1 ENDS OF THE VESSEL |  | DATE: | 2006-04-21 07:02
PART NUMBER | HALF B INSIDE OF VESSEL
PART NAME
INSPECTOR | ROB DURHAM
POINTS ON THE INSIDE OF SKIN 8" DOWN HALF B
217
| Neg | Nom | Pos | Total | Pct
In Tolerance: | 41 | 0 | 14 | 55 | 25.3456
Out of Tolerance: | 10 |  | 152 | 162 | 74.6544
Failed Points:
Total Points: | 51 | 0 | 166 | 217 | 100
| DX | DY | DZ | 3D
Maximum Deviation: | 0.44905 | 0.093155 | 0.0079347 | 0.5679
Minimum Deviation: | -0.18386 | -0.18386 | -0.18386 | -0.26404
Deviation Range: | 0.63291 | 0.31897 | 0.49582 | 0.83194
Average Deviation: | 0.012618 | -0.092816 | -0.21858 | 0.23284
RMS Deviation: | 0.15498 | 0.11513 | 0.26818 | 0.33044
Standard Deviation: | 0.15482 | 0.06827 | 0.15574 | 0.23501

## Gauss (hidden)
| 0.1875 | 36 |  | total points | 217
| -0.1875 | 36
-3s | -0.47219 | 0.19234 | 0 | mean | 15 | 0.047002 | 0.1875 | -0.1875 | 0.23284
| -0.42519 | 0.34353 | 0 | stdev | 5 | 0.047002 | 0.1875 | -0.1875 | 0.23284
| -0.37819 | 0.5895 | 0 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
| -0.33119 | 0.97192 | 0 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
| -0.28418 | 1.5396 | 2 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
-2s | -0.23718 | 2.3432 | 8 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
| -0.19018 | 3.4264 | 13 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
| -0.14318 | 4.814 | 16 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
| -0.096174 | 6.4982 | 9 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
| -0.049172 | 8.4277 | 3 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
| -0.0021696 | 10.5015 | 4 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
| 0.044833 | 12.5726 | 5 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
| 0.091835 | 14.4619 | 1 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
| 0.13884 | 15.9829 | 3 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
| 0.18584 | 16.9713 | 12 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
0 | 0.23284 | 17.3141 | 13 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
| 0.27984 | 16.9713 | 37 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
| 0.32685 | 15.9829 | 23 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
| 0.37385 | 14.4619 | 20 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
| 0.42085 | 12.5726 | 13 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
| 0.46785 | 10.5015 | 20 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
| 0.51485 | 8.4277 | 14 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
| 0.56186 | 6.4982 | 1 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
| 0.60886 | 4.814 | 0 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
| 0.65586 | 3.4264 | 0 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
2s | 0.70286 | 2.3432 | 0 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
| 0.74987 | 1.5396 | 0 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
| 0.79687 | 0.97192 | 0 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
| 0.84387 | 0.5895 | 0 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
| 0.89087 | 0.34353 | 0 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
3s | 0.93787 | 0.19234 | 0 |  |  | 0.047002 | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284
[7 empty] | 0.1875 | -0.1875 | 0.23284