## Actual
JOB NUMBER | 65708-6 |  |  | DATE: | 2007-05-23 12:54
PART NUMBER | SE141-115 |  |  |  |  | Verisurf Summary Report
PART NAME | WINDING FORM TYPE B |  |  | STAMP:
INSPECTOR | EDWIN ROOT
|  |  | Total Points: |  | 18
Probe Radius: | 0 |  | Number of OOT: |  | 18
Upper Tol: | 0.03 |  | Average Deviation: |  | 0.25626
Lower Tol: | -0.03 |  | Maximum Deviation: |  | 0.3074
|  |  | Minimum Deviation: |  | 0.2134
Report Output: | Actual Points |  | Deviation Range: |  | 0.094
[7 empty] | Neg | Nom | Pos | Total | Pct
FIDUCIAL LOCATIONS | [5 empty] | In Tolerance: | 0 | 0 | 0 | 0 | 0
[6 empty] | Out of Tolerance: | 0 |  | 18 | 18 | 100
Failed Points:
[6 empty] | Total Points: | 0 | 0 | 18 | 18 | 100
[7 empty] | DX | DY | DZ | 3D
[6 empty] | Maximum Deviation: | 0.21947 | 0.27092 | 0.1248 | 0.3074
[6 empty] | Minimum Deviation: | -0.2336 | -0.28873 | -0.13669 | 0.2134
[6 empty] | Deviation Range: | 0.45307 | 0.55965 | 0.2615 | 0.094
[6 empty] | Average Deviation: | 0.019145 | 0.024841 | -0.010054 | 0.25626
[6 empty] | RMS Deviation: | 0.14287 | 0.20051 | 0.079924 | 0.25885
[6 empty] | Standard Deviation: | 0.14568 | 0.20474 | 0.081588 | 0.037585
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 15.4006 | -16.7146 | -11.8026 | 0.2202 | 0.1902
Point 2 | 25.7668 | -42.5346 | -10.2937 | 0.2957 | 0.2657
Point 3 | 31.0202 | -35.4104 | -24.9079 | 0.2218 | 0.1918
Point 4 | 45.8321 | -53.4611 | -17.6008 | 0.2887 | 0.2587
Point 5 | 64.5685 | -49.1197 | -24.437 | 0.3004 | 0.2704
Point 6 | 56.8747 | -40.2876 | -46.6171 | 0.2134 | 0.1834
Point 7 | 88.098 | -33.2516 | -33.0108 | 0.3074 | 0.2774
Point 8 | 72.7275 | -14.7509 | -59.9104 | 0.2202 | 0.1902
Point 9 | 67.1892 | 22.9486 | -55.261 | 0.2195 | 0.1895
Point 10 | 89.3459 | 26.5114 | -33.449 | 0.2833 | 0.2533
Point 11 | 79.747 | 38.1246 | -29.953 | 0.281 | 0.251
Point 12 | 57.9002 | 35.8907 | -47.4685 | 0.2175 | 0.1875
Point 13 | 42.9688 | 46.6415 | -34.9452 | 0.2209 | 0.1909
Point 14 | 56.0268 | 52.6034 | -21.3222 | 0.2847 | 0.2547
Point 15 | 28.32 | 47.0234 | -22.6561 | 0.2246 | 0.1946
Point 16 | 27.8771 | 50.6948 | -11.0864 | 0.2943 | 0.2643
Point 17 | 21.5116 | 45.6913 | -8.7689 | 0.2948 | 0.2648
Point 18 | 16.2039 | 34.6489 | -12.492 | 0.2242 | 0.1942

## Nominal
JOB NUMBER | 65708-6 |  |  | DATE: | 2007-05-23 12:54
PART NUMBER | SE141-115
PART NAME | WINDING FORM TYPE B |  |  | STAMP:
INSPECTOR | EDWIN ROOT
|  |  |  | Sample Points: | 18
Probe Radius: | 0 |  | Average Deviation: |  | 0.25626
Upper Tol: | 0.03 |  |  | Maximum Deviation: | 0.3074
Lower Tol: | -0.03 |  |  | Minimum Deviation: | 0.2134
Report Output: | Nominal Points |  | Deviation Range: | Deviation Range: | 0.094
FIDUCIAL LOCATIONS
|  |  | Std Dev: | 0.037585
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 15.5388 | -16.5884 | -11.9185 | 0.2202 | 0.1902
Point 2 | 26.0004 | -42.3744 | -10.3788 | 0.2957 | 0.2657
Point 3 | 31.1052 | -35.2184 | -24.9792 | 0.2218 | 0.1918
Point 4 | 45.8328 | -53.1723 | -17.6011 | 0.2887 | 0.2587
Point 5 | 64.472 | -48.8374 | -24.4019 | 0.3004 | 0.2704
Point 6 | 56.793 | -40.1027 | -46.5486 | 0.2134 | 0.1834
Point 7 | 87.8832 | -33.0461 | -32.9326 | 0.3074 | 0.2774
Point 8 | 72.5646 | -14.6938 | -59.7737 | 0.2202 | 0.1902
Point 9 | 67.0514 | 22.8227 | -55.1454 | 0.2195 | 0.1895
Point 10 | 89.1265 | 26.351 | -33.3691 | 0.2833 | 0.2533
Point 11 | 79.5705 | 37.9156 | -29.8887 | 0.281 | 0.251
Point 12 | 57.7931 | 35.7241 | -47.3786 | 0.2175 | 0.1875
Point 13 | 42.925 | 46.4281 | -34.9084 | 0.2209 | 0.1909
Point 14 | 55.9446 | 52.3325 | -21.2923 | 0.2847 | 0.2547
Point 15 | 28.3645 | 46.8065 | -22.6934 | 0.2246 | 0.1946
Point 16 | 28.0121 | 50.4379 | -11.1356 | 0.2943 | 0.2643
Point 17 | 21.7041 | 45.4792 | -8.8389 | 0.2948 | 0.2648
Point 18 | 16.3526 | 34.5367 | -12.6168 | 0.2242 | 0.1942

## Deltas
JOB NUMBER | 65708-6 |  |  | DATE: | 2007-05-23 12:54
PART NUMBER | SE141-115
PART NAME | WINDING FORM TYPE B |  |  | STAMP:
INSPECTOR | EDWIN ROOT
|  |  |  | Sample Points: | 18
Probe Radius: | 0 |  | Average Deviation: |  | 0.25626
Upper Tol: | 0.03 |  |  | Maximum Deviation: | 0.3074
Lower Tol: | -0.03 |  |  | Minimum Deviation: | 0.2134
Report Output: | Deviations |  |  | Deviation Range: | 0.094
FIDUCIAL LOCATIONS
|  |  | Std Dev: | 0.037585
ID | X | Y | Z | DEVIATION | OOT
Point 1 | -0.13821 | -0.12627 | 0.11597 | 0.2202 | 0.1902
Point 2 | -0.2336 | -0.16018 | 0.085022 | 0.2957 | 0.2657
Point 3 | -0.084975 | -0.19203 | 0.071303 | 0.2218 | 0.1918
Point 4 | -0.00070444 | -0.28873 | 0.00025653 | 0.2887 | 0.2587
Point 5 | 0.096546 | -0.28231 | -0.03514 | 0.3004 | 0.2704
Point 6 | 0.08168 | -0.18489 | -0.068537 | 0.2134 | 0.1834
Point 7 | 0.21478 | -0.20548 | -0.078175 | 0.3074 | 0.2774
Point 8 | 0.1629 | -0.057099 | -0.13669 | 0.2202 | 0.1902
Point 9 | 0.13777 | 0.12585 | -0.1156 | 0.2195 | 0.1895
Point 10 | 0.21947 | 0.16037 | -0.079881 | 0.2833 | 0.2533
Point 11 | 0.17652 | 0.20894 | -0.064249 | 0.281 | 0.251
Point 12 | 0.10713 | 0.16661 | -0.089891 | 0.2175 | 0.1875
Point 13 | 0.043826 | 0.21339 | -0.036774 | 0.2209 | 0.1909
Point 14 | 0.082185 | 0.27092 | -0.029913 | 0.2847 | 0.2547
Point 15 | -0.044465 | 0.21696 | 0.037311 | 0.2246 | 0.1946
Point 16 | -0.13503 | 0.25686 | 0.049145 | 0.2943 | 0.2643
Point 17 | -0.19249 | 0.21203 | 0.070061 | 0.2948 | 0.2648
Point 18 | -0.14874 | 0.11219 | 0.1248 | 0.2242 | 0.1942

## Summary
Verisurf Software, Inc
1571 N. Harmony Circle
Anaheim CA 92807
714-970-1683
www.verisurf.com
Inspection Report
JOB NUMBER | 65708-6 |  | DATE: | 2007-05-23 12:54
PART NUMBER | SE141-115
PART NAME | WINDING FORM TYPE B
INSPECTOR | EDWIN ROOT
FIDUCIAL LOCATIONS
18
| Neg | Nom | Pos | Total | Pct
In Tolerance: | 0 | 0 | 0 | 0 | 0
Out of Tolerance: | 0 |  | 18 | 18 | 100
Failed Points:
Total Points: | 0 | 0 | 18 | 18 | 100
| DX | DY | DZ | 3D
Maximum Deviation: | 0.21947 | 0.27092 | 0.1248 | 0.3074
Minimum Deviation: | -0.2336 | -0.28873 | -0.13669 | 0.2134
Deviation Range: | 0.45307 | 0.55965 | 0.2615 | 0.094
Average Deviation: | 0.019145 | 0.024841 | -0.010054 | 0.25626
RMS Deviation: | 0.14287 | 0.20051 | 0.079924 | 0.25885
Standard Deviation: | 0.14568 | 0.20474 | 0.081588 | 0.037585

## Gauss (hidden)
| 0.03 | 6 |  | total points | 18
| -0.03 | 6
-3s | 0.1435 | 0.015955 | 0 | mean | 15 | 0.0075171 | 0.03 | -0.03 | 0.25626
| 0.15102 | 0.028496 | 0 | stdev | 5 | 0.0075171 | 0.03 | -0.03 | 0.25626
| 0.15853 | 0.048899 | 0 |  |  | 0.0075171 | 0.03 | -0.03 | 0.25626
| 0.16605 | 0.08062 | 0 |  |  | 0.0075171 | 0.03 | -0.03 | 0.25626
| 0.17357 | 0.12771 | 0 |  |  | 0.0075171 | 0.03 | -0.03 | 0.25626
-2s | 0.18108 | 0.19437 | 0 |  |  | 0.0075171 | 0.03 | -0.03 | 0.25626
| 0.1886 | 0.28422 | 0 |  |  | 0.0075171 | 0.03 | -0.03 | 0.25626
| 0.19612 | 0.39932 | 0 |  |  | 0.0075171 | 0.03 | -0.03 | 0.25626
| 0.20364 | 0.53902 | 0 |  |  | 0.0075171 | 0.03 | -0.03 | 0.25626
| 0.21115 | 0.69907 | 2 |  |  | 0.0075171 | 0.03 | -0.03 | 0.25626
| 0.21867 | 0.87109 | 7 |  |  | 0.0075171 | 0.03 | -0.03 | 0.25626
| 0.22619 | 1.0429 | 0 |  |  | 0.0075171 | 0.03 | -0.03 | 0.25626
| 0.2337 | 1.1996 | 0 |  |  | 0.0075171 | 0.03 | -0.03 | 0.25626
| 0.24122 | 1.3258 | 0 |  |  | 0.0075171 | 0.03 | -0.03 | 0.25626
| 0.24874 | 1.4078 | 0 |  |  | 0.0075171 | 0.03 | -0.03 | 0.25626
0 | 0.25626 | 1.4362 | 0 |  |  | 0.0075171 | 0.03 | -0.03 | 0.25626
| 0.26377 | 1.4078 | 0 |  |  | 0.0075171 | 0.03 | -0.03 | 0.25626
| 0.27129 | 1.3258 | 0 |  |  | 0.0075171 | 0.03 | -0.03 | 0.25626
| 0.27881 | 1.1996 | 3 |  |  | 0.0075171
| 0.28632 | 1.0429 | 1 |  |  | 0.0075171
| 0.29384 | 0.87109 | 4 |  |  | 0.0075171
| 0.30136 | 0.69907 | 1 |  |  | 0.0075171
| 0.30888 | 0.53902 | 0 |  |  | 0.0075171
| 0.31639 | 0.39932 | 0 |  |  | 0.0075171
| 0.32391 | 0.28422 | 0 |  |  | 0.0075171
2s | 0.33143 | 0.19437 | 0 |  |  | 0.0075171
| 0.33894 | 0.12771 | 0 |  |  | 0.0075171
| 0.34646 | 0.08062 | 0 |  |  | 0.0075171
| 0.35398 | 0.048899 | 0 |  |  | 0.0075171
| 0.36149 | 0.028496 | 0 |  |  | 0.0075171
3s | 0.36901 | 0.015955 | 0 |  |  | 0.0075171