Major Tool & Machine, Inc.

Page: 1

1458 East 19th Street

MTM N/C: 18812

Date: 12/13/05

Indianapolis, IN 46218-4289

User ID: BOWLING

ENERGY INDUSTRIES OF OHIO

Customer:

Telephone:

216-496-2314

Contact:

NANCY HORTON

NKHFlowen@aol.com

E-Mail:

216-328-2001

Fax:

S005242-F/Ln:2

Customer P.O.:

/

Part:

C2

Serial No./Qty:

7

Revision:

SE141-116

Drawing ID:

317-636-6433

Telephone:

MIKE GRIFFITH

Reported By:

Fax:

317-634-9420

E-Mail:

mGriffith@MajorTool.com

Problem:

Workorder: 65707/2.0 Sub:1 Op:134

Inspection Test #: 140  rejected: P TO M: {g|.1|R|S|T}: REFERENCE IGES DATA

Inspection Test #: 180  rejected: M TO N: {g|.02|R|S|T}: REFERENCE IGES DATA

Inspection Test #: 190  rejected: 96X

Ø.375-16 UNC .188 DEEP

C'BORE Ø.625 AS SHOWN: {#|.01|R|S|T}: .077 POSITION / ACCEPT THREAD / .624 CBORE

Inspection Test #: 210  rejected: 8X Ø1-8 UNC THRU: {#|.01|A|B|C}: .038

Inspection Test #: 230  rejected: : {f|.01}: 0.020

Inspection Test #: 250  rejected: : {f|.01}: 0.016

Inspection Test #: 260  rejected: : R76.00: 75.750 - 75.925

Inspection Test #: 270  rejected: : R73.70: 73.723

Inspection Test #: 280  rejected: 8X

Ø1.13 THRU

BACK SPOT FACE Ø2.38

MIN DEPTH FOR C'UP: {#|.01|A|B|C}: .027 / 1.12 - 1.13 / ACCEPT SPOT

Inspection Test #: 290  rejected: 3X Ø1.88 THRU

Ø3.00 BACK SPOTFACE

MIN TO CLEANUP: {#|.010|D|A|N}: .027 / 1.87 - 1.88 / ACCEPT CLEAN UP

Inspection Test #: 295  rejected: 3 X SPHERICAL R.750 +.002 / -.003

TOLERANCE CHANGE PER

RFD 14-009 ITEM 5.

DATUM -D- FLANGE.: : .753 / .764 / .763

Inspection Test #: 300  rejected: 3X SPH R.75 TO .75 DEEP: {#|d.01|D|A|N}: TP .020 / .74 DEEP

Inspection Test #: 310  rejected: 17X Ø1.88 THRU

Ø3.00 BACK SPOTFACE

MIN TO CLEANUP: {#|d.01|D|A|N}: 0.102 / 1.87 - 1.88 / 3.00 CLEAN UP

Inspection Test #: 320  rejected: 3X Ø1.13

Ø2.38 BACK SPOTFACE

MIN TO CLEANUP: {#|d.01|D|A|N}: 0.041 / 1.12 - 1.13 / 3.2 CLEAN UP

Inspection Test #: 340  rejected: 3X Ø1.375-6 UNC THRU: {#|d.01|D|A|N}: .038 / ACCEPT THREADS

Inspection Test #: 350  rejected: 5X Ø1.88 THRU

Ø3.00 BACK SPOTFACE

MIN TO CLEANUP: {#|d.01|D|A|N}: .0182 / 1.87 - 1.88 / 2.98 - 2.99

Inspection Test #: 360  rejected: Ø1.88 THRU

Ø3.00 BACK SPOTFACE

MIN TO CLEANUP: {#|d.01|D|A|N}: .0184 / 1.88 / 2.99

Inspection Test #: 370  rejected: 3X Ø1.13

Ø2.38 BACK SPOTFACE

MIN TO CLEANUP: {#|d.01|D|A|N}: .028 / 1.13 - 1.27 / 3.2 CLEAN UP

Inspection Test #: 380  rejected: Ø1.88 THRU

Ø3.00 BACK SPOTFACE

MIN TO CLEANUP: {#|d.01|E|A|J}: .015

Inspection Test #: 410  rejected: 3X SPH R.75 TO .75 DEEP

: {#|d.01|E|A|J}: TP .0172

Inspection Test #: 430  rejected: 24X Ø1.88 THRU

Ø3.00 BACK SPOTFACE

n:\mtmapps\Mtnonc14.qrp

Major Tool and Machine, Inc.  1458 East 19th Street, Indianapolis, IN 46218-4289  Tel: 317-636-6433  Fax: 317-634-9420

Major Tool & Machine, Inc.

Page: 2

1458 East 19th Street

MTM N/C: 18812

Date: 12/13/05

Indianapolis, IN 46218-4289

User ID: BOWLINK

MIN TO CLEANUP: {#|d.01|E|A|J}: .070 / 3.00 CLEANUP

Inspection Test #: 440  rejected: 3X Ø1.5 TO 2.00 DEEP

Ø3.00 TO 1.00 DEEP: {#|d.01|E|A|J}: .051 / 2.99 / 1.00 DEEP

Inspection Test #: 630  rejected: : R4.00 ~ .010: 3.90

Inspection Test #: 650  rejected: : 4.00 ~ .010: 3.97

Inspection Test #: 670  rejected: : R4.00 ~ .010: 3.98

Inspection Test #: 710  rejected: : d8.00 ~ .010: 7.990-8.265  (0.275 OOR)

Inspection Test #: 760  rejected: : 13.6 `: 13.20

Inspection Test #: 770  rejected: : 5.88 ~ .010: PAD BLENDS INTO CAST SUFACE

Inspection Test #: 780  rejected: : 2.19 ~ .010: 2.1

Inspection Test #: 790  rejected: : 2.19 ~ .010: 2.17

Inspection Test #: 800  rejected: : 4X R.50: BOTTOM RADII BLEND INTO CAST SURFACE

Inspection Test #: 880  rejected: : d8.00 ~ .010: 7.980-8.265 0.075 OOR

Inspection Test #: 990  rejected: : {g|.5|A|B|C}: REFERENCE IGES DATA

Inspection Test #: 1000  rejected: : {g|.02|R|T|S}: REFERENCE IGES DATA

Inspection Test #: 1020  rejected: : {g|.02|R|T|S}: REFERENCE IGES DATA

Inspection Test #: 1030  rejected: : {g|.5|A|B|C}: REFERENCE IGES DATA

Inspection Test #: 1070  rejected: : 47.79 ~ .010: 47.776

Inspection Test #: 1100  rejected: : 80.49: 80.469

Inspection Test #: 1110  rejected: : 87.87 ~ .010: 87.838

Inspection Test #: 1120  rejected: : 89.64 ~ .010: 89.584

Inspection Test #: 1150  rejected: : 11.48 ~ .010: 11.463

Inspection Test #: 1290  rejected: : 88.39 ~ .010: 88.371

Inspection Test #: 1320  rejected: : 28.71 ~ .010: 28.721

Inspection Test #: 1340  rejected: : 22.117 ~ .005: 22.109

Inspection Test #: 1350  rejected: : 38.14 ~ .010: 38.152

Inspection Test #: 1380  rejected: : 7.53 ~ .010: 7.555

Inspection Test #: 1390  rejected: : 4.91 ~ .010: 4.879

Proposed Disposition:

CUSTOMER TO ADVISE ON ACCEPTABILITY OF DIMENSIONAL INSPECTION.

Number of additional pages:

Customer Disposition:       [   ] Use As Is          [  ] Rework          [  ] Repair          [  ] Scrap          [  ] Replace

Date:

Title:

Technical Contact Approval:

Date:

Title:

Buyer Approval:

Title:

Date:

Major Tool Implemented By:

n:\mtmapps\Mtnonc14.qrp

Major Tool and Machine, Inc.  1458 East 19th Street, Indianapolis, IN 46218-4289  Tel: 317-636-6433  Fax: 317-634-9420

Inspection Test #: 140  rejected: P TO M: {g|.1|R|S|T}: REFERENCE IGES DATA

OK PER EVALUATION BY T. BROWN / S. RAFTOPOLOUS

Inspection Test #: 180  rejected: M TO N: {g|.02|R|S|T}: REFERENCE IGES DATA

OK PER EVALUATION BY T. BROWN / S. RAFTOPOLOUS

Inspection Test #: 190  rejected: 96X Ø.375-16 UNC .188 DEEP C'BORE Ø.625 AS SHOWN: {#|.01|R|S|T}: .077 POSITION / ACCEPT THREAD / .624 CBORE

OK, C2 TEE HOLE POSITION IS OUT .077 MAX , BETTER THAN C1 (.165 MAX)

Inspection Test #: 210  rejected: 8X Ø1-8 UNC THRU: {#|.01|A|B|C}: .038

OK, POSITION TOLERANCE SIMILAR TO C1, THIS IS A CLEARANCE HOLE W/ BUSHING

Inspection Test #: 230  rejected: : {f|.01}: 0.020

OK, FLATNESS TOL FOR FLANGE DATUM-E SIMILAR TO C1

Inspection Test #: 250  rejected: : {f|.01}: 0.016

OK, FLATNESS TOL FOR FLANGE DATUM-D SIMILAR TO C1

Inspection Test #: 260  rejected: : R76.00: 75.750 - 75.925

OK, INNER RADIUS OF OUTER TF SHELF, INTERFACE NOT CRITICAL

Inspection Test #: 270  rejected: : R73.70: 73.723

OK, OUTER RADIUS OF OUTER TF SHELF, INTERFACE NOT CRITICAL

Inspection Test #: 280  rejected: 8X Ø1.13 THRU BACK SPOT FACE Ø2.38 MIN DEPTH FOR C'UP: {#|.01|A|B|C}: .027 / 1.12 - 1.13 / ACCEPT SPOT

OK, C2 HOLE POSITION IS OUT .027 MAX, BETTER THAN C1 (.054 MAX)

Inspection Test #: 290  rejected: 3X Ø1.88 THRU Ø3.00 BACK SPOTFACE MIN TO CLEANUP: {#|.010|D|A|N}: .027 / 1.87 - 1.88 / ACCEPT CLEAN UP

OK, THIS IS A CLEARANCE HOLE W/ BUSHING

Inspection Test #: 295  rejected: 3 X SPHERICAL R.750 +.002 / -.003 TOLERANCE CHANGE PER RFD 14-009 ITEM 5. DATUM -D- FLANGE.: : .753 / .764 / .763

DISCUSS WITH PPPL

Inspection Test #: 300  rejected: 3X SPH R.75 TO .75 DEEP: {#|d.01|D|A|N}: TP .020 / .74 DEEP

DISCUSS WITH PPPL

Inspection Test #: 310  rejected: 17X Ø1.88 THRU Ø3.00 BACK SPOTFACE MIN TO CLEANUP: {#|d.01|D|A|N}: 0.102 / 1.87 - 1.88 / 3.00 CLEAN UP

LARGEST POSITIONAL ERROR, CHECK IGES DATA, DISCUSS

Inspection Test #: 320  rejected: 3X Ø1.13 Ø2.38 BACK SPOTFACE MIN TO CLEANUP: {#|d.01|D|A|N}: 0.041 / 1.12 - 1.13 / 3.2 CLEAN UP

OK, C2 HOLE POSITION IS OUT .041 MAX, BETTER THAN C1 (.054 MAX)

Inspection Test #: 340  rejected: 3X Ø1.375-6 UNC THRU: {#|d.01|D|A|N}: .038 / ACCEPT THREADS

OK, SAME POSITION ERROR AS THRU HOLES, MATES CLEARANCE HOLE W/ BUSHING

Inspection Test #: 350  rejected: 5X Ø1.88 THRU Ø3.00 BACK SPOTFACE MIN TO CLEANUP: {#|d.01|D|A|N}: .0182 / 1.87 - 1.88 / 2.98 - 2.99

OK, THIS IS A CLEARANCE HOLE W/ BUSHING

Inspection Test #: 360  rejected: Ø1.88 THRU Ø3.00 BACK SPOTFACE MIN TO CLEANUP: {#|d.01|D|A|N}: .0184 / 1.88 / 2.99

OK, THIS IS A CLEARANCE HOLE W/ BUSHING

Inspection Test #: 370  rejected: 3X Ø1.13 Ø2.38 BACK SPOTFACE MIN TO CLEANUP: {#|d.01|D|A|N}: .028 / 1.13 - 1.27 / 3.2 CLEAN UP

OK, C2 HOLE POSITION IS OUT .028 MAX, BETTER THAN C1 (.054 MAX)

Inspection Test #: 380  rejected: Ø1.88 THRU  Ø3.00 BACK SPOTFACE MIN TO CLEANUP: {#|d.01|E|A|J}: .015

OK, THIS IS A CLEARANCE HOLE W/ BUSHING

Inspection Test #: 410  rejected: 3X SPH R.75 TO .75 DEEP  : {#|d.01|E|A|J}: TP .0172

OK, FEATURE LOCATION ESTABLISHED BY ROMER PRIOR TO ASSEMBLY

Inspection Test #: 430  rejected: 24X Ø1.88 THRU  Ø3.00 BACK SPOTFACE MIN TO CLEANUP: {#|d.01|E|A|J}: .070 / 3.00 CLEANUP

OK, THIS IS A CLEARANCE HOLE W/ BUSHING

Inspection Test #: 440  rejected: 3X Ø1.5 TO 2.00 DEEP Ø3.00 TO 1.00 DEEP: {#|d.01|E|A|J}: .051 / 2.99 / 1.00 DEEP

OK, FEATURE LOCATION ESTABLISHED BY ROMER PRIOR TO ASSEMBLY

Inspection Test #: 630  rejected: : R4.00 ~ .010: 3.90

OK, DIM REFERENCES PORT OPENING, LARGE CLEARANCE

Inspection Test #: 650  rejected: : 4.00 ~ .010: 3.97

OK, DIM REFERENCES PORT OPENING, LARGE CLEARANCE

Inspection Test #: 670  rejected: : R4.00 ~ .010: 3.98

OK, DIM REFERENCES PORT OPENING, LARGE CLEARANCE

Inspection Test #: 710  rejected: : d8.00 ~ .010: 7.990-8.265  (0.275 OOR)

OK, DIM REFERENCES PORT OPENING, LARGE CLEARANCE

Inspection Test #: 760  rejected: : 13.6 `: 13.20

OK, DIM REFERENCES LEADS AREA

Inspection Test #: 770  rejected: : 5.88 ~ .010: PAD BLENDS INTO CAST SUFACE

OK, DIM REFERENCES LEADS AREA

Inspection Test #: 780  rejected: : 2.19 ~ .010: 2.1

OK, DIM REFERENCES LEADS AREA

Inspection Test #: 790  rejected: : 2.19 ~ .010: 2.17

OK, DIM REFERENCES LEADS AREA

Inspection Test #: 800  rejected: : 4X R.50: BOTTOM RADII BLEND INTO CAST SURFACE

OK, DIM REFERENCES LEADS AREA

Inspection Test #: 880  rejected: : d8.00 ~ .010: 7.980-8.265 0.075 OOR

OK, DIM REFERENCES PORT OPENING, LARGE CLEARANCE

Inspection Test #: 990  rejected: : {g|.5|A|B|C}: REFERENCE IGES DATA

OK PER EVALUATION BY T. BROWN / S. RAFTOPOLOUS

Inspection Test #: 1000  rejected: : {g|.02|R|T|S}: REFERENCE IGES DATA

OK PER EVALUATION BY T. BROWN / S. RAFTOPOLOUS

Inspection Test #: 1020  rejected: : {g|.02|R|T|S}: REFERENCE IGES DATA

OK PER EVALUATION BY T. BROWN / S. RAFTOPOLOUS

Inspection Test #: 1030  rejected: : {g|.5|A|B|C}: REFERENCE IGES DATA

OK PER EVALUATION BY T. BROWN / S. RAFTOPOLOUS

Inspection Test #: 1070  rejected: : 47.79 ~ .010: 47.776

OK, DIM REFERENCES ¼-20 HOLES FOR SHIM ATTACH

Inspection Test #: 1100  rejected: : 80.49: 80.469

OK, DIM REFERENCES ¼-20 HOLES FOR SHIM ATTACH

Inspection Test #: 1110  rejected: : 87.87 ~ .010: 87.838

OK, DIM REFERENCES ¼-20 HOLES FOR SHIM ATTACH

Inspection Test #: 1120  rejected: : 89.64 ~ .010: 89.584

OK, DIM REFERENCES ¼-20 HOLES FOR SHIM ATTACH

Inspection Test #: 1150  rejected: : 11.48 ~ .010: 11.463

OK, DIM REFERENCES ¼-20 HOLES FOR SHIM ATTACH

Inspection Test #: 1290  rejected: : 88.39 ~ .010: 88.371

OK, DIM REFERENCES ¼-20 HOLES FOR SHIM ATTACH

Inspection Test #: 1320  rejected: : 28.71 ~ .010: 28.721

OK, DIM REFERENCES ¼-20 HOLES FOR SHIM ATTACH

Inspection Test #: 1340  rejected: : 22.117 ~ .005: 22.109

OK, DIM REFERENCES ¼-20 HOLES FOR SHIM ATTACH

Inspection Test #: 1350  rejected: : 38.14 ~ .010: 38.152

OK, DIM REFERENCES ¼-20 HOLES FOR SHIM ATTACH

Inspection Test #: 1380  rejected: : 7.53 ~ .010: 7.555

OK, DIM REFERENCES ¼-20 HOLES FOR SHIM ATTACH

Inspection Test #: 1390  rejected: : 4.91 ~ .010: 4.879

OK, DIM REFERENCES ¼-20 HOLES FOR SHIM ATTACH