## Actual
JOB NUMBER | 65707-6 |  |  | DATE: | 2007-05-07 07:40
PART NUMBER | SE141-116 |  |  |  |  | Verisurf Summary Report
PART NAME | WINDING FORM TYPE C |  |  | STAMP:
INSPECTOR | EDWIN ROOT
|  |  | Total Points: |  | 45
Probe Radius: | 0 |  | Number of OOT: |  | 0
Upper Tol: | 0.03 |  | Average Deviation: |  | 0.0076711
Lower Tol: | -0.03 |  | Maximum Deviation: |  | 0.018416
|  |  | Minimum Deviation: |  | 0.0004
Report Output: | Actual Points |  | Deviation Range: |  | 0.018016
[7 empty] | Neg | Nom | Pos | Total | Pct
HOLE POSITIONS E SIDE | [5 empty] | In Tolerance: | 0 | 0 | 45 | 45 | 100
[6 empty] | Out of Tolerance: | 0 |  | 0 | 0 | 0
Failed Points:
[6 empty] | Total Points: | 0 | 0 | 45 | 45 | 100
[7 empty] | DX | DY | DZ | 3D
[6 empty] | Maximum Deviation: | 0.0051591 | 0.0089113 | 0.012583 | 0.018416
[6 empty] | Minimum Deviation: | -0.0072649 | -0.01382 | -0.0089359 | 0.0004
[6 empty] | Deviation Range: | 0.012424 | 0.022732 | 0.021519 | 0.018016
[6 empty] | Average Deviation: | -0.0016523 | 0.00048717 | 0.0028619 | 0.0076711
[6 empty] | RMS Deviation: | 0.0030033 | 0.0066376 | 0.0052019 | 0.0089519
[6 empty] | Standard Deviation: | 0.0025362 | 0.0066945 | 0.0043929 | 0.0046695
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 9.6508 | -18.852 | -16.2209 | 0.0154
Point 2 | 18.029 | 38.6367 | -30.7255 | 0.0134
Point 3 | 38.3571 | 29.0126 | -65.9235 | 0.0218
Point 4 | 10.5521 | -22.1093 | -18.5293 | 0.021
Point 5 | 25.2811 | -38.133 | -44.0124 | 0.0158
Point 6 | 43.7734 | -7.531 | -75.909 | 0.0118
Point 7 | 44.0484 | 4.9188 | -76.6387 | 0.0204
Point 8 | 42.8957 | 12.7662 | -75.0093 | 0.0368
Point 9 | 29.4161 | 36.1327 | -51.2301 | 0.012
Point 10 | 14.2279 | 32.4289 | -24.9312 | 0.0204
Point 11 | 10.5912 | 18.8649 | -15.6843 | 0.0156
Point 12 | 39.2825 | -29.0271 | -65.399 | 0.0132
Point 13 | 19.0043 | -38.625 | -30.1626 | 0.0106
Point 14 | 45.5803 | 5.2208 | -77.9518 | 0.0206
Point 15 | 23.8473 | 40.8093 | -40.3902 | 0.0156
Point 16 | 21.9715 | 40.6013 | -37.0287 | 0.02
Point 17 | 20.1622 | 39.887 | -33.7004 | 0.0104
Point 18 | 19.98 | -39.8768 | -33.8066 | 0.0124
Point 19 | 21.8401 | -40.5859 | -37.1081 | 0.014
Point 20 | 23.7888 | -40.7985 | -40.4278 | 0.012
Point 21 | 45.5384 | -5.2216 | -77.9671 | 0.0054
Point 22 | 25.5929 | -40.5417 | -43.8281 | 0.014
Point 23 | 27.4909 | -39.8476 | -47.1156 | 0.0146
Point 24 | 29.3436 | -38.7775 | -50.3243 | 0.0106
Point 25 | 31.1428 | -37.3942 | -53.4407 | 0.0084
Point 26 | 32.8911 | -35.7625 | -56.4688 | 0.007
Point 27 | 34.5929 | -33.9437 | -59.4165 | 0.0088
Point 28 | 36.2463 | -31.958 | -62.2803 | 0.013
Point 29 | 39.8399 | -26.5603 | -68.5048 | 0.0018
Point 30 | 41.2195 | -23.8647 | -70.8943 | 0.0008
Point 31 | 42.4622 | -20.9174 | -73.047 | 0.0032
Point 32 | 43.5217 | -17.6957 | -74.8818 | 0.003
Point 33 | 44.3449 | -14.2097 | -76.3076 | 0.0042
Point 34 | 44.3368 | 14.1976 | -76.2936 | 0.0362
Point 35 | 43.5148 | 17.6826 | -74.8701 | 0.0348
Point 36 | 42.4566 | 20.9043 | -73.0367 | 0.0336
Point 37 | 41.2143 | 23.8536 | -70.8854 | 0.0304
Point 38 | 39.8345 | 26.5472 | -68.4952 | 0.0348
Point 39 | 36.2424 | 31.9563 | -62.2736 | 0.0242
Point 40 | 34.5896 | 33.9421 | -59.4108 | 0.017
Point 41 | 32.8885 | 35.7619 | -56.4644 | 0.0132
Point 42 | 31.1408 | 37.3956 | -53.4375 | 0.0134
Point 43 | 29.3414 | 38.782 | -50.3205 | 0.0084
Point 44 | 27.4888 | 39.8556 | -47.1119 | 0.009
Point 45 | 25.5929 | 40.5505 | -43.8282 | 0.0074

## Nominal
JOB NUMBER | 65707-6 |  |  | DATE: | 2007-05-07 07:40
PART NUMBER | SE141-116
PART NAME | WINDING FORM TYPE C |  |  | STAMP:
INSPECTOR | EDWIN ROOT
|  |  |  | Sample Points: | 45
Probe Radius: | 0 |  | Average Deviation: |  | 0.0076711
Upper Tol: | 0.03 |  |  | Maximum Deviation: | 0.018416
Lower Tol: | -0.03 |  |  | Minimum Deviation: | 0.0004
Report Output: | Nominal Points |  | Deviation Range: | Deviation Range: | 0.018016
HOLE POSITIONS E SIDE
|  |  | Std Dev: | 0.0046695
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 9.6537 | -18.8571 | -16.2258 | 0.0154
Point 2 | 18.0297 | 38.6302 | -30.7267 | 0.0134
Point 3 | 38.3608 | 29.0206 | -65.9299 | 0.0218
Point 4 | 10.5557 | -22.117 | -18.5355 | 0.021
Point 5 | 25.2829 | -38.14 | -44.0155 | 0.0158
Point 6 | 43.7705 | -7.53 | -75.904 | 0.0118
Point 7 | 44.0458 | 4.91 | -76.6341 | 0.0204
Point 8 | 42.9018 | 12.78 | -75.0198 | 0.0368
Point 9 | 29.4188 | 36.13 | -51.2348 | 0.012
Point 10 | 14.2304 | 32.42 | -24.9355 | 0.0204
Point 11 | 10.5913 | 18.8571 | -15.6844 | 0.0156
Point 12 | 39.2819 | -29.0206 | -65.398 | 0.0132
Point 13 | 19.0049 | -38.6302 | -30.1637 | 0.0106
Point 14 | 45.5751 | 5.2207 | -77.9429 | 0.0206
Point 15 | 23.8502 | 40.8039 | -40.3951 | 0.0156
Point 16 | 21.974 | 40.5926 | -37.033 | 0.02
Point 17 | 20.1636 | 39.8826 | -33.7028 | 0.0104
Point 18 | 19.9809 | -39.8827 | -33.8082 | 0.0124
Point 19 | 21.8411 | -40.5926 | -37.1098 | 0.014
Point 20 | 23.79 | -40.8039 | -40.4299 | 0.012
Point 21 | 45.5371 | -5.2207 | -77.9649 | 0.0054
Point 22 | 25.5944 | -40.5479 | -43.8308 | 0.014
Point 23 | 27.4911 | -39.8549 | -47.116 | 0.0146
Point 24 | 29.3436 | -38.7828 | -50.3244 | 0.0106
Point 25 | 31.1436 | -37.3981 | -53.4421 | 0.0084
Point 26 | 32.8913 | -35.766 | -56.4692 | 0.007
Point 27 | 34.5926 | -33.9481 | -59.416 | 0.0088
Point 28 | 36.2469 | -31.9644 | -62.2814 | 0.013
Point 29 | 39.8403 | -26.56 | -68.5055 | 0.0018
Point 30 | 41.2197 | -23.8645 | -70.8946 | 0.0008
Point 31 | 42.4624 | -20.9159 | -73.0474 | 0.0032
Point 32 | 43.5213 | -17.6943 | -74.8812 | 0.003
Point 33 | 44.3441 | -14.2084 | -76.3062 | 0.0042
Point 34 | 44.3441 | 14.2084 | -76.3062 | 0.0362
Point 35 | 43.5212 | 17.6944 | -74.8812 | 0.0348
Point 36 | 42.4626 | 20.9161 | -73.0471 | 0.0336
Point 37 | 41.2196 | 23.8645 | -70.8945 | 0.0304
Point 38 | 39.8404 | 26.56 | -68.5054 | 0.0348
Point 39 | 36.2469 | 31.9645 | -62.2813 | 0.0242
Point 40 | 34.5926 | 33.9481 | -59.416 | 0.017
Point 41 | 32.8911 | 35.766 | -56.4689 | 0.0132
Point 42 | 31.1439 | 37.3982 | -53.4428 | 0.0134
Point 43 | 29.3435 | 38.7827 | -50.3241 | 0.0084
Point 44 | 27.491 | 39.855 | -47.1157 | 0.009
Point 45 | 25.5943 | 40.548 | -43.8306 | 0.0074

## Deltas
JOB NUMBER | 65707-6 |  |  | DATE: | 2007-05-07 07:40
PART NUMBER | SE141-116
PART NAME | WINDING FORM TYPE C |  |  | STAMP:
INSPECTOR | EDWIN ROOT
|  |  |  | Sample Points: | 45
Probe Radius: | 0 |  | Average Deviation: |  | 0.0076711
Upper Tol: | 0.03 |  |  | Maximum Deviation: | 0.018416
Lower Tol: | -0.03 |  |  | Minimum Deviation: | 0.0004
Report Output: | Deviations |  |  | Deviation Range: | 0.018016
HOLE POSITIONS E SIDE
|  |  | Std Dev: | 0.0046695
ID | X | Y | Z | DEVIATION | OOT
Point 1 | -0.0028501 | 0.0051429 | 0.0049365 | 0.0154
Point 2 | -0.00071823 | 0.0065474 | 0.001244 | 0.0134
Point 3 | -0.0036718 | -0.0080399 | 0.0063597 | 0.0218
Point 4 | -0.0035527 | 0.0077032 | 0.0061535 | 0.021
Point 5 | -0.0017942 | 0.0069975 | 0.0031076 | 0.0158
Point 6 | 0.0029112 | -0.00098891 | -0.0050423 | 0.0118
Point 7 | 0.0026306 | 0.0087962 | -0.0045564 | 0.0204
Point 8 | -0.0060857 | -0.01382 | 0.010541 | 0.0368
Point 9 | -0.002691 | 0.0027148 | 0.0046609 | 0.012
Point 10 | -0.0024987 | 0.0089113 | 0.0043279 | 0.0204
Point 11 | -7.8001e-05 | 0.0077571 | 0.0001351 | 0.0156
Point 12 | 0.00055985 | -0.0064604 | -0.0009697 | 0.0132
Point 13 | -0.00063608 | 0.0051576 | 0.0011017 | 0.0106
Point 14 | 0.0051591 | 8.209e-05 | -0.0089359 | 0.0206
Point 15 | -0.0028533 | 0.0053815 | 0.0049421 | 0.0156
Point 16 | -0.0024748 | 0.0086563 | 0.0042865 | 0.02
Point 17 | -0.0014005 | 0.004376 | 0.0024258 | 0.0104
Point 18 | -0.00093211 | 0.005912 | 0.0016145 | 0.0124
Point 19 | -0.00095338 | 0.0066852 | 0.0016513 | 0.014
Point 20 | -0.0012362 | 0.005422 | 0.0021411 | 0.012
Point 21 | 0.0012896 | -0.00090124 | -0.0022337 | 0.0054
Point 22 | -0.0015406 | 0.0062365 | 0.0026683 | 0.014
Point 23 | -0.00024658 | 0.0072522 | 0.00042708 | 0.0146
Point 24 | -4.1965e-05 | 0.0053029 | 7.2686e-05 | 0.0106
Point 25 | -0.00080844 | 0.0038657 | 0.0014003 | 0.0084
Point 26 | -0.00022397 | 0.0035158 | 0.00038792 | 0.007
Point 27 | 0.00030414 | 0.0044036 | -0.00052679 | 0.0088
Point 28 | -0.00061748 | 0.006418 | 0.0010695 | 0.013
Point 29 | -0.00042571 | -0.00032435 | 0.00073735 | 0.0018
Point 30 | -0.00015993 | -0.00024987 | 0.00027701 | 0.0008
Point 31 | -0.0002301 | -0.0015092 | 0.00039854 | 0.0032
Point 32 | 0.00035102 | -0.0013548 | -0.00060799 | 0.003
Point 33 | 0.00082548 | -0.0012881 | -0.0014298 | 0.0042
Point 34 | -0.0072649 | -0.01079 | 0.012583 | 0.0362
Point 35 | -0.0064355 | -0.011752 | 0.011147 | 0.0348
Point 36 | -0.0060113 | -0.011765 | 0.010412 | 0.0336
Point 37 | -0.0052633 | -0.010926 | 0.0091164 | 0.0304
Point 38 | -0.0058734 | -0.012805 | 0.010173 | 0.0348
Point 39 | -0.0044521 | -0.0081788 | 0.0077113 | 0.0242
Point 40 | -0.0030036 | -0.005974 | 0.0052024 | 0.017
Point 41 | -0.0026169 | -0.0040717 | 0.0045326 | 0.0132
Point 42 | -0.0030761 | -0.0025603 | 0.0053279 | 0.0134
Point 43 | -0.0020896 | -0.00073547 | 0.0036193 | 0.0084
Point 44 | -0.0022058 | 0.00064913 | 0.0038206 | 0.009
Point 45 | -0.0013721 | 0.0025305 | 0.0023765 | 0.0074

## Summary
Verisurf Software, Inc
1571 N. Harmony Circle
Anaheim CA 92807
714-970-1683
www.verisurf.com
Inspection Report
JOB NUMBER | 65707-6 |  | DATE: | 2007-05-07 07:40
PART NUMBER | SE141-116
PART NAME | WINDING FORM TYPE C
INSPECTOR | EDWIN ROOT
HOLE POSITIONS E SIDE
45
| Neg | Nom | Pos | Total | Pct
In Tolerance: | 0 | 0 | 45 | 45 | 100
Out of Tolerance: | 0 |  | 0 | 0 | 0
Failed Points:
Total Points: | 0 | 0 | 45 | 45 | 100
| DX | DY | DZ | 3D
Maximum Deviation: | 0.0051591 | 0.0089113 | 0.012583 | 0.018416
Minimum Deviation: | -0.0072649 | -0.01382 | -0.0089359 | 0.0004
Deviation Range: | 0.012424 | 0.022732 | 0.021519 | 0.018016
Average Deviation: | -0.0016523 | 0.00048717 | 0.0028619 | 0.0076711
RMS Deviation: | 0.0030033 | 0.0066376 | 0.0052019 | 0.0089519
Standard Deviation: | 0.0025362 | 0.0066945 | 0.0043929 | 0.0046695

## Gauss (hidden)
| 0.03 | 7 |  | total points | 45
| -0.03 | 7
-3s | -0.0063374 | 0.039887 | 0 | mean | 15 | 0.0009339 | 0.03 | -0.03 | 0.0076711
| -0.0054035 | 0.071239 | 0 | stdev | 5 | 0.0009339 | 0.03 | -0.03 | 0.0076711
| -0.0044696 | 0.12225 | 0 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
| -0.0035357 | 0.20155 | 0 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
| -0.0026018 | 0.31927 | 0 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
-2s | -0.0016679 | 0.48592 | 0 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
| -0.00073402 | 0.71055 | 0 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
| 0.00019989 | 0.99829 | 1 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
| 0.0011338 | 1.3475 | 1 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
| 0.0020677 | 1.7477 | 1 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
| 0.0030016 | 2.1777 | 1 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
| 0.0039355 | 2.6072 | 1 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
| 0.0048694 | 2.999 | 1 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
| 0.0058033 | 3.3144 | 0 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
| 0.0067372 | 3.5194 | 2 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
0 | 0.0076711 | 3.5905 | 2 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
| 0.008605 | 3.5194 | 2 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
| 0.0095389 | 3.3144 | 1 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
| 0.010473 | 2.999 | 2 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
| 0.011407 | 2.6072 | 3 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
| 0.012341 | 2.1777 | 4 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
| 0.013275 | 1.7477 | 4 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
| 0.014208 | 1.3475 | 1 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
| 0.015142 | 0.99829 | 4 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
| 0.016076 | 0.71055 | 1 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
2s | 0.01701 | 0.48592 | 0 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
| 0.017944 | 0.31927 | 0 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
| 0.018878 | 0.20155 | 0 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
| 0.019812 | 0.12225 | 4 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
| 0.020746 | 0.071239 | 1 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
3s | 0.02168 | 0.039887 | 8 |  |  | 0.0009339 | 0.03 | -0.03 | 0.0076711
[7 empty] | 0.03 | -0.03 | 0.0076711
[7 empty] | 0.03 | -0.03 | 0.0076711
[7 empty] | 0.03 | -0.03 | 0.0076711
[7 empty] | 0.03 | -0.03 | 0.0076711
[7 empty] | 0.03 | -0.03 | 0.0076711
[7 empty] | 0.03 | -0.03 | 0.0076711
[7 empty] | 0.03 | -0.03 | 0.0076711
[7 empty] | 0.03 | -0.03 | 0.0076711
[7 empty] | 0.03 | -0.03 | 0.0076711
[7 empty] | 0.03 | -0.03 | 0.0076711
[7 empty] | 0.03 | -0.03 | 0.0076711
[7 empty] | 0.03 | -0.03 | 0.0076711
[7 empty] | 0.03 | -0.03 | 0.0076711
[7 empty] | 0.03 | -0.03 | 0.0076711