## Nominal Vector
ID | X | Y | Z | I | J | K
Point 1 | 22.1167 | 42.7099 | -7.5115 | 0.92651 | -0.16689 | -0.33722
Point 2 | 24.7803 | 45.4444 | -8.4816 | 0.87814 | 0.35596 | -0.31962
Point 3 | 27.7587 | 47.7883 | -9.5662 | 0.9392 | 0.032488 | -0.34184
Point 4 | 30.9919 | 49.7122 | -10.7435 | 0.65507 | -0.71697 | -0.23842
Point 5 | 33.7742 | 50.9988 | -12.0228 | 0.93345 | -0.11505 | -0.33975
Point 6 | 43.1424 | 52.8531 | -15.1682 | 0.83842 | -0.45158 | -0.30516
Point 7 | 46.8429 | 52.6787 | -16.5158 | 0.77219 | -0.56985 | -0.28106
Point 8 | 50.5041 | 52.0734 | -17.8491 | 0.69498 | -0.67306 | -0.25295
Point 9 | 54.1011 | 51.125 | -19.1588 | 0.68647 | -0.68288 | -0.24985
Point 10 | 57.6281 | 49.9148 | -20.4433 | 0.69849 | -0.66894 | -0.25423
Point 11 | 70.282 | 43.4 | -25.0514 | 0.3991 | -0.90533 | -0.14526
Point 12 | 77.4594 | 37.8215 | -27.6648 | 0.53099 | -0.82505 | -0.19326
Point 13 | 80.2154 | 35.1846 | -28.6685 | 0.3438 | -0.93067 | -0.12513
Point 14 | 82.8155 | 32.375 | -29.6153 | 0.11406 | -0.99261 | -0.041514
Point 15 | 85.2476 | 29.3984 | -30.5008 | 0.16233 | -0.98497 | -0.059085
Point 16 | 90.6864 | 20.9514 | -32.5009 | 0.88961 | -0.3221 | -0.32379
Point 17 | 93.561 | -21.4366 | -33.6432 | -0.12616 | -0.99095 | 0.045919
Point 18 | 88.3944 | -30.0667 | -31.7691 | -0.48388 | -0.85723 | 0.17612
Point 19 | 77.3514 | -40.4432 | -27.6252 | -0.029223 | -0.99952 | 0.010636
Point 20 | 72.1823 | -43.5313 | -25.7428 | 0.55255 | -0.80885 | -0.20111
Point 21 | 69.4987 | -44.8721 | -24.7656 | -0.29371 | -0.9499 | 0.1069
Point 22 | 66.0739 | -46.3805 | -23.5184 | -0.41825 | -0.89549 | 0.15223
Point 23 | 62.5932 | -47.7339 | -22.2507 | -0.31154 | -0.94344 | 0.11339
Point 24 | 48.1831 | -51.2387 | -17.0032 | -0.86744 | -0.38454 | 0.31572
Point 25 | 44.4792 | -51.2277 | -15.6544 | -0.7633 | -0.58326 | 0.27782
Point 26 | 40.8156 | -50.6556 | -14.3204 | -0.93486 | -0.10131 | 0.34026
Point 27 | 31.6245 | -45.7552 | -10.9735 | -0.44456 | -0.88101 | 0.16181
Point 28 | 29.0299 | -42.9464 | -10.0285 | -0.43987 | -0.88368 | 0.1601
Point 29 | 27.0349 | -39.6321 | -9.3022 | 0.83479 | 0.45915 | -0.30384

## Actual Tolerance
ID | X | Y | Z | Pos Tol | Nag Tol | DEVIATION | OOT
Point 1 | 22.1289 | 42.7076 | -7.5159 | 0.03 | -0.03 | 0.0264
Point 2 | 24.7876 | 45.4474 | -8.4843 | 0.03 | -0.03 | 0.0166
Point 3 | 27.7706 | 47.7888 | -9.5705 | 0.03 | -0.03 | 0.0254
Point 4 | 31.0027 | 49.7004 | -10.7474 | 0.03 | -0.03 | 0.0328
Point 5 | 33.7842 | 50.9976 | -12.0264 | 0.03 | -0.03 | 0.0214
Point 6 | 43.1541 | 52.8468 | -15.1724 | 0.03 | -0.03 | 0.0278
Point 7 | 46.8562 | 52.6689 | -16.5206 | 0.03 | -0.03 | 0.0344
Point 8 | 50.5167 | 52.0612 | -17.8536 | 0.03 | -0.03 | 0.0362
Point 9 | 54.1137 | 51.1125 | -19.1634 | 0.03 | -0.03 | 0.0368
Point 10 | 57.6405 | 49.9029 | -20.4478 | 0.03 | -0.03 | 0.0356
Point 11 | 70.287 | 43.3888 | -25.0532 | 0.03 | -0.03 | 0.0248
Point 12 | 77.4725 | 37.8013 | -27.6696 | 0.03 | -0.03 | 0.049
Point 13 | 80.2259 | 35.1564 | -28.6723 | 0.03 | -0.03 | 0.06
Point 14 | 82.8184 | 32.3499 | -29.6163 | 0.03 | -0.03 | 0.0506
Point 15 | 85.251 | 29.3779 | -30.5021 | 0.03 | -0.03 | 0.0416
Point 16 | 90.7091 | 20.9432 | -32.5092 | 0.03 | -0.03 | 0.051
Point 17 | 93.5601 | -21.444 | -33.6429 | 0.03 | -0.03 | 0.0148
Point 18 | 88.3909 | -30.073 | -31.7679 | 0.03 | -0.03 | 0.0146
Point 19 | 77.3509 | -40.4598 | -27.625 | 0.03 | -0.03 | 0.0332
Point 20 | 72.1842 | -43.534 | -25.7435 | 0.03 | -0.03 | 0.0068
Point 21 | 69.4926 | -44.8919 | -24.7634 | 0.03 | -0.03 | 0.0416
Point 22 | 66.066 | -46.3974 | -23.5155 | 0.03 | -0.03 | 0.0378
Point 23 | 62.588 | -47.7497 | -22.2488 | 0.03 | -0.03 | 0.0334
Point 24 | 48.1768 | -51.2415 | -17.001 | 0.03 | -0.03 | 0.0146
Point 25 | 44.4773 | -51.2291 | -15.6538 | 0.03 | -0.03 | 0.0048
Point 26 | 40.8112 | -50.656 | -14.3188 | 0.03 | -0.03 | 0.0096
Point 27 | 31.6196 | -45.765 | -10.9717 | 0.03 | -0.03 | 0.0222
Point 28 | 29.0245 | -42.9572 | -10.0265 | 0.03 | -0.03 | 0.0244
Point 29 | 27.0365 | -39.6312 | -9.3028 | 0.03 | -0.03 | 0.0038

## Actual
JOB NUMBER | 65709-5 |  |  | DATE: | 2007-02-27 06:41
PART NUMBER | MCMF-A |  |  |  |  | Verisurf Summary Report
PART NAME | E SIDE HOLE POSITIONS |  |  | STAMP:
INSPECTOR | ROB DURHAM
|  |  | Total Points: |  | 29
Probe Radius: | 0 |  | Number of OOT: |  | 0
Upper Tol: | 0.03 |  | Average Deviation: |  | 0.014355
Lower Tol: | -0.03 |  | Maximum Deviation: |  | 0.03
|  |  | Minimum Deviation: |  | 0.0019
Report Output: | Actual Points |  | Deviation Range: |  | 0.0281
[7 empty] | Neg | Nom | Pos | Total | Pct
E SIDE HOLE POSITIONS - CMM | [5 empty] | In Tolerance: | 0 | 0 | 29 | 29 | 100
[6 empty] | Out of Tolerance: | 0
Failed Points:
[6 empty] | Total Points: | 0 | 0 | 29 | 29 | 100
[7 empty] | DX | DY | DZ | 3D
[6 empty] | Maximum Deviation: | 0.022656 | 0.0029637 | 0.0028806 | 0.030317
[6 empty] | Minimum Deviation: | -0.0079143 | -0.028215 | -0.0082463 | 0.0019
[6 empty] | Deviation Range: | 0.030571 | 0.031178 | 0.011127 | 0.028417
[6 empty] | Average Deviation: | 0.0044283 | -0.0099197 | -0.0016118 | 0.014355
[6 empty] | RMS Deviation: | 0.0091785 | 0.012742 | 0.0033407 | 0.016055
[6 empty] | Standard Deviation: | 0.0081819 | 0.008139 | 0.002978 | 0.0073207
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 22.1289 | 42.7076 | -7.5159 | 0.0264
Point 2 | 24.7876 | 45.4474 | -8.4843 | 0.0166
Point 3 | 27.7706 | 47.7888 | -9.5705 | 0.0254
Point 4 | 31.0027 | 49.7004 | -10.7474 | 0.0328
Point 5 | 33.7842 | 50.9976 | -12.0264 | 0.0214
Point 6 | 43.1541 | 52.8468 | -15.1724 | 0.0278
Point 7 | 46.8562 | 52.6689 | -16.5206 | 0.0344
Point 8 | 50.5167 | 52.0612 | -17.8536 | 0.0362
Point 9 | 54.1137 | 51.1125 | -19.1634 | 0.0368
Point 10 | 57.6405 | 49.9029 | -20.4478 | 0.0356
Point 11 | 70.287 | 43.3888 | -25.0532 | 0.0248
Point 12 | 77.4725 | 37.8013 | -27.6696 | 0.049
Point 13 | 80.2259 | 35.1564 | -28.6723 | 0.06
Point 14 | 82.8184 | 32.3499 | -29.6163 | 0.0506
Point 15 | 85.251 | 29.3779 | -30.5021 | 0.0416
Point 16 | 90.7091 | 20.9432 | -32.5092 | 0.051
Point 17 | 93.5601 | -21.444 | -33.6429 | 0.0148
Point 18 | 88.3909 | -30.073 | -31.7679 | 0.0146
Point 19 | 77.3509 | -40.4598 | -27.625 | 0.0332
Point 20 | 72.1842 | -43.534 | -25.7435 | 0.0068
Point 21 | 69.4926 | -44.8919 | -24.7634 | 0.0416
Point 22 | 66.066 | -46.3974 | -23.5155 | 0.0378
Point 23 | 62.588 | -47.7497 | -22.2488 | 0.0334
Point 24 | 48.1768 | -51.2415 | -17.001 | 0.0146
Point 25 | 44.4773 | -51.2291 | -15.6538 | 0.0048
Point 26 | 40.8112 | -50.656 | -14.3188 | 0.0096
Point 27 | 31.6196 | -45.765 | -10.9717 | 0.0222
Point 28 | 29.0245 | -42.9572 | -10.0265 | 0.0244
Point 29 | 27.0365 | -39.6312 | -9.3028 | 0.0038

## Deltas
JOB NUMBER | 65709-5 |  |  | DATE: | 2007-02-27 06:41
PART NUMBER | MCMF-A
PART NAME | E SIDE HOLE POSITIONS |  |  | STAMP:
INSPECTOR | ROB DURHAM
|  |  |  | Sample Points: | 29
Probe Radius: | 0 |  | Average Deviation: |  | 0.014355
Upper Tol: | 0.03 |  |  | Maximum Deviation: | 0.03
Lower Tol: | -0.03 |  |  | Minimum Deviation: | 0.0019
Report Output: | Deviations |  |  | Deviation Range: | 0.0281
E SIDE HOLE POSITIONS - CMM
|  |  | Std Dev: | 0.0073207
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 0.012225 | -0.002202 | -0.0044494 | 0.0264
Point 2 | 0.0073114 | 0.0029637 | -0.0026611 | 0.0166
Point 3 | 0.011957 | 0.00041361 | -0.0043521 | 0.0254
Point 4 | 0.010725 | -0.011739 | -0.0039036 | 0.0328
Point 5 | 0.00998 | -0.0012301 | -0.0036324 | 0.0214
Point 6 | 0.011678 | -0.00629 | -0.0042505 | 0.0278
Point 7 | 0.01326 | -0.0097851 | -0.0048261 | 0.0344
Point 8 | 0.012594 | -0.012197 | -0.0045838 | 0.0362
Point 9 | 0.012609 | -0.012543 | -0.0045894 | 0.0368
Point 10 | 0.012414 | -0.011889 | -0.0045184 | 0.0356
Point 11 | 0.004934 | -0.011192 | -0.0017958 | 0.0248
Point 12 | 0.013023 | -0.020236 | -0.0047401 | 0.049
Point 13 | 0.010423 | -0.028215 | -0.0037936 | 0.06
Point 14 | 0.0028825 | -0.025085 | -0.0010491 | 0.0506
Point 15 | 0.0033827 | -0.020525 | -0.0012312 | 0.0416
Point 16 | 0.022656 | -0.008203 | -0.0082463 | 0.051
Point 17 | -0.00093717 | -0.0073611 | 0.0003411 | 0.0148
Point 18 | -0.0035136 | -0.0062246 | 0.0012788 | 0.0146
Point 19 | -0.00048408 | -0.016557 | 0.00017619 | 0.0332
Point 20 | 0.0018541 | -0.0027141 | -0.00067482 | 0.0068
Point 21 | -0.0061069 | -0.019751 | 0.0022227 | 0.0416
Point 22 | -0.0079143 | -0.016945 | 0.0028806 | 0.0378
Point 23 | -0.0052103 | -0.015779 | 0.0018964 | 0.0334
Point 24 | -0.0062941 | -0.0027902 | 0.0022909 | 0.0146
Point 25 | -0.0018464 | -0.0014109 | 0.00067205 | 0.0048
Point 26 | -0.0044839 | -0.00048593 | 0.001632 | 0.0096
Point 27 | -0.0049407 | -0.0097911 | 0.0017983 | 0.0222
Point 28 | -0.0053764 | -0.010801 | 0.0019568 | 0.0244
Point 29 | 0.0016188 | 0.00089036 | -0.00058919 | 0.0038

## Nominal
JOB NUMBER | 65709-5 |  |  | DATE: | 2007-02-27 06:41
PART NUMBER | MCMF-A
PART NAME | E SIDE HOLE POSITIONS |  |  | STAMP:
INSPECTOR | ROB DURHAM
|  |  |  | Sample Points: | 29
Probe Radius: | 0 |  | Average Deviation: |  | 0.014355
Upper Tol: | 0.03 |  |  | Maximum Deviation: | 0.03
Lower Tol: | -0.03 |  |  | Minimum Deviation: | 0.0019
Report Output: | Nominal Points |  | Deviation Range: | Deviation Range: | 0.0281
E SIDE HOLE POSITIONS - CMM
|  |  | Std Dev: | 0.0073207
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 22.1167 | 42.7099 | -7.5115 | 0.0264
Point 2 | 24.7803 | 45.4444 | -8.4816 | 0.0166
Point 3 | 27.7587 | 47.7883 | -9.5662 | 0.0254
Point 4 | 30.9919 | 49.7122 | -10.7435 | 0.0328
Point 5 | 33.7742 | 50.9988 | -12.0228 | 0.0214
Point 6 | 43.1424 | 52.8531 | -15.1682 | 0.0278
Point 7 | 46.8429 | 52.6787 | -16.5158 | 0.0344
Point 8 | 50.5041 | 52.0734 | -17.8491 | 0.0362
Point 9 | 54.1011 | 51.125 | -19.1588 | 0.0368
Point 10 | 57.6281 | 49.9148 | -20.4433 | 0.0356
Point 11 | 70.282 | 43.4 | -25.0514 | 0.0248
Point 12 | 77.4594 | 37.8215 | -27.6648 | 0.049
Point 13 | 80.2154 | 35.1846 | -28.6685 | 0.06
Point 14 | 82.8155 | 32.375 | -29.6153 | 0.0506
Point 15 | 85.2476 | 29.3984 | -30.5008 | 0.0416
Point 16 | 90.6864 | 20.9514 | -32.5009 | 0.051
Point 17 | 93.561 | -21.4366 | -33.6432 | 0.0148
Point 18 | 88.3944 | -30.0667 | -31.7691 | 0.0146
Point 19 | 77.3514 | -40.4432 | -27.6252 | 0.0332
Point 20 | 72.1823 | -43.5313 | -25.7428 | 0.0068
Point 21 | 69.4987 | -44.8721 | -24.7656 | 0.0416
Point 22 | 66.0739 | -46.3805 | -23.5184 | 0.0378
Point 23 | 62.5932 | -47.7339 | -22.2507 | 0.0334
Point 24 | 48.1831 | -51.2387 | -17.0032 | 0.0146
Point 25 | 44.4792 | -51.2277 | -15.6544 | 0.0048
Point 26 | 40.8156 | -50.6556 | -14.3204 | 0.0096
Point 27 | 31.6245 | -45.7552 | -10.9735 | 0.0222
Point 28 | 29.0299 | -42.9464 | -10.0285 | 0.0244
Point 29 | 27.0349 | -39.6321 | -9.3022 | 0.0038

## Summary
Verisurf Software, Inc
1571 N. Harmony Circle
Anaheim CA 92807
714-970-1683
www.verisurf.com
Inspection Report
JOB NUMBER | 65709-5 |  | DATE: | 2007-02-27 06:41
PART NUMBER | MCMF-A
PART NAME | E SIDE HOLE POSITIONS
INSPECTOR | ROB DURHAM
E SIDE HOLE POSITIONS - CMM
29
| Neg | Nom | Pos | Total | Pct
In Tolerance: | 0 | 0 | 28 | 28 | 96.5517
Out of Tolerance: | 0 |  | 1 | 1 | 3.4483
Failed Points:
Total Points: | 0 | 0 | 29 | 29 | 100
| DX | DY | DZ | 3D
Maximum Deviation: | 0.022656 | 0.0029637 | 0.0028806 | 0.030317
Minimum Deviation: | -0.0079143 | -0.028215 | -0.0082463 | 0.0019
Deviation Range: | 0.030571 | 0.031178 | 0.011127 | 0.028417
Average Deviation: | 0.0044283 | -0.0099197 | -0.0016118 | 0.014355
RMS Deviation: | 0.0091785 | 0.012742 | 0.0033407 | 0.016055
Standard Deviation: | 0.0081819 | 0.008139 | 0.002978 | 0.0073207

## Gauss (hidden)
| 0.03 | 7 |  | total points | 29
| -0.03 | 7
-3s | -0.0076071 | 0.025705 | 0 | mean | 15 | 0.0014641 | 0.03 | -0.03 | 0.014355
| -0.0061429 | 0.04591 | 0 | stdev | 5 | 0.0014641 | 0.03 | -0.03 | 0.014355
| -0.0046788 | 0.078781 | 0 |  |  | 0.0014641 | 0.03 | -0.03 | 0.014355
| -0.0032146 | 0.12989 | 0 |  |  | 0.0014641 | 0.03 | -0.03 | 0.014355
| -0.0017505 | 0.20575 | 0 |  |  | 0.0014641 | 0.03 | -0.03 | 0.014355
-2s | -0.00028631 | 0.31315 | 0 |  |  | 0.0014641 | 0.03 | -0.03 | 0.014355
| 0.0011778 | 0.45791 | 0 |  |  | 0.0014641 | 0.03 | -0.03 | 0.014355
| 0.002642 | 0.64334 | 1 |  |  | 0.0014641 | 0.03 | -0.03 | 0.014355
| 0.0041061 | 0.86842 | 1 |  |  | 0.0014641 | 0.03 | -0.03 | 0.014355
| 0.0055703 | 1.1263 | 1 |  |  | 0.0014641 | 0.03 | -0.03 | 0.014355
| 0.0070344 | 1.4034 | 0 |  |  | 0.0014641 | 0.03 | -0.03 | 0.014355
| 0.0084986 | 1.6802 | 1 |  |  | 0.0014641 | 0.03 | -0.03 | 0.014355
| 0.0099627 | 1.9327 | 0 |  |  | 0.0014641 | 0.03 | -0.03 | 0.014355
| 0.011427 | 2.136 | 0 |  |  | 0.0014641 | 0.03 | -0.03 | 0.014355
| 0.012891 | 2.268 | 0 |  |  | 0.0014641 | 0.03 | -0.03 | 0.014355
0 | 0.014355 | 2.3139 | 3 |  |  | 0.0014641 | 0.03 | -0.03 | 0.014355
| 0.015819 | 2.268 | 1 |  |  | 0.0014641 | 0.03 | -0.03 | 0.014355
| 0.017283 | 2.136 | 0 |  |  | 0.0014641 | 0.03 | -0.03 | 0.014355
| 0.018748 | 1.9327 | 0 |  |  | 0.0014641 | 0.03 | -0.03 | 0.014355
| 0.020212 | 1.6802 | 1 |  |  | 0.0014641 | 0.03 | -0.03 | 0.014355
| 0.021676 | 1.4034 | 1 |  |  | 0.0014641 | 0.03 | -0.03 | 0.014355
| 0.02314 | 1.1263 | 1 |  |  | 0.0014641 | 0.03 | -0.03 | 0.014355
| 0.024604 | 0.86842 | 2 |  |  | 0.0014641 | 0.03 | -0.03 | 0.014355
| 0.026068 | 0.64334 | 1 |  |  | 0.0014641 | 0.03 | -0.03 | 0.014355
| 0.027533 | 0.45791 | 1 |  |  | 0.0014641 | 0.03 | -0.03 | 0.014355
2s | 0.028997 | 0.31315 | 0 |  |  | 0.0014641 | 0.03 | -0.03 | 0.014355
| 0.030461 | 0.20575 | 0 |  |  | 0.0014641 | 0.03 | -0.03 | 0.014355
| 0.031925 | 0.12989 | 2 |  |  | 0.0014641 | 0.03 | -0.03 | 0.014355
| 0.033389 | 0.078781 | 2 |  |  | 0.0014641 | 0.03 | -0.03 | 0.014355
| 0.034853 | 0.04591 | 2 |  |  | 0.0014641
3s | 0.036317 | 0.025705 | 8 |  |  | 0.0014641