## Actual
JOB NUMBER | 65709-6 |  |  | DATE: | 2007-03-23 07:21
PART NUMBER | SE141-114 |  |  |  |  | Verisurf Summary Report
PART NAME | COIL WINDING |  |  | STAMP:
INSPECTOR | EDWIN ROOT
|  |  | Total Points: |  | 13
Probe Radius: | 0 |  | Number of OOT: |  | 0
Upper Tol: | -0.125 |  | Average Deviation: |  | -0.18571
Lower Tol: | -0.25 |  | Maximum Deviation: |  | -0.17967
|  |  | Minimum Deviation: |  | -0.1984
Report Output: | Actual Points |  | Deviation Range: |  | 0.018729
[7 empty] | Neg | Nom | Pos | Total | Pct
PROFILE OF SMALL WING E SIDE | [5 empty] | In Tolerance: | 13 | 0 | 0 | 13 | 100
[6 empty] | Out of Tolerance: | 0 |  | 0 | 0 | 0
Failed Points:
[6 empty] | Total Points: | 13 | 0 | 0 | 13 | 100
[7 empty] | DX | DY | DZ | 3D
[6 empty] | Maximum Deviation: | 0.10898 | 0 | 0.074633 | -0.17967
[6 empty] | Minimum Deviation: | -0.022126 | -0.16996 | 0 | -0.1984
[6 empty] | Deviation Range: | 0.13111 | 0.16996 | 0.074633 | 0.018729
[6 empty] | Average Deviation: | 0.0336 | -0.16562 | 0.065482 | -0.18571
[6 empty] | RMS Deviation: | 0.05208 | 0.16565 | 0.066036 | 0.18577
[6 empty] | Standard Deviation: | 0.041417 | 0.0031902 | 0.0088833 | 0.0052026
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 53.4011 | 46.2825 | -20.3291 | -0.1833
Point 2 | 51.5482 | 46.6384 | -20.0037 | -0.1804
Point 3 | 49.7234 | 46.9368 | -19.6029 | -0.1822
Point 4 | 47.9289 | 47.1963 | -19.0997 | -0.1797
Point 5 | 46.1608 | 47.4096 | -18.4798 | -0.1809
Point 6 | 44.4082 | 47.5703 | -17.7487 | -0.1833
Point 7 | 42.6487 | 47.658 | -16.9353 | -0.1854
Point 8 | 40.8435 | 47.6295 | -16.1053 | -0.1866
Point 9 | 38.986 | 47.4524 | -15.3041 | -0.1856
Point 10 | 37.1567 | 47.1565 | -14.4572 | -0.187
Point 11 | 35.3753 | 46.7191 | -13.6133 | -0.1906
Point 12 | 33.6301 | 46.117 | -12.7896 | -0.1908
Point 13 | 32.0008 | 45.3565 | -11.9712 | -0.1984

## Nominal
JOB NUMBER | 65709-6 |  |  | DATE: | 2007-03-23 07:21
PART NUMBER | SE141-114
PART NAME | COIL WINDING |  |  | STAMP:
INSPECTOR | EDWIN ROOT
|  |  |  | Sample Points: | 13
Probe Radius: | 0 |  | Average Deviation: |  | -0.18571
Upper Tol: | -0.125 |  |  | Maximum Deviation: | -0.17967
Lower Tol: | -0.25 |  |  | Minimum Deviation: | -0.1984
Report Output: | Nominal Points |  | Deviation Range: | Deviation Range: | 0.018729
PROFILE OF SMALL WING E SIDE
|  |  | Std Dev: | 0.0052026
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 53.4232 | 46.4485 | -20.4038 | -0.1833
Point 2 | 51.5629 | 46.8025 | -20.0772 | -0.1804
Point 3 | 49.7307 | 47.1032 | -19.6768 | -0.1822
Point 4 | 47.928 | 47.3608 | -19.1718 | -0.1797
Point 5 | 46.1515 | 47.5756 | -18.5512 | -0.1809
Point 6 | 44.3895 | 47.7385 | -17.8191 | -0.1833
Point 7 | 42.6202 | 47.8278 | -17.0041 | -0.1854
Point 8 | 40.8046 | 47.7994 | -16.1718 | -0.1866
Point 9 | 38.9366 | 47.6198 | -15.3672 | -0.1856
Point 10 | 37.0952 | 47.3225 | -14.5173 | -0.187
Point 11 | 35.3001 | 46.8845 | -13.6707 | -0.1906
Point 12 | 33.5408 | 46.2773 | -12.8419 | -0.1908
Point 13 | 31.8918 | 45.5154 | -12.0183 | -0.1984

## Deltas
JOB NUMBER | 65709-6 |  |  | DATE: | 2007-03-23 07:21
PART NUMBER | SE141-114
PART NAME | COIL WINDING |  |  | STAMP:
INSPECTOR | EDWIN ROOT
|  |  |  | Sample Points: | 13
Probe Radius: | 0 |  | Average Deviation: |  | -0.18571
Upper Tol: | -0.125 |  |  | Maximum Deviation: | -0.17967
Lower Tol: | -0.25 |  |  | Minimum Deviation: | -0.1984
Report Output: | Deviations |  |  | Deviation Range: | 0.018729
PROFILE OF SMALL WING E SIDE
|  |  | Std Dev: | 0.0052026
ID | X | Y | Z | DEVIATION | OOT
Point 1 | -0.022126 | -0.16596 | 0.074633 | -0.1833
Point 2 | -0.014676 | -0.16411 | 0.073452 | -0.1804
Point 3 | -0.0072196 | -0.16642 | 0.073909 | -0.1822
Point 4 | 0.00092372 | -0.16455 | 0.072136 | -0.1797
Point 5 | 0.0093182 | -0.16599 | 0.071411 | -0.1809
Point 6 | 0.018709 | -0.16817 | 0.070403 | -0.1833
Point 7 | 0.028511 | -0.16977 | 0.068835 | -0.1854
Point 8 | 0.038902 | -0.16996 | 0.066479 | -0.1866
Point 9 | 0.049413 | -0.16738 | 0.063061 | -0.1856
Point 10 | 0.061482 | -0.16599 | 0.060152 | -0.187
Point 11 | 0.075289 | -0.16542 | 0.057447 | -0.1906
Point 12 | 0.089289 | -0.16033 | 0.052337 | -0.1908
Point 13 | 0.10898 | -0.15899 | 0.047011 | -0.1984

## Summary
Verisurf Software, Inc
1571 N. Harmony Circle
Anaheim CA 92807
714-970-1683
www.verisurf.com
Inspection Report
JOB NUMBER | 65709-6 |  | DATE: | 2007-03-23 07:21
PART NUMBER | SE141-114
PART NAME | COIL WINDING
INSPECTOR | EDWIN ROOT
PROFILE OF SMALL WING E SIDE
13
| Neg | Nom | Pos | Total | Pct
In Tolerance: | 13 | 0 | 0 | 13 | 100
Out of Tolerance: | 0 |  | 0 | 0 | 0
Failed Points:
Total Points: | 13 | 0 | 0 | 13 | 100
| DX | DY | DZ | 3D
Maximum Deviation: | 0.10898 | 0 | 0.074633 | -0.17967
Minimum Deviation: | -0.022126 | -0.16996 | 0 | -0.1984
Deviation Range: | 0.13111 | 0.16996 | 0.074633 | 0.018729
Average Deviation: | 0.0336 | -0.16562 | 0.065482 | -0.18571
RMS Deviation: | 0.05208 | 0.16565 | 0.066036 | 0.18577
Standard Deviation: | 0.041417 | 0.0031902 | 0.0088833 | 0.0052026

## Gauss (hidden)
| 0.25 | 1 |  | total points | 13
| -0.25 | 1
-3s | -0.20132 | 0.011523 | 0 | mean | 15 | 0.0010405 | 0.25 | -0.25 | -0.18571
| -0.20028 | 0.02058 | 0 | stdev | 5 | 0.0010405 | 0.25 | -0.25 | -0.18571
| -0.19923 | 0.035316 | 1 |  |  | 0.0010405 | 0.25 | -0.25 | -0.18571
| -0.19819 | 0.058226 | 0 |  |  | 0.0010405 | 0.25 | -0.25 | -0.18571
| -0.19715 | 0.092234 | 0 |  |  | 0.0010405 | 0.25 | -0.25 | -0.18571
-2s | -0.19611 | 0.14038 | 0 |  |  | 0.0010405 | 0.25 | -0.25 | -0.18571
| -0.19507 | 0.20527 | 0 |  |  | 0.0010405 | 0.25 | -0.25 | -0.18571
| -0.19403 | 0.28839 | 0 |  |  | 0.0010405 | 0.25 | -0.25 | -0.18571
| -0.19299 | 0.38929 | 0 |  |  | 0.0010405 | 0.25 | -0.25 | -0.18571
| -0.19195 | 0.50488 | 0 |  |  | 0.0010405 | 0.25 | -0.25 | -0.18571
| -0.19091 | 0.62912 | 2 |  |  | 0.0010405 | 0.25 | -0.25 | -0.18571
| -0.18987 | 0.7532 | 0 |  |  | 0.0010405 | 0.25 | -0.25 | -0.18571
| -0.18883 | 0.86638 | 0 |  |  | 0.0010405 | 0.25 | -0.25 | -0.18571
| -0.18779 | 0.9575 | 1 |  |  | 0.0010405
| -0.18675 | 1.0167 | 1 |  |  | 0.0010405
0 | -0.18571 | 1.0372 | 2 |  |  | 0.0010405
| -0.18467 | 1.0167 | 0 |  |  | 0.0010405
| -0.18363 | 0.9575 | 2 |  |  | 0.0010405
| -0.18259 | 0.86638 | 1 |  |  | 0.0010405
| -0.18155 | 0.7532 | 1 |  |  | 0.0010405
| -0.18051 | 0.62912 | 2 |  |  | 0.0010405
| -0.17946 | 0.50488 | 0 |  |  | 0.0010405
| -0.17842 | 0.38929 | 0 |  |  | 0.0010405
| -0.17738 | 0.28839 | 0 |  |  | 0.0010405
| -0.17634 | 0.20527 | 0 |  |  | 0.0010405
2s | -0.1753 | 0.14038 | 0 |  |  | 0.0010405
| -0.17426 | 0.092234 | 0 |  |  | 0.0010405
| -0.17322 | 0.058226 | 0 |  |  | 0.0010405
| -0.17218 | 0.035316 | 0 |  |  | 0.0010405
| -0.17114 | 0.02058 | 0 |  |  | 0.0010405
3s | -0.1701 | 0.011523 | 0 |  |  | 0.0010405