## Nominal Vector
ID | X | Y | Z | I | J | K
Point 1 | 72.5155 | 46.9938 | -26.6595 | 0.34202 | 0 | 0.93969
Point 2 | 74.6595 | 47.1613 | -27.4399 | 0.34202 | 0 | 0.93969
Point 3 | 74.3496 | 44.0836 | -27.3271 | 0.34202 | 0 | 0.93969
Point 4 | 88.3426 | 20.5118 | -32.4201 | 0.34202 | 0 | 0.93969
Point 5 | 87.7162 | 25.175 | -32.1921 | 0.34202 | 0 | 0.93969
Point 6 | 83.312 | 28.3146 | -30.5891 | 0.34202 | 0 | 0.93969
Point 7 | 81.012 | 31.1084 | -29.752 | 0.34202 | 0 | 0.93969
Point 8 | 83.7767 | 30.8862 | -30.7583 | 0.34202 | 0 | 0.93969
Point 9 | 78.4925 | 33.8263 | -28.835 | 0.34202 | 0 | 0.93969
Point 10 | 81.2606 | 33.7794 | -29.8425 | 0.34202 | 0 | 0.93969
Point 11 | 75.822 | 36.3766 | -27.863 | 0.34202 | 0 | 0.93969
Point 12 | 78.5825 | 36.5031 | -28.8677 | 0.34202 | 0 | 0.93969
Point 13 | 73.0119 | 38.751 | -26.8402 | 0.34202 | 0 | 0.93969
Point 14 | 75.7541 | 39.0494 | -27.8383 | 0.34202 | 0 | 0.93969
Point 15 | 68.8471 | 41.7855 | -25.3243 | 0.34202 | 0 | 0.93969
Point 16 | 72.1655 | 41.8392 | -26.5321 | 0.34202 | 0 | 0.93969
Point 17 | 56.7223 | 48.0231 | -20.9113 | 0.34202 | 0 | 0.93969
Point 18 | 53.3348 | 49.1917 | -19.6783 | 0.34202 | 0 | 0.93969
Point 19 | 55.608 | 50.5202 | -20.5057 | 0.34202 | 0 | 0.93969
Point 20 | 52.046 | 51.5995 | -19.2092 | 0.34202 | 0 | 0.93969
Point 21 | 49.7377 | 50.1393 | -18.3691 | 0.34202 | 0 | 0.93969
Point 22 | 48.4169 | 52.3761 | -17.8883 | 0.34202 | 0 | 0.93969
Point 23 | 46.2601 | 50.7053 | -17.1033 | 0.34202 | 0 | 0.93969
Point 24 | 44.7357 | 52.766 | -16.5485 | 0.34202 | 0 | 0.93969
Point 25 | 42.791 | 50.8553 | -15.8407 | 0.34202 | 0 | 0.93969
Point 26 | 38.2436 | 51.9259 | -14.1856 | 0.34202 | 0 | 0.93969
Point 27 | 25.7589 | 43.8732 | -9.6415 | 0.34202 | 0 | 0.93969
Point 28 | 28.5232 | 46.0696 | -10.6477 | 0.34202 | 0 | 0.93969
Point 29 | 34.4205 | 49.1739 | -12.7941 | 0.34202 | 0 | 0.93969
Point 30 | 31.5523 | 47.8873 | -11.7501 | 0.34202 | 0 | 0.93969
Point 31 | 32.1679 | 50.3555 | -11.9742 | 0.34202 | 0 | 0.93969
Point 32 | 29.1173 | 48.7503 | -10.8639 | 0.34202 | 0 | 0.93969
Point 33 | 26.0111 | 46.6166 | -9.7333 | 0.34202 | 0 | 0.93969
Point 34 | 23.2909 | 41.3144 | -8.7432 | 0.34202 | 0 | 0.93969
Point 35 | 23.1904 | 44.0776 | -8.7067 | 0.34202 | 0 | 0.93969
Point 36 | 28.4901 | -38.6005 | -10.6356 | 0.34202 | 0 | 0.93969
Point 37 | 27.7738 | -41.2892 | -10.3749 | 0.34202 | 0 | 0.93969
Point 38 | 30.2409 | -41.5891 | -11.2728 | 0.34202 | 0 | 0.93969
Point 39 | 30.0689 | -44.3508 | -11.2102 | 0.34202 | 0 | 0.93969
Point 40 | 32.3074 | -43.9901 | -12.025 | 0.34202 | 0 | 0.93969
Point 41 | 35.9625 | -48.2054 | -13.3553 | 0.34202 | 0 | 0.93969
Point 42 | 44.2281 | -49.2276 | -16.3638 | 0.34202 | 0 | 0.93969
Point 43 | 40.8667 | -48.6795 | -15.1403 | 0.34202 | 0 | 0.93969
Point 44 | 42.3903 | -50.9415 | -15.6948 | 0.34202 | 0 | 0.93969
Point 45 | 47.932 | -49.2387 | -17.7119 | 0.34202 | 0 | 0.93969
Point 46 | 46.0738 | -51.2332 | -17.0355 | 0.34202 | 0 | 0.93969
Point 47 | 68.349 | -43.0828 | -25.143 | 0.34202 | 0 | 0.93969
Point 48 | 65.0932 | -44.5164 | -23.958 | 0.34202 | 0 | 0.93969
Point 49 | 61.6116 | -45.8698 | -22.6909 | 0.34202 | 0 | 0.93969
Point 50 | 64.0772 | -47.0572 | -23.5882 | 0.34202 | 0 | 0.93969
Point 51 | 67.5302 | -45.6265 | -24.845 | 0.34202 | 0 | 0.93969

## Actual Tolerance
ID | X | Y | Z | Pos Tol | Nag Tol | DEVIATION | OOT
Point 1 | 72.5161 | 46.9938 | -26.658 | 0.01 | -0.01 | 0.0017
Point 2 | 74.66 | 47.1613 | -27.4384 | 0.01 | -0.01 | 0.0015
Point 3 | 74.3501 | 44.0836 | -27.3258 | 0.01 | -0.01 | 0.0014
Point 4 | 88.3418 | 20.5118 | -32.4222 | 0.01 | -0.01 | -0.0022
Point 5 | 87.7154 | 25.175 | -32.1943 | 0.01 | -0.01 | -0.0023
Point 6 | 83.3114 | 28.3146 | -30.5907 | 0.01 | -0.01 | -0.0017
Point 7 | 81.0116 | 31.1084 | -29.7533 | 0.01 | -0.01 | -0.0014
Point 8 | 83.7763 | 30.8862 | -30.7595 | 0.01 | -0.01 | -0.0013
Point 9 | 78.4922 | 33.8263 | -28.8356 | 0.01 | -0.01 | -0.0007
Point 10 | 81.2603 | 33.7794 | -29.8432 | 0.01 | -0.01 | -0.0007
Point 11 | 75.822 | 36.3766 | -27.8632 | 0.01 | -0.01 | -0.0002
Point 12 | 78.5825 | 36.5031 | -28.8679 | 0.01 | -0.01 | -0.0002
Point 13 | 73.0119 | 38.751 | -26.8402 | 0.01 | -0.01 | 0
Point 14 | 75.7542 | 39.0494 | -27.838 | 0.01 | -0.01 | 0.0003
Point 15 | 68.8472 | 41.7855 | -25.324 | 0.01 | -0.01 | 0.0004
Point 16 | 72.1655 | 41.8392 | -26.5321 | 0.01 | -0.01 | 0.0001
Point 17 | 56.7222 | 48.0231 | -20.9114 | 0.01 | -0.01 | -0.0002
Point 18 | 53.3346 | 49.1917 | -19.6789 | 0.01 | -0.01 | -0.0006
Point 19 | 55.6076 | 50.5202 | -20.5068 | 0.01 | -0.01 | -0.0012
Point 20 | 52.0454 | 51.5995 | -19.2108 | 0.01 | -0.01 | -0.0016
Point 21 | 49.7373 | 50.1393 | -18.3703 | 0.01 | -0.01 | -0.0012
Point 22 | 48.4162 | 52.3761 | -17.8902 | 0.01 | -0.01 | -0.002
Point 23 | 46.2596 | 50.7053 | -17.1045 | 0.01 | -0.01 | -0.0013
Point 24 | 44.7349 | 52.766 | -16.5504 | 0.01 | -0.01 | -0.0021
Point 25 | 42.7904 | 50.8553 | -15.8423 | 0.01 | -0.01 | -0.0017
Point 26 | 38.243 | 51.9259 | -14.1871 | 0.01 | -0.01 | -0.0016
Point 27 | 25.7588 | 43.8732 | -9.6416 | 0.01 | -0.01 | -0.0001
Point 28 | 28.523 | 46.0696 | -10.6483 | 0.01 | -0.01 | -0.0007
Point 29 | 34.4201 | 49.1739 | -12.7952 | 0.01 | -0.01 | -0.0012
Point 30 | 31.5519 | 47.8873 | -11.7512 | 0.01 | -0.01 | -0.0011
Point 31 | 32.1672 | 50.3555 | -11.9762 | 0.01 | -0.01 | -0.0021
Point 32 | 29.1168 | 48.7503 | -10.8652 | 0.01 | -0.01 | -0.0014
Point 33 | 26.0106 | 46.6166 | -9.7345 | 0.01 | -0.01 | -0.0013
Point 34 | 23.2911 | 41.3144 | -8.7427 | 0.01 | -0.01 | 0.0006
Point 35 | 23.1902 | 44.0776 | -8.7072 | 0.01 | -0.01 | -0.0006
Point 36 | 28.4983 | -38.6005 | -10.613 | 0.01 | -0.01 | 0.0241 | 0.0141
Point 37 | 27.7825 | -41.2892 | -10.351 | 0.01 | -0.01 | 0.0254 | 0.0154
Point 38 | 30.2493 | -41.5891 | -11.25 | 0.01 | -0.01 | 0.0244 | 0.0144
Point 39 | 30.0774 | -44.3508 | -11.187 | 0.01 | -0.01 | 0.0247 | 0.0147
Point 40 | 32.3155 | -43.9901 | -12.0027 | 0.01 | -0.01 | 0.0237 | 0.0137
Point 41 | 35.9705 | -48.2054 | -13.3335 | 0.01 | -0.01 | 0.0232 | 0.0132
Point 42 | 44.2346 | -49.2276 | -16.3459 | 0.01 | -0.01 | 0.019 | 0.009
Point 43 | 40.8736 | -48.6795 | -15.1213 | 0.01 | -0.01 | 0.0203 | 0.0103
Point 44 | 42.3971 | -50.9415 | -15.676 | 0.01 | -0.01 | 0.02 | 0.01
Point 45 | 47.9379 | -49.2387 | -17.6956 | 0.01 | -0.01 | 0.0172 | 0.0072
Point 46 | 46.0801 | -51.2332 | -17.0184 | 0.01 | -0.01 | 0.0183 | 0.0083
Point 47 | 68.3516 | -43.0828 | -25.1358 | 0.01 | -0.01 | 0.0077
Point 48 | 65.0964 | -44.5164 | -23.9492 | 0.01 | -0.01 | 0.0095
Point 49 | 61.6156 | -45.8698 | -22.6799 | 0.01 | -0.01 | 0.0117 | 0.0017
Point 50 | 64.0807 | -47.0572 | -23.5787 | 0.01 | -0.01 | 0.0101 | 0.0001
Point 51 | 67.533 | -45.6265 | -24.8373 | 0.01 | -0.01 | 0.0083

## Actual
JOB NUMBER | 65708-3 |  |  | DATE: | 2006-12-22 12:19
PART NUMBER | DATUM D SIDE |  |  |  |  | Verisurf Summary Report
PART NAME |  |  |  | STAMP:
INSPECTOR | ROB DURHAM
|  |  | Total Points: |  | 51
Probe Radius: | 0 |  | Number of OOT: |  | 13
Upper Tol: | 0.01 |  | Average Deviation: |  | 0.0051157
Lower Tol: | -0.01 |  | Maximum Deviation: |  | 0.025437
|  |  | Minimum Deviation: |  | -0.0023
Report Output: | Actual Points |  | Deviation Range: |  | 0.027737
[7 empty] | Neg | Nom | Pos | Total | Pct
DATUM D POINTS | [5 empty] | In Tolerance: | 27 | 1 | 10 | 38 | 74.5098
[6 empty] | Out of Tolerance: | 0 |  | 13 | 13 | 25.4902
Failed Points:
[6 empty] | Total Points: | 27 | 1 | 23 | 51 | 100
[7 empty] | DX | DY | DZ | 3D
[6 empty] | Maximum Deviation: | 0.0086999 | 2.1316e-14 | 0.023903 | 0.025437
[6 empty] | Minimum Deviation: | -0.00077399 | -1.4211e-14 | -0.0021265 | -0.0023
[6 empty] | Deviation Range: | 0.0094739 | 3.5527e-14 | 0.026029 | 0.027737
[6 empty] | Average Deviation: | 0.0017477 | 0 | 0.0048018 | 0.0051157
[6 empty] | RMS Deviation: | 0.0036619 | 6.6372e-15 | 0.010061 | 0.010707
[6 empty] | Standard Deviation: | 0.0032499 | 6.7032e-15 | 0.008929 | 0.0095039
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 72.5161 | 46.9938 | -26.658 | 0.0017
Point 2 | 74.66 | 47.1613 | -27.4384 | 0.0015
Point 3 | 74.3501 | 44.0836 | -27.3258 | 0.0014
Point 4 | 88.3418 | 20.5118 | -32.4222 | -0.0022
Point 5 | 87.7154 | 25.175 | -32.1943 | -0.0023
Point 6 | 83.3114 | 28.3146 | -30.5907 | -0.0017
Point 7 | 81.0116 | 31.1084 | -29.7533 | -0.0014
Point 8 | 83.7763 | 30.8862 | -30.7595 | -0.0013
Point 9 | 78.4922 | 33.8263 | -28.8356 | -0.0007
Point 10 | 81.2603 | 33.7794 | -29.8432 | -0.0007
Point 11 | 75.822 | 36.3766 | -27.8632 | -0.0002
Point 12 | 78.5825 | 36.5031 | -28.8679 | -0.0002
Point 13 | 73.0119 | 38.751 | -26.8402 | 0
Point 14 | 75.7542 | 39.0494 | -27.838 | 0.0003
Point 15 | 68.8472 | 41.7855 | -25.324 | 0.0004
Point 16 | 72.1655 | 41.8392 | -26.5321 | 0.0001
Point 17 | 56.7222 | 48.0231 | -20.9114 | -0.0002
Point 18 | 53.3346 | 49.1917 | -19.6789 | -0.0006
Point 19 | 55.6076 | 50.5202 | -20.5068 | -0.0012
Point 20 | 52.0454 | 51.5995 | -19.2108 | -0.0016
Point 21 | 49.7373 | 50.1393 | -18.3703 | -0.0012
Point 22 | 48.4162 | 52.3761 | -17.8902 | -0.002
Point 23 | 46.2596 | 50.7053 | -17.1045 | -0.0013
Point 24 | 44.7349 | 52.766 | -16.5504 | -0.0021
Point 25 | 42.7904 | 50.8553 | -15.8423 | -0.0017
Point 26 | 38.243 | 51.9259 | -14.1871 | -0.0016
Point 27 | 25.7588 | 43.8732 | -9.6416 | -0.0001
Point 28 | 28.523 | 46.0696 | -10.6483 | -0.0007
Point 29 | 34.4201 | 49.1739 | -12.7952 | -0.0012
Point 30 | 31.5519 | 47.8873 | -11.7512 | -0.0011
Point 31 | 32.1672 | 50.3555 | -11.9762 | -0.0021
Point 32 | 29.1168 | 48.7503 | -10.8652 | -0.0014
Point 33 | 26.0106 | 46.6166 | -9.7345 | -0.0013
Point 34 | 23.2911 | 41.3144 | -8.7427 | 0.0006
Point 35 | 23.1902 | 44.0776 | -8.7072 | -0.0006
Point 36 | 28.4983 | -38.6005 | -10.613 | 0.0241 | 0.0141
Point 37 | 27.7825 | -41.2892 | -10.351 | 0.0254 | 0.0154
Point 38 | 30.2493 | -41.5891 | -11.25 | 0.0244 | 0.0144
Point 39 | 30.0774 | -44.3508 | -11.187 | 0.0247 | 0.0147
Point 40 | 32.3155 | -43.9901 | -12.0027 | 0.0237 | 0.0137
Point 41 | 35.9705 | -48.2054 | -13.3335 | 0.0232 | 0.0132
Point 42 | 44.2346 | -49.2276 | -16.3459 | 0.019 | 0.009
Point 43 | 40.8736 | -48.6795 | -15.1213 | 0.0203 | 0.0103
Point 44 | 42.3971 | -50.9415 | -15.676 | 0.02 | 0.01
Point 45 | 47.9379 | -49.2387 | -17.6956 | 0.0172 | 0.0072
Point 46 | 46.0801 | -51.2332 | -17.0184 | 0.0183 | 0.0083
Point 47 | 68.3516 | -43.0828 | -25.1358 | 0.0077
Point 48 | 65.0964 | -44.5164 | -23.9492 | 0.0095
Point 49 | 61.6156 | -45.8698 | -22.6799 | 0.0117 | 0.0017
Point 50 | 64.0807 | -47.0572 | -23.5787 | 0.0101 | 0.0001
Point 51 | 67.533 | -45.6265 | -24.8373 | 0.0083

## Deltas
JOB NUMBER | 65708-3 |  |  | DATE: | 2006-12-22 12:19
PART NUMBER | DATUM D SIDE
PART NAME |  |  |  | STAMP:
INSPECTOR | ROB DURHAM
|  |  |  | Sample Points: | 51
Probe Radius: | 0 |  | Average Deviation: |  | 0.0051157
Upper Tol: | 0.01 |  |  | Maximum Deviation: | 0.025437
Lower Tol: | -0.01 |  |  | Minimum Deviation: | -0.0023
Report Output: | Deviations |  |  | Deviation Range: | 0.027737
DATUM D POINTS
|  |  | Std Dev: | 0.0095039
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 0.00056857 | 0 | 0.0015621 | 0.0017
Point 2 | 0.00052576 | -7.1054e-15 | 0.0014445 | 0.0015
Point 3 | 0.00046936 | 0 | 0.0012896 | 0.0014
Point 4 | -0.00076448 | 3.5527e-15 | -0.0021004 | -0.0022
Point 5 | -0.00077399 | 0 | -0.0021265 | -0.0023
Point 6 | -0.00058171 | -3.5527e-15 | -0.0015982 | -0.0017
Point 7 | -0.00047817 | 0 | -0.0013138 | -0.0014
Point 8 | -0.00045718 | 0 | -0.0012561 | -0.0013
Point 9 | -0.00022338 | 7.1054e-15 | -0.00061373 | -0.0007
Point 10 | -0.0002542 | 0 | -0.00069842 | -0.0007
Point 11 | -5.5401e-05 | 0 | -0.00015221 | -0.0002
Point 12 | -7.2868e-05 | -7.1054e-15 | -0.0002002 | -0.0002
Point 13 | 1.3137e-05 | 7.1054e-15 | 3.6094e-05 | 0
Point 14 | 9.3528e-05 | 7.1054e-15 | 0.00025697 | 0.0003
Point 15 | 0.00012898 | -7.1054e-15 | 0.00035437 | 0.0004
Point 16 | 2.6012e-05 | 0 | 7.1468e-05 | 0.0001
Point 17 | -6.2156e-05 | 0 | -0.00017077 | -0.0002
Point 18 | -0.00020711 | -7.1054e-15 | -0.00056903 | -0.0006
Point 19 | -0.00041284 | 0 | -0.0011343 | -0.0012
Point 20 | -0.0005616 | -7.1054e-15 | -0.001543 | -0.0016
Point 21 | -0.00042666 | 0 | -0.0011723 | -0.0012
Point 22 | -0.00067361 | 7.1054e-15 | -0.0018507 | -0.002
Point 23 | -0.00043631 | -7.1054e-15 | -0.0011987 | -0.0013
Point 24 | -0.00070215 | 7.1054e-15 | -0.0019291 | -0.0021
Point 25 | -0.00058613 | -7.1054e-15 | -0.0016104 | -0.0017
Point 26 | -0.00056144 | 0 | -0.0015425 | -0.0016
Point 27 | -4.5661e-05 | -7.1054e-15 | -0.00012545 | -0.0001
Point 28 | -0.00022589 | -7.1054e-15 | -0.00062062 | -0.0007
Point 29 | -0.00040112 | 7.1054e-15 | -0.0011021 | -0.0012
Point 30 | -0.00036911 | 7.1054e-15 | -0.0010141 | -0.0011
Point 31 | -0.00072637 | 1.4211e-14 | -0.0019957 | -0.0021
Point 32 | -0.00049002 | 0 | -0.0013463 | -0.0014
Point 33 | -0.00045677 | 2.1316e-14 | -0.001255 | -0.0013
Point 34 | 0.00020421 | 0 | 0.00056107 | 0.0006
Point 35 | -0.0002074 | 7.1054e-15 | -0.00056983 | -0.0006
Point 36 | 0.0082319 | 7.1054e-15 | 0.022617 | 0.0241 | 0.0141
Point 37 | 0.0086999 | 0 | 0.023903 | 0.0254 | 0.0154
Point 38 | 0.0083335 | 7.1054e-15 | 0.022896 | 0.0244 | 0.0144
Point 39 | 0.0084454 | -7.1054e-15 | 0.023204 | 0.0247 | 0.0147
Point 40 | 0.008094 | -7.1054e-15 | 0.022238 | 0.0237 | 0.0137
Point 41 | 0.0079384 | 0 | 0.021811 | 0.0232 | 0.0132
Point 42 | 0.0064959 | 0 | 0.017847 | 0.019 | 0.009
Point 43 | 0.0069291 | -7.1054e-15 | 0.019037 | 0.0203 | 0.0103
Point 44 | 0.0068394 | -7.1054e-15 | 0.018791 | 0.02 | 0.01
Point 45 | 0.0058998 | -7.1054e-15 | 0.016209 | 0.0172 | 0.0072
Point 46 | 0.0062547 | 7.1054e-15 | 0.017185 | 0.0183 | 0.0083
Point 47 | 0.0026332 | 7.1054e-15 | 0.0072346 | 0.0077
Point 48 | 0.0032323 | 0 | 0.0088806 | 0.0095
Point 49 | 0.0039881 | -7.1054e-15 | 0.010957 | 0.0117 | 0.0017
Point 50 | 0.0034712 | -1.4211e-14 | 0.009537 | 0.0101 | 0.0001
Point 51 | 0.0028315 | 0 | 0.0077795 | 0.0083

## Nominal
JOB NUMBER | 65708-3 |  |  | DATE: | 2006-12-22 12:19
PART NUMBER | DATUM D SIDE
PART NAME |  |  |  | STAMP:
INSPECTOR | ROB DURHAM
|  |  |  | Sample Points: | 51
Probe Radius: | 0 |  | Average Deviation: |  | 0.0051157
Upper Tol: | 0.01 |  |  | Maximum Deviation: | 0.025437
Lower Tol: | -0.01 |  |  | Minimum Deviation: | -0.0023
Report Output: | Nominal Points |  | Deviation Range: | Deviation Range: | 0.027737
DATUM D POINTS
|  |  | Std Dev: | 0.0095039
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 72.5155 | 46.9938 | -26.6595 | 0.0017
Point 2 | 74.6595 | 47.1613 | -27.4399 | 0.0015
Point 3 | 74.3496 | 44.0836 | -27.3271 | 0.0014
Point 4 | 88.3426 | 20.5118 | -32.4201 | -0.0022
Point 5 | 87.7162 | 25.175 | -32.1921 | -0.0023
Point 6 | 83.312 | 28.3146 | -30.5891 | -0.0017
Point 7 | 81.012 | 31.1084 | -29.752 | -0.0014
Point 8 | 83.7767 | 30.8862 | -30.7583 | -0.0013
Point 9 | 78.4925 | 33.8263 | -28.835 | -0.0007
Point 10 | 81.2606 | 33.7794 | -29.8425 | -0.0007
Point 11 | 75.822 | 36.3766 | -27.863 | -0.0002
Point 12 | 78.5825 | 36.5031 | -28.8677 | -0.0002
Point 13 | 73.0119 | 38.751 | -26.8402 | 0
Point 14 | 75.7541 | 39.0494 | -27.8383 | 0.0003
Point 15 | 68.8471 | 41.7855 | -25.3243 | 0.0004
Point 16 | 72.1655 | 41.8392 | -26.5321 | 0.0001
Point 17 | 56.7223 | 48.0231 | -20.9113 | -0.0002
Point 18 | 53.3348 | 49.1917 | -19.6783 | -0.0006
Point 19 | 55.608 | 50.5202 | -20.5057 | -0.0012
Point 20 | 52.046 | 51.5995 | -19.2092 | -0.0016
Point 21 | 49.7377 | 50.1393 | -18.3691 | -0.0012
Point 22 | 48.4169 | 52.3761 | -17.8883 | -0.002
Point 23 | 46.2601 | 50.7053 | -17.1033 | -0.0013
Point 24 | 44.7357 | 52.766 | -16.5485 | -0.0021
Point 25 | 42.791 | 50.8553 | -15.8407 | -0.0017
Point 26 | 38.2436 | 51.9259 | -14.1856 | -0.0016
Point 27 | 25.7589 | 43.8732 | -9.6415 | -0.0001
Point 28 | 28.5232 | 46.0696 | -10.6477 | -0.0007
Point 29 | 34.4205 | 49.1739 | -12.7941 | -0.0012
Point 30 | 31.5523 | 47.8873 | -11.7501 | -0.0011
Point 31 | 32.1679 | 50.3555 | -11.9742 | -0.0021
Point 32 | 29.1173 | 48.7503 | -10.8639 | -0.0014
Point 33 | 26.0111 | 46.6166 | -9.7333 | -0.0013
Point 34 | 23.2909 | 41.3144 | -8.7432 | 0.0006
Point 35 | 23.1904 | 44.0776 | -8.7067 | -0.0006
Point 36 | 28.4901 | -38.6005 | -10.6356 | 0.0241 | 0.0141
Point 37 | 27.7738 | -41.2892 | -10.3749 | 0.0254 | 0.0154
Point 38 | 30.2409 | -41.5891 | -11.2728 | 0.0244 | 0.0144
Point 39 | 30.0689 | -44.3508 | -11.2102 | 0.0247 | 0.0147
Point 40 | 32.3074 | -43.9901 | -12.025 | 0.0237 | 0.0137
Point 41 | 35.9625 | -48.2054 | -13.3553 | 0.0232 | 0.0132
Point 42 | 44.2281 | -49.2276 | -16.3638 | 0.019 | 0.009
Point 43 | 40.8667 | -48.6795 | -15.1403 | 0.0203 | 0.0103
Point 44 | 42.3903 | -50.9415 | -15.6948 | 0.02 | 0.01
Point 45 | 47.932 | -49.2387 | -17.7119 | 0.0172 | 0.0072
Point 46 | 46.0738 | -51.2332 | -17.0355 | 0.0183 | 0.0083
Point 47 | 68.349 | -43.0828 | -25.143 | 0.0077
Point 48 | 65.0932 | -44.5164 | -23.958 | 0.0095
Point 49 | 61.6116 | -45.8698 | -22.6909 | 0.0117 | 0.0017
Point 50 | 64.0772 | -47.0572 | -23.5882 | 0.0101 | 0.0001
Point 51 | 67.5302 | -45.6265 | -24.845 | 0.0083

## Summary
Verisurf Software, Inc
1571 N. Harmony Circle
Anaheim CA 92807
714-970-1683
www.verisurf.com
Inspection Report
JOB NUMBER | 65708-3 |  | DATE: | 2006-12-22 12:19
PART NUMBER | DATUM D SIDE
PART NAME
INSPECTOR | ROB DURHAM
DATUM D POINTS
51
| Neg | Nom | Pos | Total | Pct
In Tolerance: | 27 | 1 | 10 | 38 | 74.5098
Out of Tolerance: | 0 |  | 13 | 13 | 25.4902
Failed Points:
Total Points: | 27 | 1 | 23 | 51 | 100
| DX | DY | DZ | 3D
Maximum Deviation: | 0.0086999 | 2.1316e-14 | 0.023903 | 0.025437
Minimum Deviation: | -0.00077399 | -1.4211e-14 | -0.0021265 | -0.0023
Deviation Range: | 0.0094739 | 3.5527e-14 | 0.026029 | 0.027737
Average Deviation: | 0.0017477 | 0 | 0.0048018 | 0.0051157
RMS Deviation: | 0.0036619 | 6.6372e-15 | 0.010061 | 0.010707
Standard Deviation: | 0.0032499 | 6.7032e-15 | 0.008929 | 0.0095039

## Gauss (hidden)
| 0.01 | 22 |  | total points | 51
| -0.01 | 22
-3s | -0.023396 | 0.045205 | 0 | mean | 15 | 0.0019008 | 0.01 | -0.01 | 0.0051157
| -0.021495 | 0.080738 | 0 | stdev | 5 | 0.0019008 | 0.01 | -0.01 | 0.0051157
| -0.019595 | 0.13855 | 0 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
| -0.017694 | 0.22842 | 0 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
| -0.015793 | 0.36184 | 0 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
-2s | -0.013892 | 0.55071 | 0 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
| -0.011991 | 0.80529 | 0 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
| -0.010091 | 1.1314 | 0 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
| -0.0081898 | 1.5272 | 0 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
| -0.006289 | 1.9807 | 0 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
| -0.0043882 | 2.4681 | 0 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
| -0.0024875 | 2.9549 | 23 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
| -0.00058667 | 3.3989 | 9 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
| 0.0013141 | 3.7564 | 3 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
| 0.0032149 | 3.9886 | 0 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
0 | 0.0051157 | 4.0692 | 0 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
| 0.0070165 | 3.9886 | 2 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
| 0.0089173 | 3.7564 | 2 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
| 0.010818 | 3.3989 | 1 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
| 0.012719 | 2.9549 | 0 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
| 0.01462 | 2.4681 | 0 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
| 0.01652 | 1.9807 | 2 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
| 0.018421 | 1.5272 | 3 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
| 0.020322 | 1.1314 | 0 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
| 0.022223 | 0.80529 | 3 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
2s | 0.024124 | 0.55071 | 3 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
| 0.026024 | 0.36184 | 0 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
| 0.027925 | 0.22842 | 0 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
| 0.029826 | 0.13855 | 0 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
| 0.031727 | 0.080738 | 0 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
3s | 0.033627 | 0.045205 | 0 |  |  | 0.0019008 | 0.01 | -0.01 | 0.0051157
[7 empty] | 0.01 | -0.01 | 0.0051157
[7 empty] | 0.01 | -0.01 | 0.0051157
[7 empty] | 0.01 | -0.01 | 0.0051157
[7 empty] | 0.01 | -0.01 | 0.0051157
[7 empty] | 0.01 | -0.01 | 0.0051157
[7 empty] | 0.01 | -0.01 | 0.0051157
[7 empty] | 0.01 | -0.01 | 0.0051157
[7 empty] | 0.01 | -0.01 | 0.0051157
[7 empty] | 0.01 | -0.01 | 0.0051157
[7 empty] | 0.01 | -0.01 | 0.0051157
[7 empty] | 0.01 | -0.01 | 0.0051157
[7 empty] | 0.01 | -0.01 | 0.0051157
[7 empty] | 0.01 | -0.01 | 0.0051157
[7 empty] | 0.01 | -0.01 | 0.0051157
[7 empty] | 0.01 | -0.01 | 0.0051157
[7 empty] | 0.01 | -0.01 | 0.0051157
[7 empty] | 0.01 | -0.01 | 0.0051157
[7 empty] | 0.01 | -0.01 | 0.0051157
[7 empty] | 0.01 | -0.01 | 0.0051157
[7 empty] | 0.01 | -0.01 | 0.0051157