## Nominal Vector
ID | X | Y | Z | I | J | K
Point 1 | 28.7611 | -40.04 | -10.9157 | 0.72584 | -0.63511 | -0.26418
Point 2 | 47.0154 | -48.68 | -17.689 | 0.93634 | -0.08435 | -0.3408
Point 3 | 63.8903 | -44.3 | -23.9247 | 0.92236 | 0.19117 | -0.33571
Point 4 | 74.2101 | -39.31 | -27.7332 | 0.93757 | 0.067104 | -0.34125
Point 5 | 85.5925 | -29.3496 | -31.9247 | 0.66259 | 0.70909 | -0.24116
Point 6 | 91.1225 | -20.92 | -33.9537 | 0.61772 | -0.75357 | -0.22483
Point 7 | 87.4374 | 22.2898 | -32.5003 | 0.43712 | -0.88522 | -0.1591
Point 8 | 69.9399 | 40.68 | -25.9869 | 0.098158 | -0.99453 | -0.035728
Point 9 | 57.1801 | 47.5 | -21.2509 | 0.71606 | -0.64756 | -0.26063
Point 10 | 24.2864 | 42.6999 | -9.0881 | 0.40952 | -0.90004 | -0.14906

## Actual Tolerance
ID | X | Y | Z | Pos Tol | Nag Tol | DEVIATION | OOT
Point 1 | 28.7673 | -40.0454 | -10.918 | 0.03 | -0.03 | 0.017
Point 2 | 47.0224 | -48.6806 | -17.6915 | 0.03 | -0.03 | 0.015
Point 3 | 63.9014 | -44.2977 | -23.9287 | 0.03 | -0.03 | 0.024
Point 4 | 74.2157 | -39.3096 | -27.7352 | 0.03 | -0.03 | 0.012
Point 5 | 85.5964 | -29.3455 | -31.9261 | 0.03 | -0.03 | 0.0116
Point 6 | 91.1335 | -20.9334 | -33.9577 | 0.03 | -0.03 | 0.0356
Point 7 | 87.4439 | 22.2765 | -32.5027 | 0.03 | -0.03 | 0.03
Point 8 | 69.9408 | 40.6705 | -25.9872 | 0.03 | -0.03 | 0.0192
Point 9 | 57.187 | 47.4938 | -21.2534 | 0.03 | -0.03 | 0.0192
Point 10 | 24.29 | 42.6921 | -9.0894 | 0.03 | -0.03 | 0.0174

## Actual
JOB NUMBER | 65708-5 |  |  | DATE: | 2007-02-10 06:30
PART NUMBER | SE141-115 |  |  |  |  | Verisurf Summary Report
PART NAME | D SIDE WING |  |  | STAMP:
INSPECTOR | EDWIN ROOT
|  |  | Total Points: |  | 10
Probe Radius: | 1e-08 |  | Number of OOT: |  | 0
Upper Tol: | 0.03 |  | Average Deviation: |  | 0.01005
Lower Tol: | -0.03 |  | Maximum Deviation: |  | 0.0178
|  |  | Minimum Deviation: |  | 0.0058
Report Output: | Actual Points |  | Deviation Range: |  | 0.012
[7 empty] | Neg | Nom | Pos | Total | Pct
HOLE POSITIONS 1/4-20 D SIDE | [5 empty] | In Tolerance: | 0 | 0 | 10 | 10 | 100
[6 empty] | Out of Tolerance: | 0 |  | 0 | 0 | 0
Failed Points:
[6 empty] | Total Points: | 0 | 0 | 10 | 10 | 100
[7 empty] | DX | DY | DZ | 3D
[6 empty] | Maximum Deviation: | 0.01106 | 0.0041332 | 0 | 0.0178
[6 empty] | Minimum Deviation: | 0 | -0.013406 | -0.0040254 | 0.0058
[6 empty] | Deviation Range: | 0.01106 | 0.017539 | 0.0040254 | 0.012
[6 empty] | Average Deviation: | 0.0062556 | -0.0049397 | -0.0022768 | 0.01005
[6 empty] | RMS Deviation: | 0.0069249 | 0.0077297 | 0.0025205 | 0.01068
[6 empty] | Standard Deviation: | 0.0031308 | 0.006267 | 0.0011395 | 0.0038581
ID | X | Y | Z | True Position | OOT
Point 1 | 28.7673 | -40.0454 | -10.918 | 0.017
Point 2 | 47.0224 | -48.6806 | -17.6915 | 0.015
Point 3 | 63.9014 | -44.2977 | -23.9287 | 0.024
Point 4 | 74.2157 | -39.3096 | -27.7352 | 0.012
Point 5 | 85.5964 | -29.3455 | -31.9261 | 0.0116
Point 6 | 91.1335 | -20.9334 | -33.9577 | 0.0356
Point 7 | 87.4439 | 22.2765 | -32.5027 | 0.03
Point 8 | 69.9408 | 40.6705 | -25.9872 | 0.0192
Point 9 | 57.187 | 47.4938 | -21.2534 | 0.0192
Point 10 | 24.29 | 42.6921 | -9.0894 | 0.0174

## Summary
Verisurf Software, Inc
1571 N. Harmony Circle
Anaheim CA 92807
714-970-1683
www.verisurf.com
Inspection Report
JOB NUMBER | 65708-5 |  | DATE: | 2007-02-10 06:30
PART NUMBER | SE141-115
PART NAME | D SIDE WING
INSPECTOR | EDWIN ROOT
HOLE POSITIONS 1/4-20 D SIDE
10
| Neg | Nom | Pos | Total | Pct
In Tolerance: | 0 | 0 | 10 | 10 | 100
Out of Tolerance: | 0 |  | 0 | 0 | 0
Failed Points:
Total Points: | 0 | 0 | 10 | 10 | 100
| DX | DY | DZ | 3D
Maximum Deviation: | 0.01106 | 0.0041332 | 0 | 0.0178
Minimum Deviation: | 0 | -0.013406 | -0.0040254 | 0.0058
Deviation Range: | 0.01106 | 0.017539 | 0.0040254 | 0.012
Average Deviation: | 0.0062556 | -0.0049397 | -0.0022768 | 0.01005
RMS Deviation: | 0.0069249 | 0.0077297 | 0.0025205 | 0.01068
Standard Deviation: | 0.0031308 | 0.006267 | 0.0011395 | 0.0038581

## Gauss (hidden)
| 0.03 | 2 |  | total points | 10
| -0.03 | 2
-3s | -0.0015243 | 0.0088637 | 0 | mean | 15 | 0.00077162 | 0.03 | -0.03 | 0.01005
| -0.0007527 | 0.015831 | 0 | stdev | 5 | 0.00077162 | 0.03 | -0.03 | 0.01005
| 1.8918e-05 | 0.027166 | 0 |  |  | 0.00077162 | 0.03 | -0.03 | 0.01005
| 0.00079054 | 0.044789 | 0 |  |  | 0.00077162 | 0.03 | -0.03 | 0.01005
| 0.0015622 | 0.070949 | 0 |  |  | 0.00077162 | 0.03 | -0.03 | 0.01005
-2s | 0.0023338 | 0.10798 | 0 |  |  | 0.00077162 | 0.03 | -0.03 | 0.01005
| 0.0031054 | 0.1579 | 0 |  |  | 0.00077162 | 0.03 | -0.03 | 0.01005
| 0.003877 | 0.22184 | 0 |  |  | 0.00077162 | 0.03 | -0.03 | 0.01005
| 0.0046486 | 0.29945 | 0 |  |  | 0.00077162 | 0.03 | -0.03 | 0.01005
| 0.0054203 | 0.38837 | 0 |  |  | 0.00077162 | 0.03 | -0.03 | 0.01005
| 0.0061919 | 0.48394 | 0 |  |  | 0.00077162
| 0.0069635 | 0.57938 | 0 |  |  | 0.00077162
| 0.0077351 | 0.66645 | 0 |  |  | 0.00077162
| 0.0085068 | 0.73654 | 0 |  |  | 0.00077162
| 0.0092784 | 0.78209 | 0 |  |  | 0.00077162
0 | 0.01005 | 0.79788 | 0 |  |  | 0.00077162
| 0.010822 | 0.78209 | 0 |  |  | 0.00077162
| 0.011593 | 0.73654 | 2 |  |  | 0.00077162
| 0.012365 | 0.66645 | 0 |  |  | 0.00077162
| 0.013136 | 0.57938 | 0 |  |  | 0.00077162
| 0.013908 | 0.48394 | 0 |  |  | 0.00077162
| 0.01468 | 0.38837 | 1 |  |  | 0.00077162
| 0.015451 | 0.29945 | 0 |  |  | 0.00077162
| 0.016223 | 0.22184 | 0 |  |  | 0.00077162
| 0.016995 | 0.1579 | 2 |  |  | 0.00077162
2s | 0.017766 | 0.10798 | 0 |  |  | 0.00077162
| 0.018538 | 0.070949 | 2 |  |  | 0.00077162
| 0.019309 | 0.044789 | 0 |  |  | 0.00077162
| 0.020081 | 0.027166 | 0 |  |  | 0.00077162
| 0.020853 | 0.015831 | 0 |  |  | 0.00077162
3s | 0.021624 | 0.0088637 | 3 |  |  | 0.00077162