TO:   		Larry Dudek

FROM:  	Erik D. Perry

SUBJECT:	NCSX WBS 8215,  Plant Design (General Arrangement Drawings)

Date:  October 6, 2008

# Scope

This job covers the allocation of space within the NCSX Facility which includes the Test Cell and adjacent areas.  Included is the development of models and drawings to define the routing and location of equipment in the Test Cell.  Updated drawings of the NCSX Test Cell should be distributed to all NCSX WBS managers on a monthly basis when designs are actively being worked on.

Status

The location of columns and stairs for the machine platform has been added to the general model of the facility.  In addition, extensive input on the location of racks and cable trays has been collected from the lead electrical designer and the electrical field engineer.  This information is ready to be added to the model.  For several other systems (vacuum, cryogenic, neutral beam), general requests for real estate allocations have been collected and should be added to the model in a preliminary fashion so comments from all WBS managers can be requested.

Interfaces

Interfaces are shown on the models.

Specifications

N/A

Schematics and PIDs

N/A

Models

This scope is included in the main model of the General Arrangement of the NCSX Facility.

Drawings

Drawings for sign-off have not yet been developed.

Analyses

N/A

Testing

N/A

Costs

This is a Level of Effort activity.  The existing cost estimates are still valid.

Remaining Work

Only a small amount of the work of developing General Arrangement drawings has been done.  Extensive input on the location of racks and cable trays has been collected from the lead electrical designer and the electrical field engineer and this information is ready to be added to the model.  For several other systems (vacuum, cryogenic, neutral beam), general requests for real estate allocations have been collected and should be added to the model in a preliminary fashion so comments from all WBS managers can be requested.

Once this has been done, and all comments have been resolved, formal General Arrangement drawings should be issued and all future requests for real estate should be approved and incorporated on the General Arrangement drawing before design work on that aspect of a particular system continues.

Lessons Learned:

None

Conclusion:

This work has only just been started.