| Availability & EPICS Support | Compact PCI | VME | PCI | Ethernet device | Fieldbus (ControlNET, CANbus, CANopen, etc...) |
| --- | --- | --- | --- | --- | --- |
| High-speed Digitizer (5 MHz) | ( | (( | ( |  |  |
| Med-speed Digitizer (100 KHz) | ( | (( | ( |  |  |
| Low-speed Digitizer (10 KHz) | ( | (( | ( |  |  |
| Scanning Analog Input | ( | (( | ( | ( | (( |
| Analog Output | ( | (( | ( | ( | (( |
| Digital Input Digital Output | ( | (( | ( | ( | (( |
| Prog. Timed Gate | ( | (( | ( | ( | ( |

(= Product currently available

((= EPICS support currently available

| Cost | CompactPCI | VME | PCI | Ethernet (Sixnet) | Fieldbus (G3/ControlNET) |
| --- | --- | --- | --- | --- | --- |
| 4 SSH chans High-speed Digtzer (>5 MHz) | 2,800(b) | 4,400 | 1,300 |  |  |
| 16 SSH chans Med-speed Digtzer(100 KHz) | 3,000 (a) | 6,000 |  |  |  |
| 16 SSH chans Low-speed Digtzer(10 KHz) |  | 4,000 | 450 |  |  |
| 16 chans Scanning A/D | 450 | 500 | 400 | 800 | 1,600 |
| 8 chans Analog Output | 900 | 1,000 | 900 | 1,600 | 700 |
| 16 bits Digital Input | 600 | 750 | 90 | 450 | 500 |
| 8 bits Digital Output | 300 | 500 | 400 | 250 | 100 |
| 8 chans Prog. Timed Gate | 800 | 1,600 | 500 | 600 | 500 |

Notes:

1) Costs are in $US and only a representative figure.  The cost excludes the supporting equipment, such as comm link interface, local processor, chassis, and power supply (supporting equipment listed separately).

2) Cost of communication cabling is excluded.

3) Cost of operating system and software and licenses are excluded.

a) $2,995:Alphi Technology CPCI-AD8 opt-8:Dec2000,

$3,295:General Stds CPCI-ADADIO:Dec2000.

b) ~$2,800:Chase Scientific AD410-14-256K-CPCI:Dec2000.

| System Overhead | CompactPCI | VME | PCI | Ethernet | Fieldbus (G3/ControlNET) |
| --- | --- | --- | --- | --- | --- |
| Local CPU | 1,000 | 1,000 | 1,000 |  | 1,060 |
| Chassis | 1,500 (8 slots) | 2,000 (12 slots) |  |  | 130 (4 slots) |
| Power Supply | 300 | 400 |  | 100 | 180 |
| Other |  |  |  |  | Loop Driver = $1,000/10 Loop i/f =$220 |
| Total Overhead | 2,300 | 3,400 | 1,000 | 100 | 1,700 |

Notes:

- Costs are in $US and only a representative figure.

- Cost of communication cabling is excluded.

- Cost of operating system and software and licenses are excluded.