# PART I - DESCRIPTION

| WBS Number: 53 | Title: NCSX Data Acquisition and Facility Computing |
| --- | --- |
| Originator: G. E. Oliaro |
| Description General Description of Work to be Performed: The design will use the existing MIT developed MDSplus software for data acquisition, data archiving and display. Individual diagnostic local control and data acquisition hardware will be designed with standard PC architecture or in Compact PCI chassis. 20 diagnostic operator interface units will be configured and deployed for day 1 operations. Approximately 10 PC’s/CPCI units with I/O channels as specified by WBS3 will be purchased and deployed for day 1 operations. Legacy CAMAC will not be used in the design of the NCSX DAS. An additional facility compute server/cluster, tape library expandable to 0.5PB-1.0PB, and disk storage area network (RAID 5) will be deployed for the data acquisition system. A standard Computer Interface Specification will be designed for use at PPPL and for remote collaborators. The standard will be composed of a set of interfaces specifications to MDSplus, Timing Systems, Inter-process Communications (IPCS), and networking which when used, will insure a smooth integration of diagnostics into the DAS. For example, the MDSplus specification will include interface specifications for Labview VIs, IDL functions, Visual Basic DLLs, COM objects, VC++ DLLs, Java, Fortran and EPICS. Description of Existing Equipment/Facilities to be Reused: The Data Acquisition System will make use of existing PPPL compute and data storage resources as much as possible. Additional capacity will be added to meet NCSX requirements. Description of Major Modifications Required to Existing Equipment/Facilities: No modifications to existing Lab facilities will be required for the design of the NCSX DAS. |