# PART I - DESCRIPTION

| WBS Number: 54 | Title: NCSX Facility Timing and Synchronization |
| --- | --- |
| Originator: G. E. Oliaro |
| Description General Description of Work to be Performed: A new timing and synchronization technology is required for NCSX. The CAMAC based TFTR Timing System was developed in the late 70’s. Typical resolution was 1ms for periods over 1 second. A requirement to use off-the-shelf or existing solutions for NCSX is highly desirable. A VME based system from BNL used on the Relativistic Heavy Ion Collider (RHIC) is being investigated. This system is being modified for use on the Spallation Neutron Source (SNS) at ORNL and will provide the basis for the NCSX design. Specifications: *Timing stability and jitter under 5-10ns * Timing granularity of 1us * Overall accuracy +/- 1us with contention * 256 event triggers * fiber optic broadcast transmission This activity will provide the engineering to convert the existing SNS V102 timing modules to CPCI and PCI formats. Additional manpower to write software drivers will also be provided. Description of Existing Equipment/Facilities to be Reused: No existing equipment will be used. Description of Major Modifications Required to Existing Equipment/Facilities: No modifications to existing equipment will be required. |