Leica has a new controller that will run AXYZ and Emscon both. You will need

to contact them in regards to price. If you have ADM, then I believe that

you will be able to utilize it through Emscon and the VDI.

Verisurf Support, please correct me I am wrong on this.

Tim Martinez

-----Original Message-----

From: Michael J. Duco [mailto:mduco@pppl.gov]

Sent: Monday, August 21, 2006 4:22 AM

To: Tim Martinez

Subject: RE: update to Emscon questions

Hi Tim,

We do have ADM but are unable to control our LTD500 using Verisurf software

alone because of the NetBIOS interface(We were told). We must run The Leica

AXYZ in the background to control the tracker and the Verisurf to take and

process data only.Verisurf would not communicate with the tracker properly

using the NetBIOS interface, It will pick up the beam initially but when the

beam is lost AXYZ must be used to relocate the beam and the Verisurf VDI

must

be reset before it will become usable again.

Mike

-----Original Message-----

From: Tim Martinez [mailto:tim@verisurf.com]

Sent: Friday, August 18, 2006 6:54 PM

To: 'James Coy'; Michael J. Duco; support@verisurf.net

Cc: Michael E. Viola; John W. Edwards

Subject: RE: update to emscon questions

Mike,

A little confusion here. If you have an LTD500, then you already have ADM

capability.  Are you sure you don't have an LT500. If so, then getting

Emscon will not give ADM. That is a hardware issue. Please consult with

Leica regarding that.

Regards,

Timothy A. Martinez

Applications Engineer

tim@verisurf.com

714.701.1460 ext. 25

www.verisurf.com

-----Original Message-----

From: James Coy [mailto:jcoy@verisurf.com]

Sent: Friday, August 18, 2006 10:34 AM

To: 'Michael J. Duco'; support@verisurf.net

Cc: 'Michael E. Viola'; 'John W. Edwards'

Subject: RE: update to emscon questions

Mike,

I was finally able to get the info from our VDI guy. When he picks

up the sphere after beam break the tracker is using ADM or Absolute Distance

Measurement. Going to Emscon will not give you ADM capability. Emscon does

however provide a smoother connect for Verisurf and then you would not have

to use AXYZ.

Your ADM questions should be given to your Leica dealer. Verisurf

just handles the point data.

James Coy

Applications Engineer

(714) 970-1683 x24

jcoy@verisurf.com

www.verisurf.com

-----Original Message-----

From: Michael J. Duco [mailto:mduco@pppl.gov]

Sent: Friday, August 18, 2006 8:26 AM

To: support@verisurf.net

Cc: Michael E. Viola; John W. Edwards; Michael J. Duco

Subject: update to emscon questions

Hello,

We currently have a Leica LTD500 with a NetBIOS interface and are currently

using Versurf Design inspection software but we have to run Leica AXYZ in

the background to operate the tracker. I am told that the Emscon interface

is superior to netbeui and want to know what performance enhancements I can

expect from verisurf. What does Emscon do that Netbeui doesn't? will it

allow us to pick up the beam when it is lost without having to return to

birdbath or measured point etc.? I have been unable to locate any info on

the how the Verisurf tracker control functions using emscon. Does it support

Leica Video reflector find? Calibration? Etc?

Thank you, Mike Duco

Michael J. Duco

Neutral Beam Cryogenics

Princeton University, Plasm Physics Laboratory Forrestal Campus, U.S. Route

#1 North at Sayre Drive P. O. Box 451 Princeton, N. J. 08543

Tel:    609-243-3787