| Ascione, G. | No response | N/A |
| --- | --- | --- |
| Bavlish, J. | No comments | N/A |
| Jeanes, R. | No response | N/A |
| Levine, J. | Sections 1.2 & 4.4: Change “Radiation Controlled Area” to “Radiologically Controlled Area”. | Concur will be changed JHC 8/5/04 |
| Pueyo, M. | No response | N/A |
| Shoe, R. | No response |  |
| Slavin, W. | No comments | N/A |
| Murphy-LaMarche, S. | No response | N/A |
| Hosea, J. | No response | N/A |
| Ono, M. | No response | N/A |
| Lacenere, J. | My comments to the AC Power section 3.5 Grounding through section 3.6 Emergency Planning: 3.5 Grounding, should exclude reference to ‘dead front’ operations. Dead front means that there are no exposed electrical conductors accessible to the operator during normal conditions and has nothing to do with how something is grounded. The 3.5 paragraph should read: “As stated above, all electrical installations shall be done in accordance with the NEC latest edition. In addition to the VPI steel platforms, the autoclave and any operating panels shall be bonded to building steel for equipment grounding.” In paragraph 3.6.1, the second word “is” should be changed to “are”. | Concur will add changes JHC 8/5/04 |
| Perry, E. | No response | N/A |
| Lumia, M. | No response | N/A |
| Borusovic, R. | No response | N/A |
| Williams, M. | No comments. | N/A |
| Dietrich, L. | In sections 1.2 and 4.4, RCA should be "Radiologically Controlled Area" not "Radiation Controlled Area". | Concur will be changed JHC 8/5/04 |
| Pitonak, G. | No response | N/A |