- Leybold-Heraeus TMP 1500 turbo pump ns 1183-37-0050 with inlet screen with o-ring and with approx. 180 cc of HE-500 turbo oil in separate container, manual

- Leybold-Heraeus NT 1000/1500 turbo converter SN 40-0-114 P20407 w/ turbo connecting cable, manual

- MKS 290 Ion Gauge Controller SN 29719-2-1H, P19437 
w/ AC cord, 3 meter IG cable, IG 5 nude ion gauge, manual

- VAT ISO 250 high vacuum gate valve SN S20635 w/ limit switch status cable (note: this valve uses metric threaded ISO hardware 10mm 1.5 mm)

- Dycor Residual Gas Analyzer

  - power supply SN 10101, P20035

  - monitor M100M SN 10102

  - sensor M106M with 2 AC cords, sensor cable, power

  - supply to monitor cable, manual

- 2 Granville Philips Convectron controllers, 
w/2 sensors w/KF 16 flanges, cables, manual

- one PPPL built roughing pump and blower skid containing:

  - Kinney KMBD booster pump (400 cfm)

  - KTC 21 mechanical pump (21 cfm)

  - Pumping skid requires 1-1/2 GPM of water, 480vac 3 ph 60 A, 120 vac

  - 6” conflat manual gate valve  (inlet valve)