-Leybold-Heraeus TMP 1500 turbo pump ns 1183-37-0050

with  inlet screen with o-ring and with approx. 180 cc of HE-500 turbo oil in separate container, manual

-Leybold-Heraeus NT 1000/1500 turbo converter sn 40-0-114

P20407 w/ turbo connecting cable, manual

-MKS 290 Ion Gauge Controller sn 29719-2-1H, P19437

w/ AC cord, 3 meter IG cable, IG 5 nude ion gauge, manual

-VAT ISO 250 high vacuum gate valve sn S20635

w/ limit switch status cable (note: this valve uses metric threaded ISO hardware 10mm 1.5 mm)

-Dycor Residual Gas Analyzer

- power supply sn 10101, P20035

- monitor M100M sn 10102

- sensor M106M with 2 AC cords, sensor cable, power

supply to monitor cable, manual

-2 Granville Philips Convectron controllers, w/2 sensors w/KF 16 flanges, cables, manual

-one PPPL built roughing pump and blower skid containing:

-Kinney KMBD booster pump (400 cfm)

-KTC 21 mechanical pump (21 cfm)

-Pumping skid requires 1-1/2 GPM of water, 480vac 3 ph 60 A, 120 vac

- 6” conflat manual gate valve  (inlet valve)