## Actual
JOB NUMBER | 65678-1 PORT 4 B |  |  | DATE: | 2006-04-25 10:18
PART NUMBER | TOP PROFILE POINTS |  |  |  |  | Verisurf Summary Report
PART NAME |  |  |  | STAMP:
INSPECTOR | ROB DURHAM
|  |  | Total Points: |  | 24
Probe Radius: | 0.75 |  | Number of OOT: |  | 0
Upper Tol: | 0.1875 |  | Average Deviation: |  | 0.0028208
Lower Tol: | -0.1875 |  | Maximum Deviation: |  | 0.054
|  |  | Minimum Deviation: |  | -0.0326
Report Output: | Actual Points |  | Deviation Range: |  | 0.0866
[7 empty] | Neg | Nom | Pos | Total | Pct
PORT 4 FLANGE TOP POINTS HALF B | [5 empty] | In Tolerance: | 14 | 0 | 10 | 24 | 100
[6 empty] | Out of Tolerance: | 0 |  | 0 | 0 | 0
Failed Points:
[6 empty] | Total Points: | 14 | 0 | 10 | 24 | 100
[7 empty] | DX | DY | DZ | 3D
[6 empty] | Maximum Deviation: | 0.050717 | 0.01846 | 7.1054e-15 | 0.054
[6 empty] | Minimum Deviation: | -0.030621 | -0.030621 | -0.030621 | -0.0326
[6 empty] | Deviation Range: | 0.081338 | 0.029605 | 1.1546e-14 | 0.0866
[6 empty] | Average Deviation: | 0.0026573 | 0.00096718 | 7.9219e-16 | 0.0028208
[6 empty] | RMS Deviation: | 0.03002 | 0.010926 | 3.0405e-15 | 0.031946
[6 empty] | Standard Deviation: | 0.030545 | 0.011117 | 2.9986e-15 | 0.032513
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 102.1684 | 53.2514 | -17.598 | -0.0301
Point 2 | 101.5548 | 54.9298 | -13.7831 | -0.0326
Point 3 | 101.5889 | 54.8418 | -10.0697 | -0.0307
Point 4 | 101.5916 | 54.8427 | -4.3358 | -0.0278
Point 5 | 101.5861 | 54.8605 | -0.15494 | -0.0269
Point 6 | 101.5673 | 54.9178 | 3.8893 | -0.025
Point 7 | 101.5509 | 54.969 | 9.9056 | -0.0228
Point 8 | 101.5525 | 54.9654 | 13.7469 | -0.0226
Point 9 | 102.122 | 53.4105 | 17.5324 | -0.0192
Point 10 | 103.4643 | 49.7465 | 19.4763 | -0.0111
Point 11 | 104.8963 | 45.8379 | 19.4798 | -0.0022
Point 12 | 107.1374 | 39.733 | 19.5654 | 0.0157
Point 13 | 109.3305 | 33.7734 | 19.5095 | 0.0382
Point 14 | 110.9442 | 29.3857 | 15.7798 | 0.054
Point 15 | 111.2176 | 28.6304 | 9.9451 | 0.0525
Point 16 | 111.2293 | 28.5901 | 2.0952 | 0.0497
Point 17 | 111.2375 | 28.5669 | -4.1979 | 0.0495
Point 18 | 111.2422 | 28.5514 | -10.1271 | 0.0487
Point 19 | 110.5873 | 30.3324 | -17.4871 | 0.0423
Point 20 | 108.5906 | 35.7486 | -19.5223 | 0.0186
Point 21 | 107.0372 | 39.9716 | -19.5394 | 0.0031
Point 22 | 105.6638 | 43.7113 | -19.5618 | -0.0084
Point 23 | 104.1654 | 47.7991 | -19.548 | -0.0183
Point 24 | 102.7603 | 51.6345 | -18.8394 | -0.0269

## Nominal
JOB NUMBER | 65678-1 PORT 4 B |  |  | DATE: | 2006-04-25 10:18
PART NUMBER | TOP PROFILE POINTS
PART NAME |  |  |  | STAMP:
INSPECTOR | ROB DURHAM
|  |  |  | Sample Points: | 24
Probe Radius: | 0.75 |  | Average Deviation: |  | 0.0028208
Upper Tol: | 0.1875 |  |  | Maximum Deviation: | 0.054
Lower Tol: | -0.1875 |  |  | Minimum Deviation: | -0.0326
Report Output: | Nominal Points |  | Deviation Range: | Deviation Range: | 0.0866
PORT 4 FLANGE TOP POINTS HALF B
|  |  | Std Dev: | 0.032513
ID | X | Y | Z | DEVIATION | OOT
Point 1 | 102.1966 | 53.2617 | -17.598 | -0.0301
Point 2 | 101.5854 | 54.9409 | -13.7831 | -0.0326
Point 3 | 101.6177 | 54.8522 | -10.0697 | -0.0307
Point 4 | 101.6178 | 54.8522 | -4.3358 | -0.0278
Point 5 | 101.6114 | 54.8697 | -0.15494 | -0.0269
Point 6 | 101.5908 | 54.9263 | 3.8893 | -0.025
Point 7 | 101.5724 | 54.9768 | 9.9056 | -0.0228
Point 8 | 101.5737 | 54.9731 | 13.7469 | -0.0226
Point 9 | 102.1401 | 53.4171 | 17.5324 | -0.0192
Point 10 | 103.4747 | 49.7503 | 19.4763 | -0.0111
Point 11 | 104.8984 | 45.8387 | 19.4798 | -0.0022
Point 12 | 107.1226 | 39.7276 | 19.5654 | 0.0157
Point 13 | 109.2946 | 33.7603 | 19.5095 | 0.0382
Point 14 | 110.8935 | 29.3672 | 15.7798 | 0.054
Point 15 | 111.1682 | 28.6124 | 9.9451 | 0.0525
Point 16 | 111.1826 | 28.5731 | 2.0952 | 0.0497
Point 17 | 111.191 | 28.55 | -4.1979 | 0.0495
Point 18 | 111.1965 | 28.5348 | -10.1271 | 0.0487
Point 19 | 110.5475 | 30.3179 | -17.4871 | 0.0423
Point 20 | 108.5732 | 35.7423 | -19.5223 | 0.0186
Point 21 | 107.0342 | 39.9706 | -19.5394 | 0.0031
Point 22 | 105.6717 | 43.7142 | -19.5618 | -0.0084
Point 23 | 104.1826 | 47.8054 | -19.548 | -0.0183
Point 24 | 102.7856 | 51.6436 | -18.8394 | -0.0269

## Deltas
JOB NUMBER | 65678-1 PORT 4 B |  |  | DATE: | 2006-04-25 10:18
PART NUMBER | TOP PROFILE POINTS
PART NAME |  |  |  | STAMP:
INSPECTOR | ROB DURHAM
|  |  |  | Sample Points: | 24
Probe Radius: | 0.75 |  | Average Deviation: |  | 0.0028208
Upper Tol: | 0.1875 |  |  | Maximum Deviation: | 0.054
Lower Tol: | -0.1875 |  |  | Minimum Deviation: | -0.0326
Report Output: | Deviations |  |  | Deviation Range: | 0.0866
PORT 4 FLANGE TOP POINTS HALF B
|  |  | Std Dev: | 0.032513
ID | X | Y | Z | DEVIATION | OOT
Point 1 | -0.028253 | -0.010283 | -3.5527e-15 | -0.0301
Point 2 | -0.030621 | -0.011145 | -1.7764e-15 | -0.0326
Point 3 | -0.028815 | -0.010488 | 1.7764e-15 | -0.0307
Point 4 | -0.02612 | -0.0095069 | -4.4409e-15 | -0.0278
Point 5 | -0.025263 | -0.0091948 | -8.3267e-17 | -0.0269
Point 6 | -0.023449 | -0.0085349 | -1.3323e-15 | -0.025
Point 7 | -0.021456 | -0.0078092 | 1.7764e-15 | -0.0228
Point 8 | -0.021213 | -0.0077208 | 3.5527e-15 | -0.0226
Point 9 | -0.018048 | -0.0065691 | 3.5527e-15 | -0.0192
Point 10 | -0.010416 | -0.0037911 | 0 | -0.0111
Point 11 | -0.0020653 | -0.00075171 | 0 | -0.0022
Point 12 | 0.014745 | 0.0053668 | 3.5527e-15 | 0.0157
Point 13 | 0.035887 | 0.013062 | -3.5527e-15 | 0.0382
Point 14 | 0.050717 | 0.01846 | 0 | 0.054
Point 15 | 0.049332 | 0.017955 | 0 | 0.0525
Point 16 | 0.04674 | 0.017012 | 4.4409e-15 | 0.0497
Point 17 | 0.046518 | 0.016931 | 4.4409e-15 | 0.0495
Point 18 | 0.045752 | 0.016652 | 7.1054e-15 | 0.0487
Point 19 | 0.039762 | 0.014472 | 0 | 0.0423
Point 20 | 0.017453 | 0.0063522 | 3.5527e-15 | 0.0186
Point 21 | 0.0029328 | 0.0010675 | -3.5527e-15 | 0.0031
Point 22 | -0.0078857 | -0.0028702 | 3.5527e-15 | -0.0084
Point 23 | -0.017203 | -0.0062614 | 0 | -0.0183
Point 24 | -0.025254 | -0.0091917 | 0 | -0.0269

## Summary
Verisurf Software, Inc
1571 N. Harmony Circle
Anaheim CA 92807
714-970-1683
www.verisurf.com
Inspection Report
JOB NUMBER | 65678-1 PORT 4 B |  | DATE: | 2006-04-25 10:18
PART NUMBER | TOP PROFILE POINTS
PART NAME
INSPECTOR | ROB DURHAM
PORT 4 FLANGE TOP POINTS HALF B
24
| Neg | Nom | Pos | Total | Pct
In Tolerance: | 14 | 0 | 10 | 24 | 100
Out of Tolerance: | 0 |  | 0 | 0 | 0
Failed Points:
Total Points: | 14 | 0 | 10 | 24 | 100
| DX | DY | DZ | 3D
Maximum Deviation: | 0.050717 | 0.01846 | 7.1054e-15 | 0.054
Minimum Deviation: | -0.030621 | -0.030621 | -0.030621 | -0.0326
Deviation Range: | 0.081338 | 0.029605 | 1.1546e-14 | 0.0866
Average Deviation: | 0.0026573 | 0.00096718 | 7.9219e-16 | 0.0028208
RMS Deviation: | 0.03002 | 0.010926 | 3.0405e-15 | 0.031946
Standard Deviation: | 0.030545 | 0.011117 | 2.9986e-15 | 0.032513

## Gauss (hidden)
| 0.1875 | 4 |  | total points | 24
| -0.1875 | 4
-3s | -0.094718 | 0.021273 | 0 | mean | 15 | 0.0065026 | 0.1875 | -0.1875 | 0.0028208
| -0.088215 | 0.037994 | 0 | stdev | 5 | 0.0065026 | 0.1875 | -0.1875 | 0.0028208
| -0.081713 | 0.065198 | 0 |  |  | 0.0065026 | 0.1875 | -0.1875 | 0.0028208
| -0.07521 | 0.10749 | 0 |  |  | 0.0065026 | 0.1875 | -0.1875 | 0.0028208
| -0.068707 | 0.17028 | 0 |  |  | 0.0065026 | 0.1875 | -0.1875 | 0.0028208
-2s | -0.062205 | 0.25916 | 0 |  |  | 0.0065026 | 0.1875 | -0.1875 | 0.0028208
| -0.055702 | 0.37896 | 0 |  |  | 0.0065026 | 0.1875 | -0.1875 | 0.0028208
| -0.0492 | 0.53242 | 0 |  |  | 0.0065026 | 0.1875 | -0.1875 | 0.0028208
| -0.042697 | 0.71869 | 0 |  |  | 0.0065026 | 0.1875 | -0.1875 | 0.0028208
| -0.036195 | 0.93209 | 3 |  |  | 0.0065026 | 0.1875 | -0.1875 | 0.0028208
| -0.029692 | 1.1615 | 4 |  |  | 0.0065026 | 0.1875 | -0.1875 | 0.0028208
| -0.023189 | 1.3905 | 4 |  |  | 0.0065026 | 0.1875 | -0.1875 | 0.0028208
| -0.016687 | 1.5995 | 1 |  |  | 0.0065026 | 0.1875 | -0.1875 | 0.0028208
| -0.010184 | 1.7677 | 1 |  |  | 0.0065026 | 0.1875 | -0.1875 | 0.0028208
| -0.0036817 | 1.877 | 1 |  |  | 0.0065026 | 0.1875 | -0.1875 | 0.0028208
0 | 0.0028208 | 1.9149 | 1 |  |  | 0.0065026 | 0.1875 | -0.1875 | 0.0028208
| 0.0093234 | 1.877 | 1 |  |  | 0.0065026 | 0.1875 | -0.1875 | 0.0028208
| 0.015826 | 1.7677 | 1 |  |  | 0.0065026 | 0.1875 | -0.1875 | 0.0028208
| 0.022329 | 1.5995 | 0 |  |  | 0.0065026 | 0.1875 | -0.1875 | 0.0028208
| 0.028831 | 1.3905 | 0 |  |  | 0.0065026 | 0.1875 | -0.1875 | 0.0028208
| 0.035334 | 1.1615 | 1 |  |  | 0.0065026 | 0.1875 | -0.1875 | 0.0028208
| 0.041836 | 0.93209 | 1 |  |  | 0.0065026 | 0.1875 | -0.1875 | 0.0028208
| 0.048339 | 0.71869 | 5 |  |  | 0.0065026 | 0.1875 | -0.1875 | 0.0028208
| 0.054841 | 0.53242 | 0 |  |  | 0.0065026 | 0.1875 | -0.1875 | 0.0028208
| 0.061344 | 0.37896 | 0 |  |  | 0.0065026
2s | 0.067847 | 0.25916 | 0 |  |  | 0.0065026
| 0.074349 | 0.17028 | 0 |  |  | 0.0065026
| 0.080852 | 0.10749 | 0 |  |  | 0.0065026
| 0.087354 | 0.065198 | 0 |  |  | 0.0065026
| 0.093857 | 0.037994 | 0 |  |  | 0.0065026
3s | 0.10036 | 0.021273 | 0 |  |  | 0.0065026