| NCSX RFD Part I | Number: RFD 18-003 |  | RFD Description: Change in Section 4.2.1.1 of CSPEC |
| --- | --- | --- | --- |
| Initiator: M. Viola |  | Organization: PPPL |  |
| List of Impacted Documents: (Specification, MIT/QA Plan, SOW, drawing, etc.) NCSX-CSPEC-185-01-03 |  |  |  |
| Cost Impact: (If none, so state) NONE |  |  |  |
| Schedule Impact: (If none, so state): NONE |  |  |  |
| Quality Impact: (If none, so state): NONE |  |  |  |
| State Requirement Deviation is Requested For: (Specification, MIT/QA Plan, SOW, drawing, etc.) NCSX-CSPEC-185-01-03 |  |  |  |
| Full Description of the Deviation Requested: (Use continuation pages, e-mails, letter, sketches, etc. as needed and include amplifying information as appropriate to support deviation request.) Remove reference to ENG-014 which is for a pressure test. This is a leak check at pressure. Change 4.2.1.1 Pressure range • The heating/cooling system shall be leaked checked with helium gas at 120% of the operating pressure of 300 psig in accordance with ENG-014. TO 4.2.1.1 Leak Check at Pressure • The heating/cooling system shall be leaked checked with helium gas at 120% of the operating pressure of 300 psig in accordance with ENG-014. |  |  |  |
| Attachments: |  |  |  |
| Initiator Signature: Date: |  |  |  |

| NCSX RFD Part II | Number: RFD 18-003 |  | RFD Description: Change in Section 4.2.1.1 of CSPEC |
| --- | --- | --- | --- |
| RLM(s): Design: P. Heitzenroeder Manufacturing: L. Dudek |  | Organization: Design: PPPL Manufacturing: PPPL |  |
| Impact on Interfaces with Other WBS Elements/Items: (If none, so state) |  |  |  |
| Design RLM Recommendations: Manufacturing RLM Rcommendations: Approve Do Not Approve Approve Do Not Approve Additional remarks: Should the impacted drawings be formally revised or should the “stamp” process outlined in NCSX Procedure PROC-007 be utilized and should the specification (or other documents) be updated? No, a formal revision required to the drawing or specification is required “Stamp” process outlined in PROC-007 is authorized. If the change is substantial, a revision to the impacted drawings will be required after the third RFD stamp marking a substantial revision is placed on the drawing. This change is NOT substantial and no update to the drawing will ever be required => in this case the “3” RFD stamp process does NOT apply. Does this Change Impact Material Already Procured or Parts/Assemblies Already Assembled/Manufactured using this Material: Yes No If “Yes”, what is the recommended disposition of this material/part/assembly and what is the impact? |  |  |  |

| NCSX RFD Part II | Number: RFD 18-003 |  | RFD Description: Change in Section 4.2.1.1 of CSPEC |
| --- | --- | --- | --- |
| RLM(s): Design: P. Heitzenroeder Manufacturing: L. Dudek |  | Organization: Design: PPPL Manufacturing: PPPL |  |
| Design RLM Signature: Manufacturing RLM Signature: |  |  |  |
| Project Disposition: Approved. No ECP required. NCSX Systems Engineering Support Manager Approved. ECP - 061 assigned and processed. Not Approved. Reason(s) for disapproval: |  |  |  |