# SUMMARY DESCRIPTION

| WBS Number: 46 | Title: FCPC Building Modifications |
| --- | --- |
| Originator: Raki Ramakrishnan |
| Description This WBS element includes the modification of 2nd floor of the FCPC Building. This includes installation of required penetrations through the FCPC floor and installation of weatherproofed penetration through the 2nd. Floor wall of FCPC for cables running from FCPC to the NCSX Test Cell. This may also require relocation of some of the existing offices and laboratories on the 2nd floor of the FCPC Building to accommodate the NCSX requirements. Description of Existing Equipment/Facilities to be Reused: None. Description of Major Modifications Required to Existing Equipment/Facilities: None. |