# SUMMARY DESCRIPTION

| WBS Number: 631 | Title: LN2 Supply System |
| --- | --- |
| Originator: Larry Dudek |
| Description This WBS element consists of the effort to design and install a system to supply liquid nitrogen and liquid helium to the NCSX facility. End users include the LN2 coil cooling supply system (WBS 632), the GN2 cryostat cooling supply system (WBS 633), and the NB system (WBS 25). This WBS element also includes refurbishment of the existing LN2 storage tank. This WBS will support two beamlines with provisions for a total of four beams and a pellet injector. Initially, the two beamlines will be tested using individual LHe dewars, which are not part of this work package. The facility is required to accommodate (as a future upgrade) a LHe transfer line between the helium dewar in the C-site Helium Dewar Storage Shed and the four beamlines.. Description of Existing Equipment/Facilities to be Reused: None. Description of Major Modifications Required to Existing Equipment/Facilities: None. |