# SUMMARY DESCRIPTION

| WBS Number: 633 | Title: Stellarator Core Cryogenic Cooling System |
| --- | --- |
| Originator: Larry Dudek |  |
| Description This WBS element consists of the effort to provide cryogenic cooling to the stellarator core. (The modular, TF, and PF coils operate with a pre-shot temperature of ~80K.). The WBS element consists of the effort to design and install a new helium cooling and circulation system. Description of Existing Equipment/Facilities to be Reused: None. Description of Major Modifications Required to Existing Equipment/Facilities: None. |  |