# PART I - DESCRIPTION

| WBS Number: 65 | Title: Helium Bakeout System |
| --- | --- |
| Originator: L. Dudek |  |
| ## Description The WBS element consists of the effort to provide heating and cooling to the vacuum vessel and plasma facing components (PFCs). Prior to Initial Auxiliary Heating (Phase4), there will be only minimal coverage of the interior with carbon tiles so a 350ºC bakeout is not required for the Fabrication Project. However, accommodating a 350ºC bakeout of the PFCs is required as a future upgrade. In the Fabrication Project, the capability to maintain the temperature of the vacuum vessel and PFCs between 20ºC (the normal operating temperature) and 150ºC (for bakeout of the vacuum vessel and other metallic structures inside the vacuum vessel) will be provided. As currently envisioned, this pressurized helium gas will be circulated to effect temperature control. Description of Existing Equipment/Facilities to be Reused: None. Description of Major Modifications Required to Existing Equipment/Facilities: None. |  |