# SUMMARY DESCRIPTION

| WBS Number: 632 | Title: Liquid Helium Supply System |
| --- | --- |
| Originator: Larry Dudek |  |
| Description This WBS element consists of the efforts required to supply liquid helium to the two neutral beams installed as part of the Fabrication Project. Re-commissioning costs (if any) for the existing C-Site helium supply system would be included here along with the cost of cryogenic piping to deliver the liquid helium to the neutral beams in the Test Cell. In addition, it includes effort to show that liquid helium can be supplied (as a future upgrade) to two additional neutral beams and a pellet injector. Description of Existing Equipment/Facilities to be Reused: None. Description of Major Modifications Required to Existing Equipment/Facilities: None. |  |