| INTERFACE CONTROL DOCUMENT TITLE AND APPROVAL PAGE (Page 1) |
| --- |
| ICD Number: NCSX-ICD-161-43-0004 | Primary Author: B. Nelson |
| Impacted WBS Elements: 162, 43 | Type of Interface: electrical power interface |
| Description of Interface: This ICD describes the mechanical interface between the coil leads and the buswork from the power supplies. There are 9 sets of lead interfaces as follows: Mod coils: 3 circuits TF coils: 1 circuit PF coils: 5 circuits (PF1 and 2 in series, PF3, PF4, PF5, PF6) Each interface occurs just outside extensions to the cryostat, near the floor of the machine The interface is nominally at room temperature The interface includes a pair of lugs for the power leads and two 16 gage lead wires for voltage taps on the coils. |
| Record of Revisions Revision Number Description Date 0 Initial Issue April 14, 2003 |
| Approvals WBS Manager: D. Williamson WBS Manager: R. Ramakrishnan. Project Engineer: B. Nelson Project Engineer: L. Dudek Systems Engineering Support Manager: R. Simmons |

ICD DETAIL SHEET (Page 2) (Use Continuation Sheets as Necessary to Include the Following Applicable Information)

Scope of Interface: This ICD describes the mechanical interface between the coil leads and the buswork from the power supplies. Equipment and Responsibility List: Leads and lugs connected to coils: WBS 162 Voltage tap leads connected to coils: WBS 162 Buswork from power supplies: WBS 4? Leads from voltage taps to control room: WBS 4? Related ICDs: Notes and Abbreviations: Interface Block Diagrams: See attached sketch Installation Information: TBD Other Pertinent Information: WBS 16 drawing: TBD WBS 14 drawing: TBD